## Slide 1
engineering type: 1.26Q3.5
SLAC drawing number: SA-380-309-00
SLAC magnet bar-code: 2737
vendor serial number: 1
when measured: 23-Aug-2013 10:33:24
when analyzed: 09-Sep-2016
MAD assignment: QC003
Leff ≈ 0.1109 m (I = -12.006 A)