## Slide 1
engineering type: 1.26Q3.5
SLAC drawing number: SA-380-309-00
SLAC magnet bar-code: 2742
vendor serial number: 11
when measured: 28-Aug-2013 09:32:31
when analyzed: 09-Sep-2016
MAD assignment: QC008
Leff ≈ 0.1121 m (I = -12.006 A)