## Slide 1
engineering type: 1.26Q3.5
SLAC drawing number: SA-380-309-00
SLAC magnet bar-code: 2743
vendor serial number: 9
when measured: 13-Aug-2013 16:17:08
when analyzed: 09-Sep-2016
MAD assignment: QC009
Leff ≈ 0.1113 m (I = -12.007 A)