## Slide 1
engineering type: 1.26Q3.5
SLAC drawing number: SA-380-309-00
SLAC magnet bar-code: 2745
vendor serial number: 7
when measured: 19-Aug-2013 15:04:40
when analyzed: 09-Sep-2016
MAD assignment: QC011
Leff ≈ 0.1109 m (I = -12.009 A)