## Slide 1
1.26Q3.5 Study
October 28, 2016

## Slide 3
engineering type: 1.26Q3.5
SLAC drawing number: SA-380-309-00
SLAC magnet bar-code: 4005
vendor serial number: 5
when measured: 26-Jul-2016 16:02:56
when analyzed: 08-Sep-2016
MAD assignment: not assigned

## Slide 13
Summary
using 12 amp bipolar IVB on 12 amp unipolar data leads to 2% error at 0 amps
using 12 amp bipolar IVB on 6 amp bipolar data leads to 3.5% error at -6 amps
using 12 amp bipolar IVB on 6 amp unipolar data leads to 3.5% error at 0 amps
using 12 amp unipolar (P) IVB on 12 amp unipolar (N) data leads to < 0.1% error
using 6 amp bipolar IVB on 6 amp unipolar data leads to 3% error at 0 amps
using 6 amp unipolar (P) IVB on 6 amp unipolar (N) data leads to < 0.2% error

## Slide 14
1.26Q3.5 Study (2)
compare all measurements

## Slide 16
Phase-I