## Slide 1
engineering type: 2Q10
SLAC drawing number: SA-344-113-28
SLAC magnet bar-code: 4195
vendor serial number: 25
when measured: 13-Dec-2018 14:36:10
when analyzed: 17-Dec-2018
MAD assignment: QSP9H
deweight
these
points