## Slide 1
engineering type: 2Q10
SLAC drawing number: SA-344-113-28
SLAC magnet bar-code: 4201
vendor serial number: 6
when measured: 03-Apr-2019 15:05:36
when analyzed: 08-Apr-2019
MAD assignment: QSP13H
deweight
these
points
remeasured
after being
dropped

## Slide 2
Original measurement
(before magnet was dropped)

## Slide 3
engineering type: 2Q10
SLAC drawing number: SA-344-113-28
SLAC magnet bar-code: 4201
vendor serial number: 6
when measured: 06-Dec-2018 11:52:57
when analyzed: 09-Jan-2019
MAD assignment: QSP13H
deweight
these
points