## calib_run1
SLAC | Magnetic | Measurements
Date: | 2014-11-13
Time: | 8:58
Measurement | File | Header:
SLAC | Magnetic | Measurements
Date: | 2014-11-12
Time: | 8:09
Project: | LCLS
Device | Type: | Hall | probe
Data | Type: | Y
Serial | Number: | SENIS_117-14
Run | Number: | 95
Measurement | Type: | HPCS
Operator: | YL
Comment: | first | calibration
Current(A) | T(C) | Est. | Field(T) | Voltage | Field
----- | Hall | Probe | Calibration | -----
Outliers, | removed | from | the | analysis:
| V_hall | B_nmr
| (V) | (T)
----------- | -----------
| -5.7041 | -1.1321
| -4.9056 | -0.97352
| -4.6902 | -0.93072
Hall | probe | offset | voltage | = | -0.00050174 | V
Fit | parameters:
Voc | = | V | - | Voffset
Bnmr | = | p0 | + | p1 | Voc | + | p2 | Voc^2 | + | p3 | Voc^3 | + | ... | + | pn | Voc^n
| n | pn
| (T | / | V^n)
----- | -------------
| 0 | 2.6361e-08 | 3.7169e-08 | 3.1765e-08
| 1 | 0.19816 | 0.19816 | 0.19816
| 2 | 4.5393e-06 | 9.351e-06 | 6.9451e-06
| 3 | -2.077e-06 | -1.0429e-06 | -1.56e-06
| 4 | 4.0998e-07 | -9.6719e-07 | -2.7861e-07
| 5 | 3.1848e-06 | 3.1119e-06 | 3.1483e-06
| 6 | -4.2574e-08 | 8.6753e-08 | 2.209e-08
| 7 | -1.9159e-07 | -1.8885e-07 | -1.9022e-07
| 8 | 1.6216e-09 | -3.5462e-09 | -9.623e-10
| 9 | 4.881e-09 | 4.8213e-09 | 4.8511e-09
| 10 | -2.76e-11 | 6.32e-11 | 1.78e-11
| 11 | -5.97e-11 | -5.91e-11 | -5.94e-11
| 12 | 2e-13 | -4e-13 | -1e-13
| 13 | 3e-13 | 3e-13 | 3e-13