Difference to Baseline 1 (microns)                                                
                                      X                 Y
Baseline 2                      1.1                0.5
Split			-0.4	          0.8
Beampipe                   	-2.3	          0.1