{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 01"]
["Date:","2010-07-12"]
["Crew:","JM, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",29.187000000000001]
["1st. Near",29.184999999999999]
["2nd. Far",29.184999999999999]
["2nd Near",29.184999999999999]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":29.184999999999999}]
["Near Should Read",29.184999999999999]
["LOS",29.184999999999999]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.670999999999999,33.673999999999999,33.670999999999999,33.664000000000001]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.670999999999999},{"$f":"SUM(B24:B25)","v":34.673999999999999},{"$f":"SUM(C24:C25)","v":34.670999999999999},{"$f":"SUM(D24:D25)","v":34.664000000000001}]
[{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999}]
[{"$f":"SUM(A27-A26)","v":-5.4860000000000007},{"$f":"SUM(B27-B26)","v":-5.4890000000000008},{"$f":"SUM(C27-C26)","v":-5.4860000000000007},{"$f":"SUM(D27-D26)","v":-5.4790000000000028}]
[]
["5)","6)","7)","8)"]
[23.885000000000002,23.89,23.887,23.887]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.885000000000002},{"$f":"SUM(B31:B32)","v":24.89},{"$f":"SUM(C31:C32)","v":24.887},{"$f":"SUM(D31:D32)","v":24.887}]
[{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999}]
[{"$f":"SUM(A34-A33)","v":4.2999999999999972},{"$f":"SUM(B34-B33)","v":4.2949999999999982},{"$f":"SUM(C34-C33)","v":4.2979999999999983},{"$f":"SUM(D34-D33)","v":4.2979999999999983}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[35.22,30.684999999999999,28.928999999999998,28.928999999999998]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":36.22},{"$f":"SUM(B41:B42)","v":31.684999999999999},{"$f":"SUM(C41:C42)","v":29.928999999999998},{"$f":"SUM(D41:D42)","v":29.928999999999998}]
[{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999}]
[{"$f":"SUM(A44-A43)","v":-7.0350000000000001},{"$f":"SUM(B44-B43)","v":-2.5},{"$f":"SUM(C44-C43)","v":-0.74399999999999977},{"$f":"SUM(D44-D43)","v":-0.74399999999999977}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":29.184999999999999},"LOS"]
["Undulator",{"$f":"B5","v":"SN 01"}]
["Date:",{"$f":"B6","v":"2010-07-12"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.786999999999999,31.789000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.786999999999999},{"$f":"SUM(C64:C65)","v":32.789000000000001}]
[null,{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999}]
[0,{"$f":"SUM(B67-B66)","v":-3.6020000000000003},{"$f":"SUM(C67-C66)","v":-3.6040000000000028}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[30.058,33.654000000000003,33.656999999999996]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":31.058},{"$f":"SUM(B74:B75)","v":34.654000000000003},{"$f":"SUM(C74:C75)","v":34.656999999999996}]
[{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999}]
[{"$f":"SUM(A77-A76)","v":-1.8730000000000011},{"$f":"SUM(B77-B76)","v":-5.4690000000000047},{"$f":"SUM(C77-C76)","v":-5.4719999999999978}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[30.058,33.655000000000001,33.655999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":31.058},{"$f":"SUM(B83:B84)","v":34.655000000000001},{"$f":"SUM(C83:C84)","v":34.655999999999999}]
[{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999}]
[{"$f":"SUM(A86-A85)","v":-1.8730000000000011},{"$f":"SUM(B86-B85)","v":-5.4700000000000024},{"$f":"SUM(C86-C85)","v":-5.4710000000000001}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.795000000000002,31.774000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.795000000000002},{"$f":"SUM(C92:C93)","v":32.774000000000001}]
[null,{"$f":"B18","v":29.184999999999999},{"$f":"B18","v":29.184999999999999}]
[0,{"$f":"SUM(B95-B94)","v":-3.610000000000003},{"$f":"SUM(C95-C94)","v":-3.5890000000000022}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.41,8.4120000000000008]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 01"},{"$f":"SUM(C104+C105)","v":9.41},{"$f":"SUM(D104+D105)","v":9.4120000000000008}]
["Date:",{"$f":"B6","v":"2010-07-12"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.4110000000000014}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.41},12.016,8.4209999999999994,12.021000000000001]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.41},{"$f":"SUM(B114:B115)","v":13.016},{"$f":"SUM(C114:C115)","v":9.4209999999999994},{"$f":"SUM(D114:D115)","v":13.021000000000001}]
[{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014}]
[{"$f":"SUM(A117-A116)","v":1.0000000000012221E-3},{"$f":"SUM(B117-B116)","v":-3.6049999999999986},{"$f":"SUM(C117-C116)","v":-9.9999999999980105E-3},{"$f":"SUM(D117-D116)","v":-3.6099999999999994}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.4220000000000006,12.023,{"$f":"D104","v":8.4120000000000008},12.007]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.4220000000000006},{"$f":"SUM(B124:B125)","v":13.023},{"$f":"SUM(C124:C125)","v":9.4120000000000008},{"$f":"SUM(D124:D125)","v":13.007}]
[{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014}]
[{"$f":"SUM(A127-A126)","v":-1.0999999999999233E-2},{"$f":"SUM(B127-B126)","v":-3.6119999999999983},{"$f":"SUM(C127-C126)","v":-9.9999999999944578E-4},{"$f":"SUM(D127-D126)","v":-3.5959999999999983}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[13.808,null,-5.47,"LOS"]
[{"$f":"D109","v":9.4110000000000014},null,3.5999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3969999999999985},null,{"$f":"SUM(C137+C138)","v":-5.4340000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4729999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 01"}]
["Date:",{"$f":"B6","v":"2010-07-12"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.4110000000000014}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[4.9349999999999996,4.9400000000000004,4.9390000000000001,4.9390000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":5.9349999999999996},{"$f":"SUM(B165:B166)","v":5.94},{"$f":"SUM(C165:C166)","v":5.9390000000000001},{"$f":"SUM(D165:D166)","v":5.9390000000000001}]
[{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014}]
[{"$f":"SUM(A168-A167)","v":3.4760000000000018},{"$f":"SUM(B168-B167)","v":3.471000000000001},{"$f":"SUM(C168-C167)","v":3.4720000000000013},{"$f":"SUM(D168-D167)","v":3.4720000000000013}]
[]
[]
["5)","6)","7)","8)"]
[12.016999999999999,12.015000000000001,12.013999999999999,12.018000000000001]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.016999999999999},{"$f":"SUM(B173+B174)","v":13.015000000000001},{"$f":"SUM(C173+C174)","v":13.013999999999999},{"$f":"SUM(D173+D174)","v":13.018000000000001}]
[{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014}]
[{"$f":"SUM(A176-A175)","v":-3.6059999999999981},{"$f":"SUM(B176-B175)","v":-3.6039999999999992},{"$f":"SUM(C176-C175)","v":-3.602999999999998},{"$f":"SUM(D176-D175)","v":-3.6069999999999993}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[8.6519999999999992,null,10.795,13.878]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":9.6519999999999992},null,{"$f":"SUM(C184+C185)","v":11.795},{"$f":"SUM(D184+D185)","v":14.878}]
[{"$f":"D109","v":9.4110000000000014},null,{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014}]
[{"$f":"SUM(A187-A186)","v":-0.24099999999999788},0,{"$f":"SUM(C187-C186)","v":-2.3839999999999986},{"$f":"SUM(D187-D186)","v":-5.4669999999999987}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[7.7009999999999996,7.7009999999999996,7.7030000000000003,7.7030000000000003]
[{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014},{"$f":"D109","v":9.4110000000000014}]
[{"$f":"SUM(A196-A195)","v":1.7100000000000017},{"$f":"SUM(B196-B195)","v":1.7100000000000017},{"$f":"SUM(C196-C195)","v":1.7080000000000011},{"$f":"SUM(D196-D195)","v":1.7080000000000011}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 01"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-07-12"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"JM, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4760000000000018},{"$f":"B10*25.4","v":88.290400000000034},null,null,5,{"$f":"Sheet1!A35","v":4.2999999999999972},{"$f":"G10*25.4","v":109.21999999999993}]
[2,{"$f":"Sheet1!B169","v":3.471000000000001},{"$f":"B11*25.4","v":88.163400000000024},null,null,6,{"$f":"Sheet1!B35","v":4.2949999999999982},{"$f":"G11*25.4","v":109.09299999999995}]
[3,{"$f":"Sheet1!C169","v":3.4720000000000013},{"$f":"B12*25.4","v":88.188800000000029},null,null,7,{"$f":"Sheet1!C35","v":4.2979999999999983},{"$f":"G12*25.4","v":109.16919999999995}]
[4,{"$f":"Sheet1!D169","v":3.4720000000000013},{"$f":"B13*25.4","v":88.188800000000029},null,null,8,{"$f":"Sheet1!D35","v":4.2979999999999983},{"$f":"G13*25.4","v":109.16919999999995}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4719999999999978},{"$f":"Sheet1!C118","v":-9.9999999999980105E-3},{"$f":"B20*25.4","v":-138.98879999999994},{"$f":"C20*25.4","v":-0.25399999999994943},null,{"$f":"H10-D21","v":156.79419999999996},{"$f":"C10-E20","v":88.544399999999982}]
["X1",{"$f":"Sheet1!A78","v":-1.8730000000000011},{"$f":"Sheet1!D118","v":-3.6099999999999994},{"$f":"B21*25.4","v":-47.574200000000026},{"$f":"C21*25.4","v":-91.693999999999974}]
["Y1",{"$f":"Sheet1!B78","v":-5.4690000000000047},null,{"$f":"B22*25.4","v":-138.91260000000011}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4700000000000024},{"$f":"Sheet1!A128","v":-1.0999999999999233E-2},{"$f":"B26*25.4","v":-138.93800000000005},{"$f":"C26*25.4","v":-0.2793999999999805},null,{"$f":"H13-D27","v":156.74339999999998},{"$f":"C13-E26","v":88.46820000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8730000000000011},{"$f":"Sheet1!B128","v":-3.6119999999999983},{"$f":"B27*25.4","v":-47.574200000000026},{"$f":"C27*25.4","v":-91.744799999999955}]
["Y2",{"$f":"Sheet1!C87","v":-5.4710000000000001},"\\",{"$f":"B28*25.4","v":-138.96340000000001}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4729999999999999},{"$f":"B36*25.4","v":-139.01419999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7100000000000017},{"$f":"F36*25.4","v":43.43400000000004}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7100000000000017},{"$f":"F37*25.4","v":43.43400000000004}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7080000000000011},{"$f":"F38*25.4","v":43.383200000000024}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7080000000000011},{"$f":"F39*25.4","v":43.383200000000024}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3969999999999985},{"$f":"B42*25.4","v":-111.68379999999995}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-07-12"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4860000000000007},{"$f":"Sheet1!A169","v":3.4760000000000018},{"$f":"SUM(B10*25.4)","v":-139.34440000000001},{"$f":"SUM(C10*25.4)","v":88.290400000000034}]
[2,{"$f":"Sheet1!B28","v":-5.4890000000000008},{"$f":"Sheet1!B169","v":3.471000000000001},{"$f":"SUM(B11*25.4)","v":-139.42060000000001},{"$f":"SUM(C11*25.4)","v":88.163400000000024},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4860000000000007},{"$f":"Sheet1!C169","v":3.4720000000000013},-139.34440000000001,88.188800000000029,null,{"$f":"Sheet1!C141","v":-5.4729999999999999},{"$f":"SUM(G12*25.4)","v":-139.01419999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4790000000000028},{"$f":"Sheet1!D169","v":3.4720000000000013},-139.16660000000007,88.188800000000029]
[5,{"$f":"Sheet1!A35","v":4.2999999999999972},{"$f":"Sheet1!A177","v":-3.6059999999999981},109.21999999999993,-91.592399999999941]
[6,{"$f":"Sheet1!B35","v":4.2949999999999982},{"$f":"Sheet1!B177","v":-3.6039999999999992},109.09299999999995,-91.541599999999974,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2979999999999983},{"$f":"Sheet1!C177","v":-3.602999999999998},109.16919999999995,-91.516199999999941]
[8,{"$f":"Sheet1!D35","v":4.2979999999999983},{"$f":"Sheet1!D177","v":-3.6069999999999993},109.16919999999995,-91.617799999999974,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3969999999999985},{"$f":"SUM(G18*25.4)","v":-111.68379999999995}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8730000000000011},{"$f":"Sheet1!C118","v":-9.9999999999980105E-3},{"$f":"SUM(B23*25.4)","v":-47.574200000000026},{"$f":"SUM(C23*25.4)","v":-0.25399999999994943}]
["X1",{"$f":"Sheet1!A78","v":-1.8730000000000011},{"$f":"Sheet1!D118","v":-3.6099999999999994},{"$f":"SUM(B24*25.4)","v":-47.574200000000026},{"$f":"SUM(C24*25.4)","v":-91.693999999999974},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4690000000000047},null,{"$f":"SUM(B25*25.4)","v":-138.91260000000011},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7100000000000017},{"$f":"SUM(H25*25.4)","v":43.43400000000004}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7100000000000017},{"$f":"SUM(H26*25.4)","v":43.43400000000004}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7080000000000011},{"$f":"SUM(H27*25.4)","v":43.383200000000024}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7080000000000011},{"$f":"SUM(H28*25.4)","v":43.383200000000024}]
["Y1",{"$f":"Sheet1!B87","v":-5.4700000000000024},{"$f":"Sheet1!A128","v":-1.0999999999999233E-2},{"$f":"SUM(B29*25.4)","v":-138.93800000000005},{"$f":"SUM(C29*25.4)","v":-0.2793999999999805}]
["X1",{"$f":"Sheet1!A87","v":-1.8730000000000011},{"$f":"Sheet1!B128","v":-3.6119999999999983},{"$f":"SUM(B30*25.4)","v":-47.574200000000026},{"$f":"SUM(C30*25.4)","v":-91.744799999999955}]
["Y2",{"$f":"Sheet1!C87","v":-5.4710000000000001},null,{"$f":"SUM(B31*25.4)","v":-138.96340000000001}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6020000000000003},{"$f":"Sheet1!A118","v":1.0000000000012221E-3},{"$f":"SUM(B37*25.4)","v":-91.490800000000007},{"$f":"SUM(C37*25.4)","v":2.540000000003104E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6049999999999986},0,{"$f":"SUM(C38*25.4)","v":-91.566999999999965}]
["Y2",{"$f":"Sheet1!C68","v":-3.6040000000000028},null,{"$f":"SUM(B39*25.4)","v":-91.541600000000059}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.610000000000003},{"$f":"Sheet1!C128","v":-9.9999999999944578E-4},{"$f":"SUM(B43*25.4)","v":-91.694000000000074},{"$f":"SUM(C43*25.4)","v":-2.539999999998592E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5959999999999983},0,{"$f":"SUM(C44*25.4)","v":-91.33839999999995}]
["Y2",{"$f":"Sheet1!C96","v":-3.5890000000000022},null,{"$f":"SUM(B45*25.4)","v":-91.160600000000045}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0350000000000001},{"$f":"Sheet1!A188","v":-0.24099999999999788},{"$f":"SUM(B49*25.4)","v":-178.68899999999999},{"$f":"SUM(C49*25.4)","v":-6.1213999999999462}]
["B",{"$f":"Sheet1!B45","v":-2.5},null,{"$f":"SUM(B50*25.4)","v":-63.5}]
["C",{"$f":"Sheet1!C45","v":-0.74399999999999977},{"$f":"Sheet1!C188","v":-2.3839999999999986},{"$f":"SUM(B51*25.4)","v":-18.897599999999994},{"$f":"SUM(C51*25.4)","v":-60.55359999999996}]
["D",{"$f":"Sheet1!D45","v":-0.74399999999999977},{"$f":"Sheet1!D188","v":-5.4669999999999987},{"$f":"SUM(B52*25.4)","v":-18.897599999999994},{"$f":"SUM(C52*25.4)","v":-138.86179999999996}]