{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 02"]
["Date:","2014-05-19"]
["Crew:","MR, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28.555]
["1st. Near",28.550999999999998]
["2nd. Far",27]
["2nd Near",28.161999999999999]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.549665523156087}]
["Near Should Read",28.549665523156087]
["LOS",28.549665523156087]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.048000000000002,33.037999999999997,33.043999999999997,33.048000000000002]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.048000000000002},{"$f":"SUM(B24:B25)","v":34.037999999999997},{"$f":"SUM(C24:C25)","v":34.043999999999997},{"$f":"SUM(D24:D25)","v":34.048000000000002}]
[{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087}]
[{"$f":"SUM(A27-A26)","v":-5.4983344768439153},{"$f":"SUM(B27-B26)","v":-5.4883344768439102},{"$f":"SUM(C27-C26)","v":-5.4943344768439104},{"$f":"SUM(D27-D26)","v":-5.4983344768439153}]
[]
["5)","6)","7)","8)"]
[23.263999999999999,23.260999999999999,23.26,23.263000000000002]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.263999999999999},{"$f":"SUM(B31:B32)","v":24.260999999999999},{"$f":"SUM(C31:C32)","v":24.26},{"$f":"SUM(D31:D32)","v":24.263000000000002}]
[{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087}]
[{"$f":"SUM(A34-A33)","v":4.2856655231560872},{"$f":"SUM(B34-B33)","v":4.2886655231560873},{"$f":"SUM(C34-C33)","v":4.289665523156085},{"$f":"SUM(D34-D33)","v":4.2866655231560848}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.594999999999999,30.960999999999999,28.300999999999998,28.300999999999998]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.594999999999999},{"$f":"SUM(B41:B42)","v":31.960999999999999},{"$f":"SUM(C41:C42)","v":29.300999999999998},{"$f":"SUM(D41:D42)","v":29.300999999999998}]
[{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087}]
[{"$f":"SUM(A44-A43)","v":-7.0453344768439123},{"$f":"SUM(B44-B43)","v":-3.411334476843912},{"$f":"SUM(C44-C43)","v":-0.75133447684391186},{"$f":"SUM(D44-D43)","v":-0.75133447684391186}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.549665523156087},"LOS"]
["Undulator",{"$f":"B5","v":"SN 02"}]
["Date:",{"$f":"B6","v":"2014-05-19"}]
["Crew:",{"$f":"B7","v":"MR, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.15,31.152000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.15},{"$f":"SUM(C64:C65)","v":32.152000000000001}]
[null,{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087}]
[0,{"$f":"SUM(B67-B66)","v":-3.6003344768439121},{"$f":"SUM(C67-C66)","v":-3.6023344768439145}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.445,33.040999999999997,33.040999999999997]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.445},{"$f":"SUM(B74:B75)","v":34.040999999999997},{"$f":"SUM(C74:C75)","v":34.040999999999997}]
[{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087}]
[{"$f":"SUM(A77-A76)","v":-1.8953344768439138},{"$f":"SUM(B77-B76)","v":-5.4913344768439103},{"$f":"SUM(C77-C76)","v":-5.4913344768439103}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.446000000000002,33.042000000000002,33.040999999999997]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.446000000000002},{"$f":"SUM(B83:B84)","v":34.042000000000002},{"$f":"SUM(C83:C84)","v":34.040999999999997}]
[{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087}]
[{"$f":"SUM(A86-A85)","v":-1.896334476843915},{"$f":"SUM(B86-B85)","v":-5.4923344768439151},{"$f":"SUM(C86-C85)","v":-5.4913344768439103}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.15,31.15]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.15},{"$f":"SUM(C92:C93)","v":32.15}]
[null,{"$f":"B18","v":28.549665523156087},{"$f":"B18","v":28.549665523156087}]
[0,{"$f":"SUM(B95-B94)","v":-3.6003344768439121},{"$f":"SUM(C95-C94)","v":-3.6003344768439121}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.5180000000000007,9.51]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 02"},{"$f":"SUM(C104+C105)","v":10.518000000000001},{"$f":"SUM(D104+D105)","v":10.51}]
["Date:",{"$f":"B6","v":"2014-05-19"}]
["Crew:",{"$f":"B7","v":"MR, BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.513999999999999}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.5180000000000007},13.124000000000001,9.516,13.118]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.518000000000001},{"$f":"SUM(B114:B115)","v":14.124000000000001},{"$f":"SUM(C114:C115)","v":10.516},{"$f":"SUM(D114:D115)","v":14.118}]
[{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999}]
[{"$f":"SUM(A117-A116)","v":-4.0000000000013358E-3},{"$f":"SUM(B117-B116)","v":-3.6100000000000012},{"$f":"SUM(C117-C116)","v":-2.0000000000006679E-3},{"$f":"SUM(D117-D116)","v":-3.604000000000001}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.51,13.11,{"$f":"D104","v":9.51},13.11]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.51},{"$f":"SUM(B124:B125)","v":14.11},{"$f":"SUM(C124:C125)","v":10.51},{"$f":"SUM(D124:D125)","v":14.11}]
[{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999}]
[{"$f":"SUM(A127-A126)","v":3.9999999999995595E-3},{"$f":"SUM(B127-B126)","v":-3.5960000000000001},{"$f":"SUM(C127-C126)","v":3.9999999999995595E-3},{"$f":"SUM(D127-D126)","v":-3.5960000000000001}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.917999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.513999999999999},null,3.7999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4039999999999999},null,{"$f":"SUM(C137+C138)","v":-5.4260000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4649999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 02"}]
["Date:","2014-05-19"]
["Crew:",{"$f":"B7","v":"MR, BR"}]
[]
[]
["HI =",{"$f":"D109","v":10.513999999999999}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.0350000000000001,6.0369999999999999,6.0339999999999998,6.0309999999999997]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.0350000000000001},{"$f":"SUM(B165:B166)","v":7.0369999999999999},{"$f":"SUM(C165:C166)","v":7.0339999999999998},{"$f":"SUM(D165:D166)","v":7.0309999999999997}]
[{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999}]
[{"$f":"SUM(A168-A167)","v":3.4789999999999992},{"$f":"SUM(B168-B167)","v":3.4769999999999994},{"$f":"SUM(C168-C167)","v":3.4799999999999995},{"$f":"SUM(D168-D167)","v":3.4829999999999997}]
[]
[]
["5)","6)","7)","8)"]
[13.125,13.127000000000001,13.122999999999999,13.116]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.125},{"$f":"SUM(B173+B174)","v":14.127000000000001},{"$f":"SUM(C173+C174)","v":14.122999999999999},{"$f":"SUM(D173+D174)","v":14.116}]
[{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999}]
[{"$f":"SUM(A176-A175)","v":-3.6110000000000007},{"$f":"SUM(B176-B175)","v":-3.6130000000000013},{"$f":"SUM(C176-C175)","v":-3.609},{"$f":"SUM(D176-D175)","v":-3.6020000000000003}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.56,null,11.904,14.984]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.56},null,{"$f":"SUM(C184+C185)","v":12.904},{"$f":"SUM(D184+D185)","v":15.984}]
[{"$f":"D109","v":10.513999999999999},null,{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999}]
[{"$f":"SUM(A187-A186)","v":-4.6000000000001151E-2},0,{"$f":"SUM(C187-C186)","v":-2.3900000000000006},{"$f":"SUM(D187-D186)","v":-5.4700000000000006}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.8030000000000008,8.8030000000000008,8.7970000000000006,8.7970000000000006]
[{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999},{"$f":"D109","v":10.513999999999999}]
[{"$f":"SUM(A196-A195)","v":1.7109999999999985},{"$f":"SUM(B196-B195)","v":1.7109999999999985},{"$f":"SUM(C196-C195)","v":1.7169999999999987},{"$f":"SUM(D196-D195)","v":1.7169999999999987}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 02"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-05-19"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4789999999999992},{"$f":"B10*25.4","v":88.366599999999977},null,null,5,{"$f":"Sheet1!A35","v":4.2856655231560872},{"$f":"G10*25.4","v":108.85590428816461}]
[2,{"$f":"Sheet1!B169","v":3.4769999999999994},{"$f":"B11*25.4","v":88.315799999999982},null,null,6,{"$f":"Sheet1!B35","v":4.2886655231560873},{"$f":"G11*25.4","v":108.93210428816461}]
[3,{"$f":"Sheet1!C169","v":3.4799999999999995},{"$f":"B12*25.4","v":88.391999999999982},null,null,7,{"$f":"Sheet1!C35","v":4.289665523156085},{"$f":"G12*25.4","v":108.95750428816456}]
[4,{"$f":"Sheet1!D169","v":3.4829999999999997},{"$f":"B13*25.4","v":88.468199999999982},null,null,8,{"$f":"Sheet1!D35","v":4.2866655231560848},{"$f":"G13*25.4","v":108.88130428816454}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4913344768439103},{"$f":"Sheet1!C118","v":-2.0000000000006679E-3},{"$f":"B20*25.4","v":-139.47989571183533},{"$f":"C20*25.4","v":-5.0800000000016964E-2},null,{"$f":"H10-D21","v":156.99740000000003},{"$f":"C10-E20","v":88.417400000000001}]
["X1",{"$f":"Sheet1!A78","v":-1.8953344768439138},{"$f":"Sheet1!D118","v":-3.604000000000001},{"$f":"B21*25.4","v":-48.141495711835404},{"$f":"C21*25.4","v":-91.541600000000017}]
["Y1",{"$f":"Sheet1!B78","v":-5.4913344768439103},null,{"$f":"B22*25.4","v":-139.47989571183533}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4923344768439151},{"$f":"Sheet1!A128","v":3.9999999999995595E-3},{"$f":"B26*25.4","v":-139.50529571183543},{"$f":"C26*25.4","v":0.10159999999998881},null,{"$f":"H13-D27","v":157.04819999999998},{"$f":"C13-E26","v":88.366599999999991}]
["X1",{"$f":"Sheet1!A87","v":-1.896334476843915},{"$f":"Sheet1!B128","v":-3.5960000000000001},{"$f":"B27*25.4","v":-48.166895711835437},{"$f":"C27*25.4","v":-91.338399999999993}]
["Y2",{"$f":"Sheet1!C87","v":-5.4913344768439103},"\\",{"$f":"B28*25.4","v":-139.47989571183533}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4649999999999999},{"$f":"B36*25.4","v":-138.81099999999998},null,"US  +",{"$f":"Sheet1!A197","v":1.7109999999999985},{"$f":"F36*25.4","v":43.45939999999996}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7109999999999985},{"$f":"F37*25.4","v":43.45939999999996}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7169999999999987},{"$f":"F38*25.4","v":43.611799999999967}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7169999999999987},{"$f":"F39*25.4","v":43.611799999999967}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4039999999999999},{"$f":"B42*25.4","v":-111.8616}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-05-19"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4983344768439153},{"$f":"Sheet1!A169","v":3.4789999999999992},{"$f":"SUM(B10*25.4)","v":-139.65769571183543},{"$f":"SUM(C10*25.4)","v":88.366599999999977}]
[2,{"$f":"Sheet1!B28","v":-5.4883344768439102},{"$f":"Sheet1!B169","v":3.4769999999999994},{"$f":"SUM(B11*25.4)","v":-139.4036957118353},{"$f":"SUM(C11*25.4)","v":88.315799999999982},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4943344768439104},{"$f":"Sheet1!C169","v":3.4799999999999995},-139.55609571183533,88.391999999999982,null,{"$f":"Sheet1!C141","v":-5.4649999999999999},{"$f":"SUM(G12*25.4)","v":-138.81099999999998}]
[4,{"$f":"Sheet1!D28","v":-5.4983344768439153},{"$f":"Sheet1!D169","v":3.4829999999999997},-139.65769571183543,88.468199999999982]
[5,{"$f":"Sheet1!A35","v":4.2856655231560872},{"$f":"Sheet1!A177","v":-3.6110000000000007},108.85590428816461,-91.719400000000007]
[6,{"$f":"Sheet1!B35","v":4.2886655231560873},{"$f":"Sheet1!B177","v":-3.6130000000000013},108.93210428816461,-91.770200000000031,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.289665523156085},{"$f":"Sheet1!C177","v":-3.609},108.95750428816456,-91.668599999999998]
[8,{"$f":"Sheet1!D35","v":4.2866655231560848},{"$f":"Sheet1!D177","v":-3.6020000000000003},108.88130428816454,-91.490800000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4039999999999999},{"$f":"SUM(G18*25.4)","v":-111.8616}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8953344768439138},{"$f":"Sheet1!C118","v":-2.0000000000006679E-3},{"$f":"SUM(B23*25.4)","v":-48.141495711835404},{"$f":"SUM(C23*25.4)","v":-5.0800000000016964E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8953344768439138},{"$f":"Sheet1!D118","v":-3.604000000000001},{"$f":"SUM(B24*25.4)","v":-48.141495711835404},{"$f":"SUM(C24*25.4)","v":-91.541600000000017},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4913344768439103},null,{"$f":"SUM(B25*25.4)","v":-139.47989571183533},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7109999999999985},{"$f":"SUM(H25*25.4)","v":43.45939999999996}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7109999999999985},{"$f":"SUM(H26*25.4)","v":43.45939999999996}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7169999999999987},{"$f":"SUM(H27*25.4)","v":43.611799999999967}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7169999999999987},{"$f":"SUM(H28*25.4)","v":43.611799999999967}]
["Y1",{"$f":"Sheet1!B87","v":-5.4923344768439151},{"$f":"Sheet1!A128","v":3.9999999999995595E-3},{"$f":"SUM(B29*25.4)","v":-139.50529571183543},{"$f":"SUM(C29*25.4)","v":0.10159999999998881}]
["X1",{"$f":"Sheet1!A87","v":-1.896334476843915},{"$f":"Sheet1!B128","v":-3.5960000000000001},{"$f":"SUM(B30*25.4)","v":-48.166895711835437},{"$f":"SUM(C30*25.4)","v":-91.338399999999993}]
["Y2",{"$f":"Sheet1!C87","v":-5.4913344768439103},null,{"$f":"SUM(B31*25.4)","v":-139.47989571183533}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6003344768439121},{"$f":"Sheet1!A118","v":-4.0000000000013358E-3},{"$f":"SUM(B37*25.4)","v":-91.448495711835363},{"$f":"SUM(C37*25.4)","v":-0.10160000000003393},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6100000000000012},0,{"$f":"SUM(C38*25.4)","v":-91.694000000000031}]
["Y2",{"$f":"Sheet1!C68","v":-3.6023344768439145},null,{"$f":"SUM(B39*25.4)","v":-91.49929571183543}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6003344768439121},{"$f":"Sheet1!C128","v":3.9999999999995595E-3},{"$f":"SUM(B43*25.4)","v":-91.448495711835363},{"$f":"SUM(C43*25.4)","v":0.10159999999998881}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5960000000000001},0,{"$f":"SUM(C44*25.4)","v":-91.338399999999993}]
["Y2",{"$f":"Sheet1!C96","v":-3.6003344768439121},null,{"$f":"SUM(B45*25.4)","v":-91.448495711835363}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0453344768439123},{"$f":"Sheet1!A188","v":-4.6000000000001151E-2},{"$f":"SUM(B49*25.4)","v":-178.95149571183535},{"$f":"SUM(C49*25.4)","v":-1.1684000000000292}]
["B",{"$f":"Sheet1!B45","v":-3.411334476843912},null,{"$f":"SUM(B50*25.4)","v":-86.647895711835361}]
["C",{"$f":"Sheet1!C45","v":-0.75133447684391186},{"$f":"Sheet1!C188","v":-2.3900000000000006},{"$f":"SUM(B51*25.4)","v":-19.08389571183536},{"$f":"SUM(C51*25.4)","v":-60.70600000000001}]
["D",{"$f":"Sheet1!D45","v":-0.75133447684391186},{"$f":"Sheet1!D188","v":-5.4700000000000006},{"$f":"SUM(B52*25.4)","v":-19.08389571183536},{"$f":"SUM(C52*25.4)","v":-138.93800000000002}]