{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 03"]
["Date:","2013-02-25"]
["Crew:","BR, HI"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",29]
["1st. Near",29.687999999999999]
["2nd. Far",30.5]
["2nd Near",30.096]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":29.945054945054945}]
["Near Should Read",29.945054945054945]
["LOS",29.945054945054945]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[34.427,34.433,34.44,34.441000000000003]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":35.427},{"$f":"SUM(B24:B25)","v":35.433},{"$f":"SUM(C24:C25)","v":35.44},{"$f":"SUM(D24:D25)","v":35.441000000000003}]
[{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945}]
[{"$f":"SUM(A27-A26)","v":-5.4819450549450544},{"$f":"SUM(B27-B26)","v":-5.4879450549450546},{"$f":"SUM(C27-C26)","v":-5.4949450549450525},{"$f":"SUM(D27-D26)","v":-5.4959450549450573}]
[]
["5)","6)","7)","8)"]
[24.652000000000001,24.655000000000001,24.657,24.655999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":25.652000000000001},{"$f":"SUM(B31:B32)","v":25.655000000000001},{"$f":"SUM(C31:C32)","v":25.657},{"$f":"SUM(D31:D32)","v":25.655999999999999}]
[{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945}]
[{"$f":"SUM(A34-A33)","v":4.2930549450549442},{"$f":"SUM(B34-B33)","v":4.2900549450549441},{"$f":"SUM(C34-C33)","v":4.2880549450549452},{"$f":"SUM(D34-D33)","v":4.2890549450549464}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[35.978000000000002,31.443000000000001,29.687999999999999,29.686]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":36.978000000000002},{"$f":"SUM(B41:B42)","v":32.442999999999998},{"$f":"SUM(C41:C42)","v":30.687999999999999},{"$f":"SUM(D41:D42)","v":30.686}]
[{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945}]
[{"$f":"SUM(A44-A43)","v":-7.0329450549450563},{"$f":"SUM(B44-B43)","v":-2.4979450549450526},{"$f":"SUM(C44-C43)","v":-0.74294505494505358},{"$f":"SUM(D44-D43)","v":-0.74094505494505469}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":29.945054945054945},"LOS"]
["Undulator",{"$f":"B5","v":"SN 03"}]
["Date:",{"$f":"B6","v":"2013-02-25"}]
["Crew:",{"$f":"B7","v":"BR, HI"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,32.543999999999997,32.548000000000002]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":33.543999999999997},{"$f":"SUM(C64:C65)","v":33.548000000000002}]
[null,{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945}]
[0,{"$f":"SUM(B67-B66)","v":-3.5989450549450517},{"$f":"SUM(C67-C66)","v":-3.6029450549450566}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[30.827000000000002,34.42,34.423999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":31.827000000000002},{"$f":"SUM(B74:B75)","v":35.42},{"$f":"SUM(C74:C75)","v":35.423999999999999}]
[{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945}]
[{"$f":"SUM(A77-A76)","v":-1.8819450549450565},{"$f":"SUM(B77-B76)","v":-5.4749450549450565},{"$f":"SUM(C77-C76)","v":-5.4789450549450542}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[30.829000000000001,34.424999999999997,34.423999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":31.829000000000001},{"$f":"SUM(B83:B84)","v":35.424999999999997},{"$f":"SUM(C83:C84)","v":35.423999999999999}]
[{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945}]
[{"$f":"SUM(A86-A85)","v":-1.8839450549450554},{"$f":"SUM(B86-B85)","v":-5.4799450549450519},{"$f":"SUM(C86-C85)","v":-5.4789450549450542}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,32.545999999999999,32.540999999999997]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":33.545999999999999},{"$f":"SUM(C92:C93)","v":33.540999999999997}]
[null,{"$f":"B18","v":29.945054945054945},{"$f":"B18","v":29.945054945054945}]
[0,{"$f":"SUM(B95-B94)","v":-3.6009450549450541},{"$f":"SUM(C95-C94)","v":-3.5959450549450516}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,5.827,5.8179999999999996]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 03"},{"$f":"SUM(C104+C105)","v":6.827},{"$f":"SUM(D104+D105)","v":6.8179999999999996}]
["Date:",{"$f":"B6","v":"2013-02-25"}]
["Crew:",{"$f":"B7","v":"BR, HI"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":6.8224999999999998}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":5.827},9.4339999999999993,5.8330000000000002,9.4329999999999998]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":6.827},{"$f":"SUM(B114:B115)","v":10.433999999999999},{"$f":"SUM(C114:C115)","v":6.8330000000000002},{"$f":"SUM(D114:D115)","v":10.433}]
[{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998}]
[{"$f":"SUM(A117-A116)","v":-4.5000000000001705E-3},{"$f":"SUM(B117-B116)","v":-3.6114999999999995},{"$f":"SUM(C117-C116)","v":-1.0500000000000398E-2},{"$f":"SUM(D117-D116)","v":-3.6105}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[5.8319999999999999,9.4309999999999992,{"$f":"D104","v":5.8179999999999996},9.42]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":6.8319999999999999},{"$f":"SUM(B124:B125)","v":10.430999999999999},{"$f":"SUM(C124:C125)","v":6.8179999999999996},{"$f":"SUM(D124:D125)","v":10.42}]
[{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998}]
[{"$f":"SUM(A127-A126)","v":-9.5000000000000639E-3},{"$f":"SUM(B127-B126)","v":-3.6084999999999994},{"$f":"SUM(C127-C126)","v":4.5000000000001705E-3},{"$f":"SUM(D127-D126)","v":-3.5975000000000001}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[11.228,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":6.8224999999999998},null,3.3000000000000002E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4055},null,{"$f":"SUM(C137+C138)","v":-5.431}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.47},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 03"}]
["Date:",{"$f":"B6","v":"2013-02-25"}]
["Crew:",{"$f":"B7","v":"BR, HI"}]
[]
[]
["HI =",{"$f":"D109","v":6.8224999999999998}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[2.3479999999999999,2.35,2.35,2.3380000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":3.3479999999999999},{"$f":"SUM(B165:B166)","v":3.35},{"$f":"SUM(C165:C166)","v":3.35},{"$f":"SUM(D165:D166)","v":3.3380000000000001}]
[{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998}]
[{"$f":"SUM(A168-A167)","v":3.4744999999999999},{"$f":"SUM(B168-B167)","v":3.4724999999999997},{"$f":"SUM(C168-C167)","v":3.4724999999999997},{"$f":"SUM(D168-D167)","v":3.4844999999999997}]
[]
[]
["5)","6)","7)","8)"]
[9.4269999999999996,9.43,9.4260000000000002,9.4320000000000004]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":10.427},{"$f":"SUM(B173+B174)","v":10.43},{"$f":"SUM(C173+C174)","v":10.426},{"$f":"SUM(D173+D174)","v":10.432}]
[{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998}]
[{"$f":"SUM(A176-A175)","v":-3.6044999999999998},{"$f":"SUM(B176-B175)","v":-3.6074999999999999},{"$f":"SUM(C176-C175)","v":-3.6035000000000004},{"$f":"SUM(D176-D175)","v":-3.6095000000000006}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[6.069,null,8.2119999999999997,11.292999999999999]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":7.069},null,{"$f":"SUM(C184+C185)","v":9.2119999999999997},{"$f":"SUM(D184+D185)","v":12.292999999999999}]
[{"$f":"D109","v":6.8224999999999998},null,{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998}]
[{"$f":"SUM(A187-A186)","v":-0.24650000000000016},0,{"$f":"SUM(C187-C186)","v":-2.3895},{"$f":"SUM(D187-D186)","v":-5.4704999999999995}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[5.1130000000000004,5.1150000000000002,5.1120000000000001,5.1130000000000004]
[{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998},{"$f":"D109","v":6.8224999999999998}]
[{"$f":"SUM(A196-A195)","v":1.7094999999999994},{"$f":"SUM(B196-B195)","v":1.7074999999999996},{"$f":"SUM(C196-C195)","v":1.7104999999999997},{"$f":"SUM(D196-D195)","v":1.7094999999999994}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 03"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-02-25"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, HI"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4744999999999999},{"$f":"B10*25.4","v":88.252299999999991},null,null,5,{"$f":"Sheet1!A35","v":4.2930549450549442},{"$f":"G10*25.4","v":109.04359560439558}]
[2,{"$f":"Sheet1!B169","v":3.4724999999999997},{"$f":"B11*25.4","v":88.201499999999982},null,null,6,{"$f":"Sheet1!B35","v":4.2900549450549441},{"$f":"G11*25.4","v":108.96739560439558}]
[3,{"$f":"Sheet1!C169","v":3.4724999999999997},{"$f":"B12*25.4","v":88.201499999999982},null,null,7,{"$f":"Sheet1!C35","v":4.2880549450549452},{"$f":"G12*25.4","v":108.9165956043956}]
[4,{"$f":"Sheet1!D169","v":3.4844999999999997},{"$f":"B13*25.4","v":88.506299999999982},null,null,8,{"$f":"Sheet1!D35","v":4.2890549450549464},{"$f":"G13*25.4","v":108.94199560439563}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4789450549450542},{"$f":"Sheet1!C118","v":-1.0500000000000398E-2},{"$f":"B20*25.4","v":-139.16520439560438},{"$f":"C20*25.4","v":-0.2667000000000101},null,{"$f":"H10-D21","v":156.845},{"$f":"C10-E20","v":88.519000000000005}]
["X1",{"$f":"Sheet1!A78","v":-1.8819450549450565},{"$f":"Sheet1!D118","v":-3.6105},{"$f":"B21*25.4","v":-47.801404395604429},{"$f":"C21*25.4","v":-91.706699999999998}]
["Y1",{"$f":"Sheet1!B78","v":-5.4749450549450565},null,{"$f":"B22*25.4","v":-139.06360439560441}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4799450549450519},{"$f":"Sheet1!A128","v":-9.5000000000000639E-3},{"$f":"B26*25.4","v":-139.19060439560431},{"$f":"C26*25.4","v":-0.24130000000000162},null,{"$f":"H13-D27","v":156.79420000000005},{"$f":"C13-E26","v":88.747599999999977}]
["X1",{"$f":"Sheet1!A87","v":-1.8839450549450554},{"$f":"Sheet1!B128","v":-3.6084999999999994},{"$f":"B27*25.4","v":-47.852204395604403},{"$f":"C27*25.4","v":-91.655899999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4789450549450542},"\\",{"$f":"B28*25.4","v":-139.16520439560438}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.47},{"$f":"B36*25.4","v":-138.93799999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7094999999999994},{"$f":"F36*25.4","v":43.421299999999981}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7074999999999996},{"$f":"F37*25.4","v":43.370499999999986}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7104999999999997},{"$f":"F38*25.4","v":43.446699999999993}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7094999999999994},{"$f":"F39*25.4","v":43.421299999999981}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4055},{"$f":"B42*25.4","v":-111.8997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-02-25"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4819450549450544},{"$f":"Sheet1!A169","v":3.4744999999999999},{"$f":"SUM(B10*25.4)","v":-139.24140439560438},{"$f":"SUM(C10*25.4)","v":88.252299999999991}]
[2,{"$f":"Sheet1!B28","v":-5.4879450549450546},{"$f":"Sheet1!B169","v":3.4724999999999997},{"$f":"SUM(B11*25.4)","v":-139.39380439560438},{"$f":"SUM(C11*25.4)","v":88.201499999999982},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4949450549450525},{"$f":"Sheet1!C169","v":3.4724999999999997},-139.57160439560434,88.201499999999982,null,{"$f":"Sheet1!C141","v":-5.47},{"$f":"SUM(G12*25.4)","v":-138.93799999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4959450549450573},{"$f":"Sheet1!D169","v":3.4844999999999997},-139.59700439560444,88.506299999999982]
[5,{"$f":"Sheet1!A35","v":4.2930549450549442},{"$f":"Sheet1!A177","v":-3.6044999999999998},109.04359560439558,-91.554299999999984]
[6,{"$f":"Sheet1!B35","v":4.2900549450549441},{"$f":"Sheet1!B177","v":-3.6074999999999999},108.96739560439558,-91.630499999999998,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2880549450549452},{"$f":"Sheet1!C177","v":-3.6035000000000004},108.9165956043956,-91.528900000000007]
[8,{"$f":"Sheet1!D35","v":4.2890549450549464},{"$f":"Sheet1!D177","v":-3.6095000000000006},108.94199560439563,-91.681300000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4055},{"$f":"SUM(G18*25.4)","v":-111.8997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8819450549450565},{"$f":"Sheet1!C118","v":-1.0500000000000398E-2},{"$f":"SUM(B23*25.4)","v":-47.801404395604429},{"$f":"SUM(C23*25.4)","v":-0.2667000000000101}]
["X1",{"$f":"Sheet1!A78","v":-1.8819450549450565},{"$f":"Sheet1!D118","v":-3.6105},{"$f":"SUM(B24*25.4)","v":-47.801404395604429},{"$f":"SUM(C24*25.4)","v":-91.706699999999998},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4749450549450565},null,{"$f":"SUM(B25*25.4)","v":-139.06360439560441},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7094999999999994},{"$f":"SUM(H25*25.4)","v":43.421299999999981}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7074999999999996},{"$f":"SUM(H26*25.4)","v":43.370499999999986}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7104999999999997},{"$f":"SUM(H27*25.4)","v":43.446699999999993}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7094999999999994},{"$f":"SUM(H28*25.4)","v":43.421299999999981}]
["Y1",{"$f":"Sheet1!B87","v":-5.4799450549450519},{"$f":"Sheet1!A128","v":-9.5000000000000639E-3},{"$f":"SUM(B29*25.4)","v":-139.19060439560431},{"$f":"SUM(C29*25.4)","v":-0.24130000000000162}]
["X1",{"$f":"Sheet1!A87","v":-1.8839450549450554},{"$f":"Sheet1!B128","v":-3.6084999999999994},{"$f":"SUM(B30*25.4)","v":-47.852204395604403},{"$f":"SUM(C30*25.4)","v":-91.655899999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4789450549450542},null,{"$f":"SUM(B31*25.4)","v":-139.16520439560438}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5989450549450517},{"$f":"Sheet1!A118","v":-4.5000000000001705E-3},{"$f":"SUM(B37*25.4)","v":-91.413204395604311},{"$f":"SUM(C37*25.4)","v":-0.11430000000000433},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6114999999999995},0,{"$f":"SUM(C38*25.4)","v":-91.732099999999988}]
["Y2",{"$f":"Sheet1!C68","v":-3.6029450549450566},null,{"$f":"SUM(B39*25.4)","v":-91.514804395604429}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6009450549450541},{"$f":"Sheet1!C128","v":4.5000000000001705E-3},{"$f":"SUM(B43*25.4)","v":-91.464004395604363},{"$f":"SUM(C43*25.4)","v":0.11430000000000433}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5975000000000001},0,{"$f":"SUM(C44*25.4)","v":-91.376499999999993}]
["Y2",{"$f":"Sheet1!C96","v":-3.5959450549450516},null,{"$f":"SUM(B45*25.4)","v":-91.337004395604311}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0329450549450563},{"$f":"Sheet1!A188","v":-0.24650000000000016},{"$f":"SUM(B49*25.4)","v":-178.63680439560443},{"$f":"SUM(C49*25.4)","v":-6.2611000000000034}]
["B",{"$f":"Sheet1!B45","v":-2.4979450549450526},null,{"$f":"SUM(B50*25.4)","v":-63.447804395604329}]
["C",{"$f":"Sheet1!C45","v":-0.74294505494505358},{"$f":"Sheet1!C188","v":-2.3895},{"$f":"SUM(B51*25.4)","v":-18.87080439560436},{"$f":"SUM(C51*25.4)","v":-60.693299999999994}]
["D",{"$f":"Sheet1!D45","v":-0.74094505494505469},{"$f":"Sheet1!D188","v":-5.4704999999999995},{"$f":"SUM(B52*25.4)","v":-18.820004395604389},{"$f":"SUM(C52*25.4)","v":-138.95069999999998}]