{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 05"]
["Date:","2014-04-28"]
["Crew:","HI, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28]
["1st. Near",28.523]
["2nd. Far",28.417999999999999]
["2nd Near",28.628]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.69844728434505}]
["Near Should Read",28.69844728434505]
["LOS",28.69844728434505]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.183,33.183999999999997,33.186,33.183999999999997]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.183},{"$f":"SUM(B24:B25)","v":34.183999999999997},{"$f":"SUM(C24:C25)","v":34.186},{"$f":"SUM(D24:D25)","v":34.183999999999997}]
[{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505}]
[{"$f":"SUM(A27-A26)","v":-5.4845527156549494},{"$f":"SUM(B27-B26)","v":-5.4855527156549471},{"$f":"SUM(C27-C26)","v":-5.4875527156549495},{"$f":"SUM(D27-D26)","v":-5.4855527156549471}]
[]
["5)","6)","7)","8)"]
[23.41,23.408000000000001,23.405000000000001,23.405999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.41},{"$f":"SUM(B31:B32)","v":24.408000000000001},{"$f":"SUM(C31:C32)","v":24.405000000000001},{"$f":"SUM(D31:D32)","v":24.405999999999999}]
[{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505}]
[{"$f":"SUM(A34-A33)","v":4.2884472843450503},{"$f":"SUM(B34-B33)","v":4.2904472843450492},{"$f":"SUM(C34-C33)","v":4.2934472843450493},{"$f":"SUM(D34-D33)","v":4.2924472843450516}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.74,30.207999999999998,28.448,28.448]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.74},{"$f":"SUM(B41:B42)","v":31.207999999999998},{"$f":"SUM(C41:C42)","v":29.448},{"$f":"SUM(D41:D42)","v":29.448}]
[{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505}]
[{"$f":"SUM(A44-A43)","v":-7.0415527156549516},{"$f":"SUM(B44-B43)","v":-2.509552715654948},{"$f":"SUM(C44-C43)","v":-0.74955271565494996},{"$f":"SUM(D44-D43)","v":-0.74955271565494996}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.69844728434505},"LOS"]
["Undulator",{"$f":"B5","v":"SN 05"}]
["Date:",{"$f":"B6","v":"2014-04-28"}]
["Crew:",{"$f":"B7","v":"HI, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.295999999999999,31.3]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.295999999999999},{"$f":"SUM(C64:C65)","v":32.299999999999997}]
[null,{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505}]
[0,{"$f":"SUM(B67-B66)","v":-3.5975527156549489},{"$f":"SUM(C67-C66)","v":-3.6015527156549467}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.587,33.180999999999997,33.180999999999997]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.587},{"$f":"SUM(B74:B75)","v":34.180999999999997},{"$f":"SUM(C74:C75)","v":34.180999999999997}]
[{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505}]
[{"$f":"SUM(A77-A76)","v":-1.8885527156549493},{"$f":"SUM(B77-B76)","v":-5.482552715654947},{"$f":"SUM(C77-C76)","v":-5.482552715654947}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.582999999999998,33.177,33.18]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.582999999999998},{"$f":"SUM(B83:B84)","v":34.177},{"$f":"SUM(C83:C84)","v":34.18}]
[{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505}]
[{"$f":"SUM(A86-A85)","v":-1.884552715654948},{"$f":"SUM(B86-B85)","v":-5.4785527156549492},{"$f":"SUM(C86-C85)","v":-5.4815527156549493}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.294,31.291]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.293999999999997},{"$f":"SUM(C92:C93)","v":32.290999999999997}]
[null,{"$f":"B18","v":28.69844728434505},{"$f":"B18","v":28.69844728434505}]
[0,{"$f":"SUM(B95-B94)","v":-3.5955527156549465},{"$f":"SUM(C95-C94)","v":-3.5925527156549464}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.5169999999999995,9.5090000000000003]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 05"},{"$f":"SUM(C104+C105)","v":10.516999999999999},{"$f":"SUM(D104+D105)","v":10.509}]
["Date:",{"$f":"B6","v":"2014-04-28"}]
["Crew:",{"$f":"B7","v":"HI, BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.513}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.5169999999999995},13.124000000000001,9.516,13.117000000000001]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.516999999999999},{"$f":"SUM(B114:B115)","v":14.124000000000001},{"$f":"SUM(C114:C115)","v":10.516},{"$f":"SUM(D114:D115)","v":14.117000000000001}]
[{"$f":"D109","v":10.513},{"$f":"D109","v":10.513},{"$f":"D109","v":10.513},{"$f":"D109","v":10.513}]
[{"$f":"SUM(A117-A116)","v":-3.9999999999995595E-3},{"$f":"SUM(B117-B116)","v":-3.6110000000000007},{"$f":"SUM(C117-C116)","v":-3.0000000000001137E-3},{"$f":"SUM(D117-D116)","v":-3.604000000000001}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.5069999999999997,13.106,{"$f":"D104","v":9.5090000000000003},13.11]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.507},{"$f":"SUM(B124:B125)","v":14.106},{"$f":"SUM(C124:C125)","v":10.509},{"$f":"SUM(D124:D125)","v":14.11}]
[{"$f":"D109","v":10.513},{"$f":"D109","v":10.513},{"$f":"D109","v":10.513},{"$f":"D109","v":10.513}]
[{"$f":"SUM(A127-A126)","v":6.0000000000002274E-3},{"$f":"SUM(B127-B126)","v":-3.593},{"$f":"SUM(C127-C126)","v":3.9999999999995595E-3},{"$f":"SUM(D127-D126)","v":-3.5969999999999995}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.919,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.513},null,0.04,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4060000000000006},null,{"$f":"SUM(C137+C138)","v":-5.4240000000000004}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4630000000000001},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 05"}]
["Date:","2014-04-28"]
["Crew:",{"$f":"B7","v":"HI, BR"}]
[]
[]
["HI =",{"$f":"D109","v":10.513}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.0369999999999999,6.0339999999999998,6.0339999999999998,6.0270000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.0369999999999999},{"$f":"SUM(B165:B166)","v":7.0339999999999998},{"$f":"SUM(C165:C166)","v":7.0339999999999998},{"$f":"SUM(D165:D166)","v":7.0270000000000001}]
[{"$f":"D109","v":10.513},{"$f":"D109","v":10.513},{"$f":"D109","v":10.513},{"$f":"D109","v":10.513}]
[{"$f":"SUM(A168-A167)","v":3.476},{"$f":"SUM(B168-B167)","v":3.4790000000000001},{"$f":"SUM(C168-C167)","v":3.4790000000000001},{"$f":"SUM(D168-D167)","v":3.4859999999999998}]
[]
[]
["5)","6)","7)","8)"]
[13.117000000000001,13.115,13.114000000000001,13.112]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.117000000000001},{"$f":"SUM(B173+B174)","v":14.115},{"$f":"SUM(C173+C174)","v":14.114000000000001},{"$f":"SUM(D173+D174)","v":14.112}]
[{"$f":"D109","v":10.513},{"$f":"D109","v":10.513},{"$f":"D109","v":10.513},{"$f":"D109","v":10.513}]
[{"$f":"SUM(A176-A175)","v":-3.604000000000001},{"$f":"SUM(B176-B175)","v":-3.6020000000000003},{"$f":"SUM(C176-C175)","v":-3.6010000000000009},{"$f":"SUM(D176-D175)","v":-3.5990000000000002}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.7579999999999991,null,11.903,14.984]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.757999999999999},null,{"$f":"SUM(C184+C185)","v":12.903},{"$f":"SUM(D184+D185)","v":15.984}]
[{"$f":"D109","v":10.513},null,{"$f":"D109","v":10.513},{"$f":"D109","v":10.513}]
[{"$f":"SUM(A187-A186)","v":-0.24499999999999922},0,{"$f":"SUM(C187-C186)","v":-2.3900000000000006},{"$f":"SUM(D187-D186)","v":-5.4710000000000001}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.8040000000000003,8.8030000000000008,8.7970000000000006,8.7970000000000006]
[{"$f":"D109","v":10.513},{"$f":"D109","v":10.513},{"$f":"D109","v":10.513},{"$f":"D109","v":10.513}]
[{"$f":"SUM(A196-A195)","v":1.7089999999999996},{"$f":"SUM(B196-B195)","v":1.7099999999999991},{"$f":"SUM(C196-C195)","v":1.7159999999999993},{"$f":"SUM(D196-D195)","v":1.7159999999999993}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 05"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-04-28"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"HI, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.476},{"$f":"B10*25.4","v":88.290399999999991},null,null,5,{"$f":"Sheet1!A35","v":4.2884472843450503},{"$f":"G10*25.4","v":108.92656102236427}]
[2,{"$f":"Sheet1!B169","v":3.4790000000000001},{"$f":"B11*25.4","v":88.366599999999991},null,null,6,{"$f":"Sheet1!B35","v":4.2904472843450492},{"$f":"G11*25.4","v":108.97736102236425}]
[3,{"$f":"Sheet1!C169","v":3.4790000000000001},{"$f":"B12*25.4","v":88.366599999999991},null,null,7,{"$f":"Sheet1!C35","v":4.2934472843450493},{"$f":"G12*25.4","v":109.05356102236425}]
[4,{"$f":"Sheet1!D169","v":3.4859999999999998},{"$f":"B13*25.4","v":88.544399999999996},null,null,8,{"$f":"Sheet1!D35","v":4.2924472843450516},{"$f":"G13*25.4","v":109.0281610223643}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.482552715654947},{"$f":"Sheet1!C118","v":-3.0000000000001137E-3},{"$f":"B20*25.4","v":-139.25683897763565},{"$f":"C20*25.4","v":-7.6200000000002877E-2},null,{"$f":"H10-D21","v":156.89579999999998},{"$f":"C10-E20","v":88.366599999999991}]
["X1",{"$f":"Sheet1!A78","v":-1.8885527156549493},{"$f":"Sheet1!D118","v":-3.604000000000001},{"$f":"B21*25.4","v":-47.969238977635712},{"$f":"C21*25.4","v":-91.541600000000017}]
["Y1",{"$f":"Sheet1!B78","v":-5.482552715654947},null,{"$f":"B22*25.4","v":-139.25683897763565}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4785527156549492},{"$f":"Sheet1!A128","v":6.0000000000002274E-3},{"$f":"B26*25.4","v":-139.15523897763569},{"$f":"C26*25.4","v":0.15240000000000575},null,{"$f":"H13-D27","v":156.89579999999998},{"$f":"C13-E26","v":88.391999999999996}]
["X1",{"$f":"Sheet1!A87","v":-1.884552715654948},{"$f":"Sheet1!B128","v":-3.593},{"$f":"B27*25.4","v":-47.867638977635679},{"$f":"C27*25.4","v":-91.262199999999993}]
["Y2",{"$f":"Sheet1!C87","v":-5.4815527156549493},"\\",{"$f":"B28*25.4","v":-139.23143897763569}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4630000000000001},{"$f":"B36*25.4","v":-138.7602},null,"US  +",{"$f":"Sheet1!A197","v":1.7089999999999996},{"$f":"F36*25.4","v":43.408599999999986}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7099999999999991},{"$f":"F37*25.4","v":43.433999999999976}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7159999999999993},{"$f":"F38*25.4","v":43.586399999999983}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7159999999999993},{"$f":"F39*25.4","v":43.586399999999983}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4060000000000006},{"$f":"B42*25.4","v":-111.91240000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-04-28"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4845527156549494},{"$f":"Sheet1!A169","v":3.476},{"$f":"SUM(B10*25.4)","v":-139.30763897763572},{"$f":"SUM(C10*25.4)","v":88.290399999999991}]
[2,{"$f":"Sheet1!B28","v":-5.4855527156549471},{"$f":"Sheet1!B169","v":3.4790000000000001},{"$f":"SUM(B11*25.4)","v":-139.33303897763565},{"$f":"SUM(C11*25.4)","v":88.366599999999991},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4875527156549495},{"$f":"Sheet1!C169","v":3.4790000000000001},-139.38383897763572,88.366599999999991,null,{"$f":"Sheet1!C141","v":-5.4630000000000001},{"$f":"SUM(G12*25.4)","v":-138.7602}]
[4,{"$f":"Sheet1!D28","v":-5.4855527156549471},{"$f":"Sheet1!D169","v":3.4859999999999998},-139.33303897763565,88.544399999999996]
[5,{"$f":"Sheet1!A35","v":4.2884472843450503},{"$f":"Sheet1!A177","v":-3.604000000000001},108.92656102236427,-91.541600000000017]
[6,{"$f":"Sheet1!B35","v":4.2904472843450492},{"$f":"Sheet1!B177","v":-3.6020000000000003},108.97736102236425,-91.490800000000007,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2934472843450493},{"$f":"Sheet1!C177","v":-3.6010000000000009},109.05356102236425,-91.465400000000017]
[8,{"$f":"Sheet1!D35","v":4.2924472843450516},{"$f":"Sheet1!D177","v":-3.5990000000000002},109.0281610223643,-91.414599999999993,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4060000000000006},{"$f":"SUM(G18*25.4)","v":-111.91240000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8885527156549493},{"$f":"Sheet1!C118","v":-3.0000000000001137E-3},{"$f":"SUM(B23*25.4)","v":-47.969238977635712},{"$f":"SUM(C23*25.4)","v":-7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8885527156549493},{"$f":"Sheet1!D118","v":-3.604000000000001},{"$f":"SUM(B24*25.4)","v":-47.969238977635712},{"$f":"SUM(C24*25.4)","v":-91.541600000000017},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.482552715654947},null,{"$f":"SUM(B25*25.4)","v":-139.25683897763565},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7089999999999996},{"$f":"SUM(H25*25.4)","v":43.408599999999986}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7099999999999991},{"$f":"SUM(H26*25.4)","v":43.433999999999976}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7159999999999993},{"$f":"SUM(H27*25.4)","v":43.586399999999983}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7159999999999993},{"$f":"SUM(H28*25.4)","v":43.586399999999983}]
["Y1",{"$f":"Sheet1!B87","v":-5.4785527156549492},{"$f":"Sheet1!A128","v":6.0000000000002274E-3},{"$f":"SUM(B29*25.4)","v":-139.15523897763569},{"$f":"SUM(C29*25.4)","v":0.15240000000000575}]
["X1",{"$f":"Sheet1!A87","v":-1.884552715654948},{"$f":"Sheet1!B128","v":-3.593},{"$f":"SUM(B30*25.4)","v":-47.867638977635679},{"$f":"SUM(C30*25.4)","v":-91.262199999999993}]
["Y2",{"$f":"Sheet1!C87","v":-5.4815527156549493},null,{"$f":"SUM(B31*25.4)","v":-139.23143897763569}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5975527156549489},{"$f":"Sheet1!A118","v":-3.9999999999995595E-3},{"$f":"SUM(B37*25.4)","v":-91.377838977635705},{"$f":"SUM(C37*25.4)","v":-0.10159999999998881},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6110000000000007},0,{"$f":"SUM(C38*25.4)","v":-91.719400000000007}]
["Y2",{"$f":"Sheet1!C68","v":-3.6015527156549467},null,{"$f":"SUM(B39*25.4)","v":-91.479438977635638}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5955527156549465},{"$f":"Sheet1!C128","v":3.9999999999995595E-3},{"$f":"SUM(B43*25.4)","v":-91.327038977635638},{"$f":"SUM(C43*25.4)","v":0.10159999999998881}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5969999999999995},0,{"$f":"SUM(C44*25.4)","v":-91.363799999999983}]
["Y2",{"$f":"Sheet1!C96","v":-3.5925527156549464},null,{"$f":"SUM(B45*25.4)","v":-91.250838977635638}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0415527156549516},{"$f":"Sheet1!A188","v":-0.24499999999999922},{"$f":"SUM(B49*25.4)","v":-178.85543897763577},{"$f":"SUM(C49*25.4)","v":-6.2229999999999794}]
["B",{"$f":"Sheet1!B45","v":-2.509552715654948},null,{"$f":"SUM(B50*25.4)","v":-63.742638977635671}]
["C",{"$f":"Sheet1!C45","v":-0.74955271565494996},{"$f":"Sheet1!C188","v":-2.3900000000000006},{"$f":"SUM(B51*25.4)","v":-19.038638977635728},{"$f":"SUM(C51*25.4)","v":-60.70600000000001}]
["D",{"$f":"Sheet1!D45","v":-0.74955271565494996},{"$f":"Sheet1!D188","v":-5.4710000000000001},{"$f":"SUM(B52*25.4)","v":-19.038638977635728},{"$f":"SUM(C52*25.4)","v":-138.96340000000001}]