{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 07"]
["Date:","2013-10-03"]
["Crew:","MR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26]
["1st. Near",27.404]
["2nd. Far",28]
["2nd Near",27.902999999999999]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.870752831445699}]
["Near Should Read",27.870752831445703]
["LOS",27.870752831445699]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.363999999999997,32.363999999999997,32.363999999999997,32.365000000000002]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.363999999999997},{"$f":"SUM(B24:B25)","v":33.363999999999997},{"$f":"SUM(C24:C25)","v":33.363999999999997},{"$f":"SUM(D24:D25)","v":33.365000000000002}]
[{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699}]
[{"$f":"SUM(A27-A26)","v":-5.4932471685542978},{"$f":"SUM(B27-B26)","v":-5.4932471685542978},{"$f":"SUM(C27-C26)","v":-5.4932471685542978},{"$f":"SUM(D27-D26)","v":-5.4942471685543026}]
[]
["5)","6)","7)","8)"]
[22.584,22.585000000000001,22.582999999999998,22.582999999999998]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.584},{"$f":"SUM(B31:B32)","v":23.585000000000001},{"$f":"SUM(C31:C32)","v":23.582999999999998},{"$f":"SUM(D31:D32)","v":23.582999999999998}]
[{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699}]
[{"$f":"SUM(A34-A33)","v":4.2867528314456997},{"$f":"SUM(B34-B33)","v":4.2857528314456985},{"$f":"SUM(C34-C33)","v":4.287752831445701},{"$f":"SUM(D34-D33)","v":4.287752831445701}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.911999999999999,29.382000000000001,27.622,28.622]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.911999999999999},{"$f":"SUM(B41:B42)","v":30.382000000000001},{"$f":"SUM(C41:C42)","v":28.622},{"$f":"SUM(D41:D42)","v":29.622}]
[{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699}]
[{"$f":"SUM(A44-A43)","v":-7.0412471685542997},{"$f":"SUM(B44-B43)","v":-2.5112471685543021},{"$f":"SUM(C44-C43)","v":-0.75124716855430052},{"$f":"SUM(D44-D43)","v":-1.7512471685543005}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.870752831445699},"LOS"]
["Undulator",{"$f":"B5","v":"SN 07"}]
["Date:",{"$f":"B6","v":"2013-10-03"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.47,30.474]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.47},{"$f":"SUM(C64:C65)","v":31.474}]
[null,{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699}]
[0,{"$f":"SUM(B67-B66)","v":-3.5992471685542995},{"$f":"SUM(C67-C66)","v":-3.6032471685543008}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.757999999999999,32.351999999999997,32.354999999999997]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.757999999999999},{"$f":"SUM(B74:B75)","v":33.351999999999997},{"$f":"SUM(C74:C75)","v":33.354999999999997}]
[{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699}]
[{"$f":"SUM(A77-A76)","v":-1.8872471685542997},{"$f":"SUM(B77-B76)","v":-5.4812471685542974},{"$f":"SUM(C77-C76)","v":-5.4842471685542975}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.763000000000002,32.354999999999997,32.356000000000002]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.763000000000002},{"$f":"SUM(B83:B84)","v":33.354999999999997},{"$f":"SUM(C83:C84)","v":33.356000000000002}]
[{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699}]
[{"$f":"SUM(A86-A85)","v":-1.8922471685543023},{"$f":"SUM(B86-B85)","v":-5.4842471685542975},{"$f":"SUM(C86-C85)","v":-5.4852471685543023}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.47,30.466000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.47},{"$f":"SUM(C92:C93)","v":31.466000000000001}]
[null,{"$f":"B18","v":27.870752831445699},{"$f":"B18","v":27.870752831445699}]
[0,{"$f":"SUM(B95-B94)","v":-3.5992471685542995},{"$f":"SUM(C95-C94)","v":-3.5952471685543017}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.9209999999999994,8.9250000000000007]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 07"},{"$f":"SUM(C104+C105)","v":9.9209999999999994},{"$f":"SUM(D104+D105)","v":9.9250000000000007}]
["Date:",{"$f":"B6","v":"2013-10-03"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.923}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.9209999999999994},12.526999999999999,8.9260000000000002,12.526999999999999]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.9209999999999994},{"$f":"SUM(B114:B115)","v":13.526999999999999},{"$f":"SUM(C114:C115)","v":9.9260000000000002},{"$f":"SUM(D114:D115)","v":13.526999999999999}]
[{"$f":"D109","v":9.923},{"$f":"D109","v":9.923},{"$f":"D109","v":9.923},{"$f":"D109","v":9.923}]
[{"$f":"SUM(A117-A116)","v":2.0000000000006679E-3},{"$f":"SUM(B117-B116)","v":-3.6039999999999992},{"$f":"SUM(C117-C116)","v":-3.0000000000001137E-3},{"$f":"SUM(D117-D116)","v":-3.6039999999999992}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.9269999999999996,12.526999999999999,{"$f":"D104","v":8.9250000000000007},12.526999999999999]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.9269999999999996},{"$f":"SUM(B124:B125)","v":13.526999999999999},{"$f":"SUM(C124:C125)","v":9.9250000000000007},{"$f":"SUM(D124:D125)","v":13.526999999999999}]
[{"$f":"D109","v":9.923},{"$f":"D109","v":9.923},{"$f":"D109","v":9.923},{"$f":"D109","v":9.923}]
[{"$f":"SUM(A127-A126)","v":-3.9999999999995595E-3},{"$f":"SUM(B127-B126)","v":-3.6039999999999992},{"$f":"SUM(C127-C126)","v":-2.0000000000006679E-3},{"$f":"SUM(D127-D126)","v":-3.6039999999999992}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.321999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.923},null,0.05,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3989999999999991},null,{"$f":"SUM(C137+C138)","v":-5.4140000000000006}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4530000000000003},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 07"}]
["Date:",{"$f":"B6","v":"2013-10-03"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.923}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.4409999999999998,5.4429999999999996,5.4429999999999996,5.4409999999999998]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.4409999999999998},{"$f":"SUM(B165:B166)","v":6.4429999999999996},{"$f":"SUM(C165:C166)","v":6.4429999999999996},{"$f":"SUM(D165:D166)","v":6.4409999999999998}]
[{"$f":"D109","v":9.923},{"$f":"D109","v":9.923},{"$f":"D109","v":9.923},{"$f":"D109","v":9.923}]
[{"$f":"SUM(A168-A167)","v":3.4820000000000002},{"$f":"SUM(B168-B167)","v":3.4800000000000004},{"$f":"SUM(C168-C167)","v":3.4800000000000004},{"$f":"SUM(D168-D167)","v":3.4820000000000002}]
[]
[]
["5)","6)","7)","8)"]
[12.525,12.522,12.523,12.525]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.525},{"$f":"SUM(B173+B174)","v":13.522},{"$f":"SUM(C173+C174)","v":13.523},{"$f":"SUM(D173+D174)","v":13.525}]
[{"$f":"D109","v":9.923},{"$f":"D109","v":9.923},{"$f":"D109","v":9.923},{"$f":"D109","v":9.923}]
[{"$f":"SUM(A176-A175)","v":-3.6020000000000003},{"$f":"SUM(B176-B175)","v":-3.5990000000000002},{"$f":"SUM(C176-C175)","v":-3.5999999999999996},{"$f":"SUM(D176-D175)","v":-3.6020000000000003}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.1620000000000008,null,11.307,14.382]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.162000000000001},null,{"$f":"SUM(C184+C185)","v":12.307},{"$f":"SUM(D184+D185)","v":15.382}]
[{"$f":"D109","v":9.923},null,{"$f":"D109","v":9.923},{"$f":"D109","v":9.923}]
[{"$f":"SUM(A187-A186)","v":-0.23900000000000077},0,{"$f":"SUM(C187-C186)","v":-2.3840000000000003},{"$f":"SUM(D187-D186)","v":-5.4589999999999996}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.2080000000000002,8.2100000000000009,8.2070000000000007,8.2089999999999996]
[{"$f":"D109","v":9.923},{"$f":"D109","v":9.923},{"$f":"D109","v":9.923},{"$f":"D109","v":9.923}]
[{"$f":"SUM(A196-A195)","v":1.7149999999999999},{"$f":"SUM(B196-B195)","v":1.7129999999999992},{"$f":"SUM(C196-C195)","v":1.7159999999999993},{"$f":"SUM(D196-D195)","v":1.7140000000000004}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 07"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-10-03"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4820000000000002},{"$f":"B10*25.4","v":88.442800000000005},null,null,5,{"$f":"Sheet1!A35","v":4.2867528314456997},{"$f":"G10*25.4","v":108.88352191872077}]
[2,{"$f":"Sheet1!B169","v":3.4800000000000004},{"$f":"B11*25.4","v":88.39200000000001},null,null,6,{"$f":"Sheet1!B35","v":4.2857528314456985},{"$f":"G11*25.4","v":108.85812191872074}]
[3,{"$f":"Sheet1!C169","v":3.4800000000000004},{"$f":"B12*25.4","v":88.39200000000001},null,null,7,{"$f":"Sheet1!C35","v":4.287752831445701},{"$f":"G12*25.4","v":108.90892191872079}]
[4,{"$f":"Sheet1!D169","v":3.4820000000000002},{"$f":"B13*25.4","v":88.442800000000005},null,null,8,{"$f":"Sheet1!D35","v":4.287752831445701},{"$f":"G13*25.4","v":108.90892191872079}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4842471685542975},{"$f":"Sheet1!C118","v":-3.0000000000001137E-3},{"$f":"B20*25.4","v":-139.29987808127916},{"$f":"C20*25.4","v":-7.6200000000002877E-2},null,{"$f":"H10-D21","v":156.81959999999998},{"$f":"C10-E20","v":88.519000000000005}]
["X1",{"$f":"Sheet1!A78","v":-1.8872471685542997},{"$f":"Sheet1!D118","v":-3.6039999999999992},{"$f":"B21*25.4","v":-47.936078081279213},{"$f":"C21*25.4","v":-91.541599999999974}]
["Y1",{"$f":"Sheet1!B78","v":-5.4812471685542974},null,{"$f":"B22*25.4","v":-139.22367808127913}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4842471685542975},{"$f":"Sheet1!A128","v":-3.9999999999995595E-3},{"$f":"B26*25.4","v":-139.29987808127916},{"$f":"C26*25.4","v":-0.10159999999998881},null,{"$f":"H13-D27","v":156.97200000000007},{"$f":"C13-E26","v":88.544399999999996}]
["X1",{"$f":"Sheet1!A87","v":-1.8922471685543023},{"$f":"Sheet1!B128","v":-3.6039999999999992},{"$f":"B27*25.4","v":-48.063078081279279},{"$f":"C27*25.4","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4852471685543023},"\\",{"$f":"B28*25.4","v":-139.32527808127927}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4530000000000003},{"$f":"B36*25.4","v":-138.50620000000001},null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"F36*25.4","v":43.560999999999993}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7129999999999992},{"$f":"F37*25.4","v":43.510199999999976}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7159999999999993},{"$f":"F38*25.4","v":43.586399999999983}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"F39*25.4","v":43.535600000000009}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3989999999999991},{"$f":"B42*25.4","v":-111.73459999999997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-10-03"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4932471685542978},{"$f":"Sheet1!A169","v":3.4820000000000002},{"$f":"SUM(B10*25.4)","v":-139.52847808127916},{"$f":"SUM(C10*25.4)","v":88.442800000000005}]
[2,{"$f":"Sheet1!B28","v":-5.4932471685542978},{"$f":"Sheet1!B169","v":3.4800000000000004},{"$f":"SUM(B11*25.4)","v":-139.52847808127916},{"$f":"SUM(C11*25.4)","v":88.39200000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4932471685542978},{"$f":"Sheet1!C169","v":3.4800000000000004},-139.52847808127916,88.39200000000001,null,{"$f":"Sheet1!C141","v":-5.4530000000000003},{"$f":"SUM(G12*25.4)","v":-138.50620000000001}]
[4,{"$f":"Sheet1!D28","v":-5.4942471685543026},{"$f":"Sheet1!D169","v":3.4820000000000002},-139.55387808127927,88.442800000000005]
[5,{"$f":"Sheet1!A35","v":4.2867528314456997},{"$f":"Sheet1!A177","v":-3.6020000000000003},108.88352191872077,-91.490800000000007]
[6,{"$f":"Sheet1!B35","v":4.2857528314456985},{"$f":"Sheet1!B177","v":-3.5990000000000002},108.85812191872074,-91.414599999999993,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.287752831445701},{"$f":"Sheet1!C177","v":-3.5999999999999996},108.90892191872079,-91.439999999999984]
[8,{"$f":"Sheet1!D35","v":4.287752831445701},{"$f":"Sheet1!D177","v":-3.6020000000000003},108.90892191872079,-91.490800000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3989999999999991},{"$f":"SUM(G18*25.4)","v":-111.73459999999997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8872471685542997},{"$f":"Sheet1!C118","v":-3.0000000000001137E-3},{"$f":"SUM(B23*25.4)","v":-47.936078081279213},{"$f":"SUM(C23*25.4)","v":-7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8872471685542997},{"$f":"Sheet1!D118","v":-3.6039999999999992},{"$f":"SUM(B24*25.4)","v":-47.936078081279213},{"$f":"SUM(C24*25.4)","v":-91.541599999999974},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4812471685542974},null,{"$f":"SUM(B25*25.4)","v":-139.22367808127913},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"SUM(H25*25.4)","v":43.560999999999993}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7129999999999992},{"$f":"SUM(H26*25.4)","v":43.510199999999976}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7159999999999993},{"$f":"SUM(H27*25.4)","v":43.586399999999983}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"SUM(H28*25.4)","v":43.535600000000009}]
["Y1",{"$f":"Sheet1!B87","v":-5.4842471685542975},{"$f":"Sheet1!A128","v":-3.9999999999995595E-3},{"$f":"SUM(B29*25.4)","v":-139.29987808127916},{"$f":"SUM(C29*25.4)","v":-0.10159999999998881}]
["X1",{"$f":"Sheet1!A87","v":-1.8922471685543023},{"$f":"Sheet1!B128","v":-3.6039999999999992},{"$f":"SUM(B30*25.4)","v":-48.063078081279279},{"$f":"SUM(C30*25.4)","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4852471685543023},null,{"$f":"SUM(B31*25.4)","v":-139.32527808127927}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5992471685542995},{"$f":"Sheet1!A118","v":2.0000000000006679E-3},{"$f":"SUM(B37*25.4)","v":-91.420878081279199},{"$f":"SUM(C37*25.4)","v":5.0800000000016964E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6039999999999992},0,{"$f":"SUM(C38*25.4)","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6032471685543008},null,{"$f":"SUM(B39*25.4)","v":-91.522478081279232}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5992471685542995},{"$f":"Sheet1!C128","v":-2.0000000000006679E-3},{"$f":"SUM(B43*25.4)","v":-91.420878081279199},{"$f":"SUM(C43*25.4)","v":-5.0800000000016964E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6039999999999992},0,{"$f":"SUM(C44*25.4)","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C96","v":-3.5952471685543017},null,{"$f":"SUM(B45*25.4)","v":-91.319278081279265}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0412471685542997},{"$f":"Sheet1!A188","v":-0.23900000000000077},{"$f":"SUM(B49*25.4)","v":-178.84767808127921},{"$f":"SUM(C49*25.4)","v":-6.0706000000000193}]
["B",{"$f":"Sheet1!B45","v":-2.5112471685543021},null,{"$f":"SUM(B50*25.4)","v":-63.785678081279272}]
["C",{"$f":"Sheet1!C45","v":-0.75124716855430052},{"$f":"Sheet1!C188","v":-2.3840000000000003},{"$f":"SUM(B51*25.4)","v":-19.081678081279232},{"$f":"SUM(C51*25.4)","v":-60.553600000000003}]
["D",{"$f":"Sheet1!D45","v":-1.7512471685543005},{"$f":"Sheet1!D188","v":-5.4589999999999996},{"$f":"SUM(B52*25.4)","v":-44.481678081279227},{"$f":"SUM(C52*25.4)","v":-138.65859999999998}]