{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 08"]
["Date:","2012-06-21"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",27.152999999999999]
["2nd. Far",27.5]
["2nd Near",27.289000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.210164835164836}]
["Near Should Read",27.210164835164836]
["LOS",27.210164835164836]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.7,31.696999999999999,31.696999999999999,31.698]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.700000000000003},{"$f":"SUM(B24:B25)","v":32.697000000000003},{"$f":"SUM(C24:C25)","v":32.697000000000003},{"$f":"SUM(D24:D25)","v":32.698}]
[{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836}]
[{"$f":"SUM(A27-A26)","v":-5.4898351648351671},{"$f":"SUM(B27-B26)","v":-5.486835164835167},{"$f":"SUM(C27-C26)","v":-5.486835164835167},{"$f":"SUM(D27-D26)","v":-5.4878351648351646}]
[]
["5)","6)","7)","8)"]
[21.917000000000002,21.911000000000001,21.914000000000001,21.917000000000002]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":22.917000000000002},{"$f":"SUM(B31:B32)","v":22.911000000000001},{"$f":"SUM(C31:C32)","v":22.914000000000001},{"$f":"SUM(D31:D32)","v":22.917000000000002}]
[{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836}]
[{"$f":"SUM(A34-A33)","v":4.2931648351648342},{"$f":"SUM(B34-B33)","v":4.2991648351648344},{"$f":"SUM(C34-C33)","v":4.2961648351648343},{"$f":"SUM(D34-D33)","v":4.2931648351648342}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.246000000000002,28.716000000000001,26.952999999999999,26.952999999999999]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.246000000000002},{"$f":"SUM(B41:B42)","v":29.716000000000001},{"$f":"SUM(C41:C42)","v":27.952999999999999},{"$f":"SUM(D41:D42)","v":27.952999999999999}]
[{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836}]
[{"$f":"SUM(A44-A43)","v":-7.0358351648351665},{"$f":"SUM(B44-B43)","v":-2.5058351648351653},{"$f":"SUM(C44-C43)","v":-0.74283516483516365},{"$f":"SUM(D44-D43)","v":-0.74283516483516365}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.210164835164836},"LOS"]
["Undulator",{"$f":"B5","v":"SN 08"}]
["Date:",{"$f":"B6","v":"2012-06-21"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.809000000000001,29.812999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.809000000000001},{"$f":"SUM(C64:C65)","v":30.812999999999999}]
[null,{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836}]
[0,{"$f":"SUM(B67-B66)","v":-3.5988351648351653},{"$f":"SUM(C67-C66)","v":-3.6028351648351631}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.094000000000001,31.689,31.69]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.094000000000001},{"$f":"SUM(B74:B75)","v":32.689},{"$f":"SUM(C74:C75)","v":32.69}]
[{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836}]
[{"$f":"SUM(A77-A76)","v":-1.8838351648351654},{"$f":"SUM(B77-B76)","v":-5.4788351648351643},{"$f":"SUM(C77-C76)","v":-5.479835164835162}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.097000000000001,31.692,31.692]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.097000000000001},{"$f":"SUM(B83:B84)","v":32.692},{"$f":"SUM(C83:C84)","v":32.692}]
[{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836}]
[{"$f":"SUM(A86-A85)","v":-1.8868351648351656},{"$f":"SUM(B86-B85)","v":-5.4818351648351644},{"$f":"SUM(C86-C85)","v":-5.4818351648351644}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.812999999999999,29.809000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.812999999999999},{"$f":"SUM(C92:C93)","v":30.809000000000001}]
[null,{"$f":"B18","v":27.210164835164836},{"$f":"B18","v":27.210164835164836}]
[0,{"$f":"SUM(B95-B94)","v":-3.6028351648351631},{"$f":"SUM(C95-C94)","v":-3.5988351648351653}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.8219999999999992,8.8179999999999996]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 08"},{"$f":"SUM(C104+C105)","v":9.8219999999999992},{"$f":"SUM(D104+D105)","v":9.8179999999999996}]
["Date:",{"$f":"B6","v":"2012-06-21"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.82}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.8219999999999992},12.43,8.827,12.429]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.8219999999999992},{"$f":"SUM(B114:B115)","v":13.43},{"$f":"SUM(C114:C115)","v":9.827},{"$f":"SUM(D114:D115)","v":13.429}]
[{"$f":"D109","v":9.82},{"$f":"D109","v":9.82},{"$f":"D109","v":9.82},{"$f":"D109","v":9.82}]
[{"$f":"SUM(A117-A116)","v":-1.9999999999988916E-3},{"$f":"SUM(B117-B116)","v":-3.6099999999999994},{"$f":"SUM(C117-C116)","v":-6.9999999999996732E-3},{"$f":"SUM(D117-D116)","v":-3.609}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.8309999999999995,12.430999999999999,{"$f":"D104","v":8.8179999999999996},12.419]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.8309999999999995},{"$f":"SUM(B124:B125)","v":13.430999999999999},{"$f":"SUM(C124:C125)","v":9.8179999999999996},{"$f":"SUM(D124:D125)","v":13.419}]
[{"$f":"D109","v":9.82},{"$f":"D109","v":9.82},{"$f":"D109","v":9.82},{"$f":"D109","v":9.82}]
[{"$f":"SUM(A127-A126)","v":-1.0999999999999233E-2},{"$f":"SUM(B127-B126)","v":-3.6109999999999989},{"$f":"SUM(C127-C126)","v":2.0000000000006679E-3},{"$f":"SUM(D127-D126)","v":-3.5990000000000002}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.224,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.82},null,4.8000000000000001E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4039999999999999},null,{"$f":"SUM(C137+C138)","v":-5.4160000000000004}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4550000000000001},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 08"}]
["Date:",{"$f":"B6","v":"2012-06-21"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.82}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.3449999999999998,5.3470000000000004,5.3490000000000002,5.3470000000000004]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.3449999999999998},{"$f":"SUM(B165:B166)","v":6.3470000000000004},{"$f":"SUM(C165:C166)","v":6.3490000000000002},{"$f":"SUM(D165:D166)","v":6.3470000000000004}]
[{"$f":"D109","v":9.82},{"$f":"D109","v":9.82},{"$f":"D109","v":9.82},{"$f":"D109","v":9.82}]
[{"$f":"SUM(A168-A167)","v":3.4750000000000005},{"$f":"SUM(B168-B167)","v":3.4729999999999999},{"$f":"SUM(C168-C167)","v":3.4710000000000001},{"$f":"SUM(D168-D167)","v":3.4729999999999999}]
[]
[]
["5)","6)","7)","8)"]
[12.429,12.427,12.427,12.430999999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.429},{"$f":"SUM(B173+B174)","v":13.427},{"$f":"SUM(C173+C174)","v":13.427},{"$f":"SUM(D173+D174)","v":13.430999999999999}]
[{"$f":"D109","v":9.82},{"$f":"D109","v":9.82},{"$f":"D109","v":9.82},{"$f":"D109","v":9.82}]
[{"$f":"SUM(A176-A175)","v":-3.609},{"$f":"SUM(B176-B175)","v":-3.6069999999999993},{"$f":"SUM(C176-C175)","v":-3.6069999999999993},{"$f":"SUM(D176-D175)","v":-3.6109999999999989}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.0619999999999994,null,11.209,14.29]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.061999999999999},null,{"$f":"SUM(C184+C185)","v":12.209},{"$f":"SUM(D184+D185)","v":15.29}]
[{"$f":"D109","v":9.82},null,{"$f":"D109","v":9.82},{"$f":"D109","v":9.82}]
[{"$f":"SUM(A187-A186)","v":-0.2419999999999991},0,{"$f":"SUM(C187-C186)","v":-2.3889999999999993},{"$f":"SUM(D187-D186)","v":-5.4699999999999989}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.1080000000000005,8.109,8.1120000000000001,8.1129999999999995]
[{"$f":"D109","v":9.82},{"$f":"D109","v":9.82},{"$f":"D109","v":9.82},{"$f":"D109","v":9.82}]
[{"$f":"SUM(A196-A195)","v":1.7119999999999997},{"$f":"SUM(B196-B195)","v":1.7110000000000003},{"$f":"SUM(C196-C195)","v":1.7080000000000002},{"$f":"SUM(D196-D195)","v":1.7070000000000007}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 08"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-06-21"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4750000000000005},{"$f":"B10*25.4","v":88.265000000000015},null,null,5,{"$f":"Sheet1!A35","v":4.2931648351648342},{"$f":"G10*25.4","v":109.04638681318679}]
[2,{"$f":"Sheet1!B169","v":3.4729999999999999},{"$f":"B11*25.4","v":88.214199999999991},null,null,6,{"$f":"Sheet1!B35","v":4.2991648351648344},{"$f":"G11*25.4","v":109.19878681318679}]
[3,{"$f":"Sheet1!C169","v":3.4710000000000001},{"$f":"B12*25.4","v":88.163399999999996},null,null,7,{"$f":"Sheet1!C35","v":4.2961648351648343},{"$f":"G12*25.4","v":109.12258681318679}]
[4,{"$f":"Sheet1!D169","v":3.4729999999999999},{"$f":"B13*25.4","v":88.214199999999991},null,null,8,{"$f":"Sheet1!D35","v":4.2931648351648342},{"$f":"G13*25.4","v":109.04638681318679}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.479835164835162},{"$f":"Sheet1!C118","v":-6.9999999999996732E-3},{"$f":"B20*25.4","v":-139.18781318681312},{"$f":"C20*25.4","v":-0.17779999999999169},null,{"$f":"H10-D21","v":156.89579999999998},{"$f":"C10-E20","v":88.442800000000005}]
["X1",{"$f":"Sheet1!A78","v":-1.8838351648351654},{"$f":"Sheet1!D118","v":-3.609},{"$f":"B21*25.4","v":-47.849413186813202},{"$f":"C21*25.4","v":-91.668599999999998}]
["Y1",{"$f":"Sheet1!B78","v":-5.4788351648351643},null,{"$f":"B22*25.4","v":-139.16241318681315}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4818351648351644},{"$f":"Sheet1!A128","v":-1.0999999999999233E-2},{"$f":"B26*25.4","v":-139.23861318681318},{"$f":"C26*25.4","v":-0.2793999999999805},null,{"$f":"H13-D27","v":156.97199999999998},{"$f":"C13-E26","v":88.493599999999972}]
["X1",{"$f":"Sheet1!A87","v":-1.8868351648351656},{"$f":"Sheet1!B128","v":-3.6109999999999989},{"$f":"B27*25.4","v":-47.925613186813202},{"$f":"C27*25.4","v":-91.719399999999965}]
["Y2",{"$f":"Sheet1!C87","v":-5.4818351648351644},"\\",{"$f":"B28*25.4","v":-139.23861318681318}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4550000000000001},{"$f":"B36*25.4","v":-138.55699999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7119999999999997},{"$f":"F36*25.4","v":43.484799999999993}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"F37*25.4","v":43.459400000000002}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7080000000000002},{"$f":"F38*25.4","v":43.383200000000002}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7070000000000007},{"$f":"F39*25.4","v":43.357800000000019}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4039999999999999},{"$f":"B42*25.4","v":-111.8616}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-06-21"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4898351648351671},{"$f":"Sheet1!A169","v":3.4750000000000005},{"$f":"SUM(B10*25.4)","v":-139.44181318681325},{"$f":"SUM(C10*25.4)","v":88.265000000000015}]
[2,{"$f":"Sheet1!B28","v":-5.486835164835167},{"$f":"Sheet1!B169","v":3.4729999999999999},{"$f":"SUM(B11*25.4)","v":-139.36561318681322},{"$f":"SUM(C11*25.4)","v":88.214199999999991},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.486835164835167},{"$f":"Sheet1!C169","v":3.4710000000000001},-139.36561318681322,88.163399999999996,null,{"$f":"Sheet1!C141","v":-5.4550000000000001},{"$f":"SUM(G12*25.4)","v":-138.55699999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4878351648351646},{"$f":"Sheet1!D169","v":3.4729999999999999},-139.39101318681318,88.214199999999991]
[5,{"$f":"Sheet1!A35","v":4.2931648351648342},{"$f":"Sheet1!A177","v":-3.609},109.04638681318679,-91.668599999999998]
[6,{"$f":"Sheet1!B35","v":4.2991648351648344},{"$f":"Sheet1!B177","v":-3.6069999999999993},109.19878681318679,-91.617799999999974,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2961648351648343},{"$f":"Sheet1!C177","v":-3.6069999999999993},109.12258681318679,-91.617799999999974]
[8,{"$f":"Sheet1!D35","v":4.2931648351648342},{"$f":"Sheet1!D177","v":-3.6109999999999989},109.04638681318679,-91.719399999999965,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4039999999999999},{"$f":"SUM(G18*25.4)","v":-111.8616}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8838351648351654},{"$f":"Sheet1!C118","v":-6.9999999999996732E-3},{"$f":"SUM(B23*25.4)","v":-47.849413186813202},{"$f":"SUM(C23*25.4)","v":-0.17779999999999169}]
["X1",{"$f":"Sheet1!A78","v":-1.8838351648351654},{"$f":"Sheet1!D118","v":-3.609},{"$f":"SUM(B24*25.4)","v":-47.849413186813202},{"$f":"SUM(C24*25.4)","v":-91.668599999999998},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4788351648351643},null,{"$f":"SUM(B25*25.4)","v":-139.16241318681315},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7119999999999997},{"$f":"SUM(H25*25.4)","v":43.484799999999993}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"SUM(H26*25.4)","v":43.459400000000002}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7080000000000002},{"$f":"SUM(H27*25.4)","v":43.383200000000002}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7070000000000007},{"$f":"SUM(H28*25.4)","v":43.357800000000019}]
["Y1",{"$f":"Sheet1!B87","v":-5.4818351648351644},{"$f":"Sheet1!A128","v":-1.0999999999999233E-2},{"$f":"SUM(B29*25.4)","v":-139.23861318681318},{"$f":"SUM(C29*25.4)","v":-0.2793999999999805}]
["X1",{"$f":"Sheet1!A87","v":-1.8868351648351656},{"$f":"Sheet1!B128","v":-3.6109999999999989},{"$f":"SUM(B30*25.4)","v":-47.925613186813202},{"$f":"SUM(C30*25.4)","v":-91.719399999999965}]
["Y2",{"$f":"Sheet1!C87","v":-5.4818351648351644},null,{"$f":"SUM(B31*25.4)","v":-139.23861318681318}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5988351648351653},{"$f":"Sheet1!A118","v":-1.9999999999988916E-3},{"$f":"SUM(B37*25.4)","v":-91.410413186813187},{"$f":"SUM(C37*25.4)","v":-5.079999999997184E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6099999999999994},0,{"$f":"SUM(C38*25.4)","v":-91.693999999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6028351648351631},null,{"$f":"SUM(B39*25.4)","v":-91.512013186813135}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6028351648351631},{"$f":"Sheet1!C128","v":2.0000000000006679E-3},{"$f":"SUM(B43*25.4)","v":-91.512013186813135},{"$f":"SUM(C43*25.4)","v":5.0800000000016964E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5990000000000002},0,{"$f":"SUM(C44*25.4)","v":-91.414599999999993}]
["Y2",{"$f":"Sheet1!C96","v":-3.5988351648351653},null,{"$f":"SUM(B45*25.4)","v":-91.410413186813187}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0358351648351665},{"$f":"Sheet1!A188","v":-0.2419999999999991},{"$f":"SUM(B49*25.4)","v":-178.71021318681321},{"$f":"SUM(C49*25.4)","v":-6.1467999999999767}]
["B",{"$f":"Sheet1!B45","v":-2.5058351648351653},null,{"$f":"SUM(B50*25.4)","v":-63.648213186813194}]
["C",{"$f":"Sheet1!C45","v":-0.74283516483516365},{"$f":"Sheet1!C188","v":-2.3889999999999993},{"$f":"SUM(B51*25.4)","v":-18.868013186813155},{"$f":"SUM(C51*25.4)","v":-60.680599999999977}]
["D",{"$f":"Sheet1!D45","v":-0.74283516483516365},{"$f":"Sheet1!D188","v":-5.4699999999999989},{"$f":"SUM(B52*25.4)","v":-18.868013186813155},{"$f":"SUM(C52*25.4)","v":-138.93799999999996}]