{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 11"]
["Date:","2011-10-06"]
["Crew:","JM, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27.7]
["1st. Near",27.763999999999999]
["2nd. Far",27.8]
["2nd Near",27.79]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.786486486486485}]
["Near Should Read",27.786486486486485]
["LOS",27.786486486486485]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.256,32.262999999999998,32.268999999999998,32.268999999999998]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.256},{"$f":"SUM(B24:B25)","v":33.262999999999998},{"$f":"SUM(C24:C25)","v":33.268999999999998},{"$f":"SUM(D24:D25)","v":33.268999999999998}]
[{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485}]
[{"$f":"SUM(A27-A26)","v":-5.4695135135135153},{"$f":"SUM(B27-B26)","v":-5.4765135135135132},{"$f":"SUM(C27-C26)","v":-5.4825135135135135},{"$f":"SUM(D27-D26)","v":-5.4825135135135135}]
[]
["5)","6)","7)","8)"]
[22.483000000000001,22.483000000000001,22.49,22.492999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.483000000000001},{"$f":"SUM(B31:B32)","v":23.483000000000001},{"$f":"SUM(C31:C32)","v":23.49},{"$f":"SUM(D31:D32)","v":23.492999999999999}]
[{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485}]
[{"$f":"SUM(A34-A33)","v":4.3034864864864844},{"$f":"SUM(B34-B33)","v":4.3034864864864844},{"$f":"SUM(C34-C33)","v":4.2964864864864865},{"$f":"SUM(D34-D33)","v":4.2934864864864863}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.82,29.283999999999999,27.53,27.53]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.82},{"$f":"SUM(B41:B42)","v":30.283999999999999},{"$f":"SUM(C41:C42)","v":28.53},{"$f":"SUM(D41:D42)","v":28.53}]
[{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485}]
[{"$f":"SUM(A44-A43)","v":-7.0335135135135154},{"$f":"SUM(B44-B43)","v":-2.497513513513514},{"$f":"SUM(C44-C43)","v":-0.74351351351351624},{"$f":"SUM(D44-D43)","v":-0.74351351351351624}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.786486486486485},"LOS"]
["Undulator",{"$f":"B5","v":"SN 11"}]
["Date:",{"$f":"B6","v":"2011-10-06"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.385999999999999,30.390999999999998]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.385999999999999},{"$f":"SUM(C64:C65)","v":31.390999999999998}]
[null,{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485}]
[0,{"$f":"SUM(B67-B66)","v":-3.5995135135135143},{"$f":"SUM(C67-C66)","v":-3.6045135135135133}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.658999999999999,32.253,32.256]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.658999999999999},{"$f":"SUM(B74:B75)","v":33.253},{"$f":"SUM(C74:C75)","v":33.256}]
[{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485}]
[{"$f":"SUM(A77-A76)","v":-1.872513513513514},{"$f":"SUM(B77-B76)","v":-5.4665135135135152},{"$f":"SUM(C77-C76)","v":-5.4695135135135153}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.672999999999998,32.268000000000001,32.271000000000001]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.672999999999998},{"$f":"SUM(B83:B84)","v":33.268000000000001},{"$f":"SUM(C83:C84)","v":33.271000000000001}]
[{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485}]
[{"$f":"SUM(A86-A85)","v":-1.8865135135135134},{"$f":"SUM(B86-B85)","v":-5.4815135135135158},{"$f":"SUM(C86-C85)","v":-5.4845135135135159}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.390999999999998,30.384]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.390999999999998},{"$f":"SUM(C92:C93)","v":31.384}]
[null,{"$f":"B18","v":27.786486486486485},{"$f":"B18","v":27.786486486486485}]
[0,{"$f":"SUM(B95-B94)","v":-3.6045135135135133},{"$f":"SUM(C95-C94)","v":-3.5975135135135154}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,7.5339999999999998,7.548]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 11"},{"$f":"SUM(C104+C105)","v":8.5339999999999989},{"$f":"SUM(D104+D105)","v":8.548}]
["Date:",{"$f":"B6","v":"2011-10-06"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":8.5410000000000004}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":7.5339999999999998},11.141999999999999,7.5380000000000003,11.138]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":8.5339999999999989},{"$f":"SUM(B114:B115)","v":12.141999999999999},{"$f":"SUM(C114:C115)","v":8.5380000000000003},{"$f":"SUM(D114:D115)","v":12.138}]
[{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004}]
[{"$f":"SUM(A117-A116)","v":7.0000000000014495E-3},{"$f":"SUM(B117-B116)","v":-3.6009999999999991},{"$f":"SUM(C117-C116)","v":3.0000000000001137E-3},{"$f":"SUM(D117-D116)","v":-3.5969999999999995}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[7.5460000000000003,11.146000000000001,{"$f":"D104","v":7.548},11.15]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":8.5459999999999994},{"$f":"SUM(B124:B125)","v":12.146000000000001},{"$f":"SUM(C124:C125)","v":8.548},{"$f":"SUM(D124:D125)","v":12.15}]
[{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004}]
[{"$f":"SUM(A127-A126)","v":-4.9999999999990052E-3},{"$f":"SUM(B127-B126)","v":-3.6050000000000004},{"$f":"SUM(C127-C126)","v":-6.9999999999996732E-3},{"$f":"SUM(D127-D126)","v":-3.609}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[12.933999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":8.5410000000000004},null,3.1E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3929999999999989},null,{"$f":"SUM(C137+C138)","v":-5.4330000000000007}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4720000000000004},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 11"}]
["Date:",{"$f":"B6","v":"2011-10-06"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
["HI =",{"$f":"D109","v":8.5410000000000004}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[4.05,4.0549999999999997,4.0599999999999996,4.0599999999999996]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":5.05},{"$f":"SUM(B165:B166)","v":5.0549999999999997},{"$f":"SUM(C165:C166)","v":5.0599999999999996},{"$f":"SUM(D165:D166)","v":5.0599999999999996}]
[{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004}]
[{"$f":"SUM(A168-A167)","v":3.4910000000000005},{"$f":"SUM(B168-B167)","v":3.4860000000000007},{"$f":"SUM(C168-C167)","v":3.4810000000000008},{"$f":"SUM(D168-D167)","v":3.4810000000000008}]
[]
[]
["5)","6)","7)","8)"]
[11.134,11.131,11.138,11.144]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":12.134},{"$f":"SUM(B173+B174)","v":12.131},{"$f":"SUM(C173+C174)","v":12.138},{"$f":"SUM(D173+D174)","v":12.144}]
[{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004}]
[{"$f":"SUM(A176-A175)","v":-3.593},{"$f":"SUM(B176-B175)","v":-3.59},{"$f":"SUM(C176-C175)","v":-3.5969999999999995},{"$f":"SUM(D176-D175)","v":-3.6029999999999998}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[7.7759999999999998,null,9.9190000000000005,12.999000000000001]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":8.7759999999999998},null,{"$f":"SUM(C184+C185)","v":10.919},{"$f":"SUM(D184+D185)","v":13.999000000000001}]
[{"$f":"D109","v":8.5410000000000004},null,{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004}]
[{"$f":"SUM(A187-A186)","v":-0.23499999999999943},0,{"$f":"SUM(C187-C186)","v":-2.3780000000000001},{"$f":"SUM(D187-D186)","v":-5.4580000000000002}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[6.82,6.8209999999999997,6.827,6.827]
[{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004},{"$f":"D109","v":8.5410000000000004}]
[{"$f":"SUM(A196-A195)","v":1.7210000000000001},{"$f":"SUM(B196-B195)","v":1.7200000000000006},{"$f":"SUM(C196-C195)","v":1.7140000000000004},{"$f":"SUM(D196-D195)","v":1.7140000000000004}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 11"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-10-06"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"JM, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4910000000000005},{"$f":"B10*25.4","v":88.671400000000006},null,null,5,{"$f":"Sheet1!A35","v":4.3034864864864844},{"$f":"G10*25.4","v":109.3085567567567}]
[2,{"$f":"Sheet1!B169","v":3.4860000000000007},{"$f":"B11*25.4","v":88.54440000000001},null,null,6,{"$f":"Sheet1!B35","v":4.3034864864864844},{"$f":"G11*25.4","v":109.3085567567567}]
[3,{"$f":"Sheet1!C169","v":3.4810000000000008},{"$f":"B12*25.4","v":88.417400000000015},null,null,7,{"$f":"Sheet1!C35","v":4.2964864864864865},{"$f":"G12*25.4","v":109.13075675675675}]
[4,{"$f":"Sheet1!D169","v":3.4810000000000008},{"$f":"B13*25.4","v":88.417400000000015},null,null,8,{"$f":"Sheet1!D35","v":4.2934864864864863},{"$f":"G13*25.4","v":109.05455675675675}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4695135135135153},{"$f":"Sheet1!C118","v":3.0000000000001137E-3},{"$f":"B20*25.4","v":-138.92564324324329},{"$f":"C20*25.4","v":7.6200000000002877E-2},null,{"$f":"H10-D21","v":156.87039999999996},{"$f":"C10-E20","v":88.595200000000006}]
["X1",{"$f":"Sheet1!A78","v":-1.872513513513514},{"$f":"Sheet1!D118","v":-3.5969999999999995},{"$f":"B21*25.4","v":-47.561843243243253},{"$f":"C21*25.4","v":-91.363799999999983}]
["Y1",{"$f":"Sheet1!B78","v":-5.4665135135135152},null,{"$f":"B22*25.4","v":-138.84944324324329}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4815135135135158},{"$f":"Sheet1!A128","v":-4.9999999999990052E-3},{"$f":"B26*25.4","v":-139.23044324324329},{"$f":"C26*25.4","v":-0.12699999999997472},null,{"$f":"H13-D27","v":156.97199999999998},{"$f":"C13-E26","v":88.544399999999996}]
["X1",{"$f":"Sheet1!A87","v":-1.8865135135135134},{"$f":"Sheet1!B128","v":-3.6050000000000004},{"$f":"B27*25.4","v":-47.917443243243234},{"$f":"C27*25.4","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4845135135135159},"\\",{"$f":"B28*25.4","v":-139.30664324324329}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4720000000000004},{"$f":"B36*25.4","v":-138.9888},null,"US  +",{"$f":"Sheet1!A197","v":1.7210000000000001},{"$f":"F36*25.4","v":43.7134}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7200000000000006},{"$f":"F37*25.4","v":43.688000000000017}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7140000000000004},{"$f":"F38*25.4","v":43.535600000000009}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"F39*25.4","v":43.535600000000009}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3929999999999989},{"$f":"B42*25.4","v":-111.58219999999997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-10-06"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4695135135135153},{"$f":"Sheet1!A169","v":3.4910000000000005},{"$f":"SUM(B10*25.4)","v":-138.92564324324329},{"$f":"SUM(C10*25.4)","v":88.671400000000006}]
[2,{"$f":"Sheet1!B28","v":-5.4765135135135132},{"$f":"Sheet1!B169","v":3.4860000000000007},{"$f":"SUM(B11*25.4)","v":-139.10344324324322},{"$f":"SUM(C11*25.4)","v":88.54440000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4825135135135135},{"$f":"Sheet1!C169","v":3.4810000000000008},-139.25584324324325,88.417400000000015,null,{"$f":"Sheet1!C141","v":-5.4720000000000004},{"$f":"SUM(G12*25.4)","v":-138.9888}]
[4,{"$f":"Sheet1!D28","v":-5.4825135135135135},{"$f":"Sheet1!D169","v":3.4810000000000008},-139.25584324324325,88.417400000000015]
[5,{"$f":"Sheet1!A35","v":4.3034864864864844},{"$f":"Sheet1!A177","v":-3.593},109.3085567567567,-91.262199999999993]
[6,{"$f":"Sheet1!B35","v":4.3034864864864844},{"$f":"Sheet1!B177","v":-3.59},109.3085567567567,-91.185999999999993,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2964864864864865},{"$f":"Sheet1!C177","v":-3.5969999999999995},109.13075675675675,-91.363799999999983]
[8,{"$f":"Sheet1!D35","v":4.2934864864864863},{"$f":"Sheet1!D177","v":-3.6029999999999998},109.05455675675675,-91.516199999999984,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3929999999999989},{"$f":"SUM(G18*25.4)","v":-111.58219999999997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.872513513513514},{"$f":"Sheet1!C118","v":3.0000000000001137E-3},{"$f":"SUM(B23*25.4)","v":-47.561843243243253},{"$f":"SUM(C23*25.4)","v":7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.872513513513514},{"$f":"Sheet1!D118","v":-3.5969999999999995},{"$f":"SUM(B24*25.4)","v":-47.561843243243253},{"$f":"SUM(C24*25.4)","v":-91.363799999999983},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4665135135135152},null,{"$f":"SUM(B25*25.4)","v":-138.84944324324329},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7210000000000001},{"$f":"SUM(H25*25.4)","v":43.7134}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7200000000000006},{"$f":"SUM(H26*25.4)","v":43.688000000000017}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7140000000000004},{"$f":"SUM(H27*25.4)","v":43.535600000000009}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"SUM(H28*25.4)","v":43.535600000000009}]
["Y1",{"$f":"Sheet1!B87","v":-5.4815135135135158},{"$f":"Sheet1!A128","v":-4.9999999999990052E-3},{"$f":"SUM(B29*25.4)","v":-139.23044324324329},{"$f":"SUM(C29*25.4)","v":-0.12699999999997472}]
["X1",{"$f":"Sheet1!A87","v":-1.8865135135135134},{"$f":"Sheet1!B128","v":-3.6050000000000004},{"$f":"SUM(B30*25.4)","v":-47.917443243243234},{"$f":"SUM(C30*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4845135135135159},null,{"$f":"SUM(B31*25.4)","v":-139.30664324324329}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5995135135135143},{"$f":"Sheet1!A118","v":7.0000000000014495E-3},{"$f":"SUM(B37*25.4)","v":-91.427643243243253},{"$f":"SUM(C37*25.4)","v":0.17780000000003682},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6009999999999991},0,{"$f":"SUM(C38*25.4)","v":-91.465399999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6045135135135133},null,{"$f":"SUM(B39*25.4)","v":-91.554643243243234}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6045135135135133},{"$f":"Sheet1!C128","v":-6.9999999999996732E-3},{"$f":"SUM(B43*25.4)","v":-91.554643243243234},{"$f":"SUM(C43*25.4)","v":-0.17779999999999169}]
["X1",0,{"$f":"Sheet1!D128","v":-3.609},0,{"$f":"SUM(C44*25.4)","v":-91.668599999999998}]
["Y2",{"$f":"Sheet1!C96","v":-3.5975135135135154},null,{"$f":"SUM(B45*25.4)","v":-91.376843243243286}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0335135135135154},{"$f":"Sheet1!A188","v":-0.23499999999999943},{"$f":"SUM(B49*25.4)","v":-178.65124324324327},{"$f":"SUM(C49*25.4)","v":-5.9689999999999852}]
["B",{"$f":"Sheet1!B45","v":-2.497513513513514},null,{"$f":"SUM(B50*25.4)","v":-63.436843243243253}]
["C",{"$f":"Sheet1!C45","v":-0.74351351351351624},{"$f":"Sheet1!C188","v":-2.3780000000000001},{"$f":"SUM(B51*25.4)","v":-18.885243243243313},{"$f":"SUM(C51*25.4)","v":-60.401200000000003}]
["D",{"$f":"Sheet1!D45","v":-0.74351351351351624},{"$f":"Sheet1!D188","v":-5.4580000000000002},{"$f":"SUM(B52*25.4)","v":-18.885243243243313},{"$f":"SUM(C52*25.4)","v":-138.63319999999999}]