{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",13]
["Date:","2010-05-03"]
["Crew:","LG,BR,MR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26.564]
["1st. Near",26.567]
["2nd. Far",26.568000000000001]
["2nd Near",26.568000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":26.568000000000001}]
["Near Should Read",26.568000000000001]
["LOS",26.568000000000001]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.052,31.047000000000001,31.053000000000001,31.052]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.052},{"$f":"SUM(B24:B25)","v":32.046999999999997},{"$f":"SUM(C24:C25)","v":32.052999999999997},{"$f":"SUM(D24:D25)","v":32.052}]
[{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001}]
[{"$f":"SUM(A27-A26)","v":-5.4839999999999982},{"$f":"SUM(B27-B26)","v":-5.4789999999999957},{"$f":"SUM(C27-C26)","v":-5.4849999999999959},{"$f":"SUM(D27-D26)","v":-5.4839999999999982}]
[]
["5)","6)","7)","8)"]
[21.27,21.271000000000001,21.27,21.268999999999998]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":22.27},{"$f":"SUM(B31:B32)","v":22.271000000000001},{"$f":"SUM(C31:C32)","v":22.27},{"$f":"SUM(D31:D32)","v":22.268999999999998}]
[{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001}]
[{"$f":"SUM(A34-A33)","v":4.2980000000000018},{"$f":"SUM(B34-B33)","v":4.2970000000000006},{"$f":"SUM(C34-C33)","v":4.2980000000000018},{"$f":"SUM(D34-D33)","v":4.299000000000003}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[32.603000000000002,28.07,26.31,26.31]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":33.603000000000002},{"$f":"SUM(B41:B42)","v":29.07},{"$f":"SUM(C41:C42)","v":27.31},{"$f":"SUM(D41:D42)","v":27.31}]
[{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001}]
[{"$f":"SUM(A44-A43)","v":-7.0350000000000001},{"$f":"SUM(B44-B43)","v":-2.5019999999999989},{"$f":"SUM(C44-C43)","v":-0.74199999999999733},{"$f":"SUM(D44-D43)","v":-0.74199999999999733}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":26.568000000000001},"LOS"]
["Undulator",{"$f":"B5","v":13}]
["Date:",{"$f":"B6","v":"2010-05-03"}]
["Crew:",{"$f":"B7","v":"LG,BR,MR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.167999999999999,29.17]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.167999999999999},{"$f":"SUM(C64:C65)","v":30.17}]
[null,{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001}]
[0,{"$f":"SUM(B67-B66)","v":-3.5999999999999979},{"$f":"SUM(C67-C66)","v":-3.6020000000000003}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[27.452000000000002,31.042999999999999,31.048999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":28.452000000000002},{"$f":"SUM(B74:B75)","v":32.042999999999999},{"$f":"SUM(C74:C75)","v":32.048999999999999}]
[{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001}]
[{"$f":"SUM(A77-A76)","v":-1.8840000000000003},{"$f":"SUM(B77-B76)","v":-5.4749999999999979},{"$f":"SUM(C77-C76)","v":-5.4809999999999981}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[27.443999999999999,31.042999999999999,31.045000000000002]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":28.443999999999999},{"$f":"SUM(B83:B84)","v":32.042999999999999},{"$f":"SUM(C83:C84)","v":32.045000000000002}]
[{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001}]
[{"$f":"SUM(A86-A85)","v":-1.8759999999999977},{"$f":"SUM(B86-B85)","v":-5.4749999999999979},{"$f":"SUM(C86-C85)","v":-5.4770000000000003}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.170999999999999,29.64]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.170999999999999},{"$f":"SUM(C92:C93)","v":30.64}]
[null,{"$f":"B18","v":26.568000000000001},{"$f":"B18","v":26.568000000000001}]
[0,{"$f":"SUM(B95-B94)","v":-3.602999999999998},{"$f":"SUM(C95-C94)","v":-4.0719999999999992}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.3930000000000007,8.3970000000000002]
[null,null,1,1]
["Undulator",{"$f":"B5","v":13},{"$f":"SUM(C104+C105)","v":9.3930000000000007},{"$f":"SUM(D104+D105)","v":9.3970000000000002}]
["Date:",{"$f":"B6","v":"2010-05-03"}]
["Crew:",{"$f":"B7","v":"LG,BR,MR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.3949999999999996}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.3930000000000007},11.999000000000001,8.3989999999999991,12.000999999999999]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.3930000000000007},{"$f":"SUM(B114:B115)","v":12.999000000000001},{"$f":"SUM(C114:C115)","v":9.3989999999999991},{"$f":"SUM(D114:D115)","v":13.000999999999999}]
[{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996}]
[{"$f":"SUM(A117-A116)","v":1.9999999999988916E-3},{"$f":"SUM(B117-B116)","v":-3.604000000000001},{"$f":"SUM(C117-C116)","v":-3.9999999999995595E-3},{"$f":"SUM(D117-D116)","v":-3.6059999999999999}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.3949999999999996,11.997,{"$f":"D104","v":8.3970000000000002},12]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.3949999999999996},{"$f":"SUM(B124:B125)","v":12.997},{"$f":"SUM(C124:C125)","v":9.3970000000000002},{"$f":"SUM(D124:D125)","v":13}]
[{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996}]
[{"$f":"SUM(A127-A126)","v":0},{"$f":"SUM(B127-B126)","v":-3.6020000000000003},{"$f":"SUM(C127-C126)","v":-2.0000000000006679E-3},{"$f":"SUM(D127-D126)","v":-3.6050000000000004}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[13.792,null,-5.47,"LOS"]
[{"$f":"D109","v":9.3949999999999996},null,2.5000000000000001E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3970000000000002},null,{"$f":"SUM(C137+C138)","v":-5.4449999999999994}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4839999999999991},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":13}]
["Date:",{"$f":"B6","v":"2010-05-03"}]
["Crew:",{"$f":"B7","v":"LG,BR,MR"}]
[]
[]
["HI =",{"$f":"D109","v":9.3949999999999996}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[4.91,4.91,4.915,4.9080000000000004]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":5.91},{"$f":"SUM(B165:B166)","v":5.91},{"$f":"SUM(C165:C166)","v":5.915},{"$f":"SUM(D165:D166)","v":5.9080000000000004}]
[{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996}]
[{"$f":"SUM(A168-A167)","v":3.4849999999999994},{"$f":"SUM(B168-B167)","v":3.4849999999999994},{"$f":"SUM(C168-C167)","v":3.4799999999999995},{"$f":"SUM(D168-D167)","v":3.4869999999999992}]
[]
[]
["5)","6)","7)","8)"]
[11.994999999999999,12.002000000000001,11.997999999999999,12]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":12.994999999999999},{"$f":"SUM(B173+B174)","v":13.002000000000001},{"$f":"SUM(C173+C174)","v":12.997999999999999},{"$f":"SUM(D173+D174)","v":13}]
[{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996}]
[{"$f":"SUM(A176-A175)","v":-3.5999999999999996},{"$f":"SUM(B176-B175)","v":-3.6070000000000011},{"$f":"SUM(C176-C175)","v":-3.6029999999999998},{"$f":"SUM(D176-D175)","v":-3.6050000000000004}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[8.6340000000000003,null,10.778,13.859]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":9.6340000000000003},null,{"$f":"SUM(C184+C185)","v":11.778},{"$f":"SUM(D184+D185)","v":14.859}]
[{"$f":"D109","v":9.3949999999999996},null,{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996}]
[{"$f":"SUM(A187-A186)","v":-0.23900000000000077},0,{"$f":"SUM(C187-C186)","v":-2.3830000000000009},{"$f":"SUM(D187-D186)","v":-5.4640000000000004}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[7.6790000000000003,7.68,7.6779999999999999,7.6790000000000003]
[{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996},{"$f":"D109","v":9.3949999999999996}]
[{"$f":"SUM(A196-A195)","v":1.7159999999999993},{"$f":"SUM(B196-B195)","v":1.7149999999999999},{"$f":"SUM(C196-C195)","v":1.7169999999999996},{"$f":"SUM(D196-D195)","v":1.7159999999999993}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":13}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-05-03"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"LG,BR,MR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4849999999999994},{"$f":"B10*25.4","v":88.518999999999977},null,null,5,{"$f":"Sheet1!A35","v":4.2980000000000018},{"$f":"G10*25.4","v":109.16920000000005}]
[2,{"$f":"Sheet1!B169","v":3.4849999999999994},{"$f":"B11*25.4","v":88.518999999999977},null,null,6,{"$f":"Sheet1!B35","v":4.2970000000000006},{"$f":"G11*25.4","v":109.14380000000001}]
[3,{"$f":"Sheet1!C169","v":3.4799999999999995},{"$f":"B12*25.4","v":88.391999999999982},null,null,7,{"$f":"Sheet1!C35","v":4.2980000000000018},{"$f":"G12*25.4","v":109.16920000000005}]
[4,{"$f":"Sheet1!D169","v":3.4869999999999992},{"$f":"B13*25.4","v":88.569799999999972},null,null,8,{"$f":"Sheet1!D35","v":4.299000000000003},{"$f":"G13*25.4","v":109.19460000000007}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4809999999999981},{"$f":"Sheet1!C118","v":-3.9999999999995595E-3},{"$f":"B20*25.4","v":-139.21739999999994},{"$f":"C20*25.4","v":-0.10159999999998881},null,{"$f":"H10-D21","v":157.02280000000005},{"$f":"C10-E20","v":88.620599999999968}]
["X1",{"$f":"Sheet1!A78","v":-1.8840000000000003},{"$f":"Sheet1!D118","v":-3.6059999999999999},{"$f":"B21*25.4","v":-47.853600000000007},{"$f":"C21*25.4","v":-91.592399999999998}]
["Y1",{"$f":"Sheet1!B78","v":-5.4749999999999979},null,{"$f":"B22*25.4","v":-139.06499999999994}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4749999999999979},{"$f":"Sheet1!A128","v":0},{"$f":"B26*25.4","v":-139.06499999999994},{"$f":"C26*25.4","v":0},null,{"$f":"H13-D27","v":156.845},{"$f":"C13-E26","v":88.569799999999972}]
["X1",{"$f":"Sheet1!A87","v":-1.8759999999999977},{"$f":"Sheet1!B128","v":-3.6020000000000003},{"$f":"B27*25.4","v":-47.650399999999941},{"$f":"C27*25.4","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4770000000000003},"\\",{"$f":"B28*25.4","v":-139.11580000000001}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4839999999999991},{"$f":"B36*25.4","v":-139.29359999999997},null,"US  +",{"$f":"Sheet1!A197","v":1.7159999999999993},{"$f":"F36*25.4","v":43.586399999999983}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7149999999999999},{"$f":"F37*25.4","v":43.560999999999993}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7169999999999996},{"$f":"F38*25.4","v":43.611799999999988}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7159999999999993},{"$f":"F39*25.4","v":43.586399999999983}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3970000000000002},{"$f":"B42*25.4","v":-111.68380000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":13}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-05-03"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"LG,BR,MR"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4839999999999982},{"$f":"Sheet1!A169","v":3.4849999999999994},{"$f":"SUM(B10*25.4)","v":-139.29359999999994},{"$f":"SUM(C10*25.4)","v":88.518999999999977}]
[2,{"$f":"Sheet1!B28","v":-5.4789999999999957},{"$f":"Sheet1!B169","v":3.4849999999999994},{"$f":"SUM(B11*25.4)","v":-139.16659999999987},{"$f":"SUM(C11*25.4)","v":88.518999999999977},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4849999999999959},{"$f":"Sheet1!C169","v":3.4799999999999995},-139.31899999999987,88.391999999999982,null,{"$f":"Sheet1!C141","v":-5.4839999999999991},{"$f":"SUM(G12*25.4)","v":-139.29359999999997}]
[4,{"$f":"Sheet1!D28","v":-5.4839999999999982},{"$f":"Sheet1!D169","v":3.4869999999999992},-139.29359999999994,88.569799999999972]
[5,{"$f":"Sheet1!A35","v":4.2980000000000018},{"$f":"Sheet1!A177","v":-3.5999999999999996},109.16920000000005,-91.439999999999984]
[6,{"$f":"Sheet1!B35","v":4.2970000000000006},{"$f":"Sheet1!B177","v":-3.6070000000000011},109.14380000000001,-91.617800000000017,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2980000000000018},{"$f":"Sheet1!C177","v":-3.6029999999999998},109.16920000000005,-91.516199999999984]
[8,{"$f":"Sheet1!D35","v":4.299000000000003},{"$f":"Sheet1!D177","v":-3.6050000000000004},109.19460000000007,-91.567000000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3970000000000002},{"$f":"SUM(G18*25.4)","v":-111.68380000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8840000000000003},{"$f":"Sheet1!C118","v":-3.9999999999995595E-3},{"$f":"SUM(B23*25.4)","v":-47.853600000000007},{"$f":"SUM(C23*25.4)","v":-0.10159999999998881}]
["X1",{"$f":"Sheet1!A78","v":-1.8840000000000003},{"$f":"Sheet1!D118","v":-3.6059999999999999},{"$f":"SUM(B24*25.4)","v":-47.853600000000007},{"$f":"SUM(C24*25.4)","v":-91.592399999999998},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4749999999999979},null,{"$f":"SUM(B25*25.4)","v":-139.06499999999994},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7159999999999993},{"$f":"SUM(H25*25.4)","v":43.586399999999983}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7149999999999999},{"$f":"SUM(H26*25.4)","v":43.560999999999993}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7169999999999996},{"$f":"SUM(H27*25.4)","v":43.611799999999988}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7159999999999993},{"$f":"SUM(H28*25.4)","v":43.586399999999983}]
["Y1",{"$f":"Sheet1!B87","v":-5.4749999999999979},{"$f":"Sheet1!A128","v":0},{"$f":"SUM(B29*25.4)","v":-139.06499999999994},{"$f":"SUM(C29*25.4)","v":0}]
["X1",{"$f":"Sheet1!A87","v":-1.8759999999999977},{"$f":"Sheet1!B128","v":-3.6020000000000003},{"$f":"SUM(B30*25.4)","v":-47.650399999999941},{"$f":"SUM(C30*25.4)","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4770000000000003},null,{"$f":"SUM(B31*25.4)","v":-139.11580000000001}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5999999999999979},{"$f":"Sheet1!A118","v":1.9999999999988916E-3},{"$f":"SUM(B37*25.4)","v":-91.439999999999941},{"$f":"SUM(C37*25.4)","v":5.079999999997184E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.604000000000001},0,{"$f":"SUM(C38*25.4)","v":-91.541600000000017}]
["Y2",{"$f":"Sheet1!C68","v":-3.6020000000000003},null,{"$f":"SUM(B39*25.4)","v":-91.490800000000007}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.602999999999998},{"$f":"Sheet1!C128","v":-2.0000000000006679E-3},{"$f":"SUM(B43*25.4)","v":-91.516199999999941},{"$f":"SUM(C43*25.4)","v":-5.0800000000016964E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6050000000000004},0,{"$f":"SUM(C44*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C96","v":-4.0719999999999992},null,{"$f":"SUM(B45*25.4)","v":-103.42879999999997}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0350000000000001},{"$f":"Sheet1!A188","v":-0.23900000000000077},{"$f":"SUM(B49*25.4)","v":-178.68899999999999},{"$f":"SUM(C49*25.4)","v":-6.0706000000000193}]
["B",{"$f":"Sheet1!B45","v":-2.5019999999999989},null,{"$f":"SUM(B50*25.4)","v":-63.550799999999967}]
["C",{"$f":"Sheet1!C45","v":-0.74199999999999733},{"$f":"Sheet1!C188","v":-2.3830000000000009},{"$f":"SUM(B51*25.4)","v":-18.846799999999931},{"$f":"SUM(C51*25.4)","v":-60.52820000000002}]
["D",{"$f":"Sheet1!D45","v":-0.74199999999999733},{"$f":"Sheet1!D188","v":-5.4640000000000004},{"$f":"SUM(B52*25.4)","v":-18.846799999999931},{"$f":"SUM(C52*25.4)","v":-138.78560000000002}]