{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN13"]
["Date:","2010-06-03"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",27.783999999999999]
["2nd. Far",28.8]
["2nd Near",28.279]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.081379310344825}]
["Near Should Read",28.081379310344825]
["LOS",28.081379310344825]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.564999999999998,32.56,32.564,32.563000000000002]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.564999999999998},{"$f":"SUM(B24:B25)","v":33.56},{"$f":"SUM(C24:C25)","v":33.564},{"$f":"SUM(D24:D25)","v":33.563000000000002}]
[{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825}]
[{"$f":"SUM(A27-A26)","v":-5.4836206896551722},{"$f":"SUM(B27-B26)","v":-5.4786206896551768},{"$f":"SUM(C27-C26)","v":-5.4826206896551746},{"$f":"SUM(D27-D26)","v":-5.4816206896551769}]
[]
["5)","6)","7)","8)"]
[22.783999999999999,22.783000000000001,22.782,22.783999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.783999999999999},{"$f":"SUM(B31:B32)","v":23.783000000000001},{"$f":"SUM(C31:C32)","v":23.782},{"$f":"SUM(D31:D32)","v":23.783999999999999}]
[{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825}]
[{"$f":"SUM(A34-A33)","v":4.2973793103448266},{"$f":"SUM(B34-B33)","v":4.2983793103448242},{"$f":"SUM(C34-C33)","v":4.2993793103448255},{"$f":"SUM(D34-D33)","v":4.2973793103448266}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.115000000000002,29.58,27.824999999999999,27.824000000000002]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.115000000000002},{"$f":"SUM(B41:B42)","v":30.58},{"$f":"SUM(C41:C42)","v":28.824999999999999},{"$f":"SUM(D41:D42)","v":28.824000000000002}]
[{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825}]
[{"$f":"SUM(A44-A43)","v":-7.0336206896551765},{"$f":"SUM(B44-B43)","v":-2.4986206896551728},{"$f":"SUM(C44-C43)","v":-0.74362068965517381},{"$f":"SUM(D44-D43)","v":-0.74262068965517614}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.081379310344825},"LOS"]
["Undulator",{"$f":"B5","v":"SN13"}]
["Date:",{"$f":"B6","v":"2010-06-03"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.681000000000001,30.683]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.681000000000001},{"$f":"SUM(C64:C65)","v":31.683}]
[null,{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825}]
[0,{"$f":"SUM(B67-B66)","v":-3.5996206896551755},{"$f":"SUM(C67-C66)","v":-3.6016206896551743}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.963000000000001,32.555999999999997,32.56]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.963000000000001},{"$f":"SUM(B74:B75)","v":33.555999999999997},{"$f":"SUM(C74:C75)","v":33.56}]
[{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825}]
[{"$f":"SUM(A77-A76)","v":-1.8816206896551755},{"$f":"SUM(B77-B76)","v":-5.4746206896551719},{"$f":"SUM(C77-C76)","v":-5.4786206896551768}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.959,32.555,32.558]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.959},{"$f":"SUM(B83:B84)","v":33.555},{"$f":"SUM(C83:C84)","v":33.558}]
[{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825}]
[{"$f":"SUM(A86-A85)","v":-1.8776206896551741},{"$f":"SUM(B86-B85)","v":-5.4736206896551742},{"$f":"SUM(C86-C85)","v":-5.4766206896551743}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.681999999999999,30.677]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.681999999999999},{"$f":"SUM(C92:C93)","v":31.677}]
[null,{"$f":"B18","v":28.081379310344825},{"$f":"B18","v":28.081379310344825}]
[0,{"$f":"SUM(B95-B94)","v":-3.6006206896551731},{"$f":"SUM(C95-C94)","v":-3.5956206896551741}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.1449999999999996,9.1549999999999994]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN13"},{"$f":"SUM(C104+C105)","v":10.145},{"$f":"SUM(D104+D105)","v":10.154999999999999}]
["Date:",{"$f":"B6","v":"2010-06-03"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.149999999999999}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.1449999999999996},12.753,9.1549999999999994,12.756]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.145},{"$f":"SUM(B114:B115)","v":13.753},{"$f":"SUM(C114:C115)","v":10.154999999999999},{"$f":"SUM(D114:D115)","v":13.756}]
[{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999}]
[{"$f":"SUM(A117-A116)","v":4.9999999999990052E-3},{"$f":"SUM(B117-B116)","v":-3.6030000000000015},{"$f":"SUM(C117-C116)","v":-5.0000000000007816E-3},{"$f":"SUM(D117-D116)","v":-3.6060000000000016}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.1549999999999994,12.755000000000001,{"$f":"D104","v":9.1549999999999994},12.756]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.154999999999999},{"$f":"SUM(B124:B125)","v":13.755000000000001},{"$f":"SUM(C124:C125)","v":10.154999999999999},{"$f":"SUM(D124:D125)","v":13.756}]
[{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999}]
[{"$f":"SUM(A127-A126)","v":-5.0000000000007816E-3},{"$f":"SUM(B127-B126)","v":-3.6050000000000022},{"$f":"SUM(C127-C126)","v":-5.0000000000007816E-3},{"$f":"SUM(D127-D126)","v":-3.6060000000000016}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.545999999999999,null,-5.47,"LOS"]
[{"$f":"D109","v":10.149999999999999},null,6.0999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3960000000000008},null,{"$f":"SUM(C137+C138)","v":-5.4089999999999998}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4479999999999995},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN13"}]
["Date:",{"$f":"B6","v":"2010-06-03"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":10.149999999999999}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.665,5.6660000000000004,5.6710000000000003,5.6680000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.665},{"$f":"SUM(B165:B166)","v":6.6660000000000004},{"$f":"SUM(C165:C166)","v":6.6710000000000003},{"$f":"SUM(D165:D166)","v":6.6680000000000001}]
[{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999}]
[{"$f":"SUM(A168-A167)","v":3.4849999999999985},{"$f":"SUM(B168-B167)","v":3.4839999999999982},{"$f":"SUM(C168-C167)","v":3.4789999999999983},{"$f":"SUM(D168-D167)","v":3.4819999999999984}]
[]
[]
["5)","6)","7)","8)"]
[12.749000000000001,12.755000000000001,12.755000000000001,12.757]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.749000000000001},{"$f":"SUM(B173+B174)","v":13.755000000000001},{"$f":"SUM(C173+C174)","v":13.755000000000001},{"$f":"SUM(D173+D174)","v":13.757}]
[{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999}]
[{"$f":"SUM(A176-A175)","v":-3.599000000000002},{"$f":"SUM(B176-B175)","v":-3.6050000000000022},{"$f":"SUM(C176-C175)","v":-3.6050000000000022},{"$f":"SUM(D176-D175)","v":-3.6070000000000011}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.3859999999999992,null,11.53,14.612]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.385999999999999},null,{"$f":"SUM(C184+C185)","v":12.53},{"$f":"SUM(D184+D185)","v":15.612}]
[{"$f":"D109","v":10.149999999999999},null,{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999}]
[{"$f":"SUM(A187-A186)","v":-0.23600000000000065},0,{"$f":"SUM(C187-C186)","v":-2.3800000000000008},{"$f":"SUM(D187-D186)","v":-5.4620000000000015}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.4329999999999998,8.4350000000000005,8.4359999999999999,8.4380000000000006]
[{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999},{"$f":"D109","v":10.149999999999999}]
[{"$f":"SUM(A196-A195)","v":1.7169999999999987},{"$f":"SUM(B196-B195)","v":1.7149999999999981},{"$f":"SUM(C196-C195)","v":1.7139999999999986},{"$f":"SUM(D196-D195)","v":1.711999999999998}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-06-03"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4849999999999985},{"$f":"B10*25.4","v":88.518999999999963},null,null,5,{"$f":"Sheet1!A35","v":4.2973793103448266},{"$f":"G10*25.4","v":109.15343448275858}]
[2,{"$f":"Sheet1!B169","v":3.4839999999999982},{"$f":"B11*25.4","v":88.493599999999944},null,null,6,{"$f":"Sheet1!B35","v":4.2983793103448242},{"$f":"G11*25.4","v":109.17883448275853}]
[3,{"$f":"Sheet1!C169","v":3.4789999999999983},{"$f":"B12*25.4","v":88.366599999999949},null,null,7,{"$f":"Sheet1!C35","v":4.2993793103448255},{"$f":"G12*25.4","v":109.20423448275857}]
[4,{"$f":"Sheet1!D169","v":3.4819999999999984},{"$f":"B13*25.4","v":88.442799999999949},null,null,8,{"$f":"Sheet1!D35","v":4.2973793103448266},{"$f":"G13*25.4","v":109.15343448275858}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4786206896551768},{"$f":"Sheet1!C118","v":-5.0000000000007816E-3},{"$f":"B20*25.4","v":-139.15696551724147},{"$f":"C20*25.4","v":-0.12700000000001985},null,{"$f":"H10-D21","v":156.94660000000005},{"$f":"C10-E20","v":88.645999999999987}]
["X1",{"$f":"Sheet1!A78","v":-1.8816206896551755},{"$f":"Sheet1!D118","v":-3.6060000000000016},{"$f":"B21*25.4","v":-47.793165517241455},{"$f":"C21*25.4","v":-91.59240000000004}]
["Y1",{"$f":"Sheet1!B78","v":-5.4746206896551719},null,{"$f":"B22*25.4","v":-139.05536551724137}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4736206896551742},{"$f":"Sheet1!A128","v":-5.0000000000007816E-3},{"$f":"B26*25.4","v":-139.02996551724141},{"$f":"C26*25.4","v":-0.12700000000001985},null,{"$f":"H13-D27","v":156.845},{"$f":"C13-E26","v":88.569799999999972}]
["X1",{"$f":"Sheet1!A87","v":-1.8776206896551741},{"$f":"Sheet1!B128","v":-3.6050000000000022},{"$f":"B27*25.4","v":-47.691565517241422},{"$f":"C27*25.4","v":-91.56700000000005}]
["Y2",{"$f":"Sheet1!C87","v":-5.4766206896551743},"\\",{"$f":"B28*25.4","v":-139.10616551724141}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4479999999999995},{"$f":"B36*25.4","v":-138.37919999999997},null,"US  +",{"$f":"Sheet1!A197","v":1.7169999999999987},{"$f":"F36*25.4","v":43.611799999999967}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7149999999999981},{"$f":"F37*25.4","v":43.56099999999995}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7139999999999986},{"$f":"F38*25.4","v":43.53559999999996}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.711999999999998},{"$f":"F39*25.4","v":43.484799999999943}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3960000000000008},{"$f":"B42*25.4","v":-111.65840000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-06-03"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4836206896551722},{"$f":"Sheet1!A169","v":3.4849999999999985},{"$f":"SUM(B10*25.4)","v":-139.28396551724137},{"$f":"SUM(C10*25.4)","v":88.518999999999963}]
[2,{"$f":"Sheet1!B28","v":-5.4786206896551768},{"$f":"Sheet1!B169","v":3.4839999999999982},{"$f":"SUM(B11*25.4)","v":-139.15696551724147},{"$f":"SUM(C11*25.4)","v":88.493599999999944},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4826206896551746},{"$f":"Sheet1!C169","v":3.4789999999999983},-139.25856551724144,88.366599999999949,null,{"$f":"Sheet1!C141","v":-5.4479999999999995},{"$f":"SUM(G12*25.4)","v":-138.37919999999997}]
[4,{"$f":"Sheet1!D28","v":-5.4816206896551769},{"$f":"Sheet1!D169","v":3.4819999999999984},-139.23316551724147,88.442799999999949]
[5,{"$f":"Sheet1!A35","v":4.2973793103448266},{"$f":"Sheet1!A177","v":-3.599000000000002},109.15343448275858,-91.41460000000005]
[6,{"$f":"Sheet1!B35","v":4.2983793103448242},{"$f":"Sheet1!B177","v":-3.6050000000000022},109.17883448275853,-91.56700000000005,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2993793103448255},{"$f":"Sheet1!C177","v":-3.6050000000000022},109.20423448275857,-91.56700000000005]
[8,{"$f":"Sheet1!D35","v":4.2973793103448266},{"$f":"Sheet1!D177","v":-3.6070000000000011},109.15343448275858,-91.617800000000017,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3960000000000008},{"$f":"SUM(G18*25.4)","v":-111.65840000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8816206896551755},{"$f":"Sheet1!C118","v":-5.0000000000007816E-3},{"$f":"SUM(B23*25.4)","v":-47.793165517241455},{"$f":"SUM(C23*25.4)","v":-0.12700000000001985}]
["X1",{"$f":"Sheet1!A78","v":-1.8816206896551755},{"$f":"Sheet1!D118","v":-3.6060000000000016},{"$f":"SUM(B24*25.4)","v":-47.793165517241455},{"$f":"SUM(C24*25.4)","v":-91.59240000000004},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4746206896551719},null,{"$f":"SUM(B25*25.4)","v":-139.05536551724137},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7169999999999987},{"$f":"SUM(H25*25.4)","v":43.611799999999967}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7149999999999981},{"$f":"SUM(H26*25.4)","v":43.56099999999995}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7139999999999986},{"$f":"SUM(H27*25.4)","v":43.53559999999996}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.711999999999998},{"$f":"SUM(H28*25.4)","v":43.484799999999943}]
["Y1",{"$f":"Sheet1!B87","v":-5.4736206896551742},{"$f":"Sheet1!A128","v":-5.0000000000007816E-3},{"$f":"SUM(B29*25.4)","v":-139.02996551724141},{"$f":"SUM(C29*25.4)","v":-0.12700000000001985}]
["X1",{"$f":"Sheet1!A87","v":-1.8776206896551741},{"$f":"Sheet1!B128","v":-3.6050000000000022},{"$f":"SUM(B30*25.4)","v":-47.691565517241422},{"$f":"SUM(C30*25.4)","v":-91.56700000000005}]
["Y2",{"$f":"Sheet1!C87","v":-5.4766206896551743},null,{"$f":"SUM(B31*25.4)","v":-139.10616551724141}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5996206896551755},{"$f":"Sheet1!A118","v":4.9999999999990052E-3},{"$f":"SUM(B37*25.4)","v":-91.430365517241455},{"$f":"SUM(C37*25.4)","v":0.12699999999997472},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6030000000000015},0,{"$f":"SUM(C38*25.4)","v":-91.51620000000004}]
["Y2",{"$f":"Sheet1!C68","v":-3.6016206896551743},null,{"$f":"SUM(B39*25.4)","v":-91.481165517241422}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6006206896551731},{"$f":"Sheet1!C128","v":-5.0000000000007816E-3},{"$f":"SUM(B43*25.4)","v":-91.455765517241389},{"$f":"SUM(C43*25.4)","v":-0.12700000000001985}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6060000000000016},0,{"$f":"SUM(C44*25.4)","v":-91.59240000000004}]
["Y2",{"$f":"Sheet1!C96","v":-3.5956206896551741},null,{"$f":"SUM(B45*25.4)","v":-91.328765517241422}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0336206896551765},{"$f":"Sheet1!A188","v":-0.23600000000000065},{"$f":"SUM(B49*25.4)","v":-178.65396551724146},{"$f":"SUM(C49*25.4)","v":-5.9944000000000166}]
["B",{"$f":"Sheet1!B45","v":-2.4986206896551728},null,{"$f":"SUM(B50*25.4)","v":-63.464965517241389}]
["C",{"$f":"Sheet1!C45","v":-0.74362068965517381},{"$f":"Sheet1!C188","v":-2.3800000000000008},{"$f":"SUM(B51*25.4)","v":-18.887965517241415},{"$f":"SUM(C51*25.4)","v":-60.452000000000019}]
["D",{"$f":"Sheet1!D45","v":-0.74262068965517614},{"$f":"Sheet1!D188","v":-5.4620000000000015},{"$f":"SUM(B52*25.4)","v":-18.862565517241475},{"$f":"SUM(C52*25.4)","v":-138.73480000000004}]