{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2012-01-30"]
["Crew:","MR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26]
["1st. Near",26.867999999999999]
["2nd. Far",28]
["2nd Near",27.44]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.215686274509803}]
["Near Should Read",27.215686274509803]
["LOS",27.215686274509803]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.7,31.695,31.7,31.702000000000002]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.700000000000003},{"$f":"SUM(B24:B25)","v":32.695},{"$f":"SUM(C24:C25)","v":32.700000000000003},{"$f":"SUM(D24:D25)","v":32.701999999999998}]
[{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803}]
[{"$f":"SUM(A27-A26)","v":-5.4843137254901997},{"$f":"SUM(B27-B26)","v":-5.4793137254901971},{"$f":"SUM(C27-C26)","v":-5.4843137254901997},{"$f":"SUM(D27-D26)","v":-5.486313725490195}]
[]
["5)","6)","7)","8)"]
[21.920999999999999,21.92,21.919,21.919]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":22.920999999999999},{"$f":"SUM(B31:B32)","v":22.92},{"$f":"SUM(C31:C32)","v":22.919},{"$f":"SUM(D31:D32)","v":22.919}]
[{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803}]
[{"$f":"SUM(A34-A33)","v":4.2946862745098038},{"$f":"SUM(B34-B33)","v":4.2956862745098014},{"$f":"SUM(C34-C33)","v":4.2966862745098027},{"$f":"SUM(D34-D33)","v":4.2966862745098027}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.247999999999998,28.710999999999999,26.957999999999998,26.957999999999998]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.247999999999998},{"$f":"SUM(B41:B42)","v":29.710999999999999},{"$f":"SUM(C41:C42)","v":27.957999999999998},{"$f":"SUM(D41:D42)","v":27.957999999999998}]
[{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803}]
[{"$f":"SUM(A44-A43)","v":-7.0323137254901944},{"$f":"SUM(B44-B43)","v":-2.4953137254901954},{"$f":"SUM(C44-C43)","v":-0.74231372549019525},{"$f":"SUM(D44-D43)","v":-0.74231372549019525}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.215686274509803},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2012-01-30"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.815000000000001,29.818999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.815000000000001},{"$f":"SUM(C64:C65)","v":30.818999999999999}]
[null,{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803}]
[0,{"$f":"SUM(B67-B66)","v":-3.5993137254901981},{"$f":"SUM(C67-C66)","v":-3.6033137254901959}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.1,31.692,31.696000000000002]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.1},{"$f":"SUM(B74:B75)","v":32.692},{"$f":"SUM(C74:C75)","v":32.695999999999998}]
[{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803}]
[{"$f":"SUM(A77-A76)","v":-1.8843137254901983},{"$f":"SUM(B77-B76)","v":-5.476313725490197},{"$f":"SUM(C77-C76)","v":-5.4803137254901948}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.097000000000001,31.687000000000001,31.693999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.097000000000001},{"$f":"SUM(B83:B84)","v":32.686999999999998},{"$f":"SUM(C83:C84)","v":32.694000000000003}]
[{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803}]
[{"$f":"SUM(A86-A85)","v":-1.8813137254901982},{"$f":"SUM(B86-B85)","v":-5.4713137254901945},{"$f":"SUM(C86-C85)","v":-5.4783137254901995}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.818000000000001,29.812999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.818000000000001},{"$f":"SUM(C92:C93)","v":30.812999999999999}]
[null,{"$f":"B18","v":27.215686274509803},{"$f":"B18","v":27.215686274509803}]
[0,{"$f":"SUM(B95-B94)","v":-3.6023137254901982},{"$f":"SUM(C95-C94)","v":-3.5973137254901957}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.3849999999999998,9.3870000000000005]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":10.385},{"$f":"SUM(D104+D105)","v":10.387}]
["Date:",{"$f":"B6","v":"2012-01-30"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.385999999999999}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.3849999999999998},12.992000000000001,9.3930000000000007,12.994]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.385},{"$f":"SUM(B114:B115)","v":13.992000000000001},{"$f":"SUM(C114:C115)","v":10.393000000000001},{"$f":"SUM(D114:D115)","v":13.994}]
[{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999}]
[{"$f":"SUM(A117-A116)","v":9.9999999999944578E-4},{"$f":"SUM(B117-B116)","v":-3.6060000000000016},{"$f":"SUM(C117-C116)","v":-7.0000000000014495E-3},{"$f":"SUM(D117-D116)","v":-3.6080000000000005}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.3879999999999999,12.99,{"$f":"D104","v":9.3870000000000005},12.987]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.388},{"$f":"SUM(B124:B125)","v":13.99},{"$f":"SUM(C124:C125)","v":10.387},{"$f":"SUM(D124:D125)","v":13.987}]
[{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999}]
[{"$f":"SUM(A127-A126)","v":-2.0000000000006679E-3},{"$f":"SUM(B127-B126)","v":-3.604000000000001},{"$f":"SUM(C127-C126)","v":-1.0000000000012221E-3},{"$f":"SUM(D127-D126)","v":-3.6010000000000009}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.785,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.385999999999999},null,3.9E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3990000000000009},null,{"$f":"SUM(C137+C138)","v":-5.4250000000000007}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4640000000000004},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2012-01-30"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":10.385999999999999}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.9009999999999998,5.9,5.9050000000000002,5.9]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.9009999999999998},{"$f":"SUM(B165:B166)","v":6.9},{"$f":"SUM(C165:C166)","v":6.9050000000000002},{"$f":"SUM(D165:D166)","v":6.9}]
[{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999}]
[{"$f":"SUM(A168-A167)","v":3.4849999999999994},{"$f":"SUM(B168-B167)","v":3.4859999999999989},{"$f":"SUM(C168-C167)","v":3.480999999999999},{"$f":"SUM(D168-D167)","v":3.4859999999999989}]
[]
[]
["5)","6)","7)","8)"]
[12.986000000000001,12.99,12.987,12.991]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.986000000000001},{"$f":"SUM(B173+B174)","v":13.99},{"$f":"SUM(C173+C174)","v":13.987},{"$f":"SUM(D173+D174)","v":13.991}]
[{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999}]
[{"$f":"SUM(A176-A175)","v":-3.6000000000000014},{"$f":"SUM(B176-B175)","v":-3.604000000000001},{"$f":"SUM(C176-C175)","v":-3.6010000000000009},{"$f":"SUM(D176-D175)","v":-3.6050000000000004}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.6259999999999994,null,11.77,14.85]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.625999999999999},null,{"$f":"SUM(C184+C185)","v":12.77},{"$f":"SUM(D184+D185)","v":15.85}]
[{"$f":"D109","v":10.385999999999999},null,{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999}]
[{"$f":"SUM(A187-A186)","v":-0.24000000000000021},0,{"$f":"SUM(C187-C186)","v":-2.3840000000000003},{"$f":"SUM(D187-D186)","v":-5.4640000000000004}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.6709999999999994,8.673,8.67,8.6720000000000006]
[{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999},{"$f":"D109","v":10.385999999999999}]
[{"$f":"SUM(A196-A195)","v":1.7149999999999999},{"$f":"SUM(B196-B195)","v":1.7129999999999992},{"$f":"SUM(C196-C195)","v":1.7159999999999993},{"$f":"SUM(D196-D195)","v":1.7139999999999986}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-01-30"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4849999999999994},{"$f":"B10*25.4","v":88.518999999999977},null,null,5,{"$f":"Sheet1!A35","v":4.2946862745098038},{"$f":"G10*25.4","v":109.08503137254901}]
[2,{"$f":"Sheet1!B169","v":3.4859999999999989},{"$f":"B11*25.4","v":88.544399999999968},null,null,6,{"$f":"Sheet1!B35","v":4.2956862745098014},{"$f":"G11*25.4","v":109.11043137254894}]
[3,{"$f":"Sheet1!C169","v":3.480999999999999},{"$f":"B12*25.4","v":88.417399999999972},null,null,7,{"$f":"Sheet1!C35","v":4.2966862745098027},{"$f":"G12*25.4","v":109.13583137254898}]
[4,{"$f":"Sheet1!D169","v":3.4859999999999989},{"$f":"B13*25.4","v":88.544399999999968},null,null,8,{"$f":"Sheet1!D35","v":4.2966862745098027},{"$f":"G13*25.4","v":109.13583137254898}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4803137254901948},{"$f":"Sheet1!C118","v":-7.0000000000014495E-3},{"$f":"B20*25.4","v":-139.19996862745094},{"$f":"C20*25.4","v":-0.17780000000003682},null,{"$f":"H10-D21","v":156.94660000000005},{"$f":"C10-E20","v":88.69680000000001}]
["X1",{"$f":"Sheet1!A78","v":-1.8843137254901983},{"$f":"Sheet1!D118","v":-3.6080000000000005},{"$f":"B21*25.4","v":-47.861568627451035},{"$f":"C21*25.4","v":-91.643200000000007}]
["Y1",{"$f":"Sheet1!B78","v":-5.476313725490197},null,{"$f":"B22*25.4","v":-139.09836862745101}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4713137254901945},{"$f":"Sheet1!A128","v":-2.0000000000006679E-3},{"$f":"B26*25.4","v":-138.97136862745094},{"$f":"C26*25.4","v":-5.0800000000016964E-2},null,{"$f":"H13-D27","v":156.9212},{"$f":"C13-E26","v":88.595199999999991}]
["X1",{"$f":"Sheet1!A87","v":-1.8813137254901982},{"$f":"Sheet1!B128","v":-3.604000000000001},{"$f":"B27*25.4","v":-47.785368627451028},{"$f":"C27*25.4","v":-91.541600000000017}]
["Y2",{"$f":"Sheet1!C87","v":-5.4783137254901995},"\\",{"$f":"B28*25.4","v":-139.14916862745105}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4640000000000004},{"$f":"B36*25.4","v":-138.78560000000002},null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"F36*25.4","v":43.560999999999993}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7129999999999992},{"$f":"F37*25.4","v":43.510199999999976}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7159999999999993},{"$f":"F38*25.4","v":43.586399999999983}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7139999999999986},{"$f":"F39*25.4","v":43.53559999999996}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3990000000000009},{"$f":"B42*25.4","v":-111.73460000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-01-30"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4843137254901997},{"$f":"Sheet1!A169","v":3.4849999999999994},{"$f":"SUM(B10*25.4)","v":-139.30156862745108},{"$f":"SUM(C10*25.4)","v":88.518999999999977}]
[2,{"$f":"Sheet1!B28","v":-5.4793137254901971},{"$f":"Sheet1!B169","v":3.4859999999999989},{"$f":"SUM(B11*25.4)","v":-139.17456862745101},{"$f":"SUM(C11*25.4)","v":88.544399999999968},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4843137254901997},{"$f":"Sheet1!C169","v":3.480999999999999},-139.30156862745108,88.417399999999972,null,{"$f":"Sheet1!C141","v":-5.4640000000000004},{"$f":"SUM(G12*25.4)","v":-138.78560000000002}]
[4,{"$f":"Sheet1!D28","v":-5.486313725490195},{"$f":"Sheet1!D169","v":3.4859999999999989},-139.35236862745094,88.544399999999968]
[5,{"$f":"Sheet1!A35","v":4.2946862745098038},{"$f":"Sheet1!A177","v":-3.6000000000000014},109.08503137254901,-91.440000000000026]
[6,{"$f":"Sheet1!B35","v":4.2956862745098014},{"$f":"Sheet1!B177","v":-3.604000000000001},109.11043137254894,-91.541600000000017,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2966862745098027},{"$f":"Sheet1!C177","v":-3.6010000000000009},109.13583137254898,-91.465400000000017]
[8,{"$f":"Sheet1!D35","v":4.2966862745098027},{"$f":"Sheet1!D177","v":-3.6050000000000004},109.13583137254898,-91.567000000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3990000000000009},{"$f":"SUM(G18*25.4)","v":-111.73460000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8843137254901983},{"$f":"Sheet1!C118","v":-7.0000000000014495E-3},{"$f":"SUM(B23*25.4)","v":-47.861568627451035},{"$f":"SUM(C23*25.4)","v":-0.17780000000003682}]
["X1",{"$f":"Sheet1!A78","v":-1.8843137254901983},{"$f":"Sheet1!D118","v":-3.6080000000000005},{"$f":"SUM(B24*25.4)","v":-47.861568627451035},{"$f":"SUM(C24*25.4)","v":-91.643200000000007},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.476313725490197},null,{"$f":"SUM(B25*25.4)","v":-139.09836862745101},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"SUM(H25*25.4)","v":43.560999999999993}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7129999999999992},{"$f":"SUM(H26*25.4)","v":43.510199999999976}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7159999999999993},{"$f":"SUM(H27*25.4)","v":43.586399999999983}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7139999999999986},{"$f":"SUM(H28*25.4)","v":43.53559999999996}]
["Y1",{"$f":"Sheet1!B87","v":-5.4713137254901945},{"$f":"Sheet1!A128","v":-2.0000000000006679E-3},{"$f":"SUM(B29*25.4)","v":-138.97136862745094},{"$f":"SUM(C29*25.4)","v":-5.0800000000016964E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8813137254901982},{"$f":"Sheet1!B128","v":-3.604000000000001},{"$f":"SUM(B30*25.4)","v":-47.785368627451028},{"$f":"SUM(C30*25.4)","v":-91.541600000000017}]
["Y2",{"$f":"Sheet1!C87","v":-5.4783137254901995},null,{"$f":"SUM(B31*25.4)","v":-139.14916862745105}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5993137254901981},{"$f":"Sheet1!A118","v":9.9999999999944578E-4},{"$f":"SUM(B37*25.4)","v":-91.422568627451028},{"$f":"SUM(C37*25.4)","v":2.539999999998592E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6060000000000016},0,{"$f":"SUM(C38*25.4)","v":-91.59240000000004}]
["Y2",{"$f":"Sheet1!C68","v":-3.6033137254901959},null,{"$f":"SUM(B39*25.4)","v":-91.524168627450976}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6023137254901982},{"$f":"Sheet1!C128","v":-1.0000000000012221E-3},{"$f":"SUM(B43*25.4)","v":-91.498768627451028},{"$f":"SUM(C43*25.4)","v":-2.540000000003104E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6010000000000009},0,{"$f":"SUM(C44*25.4)","v":-91.465400000000017}]
["Y2",{"$f":"Sheet1!C96","v":-3.5973137254901957},null,{"$f":"SUM(B45*25.4)","v":-91.371768627450962}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0323137254901944},{"$f":"Sheet1!A188","v":-0.24000000000000021},{"$f":"SUM(B49*25.4)","v":-178.62076862745093},{"$f":"SUM(C49*25.4)","v":-6.0960000000000054}]
["B",{"$f":"Sheet1!B45","v":-2.4953137254901954},null,{"$f":"SUM(B50*25.4)","v":-63.380968627450962}]
["C",{"$f":"Sheet1!C45","v":-0.74231372549019525},{"$f":"Sheet1!C188","v":-2.3840000000000003},{"$f":"SUM(B51*25.4)","v":-18.854768627450959},{"$f":"SUM(C51*25.4)","v":-60.553600000000003}]
["D",{"$f":"Sheet1!D45","v":-0.74231372549019525},{"$f":"Sheet1!D188","v":-5.4640000000000004},{"$f":"SUM(B52*25.4)","v":-18.854768627450959},{"$f":"SUM(C52*25.4)","v":-138.78560000000002}]