{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2012-08-23"]
["Crew:","MR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",28.338000000000001]
["2nd. Far",29]
["2nd Near",28.867000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.819170632222978}]
["Near Should Read",28.819170632222978]
["LOS",28.819170632222978]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.299999999999997,33.295000000000002,33.299999999999997,33.305999999999997]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.299999999999997},{"$f":"SUM(B24:B25)","v":34.295000000000002},{"$f":"SUM(C24:C25)","v":34.299999999999997},{"$f":"SUM(D24:D25)","v":34.305999999999997}]
[{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978}]
[{"$f":"SUM(A27-A26)","v":-5.4808293677770195},{"$f":"SUM(B27-B26)","v":-5.475829367777024},{"$f":"SUM(C27-C26)","v":-5.4808293677770195},{"$f":"SUM(D27-D26)","v":-5.4868293677770197}]
[]
["5)","6)","7)","8)"]
[23.523,23.523,23.524000000000001,23.524000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.523},{"$f":"SUM(B31:B32)","v":24.523},{"$f":"SUM(C31:C32)","v":24.524000000000001},{"$f":"SUM(D31:D32)","v":24.524000000000001}]
[{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978}]
[{"$f":"SUM(A34-A33)","v":4.296170632222978},{"$f":"SUM(B34-B33)","v":4.296170632222978},{"$f":"SUM(C34-C33)","v":4.2951706322229768},{"$f":"SUM(D34-D33)","v":4.2951706322229768}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.853000000000002,30.321000000000002,28.559000000000001,28.56]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.853000000000002},{"$f":"SUM(B41:B42)","v":31.321000000000002},{"$f":"SUM(C41:C42)","v":29.559000000000001},{"$f":"SUM(D41:D42)","v":29.56}]
[{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978}]
[{"$f":"SUM(A44-A43)","v":-7.0338293677770238},{"$f":"SUM(B44-B43)","v":-2.5018293677770238},{"$f":"SUM(C44-C43)","v":-0.73982936777702335},{"$f":"SUM(D44-D43)","v":-0.74082936777702102}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.819170632222978},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2012-08-23"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.417000000000002,31.42]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.417000000000002},{"$f":"SUM(C64:C65)","v":32.42}]
[null,{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978}]
[0,{"$f":"SUM(B67-B66)","v":-3.5978293677770239},{"$f":"SUM(C67-C66)","v":-3.600829367777024}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.702999999999999,33.298000000000002,33.298999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.702999999999999},{"$f":"SUM(B74:B75)","v":34.298000000000002},{"$f":"SUM(C74:C75)","v":34.298999999999999}]
[{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978}]
[{"$f":"SUM(A77-A76)","v":-1.8838293677770217},{"$f":"SUM(B77-B76)","v":-5.4788293677770241},{"$f":"SUM(C77-C76)","v":-5.4798293677770218}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.702999999999999,33.293999999999997,33.302999999999997]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.702999999999999},{"$f":"SUM(B83:B84)","v":34.293999999999997},{"$f":"SUM(C83:C84)","v":34.302999999999997}]
[{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978}]
[{"$f":"SUM(A86-A85)","v":-1.8838293677770217},{"$f":"SUM(B86-B85)","v":-5.4748293677770192},{"$f":"SUM(C86-C85)","v":-5.4838293677770196}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.422999999999998,31.417999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.423000000000002},{"$f":"SUM(C92:C93)","v":32.417999999999999}]
[null,{"$f":"B18","v":28.819170632222978},{"$f":"B18","v":28.819170632222978}]
[0,{"$f":"SUM(B95-B94)","v":-3.6038293677770241},{"$f":"SUM(C95-C94)","v":-3.5988293677770216}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,10.382999999999999,10.381]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":11.382999999999999},{"$f":"SUM(D104+D105)","v":11.381}]
["Date:",{"$f":"B6","v":"2012-08-23"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":11.382}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":10.382999999999999},13.989000000000001,10.388,13.991]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":11.382999999999999},{"$f":"SUM(B114:B115)","v":14.989000000000001},{"$f":"SUM(C114:C115)","v":11.388},{"$f":"SUM(D114:D115)","v":14.991}]
[{"$f":"D109","v":11.382},{"$f":"D109","v":11.382},{"$f":"D109","v":11.382},{"$f":"D109","v":11.382}]
[{"$f":"SUM(A117-A116)","v":-9.9999999999944578E-4},{"$f":"SUM(B117-B116)","v":-3.6070000000000011},{"$f":"SUM(C117-C116)","v":-6.0000000000002274E-3},{"$f":"SUM(D117-D116)","v":-3.609}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[10.391,13.993,{"$f":"D104","v":10.381},13.984999999999999]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":11.391},{"$f":"SUM(B124:B125)","v":14.993},{"$f":"SUM(C124:C125)","v":11.381},{"$f":"SUM(D124:D125)","v":14.984999999999999}]
[{"$f":"D109","v":11.382},{"$f":"D109","v":11.382},{"$f":"D109","v":11.382},{"$f":"D109","v":11.382}]
[{"$f":"SUM(A127-A126)","v":-9.0000000000003411E-3},{"$f":"SUM(B127-B126)","v":-3.6110000000000007},{"$f":"SUM(C127-C126)","v":9.9999999999944578E-4},{"$f":"SUM(D127-D126)","v":-3.6029999999999998}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[15.782999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":11.382},null,4.7E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4009999999999998},null,{"$f":"SUM(C137+C138)","v":-5.4170000000000007}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4560000000000004},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2012-08-23"}]
["Crew:",{"$f":"B7","v":"MR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":11.382}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.8979999999999997,6.8970000000000002,6.9029999999999996,6.9]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.8979999999999997},{"$f":"SUM(B165:B166)","v":7.8970000000000002},{"$f":"SUM(C165:C166)","v":7.9029999999999996},{"$f":"SUM(D165:D166)","v":7.9}]
[{"$f":"D109","v":11.382},{"$f":"D109","v":11.382},{"$f":"D109","v":11.382},{"$f":"D109","v":11.382}]
[{"$f":"SUM(A168-A167)","v":3.484},{"$f":"SUM(B168-B167)","v":3.4849999999999994},{"$f":"SUM(C168-C167)","v":3.4790000000000001},{"$f":"SUM(D168-D167)","v":3.4819999999999993}]
[]
[]
["5)","6)","7)","8)"]
[13.99,13.994,13.993,13.997999999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.99},{"$f":"SUM(B173+B174)","v":14.994},{"$f":"SUM(C173+C174)","v":14.993},{"$f":"SUM(D173+D174)","v":14.997999999999999}]
[{"$f":"D109","v":11.382},{"$f":"D109","v":11.382},{"$f":"D109","v":11.382},{"$f":"D109","v":11.382}]
[{"$f":"SUM(A176-A175)","v":-3.6080000000000005},{"$f":"SUM(B176-B175)","v":-3.6120000000000001},{"$f":"SUM(C176-C175)","v":-3.6110000000000007},{"$f":"SUM(D176-D175)","v":-3.6159999999999997}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[10.621,null,12.766999999999999,15.847]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":11.621},null,{"$f":"SUM(C184+C185)","v":13.766999999999999},{"$f":"SUM(D184+D185)","v":16.847000000000001}]
[{"$f":"D109","v":11.382},null,{"$f":"D109","v":11.382},{"$f":"D109","v":11.382}]
[{"$f":"SUM(A187-A186)","v":-0.23900000000000077},0,{"$f":"SUM(C187-C186)","v":-2.3849999999999998},{"$f":"SUM(D187-D186)","v":-5.4650000000000016}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[9.6690000000000005,9.6679999999999993,9.6720000000000006,9.6709999999999994]
[{"$f":"D109","v":11.382},{"$f":"D109","v":11.382},{"$f":"D109","v":11.382},{"$f":"D109","v":11.382}]
[{"$f":"SUM(A196-A195)","v":1.7129999999999992},{"$f":"SUM(B196-B195)","v":1.7140000000000004},{"$f":"SUM(C196-C195)","v":1.7099999999999991},{"$f":"SUM(D196-D195)","v":1.7110000000000003}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-08-23"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.484},{"$f":"B10*25.4","v":88.493600000000001},null,null,5,{"$f":"Sheet1!A35","v":4.296170632222978},{"$f":"G10*25.4","v":109.12273405846364}]
[2,{"$f":"Sheet1!B169","v":3.4849999999999994},{"$f":"B11*25.4","v":88.518999999999977},null,null,6,{"$f":"Sheet1!B35","v":4.296170632222978},{"$f":"G11*25.4","v":109.12273405846364}]
[3,{"$f":"Sheet1!C169","v":3.4790000000000001},{"$f":"B12*25.4","v":88.366599999999991},null,null,7,{"$f":"Sheet1!C35","v":4.2951706322229768},{"$f":"G12*25.4","v":109.0973340584636}]
[4,{"$f":"Sheet1!D169","v":3.4819999999999993},{"$f":"B13*25.4","v":88.442799999999977},null,null,8,{"$f":"Sheet1!D35","v":4.2951706322229768},{"$f":"G13*25.4","v":109.0973340584636}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4798293677770218},{"$f":"Sheet1!C118","v":-6.0000000000002274E-3},{"$f":"B20*25.4","v":-139.18766594153635},{"$f":"C20*25.4","v":-0.15240000000000575},null,{"$f":"H10-D21","v":156.97199999999998},{"$f":"C10-E20","v":88.646000000000001}]
["X1",{"$f":"Sheet1!A78","v":-1.8838293677770217},{"$f":"Sheet1!D118","v":-3.609},{"$f":"B21*25.4","v":-47.849265941536352},{"$f":"C21*25.4","v":-91.668599999999998}]
["Y1",{"$f":"Sheet1!B78","v":-5.4788293677770241},null,{"$f":"B22*25.4","v":-139.16226594153642}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4748293677770192},{"$f":"Sheet1!A128","v":-9.0000000000003411E-3},{"$f":"B26*25.4","v":-139.06066594153629},{"$f":"C26*25.4","v":-0.22860000000000866},null,{"$f":"H13-D27","v":156.94659999999996},{"$f":"C13-E26","v":88.671399999999991}]
["X1",{"$f":"Sheet1!A87","v":-1.8838293677770217},{"$f":"Sheet1!B128","v":-3.6110000000000007},{"$f":"B27*25.4","v":-47.849265941536352},{"$f":"C27*25.4","v":-91.719400000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4838293677770196},"\\",{"$f":"B28*25.4","v":-139.28926594153629}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4560000000000004},{"$f":"B36*25.4","v":-138.58240000000001},null,"US  +",{"$f":"Sheet1!A197","v":1.7129999999999992},{"$f":"F36*25.4","v":43.510199999999976}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7140000000000004},{"$f":"F37*25.4","v":43.535600000000009}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7099999999999991},{"$f":"F38*25.4","v":43.433999999999976}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7110000000000003},{"$f":"F39*25.4","v":43.459400000000002}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4009999999999998},{"$f":"B42*25.4","v":-111.7854}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-08-23"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4808293677770195},{"$f":"Sheet1!A169","v":3.484},{"$f":"SUM(B10*25.4)","v":-139.21306594153629},{"$f":"SUM(C10*25.4)","v":88.493600000000001}]
[2,{"$f":"Sheet1!B28","v":-5.475829367777024},{"$f":"Sheet1!B169","v":3.4849999999999994},{"$f":"SUM(B11*25.4)","v":-139.08606594153639},{"$f":"SUM(C11*25.4)","v":88.518999999999977},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4808293677770195},{"$f":"Sheet1!C169","v":3.4790000000000001},-139.21306594153629,88.366599999999991,null,{"$f":"Sheet1!C141","v":-5.4560000000000004},{"$f":"SUM(G12*25.4)","v":-138.58240000000001}]
[4,{"$f":"Sheet1!D28","v":-5.4868293677770197},{"$f":"Sheet1!D169","v":3.4819999999999993},-139.36546594153629,88.442799999999977]
[5,{"$f":"Sheet1!A35","v":4.296170632222978},{"$f":"Sheet1!A177","v":-3.6080000000000005},109.12273405846364,-91.643200000000007]
[6,{"$f":"Sheet1!B35","v":4.296170632222978},{"$f":"Sheet1!B177","v":-3.6120000000000001},109.12273405846364,-91.744799999999998,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2951706322229768},{"$f":"Sheet1!C177","v":-3.6110000000000007},109.0973340584636,-91.719400000000007]
[8,{"$f":"Sheet1!D35","v":4.2951706322229768},{"$f":"Sheet1!D177","v":-3.6159999999999997},109.0973340584636,-91.846399999999988,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4009999999999998},{"$f":"SUM(G18*25.4)","v":-111.7854}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8838293677770217},{"$f":"Sheet1!C118","v":-6.0000000000002274E-3},{"$f":"SUM(B23*25.4)","v":-47.849265941536352},{"$f":"SUM(C23*25.4)","v":-0.15240000000000575}]
["X1",{"$f":"Sheet1!A78","v":-1.8838293677770217},{"$f":"Sheet1!D118","v":-3.609},{"$f":"SUM(B24*25.4)","v":-47.849265941536352},{"$f":"SUM(C24*25.4)","v":-91.668599999999998},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4788293677770241},null,{"$f":"SUM(B25*25.4)","v":-139.16226594153642},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7129999999999992},{"$f":"SUM(H25*25.4)","v":43.510199999999976}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7140000000000004},{"$f":"SUM(H26*25.4)","v":43.535600000000009}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7099999999999991},{"$f":"SUM(H27*25.4)","v":43.433999999999976}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7110000000000003},{"$f":"SUM(H28*25.4)","v":43.459400000000002}]
["Y1",{"$f":"Sheet1!B87","v":-5.4748293677770192},{"$f":"Sheet1!A128","v":-9.0000000000003411E-3},{"$f":"SUM(B29*25.4)","v":-139.06066594153629},{"$f":"SUM(C29*25.4)","v":-0.22860000000000866}]
["X1",{"$f":"Sheet1!A87","v":-1.8838293677770217},{"$f":"Sheet1!B128","v":-3.6110000000000007},{"$f":"SUM(B30*25.4)","v":-47.849265941536352},{"$f":"SUM(C30*25.4)","v":-91.719400000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4838293677770196},null,{"$f":"SUM(B31*25.4)","v":-139.28926594153629}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5978293677770239},{"$f":"Sheet1!A118","v":-9.9999999999944578E-4},{"$f":"SUM(B37*25.4)","v":-91.384865941536404},{"$f":"SUM(C37*25.4)","v":-2.539999999998592E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6070000000000011},0,{"$f":"SUM(C38*25.4)","v":-91.617800000000017}]
["Y2",{"$f":"Sheet1!C68","v":-3.600829367777024},null,{"$f":"SUM(B39*25.4)","v":-91.461065941536404}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6038293677770241},{"$f":"Sheet1!C128","v":9.9999999999944578E-4},{"$f":"SUM(B43*25.4)","v":-91.537265941536404},{"$f":"SUM(C43*25.4)","v":2.539999999998592E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6029999999999998},0,{"$f":"SUM(C44*25.4)","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C96","v":-3.5988293677770216},null,{"$f":"SUM(B45*25.4)","v":-91.410265941536338}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0338293677770238},{"$f":"Sheet1!A188","v":-0.23900000000000077},{"$f":"SUM(B49*25.4)","v":-178.6592659415364},{"$f":"SUM(C49*25.4)","v":-6.0706000000000193}]
["B",{"$f":"Sheet1!B45","v":-2.5018293677770238},null,{"$f":"SUM(B50*25.4)","v":-63.546465941536404}]
["C",{"$f":"Sheet1!C45","v":-0.73982936777702335},{"$f":"Sheet1!C188","v":-2.3849999999999998},{"$f":"SUM(B51*25.4)","v":-18.791665941536394},{"$f":"SUM(C51*25.4)","v":-60.578999999999994}]
["D",{"$f":"Sheet1!D45","v":-0.74082936777702102},{"$f":"Sheet1!D188","v":-5.4650000000000016},{"$f":"SUM(B52*25.4)","v":-18.817065941536335},{"$f":"SUM(C52*25.4)","v":-138.81100000000004}]