{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":6,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2013-05-30"]
["Crew:","LG, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28.5]
["1st. Near",28.33]
["2nd. Far",28.251000000000001]
["2nd Near",28.27]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.276031746031745}]
["Near Should Read",28.276031746031745]
["LOS",28.276031746031745]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.768000000000001,32.764000000000003,32.767000000000003,32.770000000000003]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.768000000000001},{"$f":"SUM(B24:B25)","v":33.764000000000003},{"$f":"SUM(C24:C25)","v":33.767000000000003},{"$f":"SUM(D24:D25)","v":33.770000000000003}]
[{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745}]
[{"$f":"SUM(A27-A26)","v":-5.4919682539682562},{"$f":"SUM(B27-B26)","v":-5.4879682539682584},{"$f":"SUM(C27-C26)","v":-5.4909682539682585},{"$f":"SUM(D27-D26)","v":-5.4939682539682586}]
[]
["5)","6)","7)","8)"]
[22.984000000000002,22.984999999999999,22.984999999999999,22.986000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.984000000000002},{"$f":"SUM(B31:B32)","v":23.984999999999999},{"$f":"SUM(C31:C32)","v":23.984999999999999},{"$f":"SUM(D31:D32)","v":23.986000000000001}]
[{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745}]
[{"$f":"SUM(A34-A33)","v":4.2920317460317428},{"$f":"SUM(B34-B33)","v":4.2910317460317451},{"$f":"SUM(C34-C33)","v":4.2910317460317451},{"$f":"SUM(D34-D33)","v":4.2900317460317439}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.32,29.788,28.027000000000001,28.026]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.32},{"$f":"SUM(B41:B42)","v":30.788},{"$f":"SUM(C41:C42)","v":29.027000000000001},{"$f":"SUM(D41:D42)","v":29.026}]
[{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745}]
[{"$f":"SUM(A44-A43)","v":-7.0439682539682558},{"$f":"SUM(B44-B43)","v":-2.5119682539682557},{"$f":"SUM(C44-C43)","v":-0.75096825396825651},{"$f":"SUM(D44-D43)","v":-0.74996825396825528}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.276031746031745},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2013-05-30"}]
["Crew:",{"$f":"B7","v":"LG, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.873000000000001,30.878]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.873000000000001},{"$f":"SUM(C64:C65)","v":31.878}]
[null,{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745}]
[0,{"$f":"SUM(B67-B66)","v":-3.5969682539682566},{"$f":"SUM(C67-C66)","v":-3.6019682539682556}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.167000000000002,32.761000000000003,32.765000000000001]
[1,1,1," "]
[{"$f":"SUM(A74:A75)","v":30.167000000000002},{"$f":"SUM(B74:B75)","v":33.761000000000003},{"$f":"SUM(C74:C75)","v":33.765000000000001}]
[{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745}]
[{"$f":"SUM(A77-A76)","v":-1.8909682539682571},{"$f":"SUM(B77-B76)","v":-5.4849682539682583},{"$f":"SUM(C77-C76)","v":-5.4889682539682561}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.164000000000001,32.758000000000003,32.762]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.164000000000001},{"$f":"SUM(B83:B84)","v":33.758000000000003},{"$f":"SUM(C83:C84)","v":33.762}]
[{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745}]
[{"$f":"SUM(A86-A85)","v":-1.887968253968257},{"$f":"SUM(B86-B85)","v":-5.4819682539682582},{"$f":"SUM(C86-C85)","v":-5.4859682539682559}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.872,30.866]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.872},{"$f":"SUM(C92:C93)","v":31.866}]
[null,{"$f":"B18","v":28.276031746031745},{"$f":"B18","v":28.276031746031745}]
[0,{"$f":"SUM(B95-B94)","v":-3.5959682539682554},{"$f":"SUM(C95-C94)","v":-3.5899682539682551}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.2040000000000006,9.1999999999999993,null," "]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":10.204000000000001},{"$f":"SUM(D104+D105)","v":10.199999999999999}]
["Date:",{"$f":"B6","v":"2013-05-30"}]
["Crew:",{"$f":"B7","v":"LG, BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.202}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.2040000000000006},12.81,9.2100000000000009,12.811999999999999]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.204000000000001},{"$f":"SUM(B114:B115)","v":13.81},{"$f":"SUM(C114:C115)","v":10.210000000000001},{"$f":"SUM(D114:D115)","v":13.811999999999999}]
[{"$f":"D109","v":10.202},{"$f":"D109","v":10.202},{"$f":"D109","v":10.202},{"$f":"D109","v":10.202}]
[{"$f":"SUM(A117-A116)","v":-2.0000000000006679E-3},{"$f":"SUM(B117-B116)","v":-3.6080000000000005},{"$f":"SUM(C117-C116)","v":-8.0000000000008953E-3},{"$f":"SUM(D117-D116)","v":-3.6099999999999994}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.2080000000000002,12.81,{"$f":"D104","v":9.1999999999999993},12.801]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.208},{"$f":"SUM(B124:B125)","v":13.81},{"$f":"SUM(C124:C125)","v":10.199999999999999},{"$f":"SUM(D124:D125)","v":13.801}]
[{"$f":"D109","v":10.202},{"$f":"D109","v":10.202},{"$f":"D109","v":10.202},{"$f":"D109","v":10.202}]
[{"$f":"SUM(A127-A126)","v":-6.0000000000002274E-3},{"$f":"SUM(B127-B126)","v":-3.6080000000000005},{"$f":"SUM(C127-C126)","v":2.0000000000006679E-3},{"$f":"SUM(D127-D126)","v":-3.5990000000000002}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.603999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.202},null,2.7E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4019999999999992},null,{"$f":"SUM(C137+C138)","v":-5.4370000000000003}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.476},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2013-05-30"}]
["Crew:",{"$f":"B7","v":"LG, BR"}]
[]
[]
["HI =",{"$f":"D109","v":10.202}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.72,5.7190000000000003,5.7229999999999999,5.7210000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.72},{"$f":"SUM(B165:B166)","v":6.7190000000000003},{"$f":"SUM(C165:C166)","v":6.7229999999999999},{"$f":"SUM(D165:D166)","v":6.7210000000000001}]
[{"$f":"D109","v":10.202},{"$f":"D109","v":10.202},{"$f":"D109","v":10.202},{"$f":"D109","v":10.202}]
[{"$f":"SUM(A168-A167)","v":3.4820000000000002},{"$f":"SUM(B168-B167)","v":3.4829999999999997},{"$f":"SUM(C168-C167)","v":3.4790000000000001},{"$f":"SUM(D168-D167)","v":3.4809999999999999}]
[]
[]
["5)","6)","7)","8)"]
["12.812.",12.81,12.808,12.813000000000001]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":{"$error":"#VALUE!"}},{"$f":"SUM(B173+B174)","v":13.81},{"$f":"SUM(C173+C174)","v":13.808},{"$f":"SUM(D173+D174)","v":13.813000000000001}]
[{"$f":"D109","v":10.202},{"$f":"D109","v":10.202},{"$f":"D109","v":10.202},{"$f":"D109","v":10.202}]
[{"$f":"SUM(A176-A175)","v":{"$error":"#VALUE!"}},{"$f":"SUM(B176-B175)","v":-3.6080000000000005},{"$f":"SUM(C176-C175)","v":-3.6059999999999999},{"$f":"SUM(D176-D175)","v":-3.6110000000000007}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.4429999999999996,null,11.59,14.67]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.443},null,{"$f":"SUM(C184+C185)","v":12.59},{"$f":"SUM(D184+D185)","v":15.67}]
[{"$f":"D109","v":10.202},null,{"$f":"D109","v":10.202},{"$f":"D109","v":10.202}]
[{"$f":"SUM(A187-A186)","v":-0.24099999999999966},0,{"$f":"SUM(C187-C186)","v":-2.3879999999999999},{"$f":"SUM(D187-D186)","v":-5.468}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[null,8.4909999999999997,8.4920000000000009,8.4930000000000003]
[{"$f":"D109","v":10.202},{"$f":"D109","v":10.202},{"$f":"D109","v":10.202},{"$f":"D109","v":10.202}]
[{"$f":"SUM(A196-A195)","v":10.202},{"$f":"SUM(B196-B195)","v":1.7110000000000003},{"$f":"SUM(C196-C195)","v":1.7099999999999991},{"$f":"SUM(D196-D195)","v":1.7089999999999996}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-05-30"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"LG, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4820000000000002},{"$f":"B10*25.4","v":88.442800000000005},null,null,5,{"$f":"Sheet1!A35","v":4.2920317460317428},{"$f":"G10*25.4","v":109.01760634920626}]
[2,{"$f":"Sheet1!B169","v":3.4829999999999997},{"$f":"B11*25.4","v":88.468199999999982},null,null,6,{"$f":"Sheet1!B35","v":4.2910317460317451},{"$f":"G11*25.4","v":108.99220634920631}]
[3,{"$f":"Sheet1!C169","v":3.4790000000000001},{"$f":"B12*25.4","v":88.366599999999991},null,null,7,{"$f":"Sheet1!C35","v":4.2910317460317451},{"$f":"G12*25.4","v":108.99220634920631}]
[4,{"$f":"Sheet1!D169","v":3.4809999999999999},{"$f":"B13*25.4","v":88.417399999999986},null,null,8,{"$f":"Sheet1!D35","v":4.2900317460317439},{"$f":"G13*25.4","v":108.96680634920629}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4889682539682561},{"$f":"Sheet1!C118","v":-8.0000000000008953E-3},{"$f":"B20*25.4","v":-139.41979365079371},{"$f":"C20*25.4","v":-0.20320000000002272},null,{"$f":"H10-D21","v":157.04819999999998},{"$f":"C10-E20","v":88.646000000000029}]
["X1",{"$f":"Sheet1!A78","v":-1.8909682539682571},{"$f":"Sheet1!D118","v":-3.6099999999999994},{"$f":"B21*25.4","v":-48.030593650793726},{"$f":"C21*25.4","v":-91.693999999999974}]
["Y1",{"$f":"Sheet1!B78","v":-5.4849682539682583},null,{"$f":"B22*25.4","v":-139.31819365079375}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4819682539682582},{"$f":"Sheet1!A128","v":-6.0000000000002274E-3},{"$f":"B26*25.4","v":-139.24199365079375},{"$f":"C26*25.4","v":-0.15240000000000575},null,{"$f":"H13-D27","v":156.92120000000003},{"$f":"C13-E26","v":88.569799999999987}]
["X1",{"$f":"Sheet1!A87","v":-1.887968253968257},{"$f":"Sheet1!B128","v":-3.6080000000000005},{"$f":"B27*25.4","v":-47.954393650793726},{"$f":"C27*25.4","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4859682539682559},"\\",{"$f":"B28*25.4","v":-139.34359365079371}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.476},{"$f":"B36*25.4","v":-139.09039999999999},null,"US  +",{"$f":"Sheet1!A197","v":10.202},{"$f":"F36*25.4","v":259.13079999999997}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"F37*25.4","v":43.459400000000002}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7099999999999991},{"$f":"F38*25.4","v":43.433999999999976}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7089999999999996},{"$f":"F39*25.4","v":43.408599999999986}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4019999999999992},{"$f":"B42*25.4","v":-111.81079999999997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-05-30"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4919682539682562},{"$f":"Sheet1!A169","v":3.4820000000000002},{"$f":"SUM(B10*25.4)","v":-139.49599365079371},{"$f":"SUM(C10*25.4)","v":88.442800000000005}]
[2,{"$f":"Sheet1!B28","v":-5.4879682539682584},{"$f":"Sheet1!B169","v":3.4829999999999997},{"$f":"SUM(B11*25.4)","v":-139.39439365079375},{"$f":"SUM(C11*25.4)","v":88.468199999999982},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4909682539682585},{"$f":"Sheet1!C169","v":3.4790000000000001},-139.47059365079375,88.366599999999991,null,{"$f":"Sheet1!C141","v":-5.476},{"$f":"SUM(G12*25.4)","v":-139.09039999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4939682539682586},{"$f":"Sheet1!D169","v":3.4809999999999999},-139.54679365079377,88.417399999999986]
[5,{"$f":"Sheet1!A35","v":4.2920317460317428},{"$f":"Sheet1!A177","v":{"$error":"#VALUE!"}},109.01760634920626,{"$error":"#VALUE!"}]
[6,{"$f":"Sheet1!B35","v":4.2910317460317451},{"$f":"Sheet1!B177","v":-3.6080000000000005},108.99220634920631,-91.643200000000007,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2910317460317451},{"$f":"Sheet1!C177","v":-3.6059999999999999},108.99220634920631,-91.592399999999998]
[8,{"$f":"Sheet1!D35","v":4.2900317460317439},{"$f":"Sheet1!D177","v":-3.6110000000000007},108.96680634920629,-91.719400000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4019999999999992},{"$f":"SUM(G18*25.4)","v":-111.81079999999997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8909682539682571},{"$f":"Sheet1!C118","v":-8.0000000000008953E-3},{"$f":"SUM(B23*25.4)","v":-48.030593650793726},{"$f":"SUM(C23*25.4)","v":-0.20320000000002272}]
["X1",{"$f":"Sheet1!A78","v":-1.8909682539682571},{"$f":"Sheet1!D118","v":-3.6099999999999994},{"$f":"SUM(B24*25.4)","v":-48.030593650793726},{"$f":"SUM(C24*25.4)","v":-91.693999999999974},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4849682539682583},null,{"$f":"SUM(B25*25.4)","v":-139.31819365079375},null,null,"US  +",{"$f":"Sheet1!A197","v":10.202},{"$f":"SUM(H25*25.4)","v":259.13079999999997}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"SUM(H26*25.4)","v":43.459400000000002}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7099999999999991},{"$f":"SUM(H27*25.4)","v":43.433999999999976}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7089999999999996},{"$f":"SUM(H28*25.4)","v":43.408599999999986}]
["Y1",{"$f":"Sheet1!B87","v":-5.4819682539682582},{"$f":"Sheet1!A128","v":-6.0000000000002274E-3},{"$f":"SUM(B29*25.4)","v":-139.24199365079375},{"$f":"SUM(C29*25.4)","v":-0.15240000000000575}]
["X1",{"$f":"Sheet1!A87","v":-1.887968253968257},{"$f":"Sheet1!B128","v":-3.6080000000000005},{"$f":"SUM(B30*25.4)","v":-47.954393650793726},{"$f":"SUM(C30*25.4)","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4859682539682559},null,{"$f":"SUM(B31*25.4)","v":-139.34359365079371}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5969682539682566},{"$f":"Sheet1!A118","v":-2.0000000000006679E-3},{"$f":"SUM(B37*25.4)","v":-91.362993650793712},{"$f":"SUM(C37*25.4)","v":-5.0800000000016964E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6080000000000005},0,{"$f":"SUM(C38*25.4)","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C68","v":-3.6019682539682556},null,{"$f":"SUM(B39*25.4)","v":-91.489993650793693}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5959682539682554},{"$f":"Sheet1!C128","v":2.0000000000006679E-3},{"$f":"SUM(B43*25.4)","v":-91.337593650793679},{"$f":"SUM(C43*25.4)","v":5.0800000000016964E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5990000000000002},0,{"$f":"SUM(C44*25.4)","v":-91.414599999999993}]
["Y2",{"$f":"Sheet1!C96","v":-3.5899682539682551},null,{"$f":"SUM(B45*25.4)","v":-91.185193650793678}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0439682539682558},{"$f":"Sheet1!A188","v":-0.24099999999999966},{"$f":"SUM(B49*25.4)","v":-178.91679365079369},{"$f":"SUM(C49*25.4)","v":-6.1213999999999906}]
["B",{"$f":"Sheet1!B45","v":-2.5119682539682557},null,{"$f":"SUM(B50*25.4)","v":-63.803993650793693}]
["C",{"$f":"Sheet1!C45","v":-0.75096825396825651},{"$f":"Sheet1!C188","v":-2.3879999999999999},{"$f":"SUM(B51*25.4)","v":-19.074593650793712},{"$f":"SUM(C51*25.4)","v":-60.655199999999994}]
["D",{"$f":"Sheet1!D45","v":-0.74996825396825528},{"$f":"Sheet1!D188","v":-5.468},{"$f":"SUM(B52*25.4)","v":-19.049193650793683},{"$f":"SUM(C52*25.4)","v":-138.88719999999998}]