{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2013-08-07"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26]
["1st. Near",28.324999999999999]
["2nd. Far",29]
["2nd Near",29.081]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":29.108288770053477}]
["Near Should Read",29.108288770053477]
["LOS",29.108288770053477]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.604999999999997,33.6,33.604999999999997,33.603000000000002]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.604999999999997},{"$f":"SUM(B24:B25)","v":34.6},{"$f":"SUM(C24:C25)","v":34.604999999999997},{"$f":"SUM(D24:D25)","v":34.603000000000002}]
[{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477}]
[{"$f":"SUM(A27-A26)","v":-5.4967112299465199},{"$f":"SUM(B27-B26)","v":-5.4917112299465245},{"$f":"SUM(C27-C26)","v":-5.4967112299465199},{"$f":"SUM(D27-D26)","v":-5.4947112299465246}]
[]
["5)","6)","7)","8)"]
[23.82,23.821999999999999,23.823,23.82]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.82},{"$f":"SUM(B31:B32)","v":24.821999999999999},{"$f":"SUM(C31:C32)","v":24.823},{"$f":"SUM(D31:D32)","v":24.82}]
[{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477}]
[{"$f":"SUM(A34-A33)","v":4.2882887700534766},{"$f":"SUM(B34-B33)","v":4.2862887700534777},{"$f":"SUM(C34-C33)","v":4.2852887700534765},{"$f":"SUM(D34-D33)","v":4.2882887700534766}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[35.155000000000001,30.623999999999999,28.86,28.86]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":36.155000000000001},{"$f":"SUM(B41:B42)","v":31.623999999999999},{"$f":"SUM(C41:C42)","v":29.86},{"$f":"SUM(D41:D42)","v":29.86}]
[{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477}]
[{"$f":"SUM(A44-A43)","v":-7.0467112299465242},{"$f":"SUM(B44-B43)","v":-2.5157112299465219},{"$f":"SUM(C44-C43)","v":-0.75171122994652251},{"$f":"SUM(D44-D43)","v":-0.75171122994652251}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":29.108288770053477},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2013-08-07"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.707999999999998,31.71]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.707999999999998},{"$f":"SUM(C64:C65)","v":32.71}]
[null,{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477}]
[0,{"$f":"SUM(B67-B66)","v":-3.5997112299465215},{"$f":"SUM(C67-C66)","v":-3.6017112299465239}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[30.001999999999999,33.597000000000001,33.600999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":31.001999999999999},{"$f":"SUM(B74:B75)","v":34.597000000000001},{"$f":"SUM(C74:C75)","v":34.600999999999999}]
[{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477}]
[{"$f":"SUM(A77-A76)","v":-1.893711229946522},{"$f":"SUM(B77-B76)","v":-5.4887112299465244},{"$f":"SUM(C77-C76)","v":-5.4927112299465222}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[30.001000000000001,33.594999999999999,33.597999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":31.001000000000001},{"$f":"SUM(B83:B84)","v":34.594999999999999},{"$f":"SUM(C83:C84)","v":34.597999999999999}]
[{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477}]
[{"$f":"SUM(A86-A85)","v":-1.8927112299465243},{"$f":"SUM(B86-B85)","v":-5.4867112299465219},{"$f":"SUM(C86-C85)","v":-5.4897112299465221}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.908999999999999,31.902999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.908999999999999},{"$f":"SUM(C92:C93)","v":32.902999999999999}]
[null,{"$f":"B18","v":29.108288770053477},{"$f":"B18","v":29.108288770053477}]
[0,{"$f":"SUM(B95-B94)","v":-3.800711229946522},{"$f":"SUM(C95-C94)","v":-3.7947112299465218}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.9489999999999998,8.9489999999999998]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":9.9489999999999998},{"$f":"SUM(D104+D105)","v":9.9489999999999998}]
["Date:",{"$f":"B6","v":"2013-08-07"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.9489999999999998}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.9489999999999998},12.555,8.9570000000000007,12.557]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.9489999999999998},{"$f":"SUM(B114:B115)","v":13.555},{"$f":"SUM(C114:C115)","v":9.9570000000000007},{"$f":"SUM(D114:D115)","v":13.557}]
[{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998}]
[{"$f":"SUM(A117-A116)","v":0},{"$f":"SUM(B117-B116)","v":-3.6059999999999999},{"$f":"SUM(C117-C116)","v":-8.0000000000008953E-3},{"$f":"SUM(D117-D116)","v":-3.6080000000000005}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.9580000000000002,12.558,{"$f":"D104","v":8.9489999999999998},12.55]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.9580000000000002},{"$f":"SUM(B124:B125)","v":13.558},{"$f":"SUM(C124:C125)","v":9.9489999999999998},{"$f":"SUM(D124:D125)","v":13.55}]
[{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998}]
[{"$f":"SUM(A127-A126)","v":-9.0000000000003411E-3},{"$f":"SUM(B127-B126)","v":-3.609},{"$f":"SUM(C127-C126)","v":0},{"$f":"SUM(D127-D126)","v":-3.6010000000000009}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.347,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.9489999999999998},null,2.7E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3979999999999997},null,{"$f":"SUM(C137+C138)","v":-5.4370000000000003}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.476},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2013-08-07"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.9489999999999998}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.4649999999999999,5.4660000000000002,5.4710000000000001,5.47]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.4649999999999999},{"$f":"SUM(B165:B166)","v":6.4660000000000002},{"$f":"SUM(C165:C166)","v":6.4710000000000001},{"$f":"SUM(D165:D166)","v":6.47}]
[{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998}]
[{"$f":"SUM(A168-A167)","v":3.484},{"$f":"SUM(B168-B167)","v":3.4829999999999997},{"$f":"SUM(C168-C167)","v":3.4779999999999998},{"$f":"SUM(D168-D167)","v":3.4790000000000001}]
[]
[]
["5)","6)","7)","8)"]
[12.552,12.555999999999999,12.555,12.561]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.552},{"$f":"SUM(B173+B174)","v":13.555999999999999},{"$f":"SUM(C173+C174)","v":13.555},{"$f":"SUM(D173+D174)","v":13.561}]
[{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998}]
[{"$f":"SUM(A176-A175)","v":-3.6029999999999998},{"$f":"SUM(B176-B175)","v":-3.6069999999999993},{"$f":"SUM(C176-C175)","v":-3.6059999999999999},{"$f":"SUM(D176-D175)","v":-3.6120000000000001}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.1910000000000007,null,11.336,14.416]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.191000000000001},null,{"$f":"SUM(C184+C185)","v":12.336},{"$f":"SUM(D184+D185)","v":15.416}]
[{"$f":"D109","v":9.9489999999999998},null,{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998}]
[{"$f":"SUM(A187-A186)","v":-0.24200000000000088},0,{"$f":"SUM(C187-C186)","v":-2.3870000000000005},{"$f":"SUM(D187-D186)","v":-5.4670000000000005}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.2349999999999994,8.2370000000000001,8.2390000000000008,8.2420000000000009]
[{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998},{"$f":"D109","v":9.9489999999999998}]
[{"$f":"SUM(A196-A195)","v":1.7140000000000004},{"$f":"SUM(B196-B195)","v":1.7119999999999997},{"$f":"SUM(C196-C195)","v":1.7099999999999991},{"$f":"SUM(D196-D195)","v":1.706999999999999}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-08-07"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.484},{"$f":"B10*25.4","v":88.493600000000001},null,null,5,{"$f":"Sheet1!A35","v":4.2882887700534766},{"$f":"G10*25.4","v":108.9225347593583}]
[2,{"$f":"Sheet1!B169","v":3.4829999999999997},{"$f":"B11*25.4","v":88.468199999999982},null,null,6,{"$f":"Sheet1!B35","v":4.2862887700534777},{"$f":"G11*25.4","v":108.87173475935833}]
[3,{"$f":"Sheet1!C169","v":3.4779999999999998},{"$f":"B12*25.4","v":88.341199999999986},null,null,7,{"$f":"Sheet1!C35","v":4.2852887700534765},{"$f":"G12*25.4","v":108.8463347593583}]
[4,{"$f":"Sheet1!D169","v":3.4790000000000001},{"$f":"B13*25.4","v":88.366599999999991},null,null,8,{"$f":"Sheet1!D35","v":4.2882887700534766},{"$f":"G13*25.4","v":108.9225347593583}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4927112299465222},{"$f":"Sheet1!C118","v":-8.0000000000008953E-3},{"$f":"B20*25.4","v":-139.51486524064165},{"$f":"C20*25.4","v":-0.20320000000002272},null,{"$f":"H10-D21","v":157.02279999999996},{"$f":"C10-E20","v":88.696800000000025}]
["X1",{"$f":"Sheet1!A78","v":-1.893711229946522},{"$f":"Sheet1!D118","v":-3.6080000000000005},{"$f":"B21*25.4","v":-48.100265240641654},{"$f":"C21*25.4","v":-91.643200000000007}]
["Y1",{"$f":"Sheet1!B78","v":-5.4887112299465244},null,{"$f":"B22*25.4","v":-139.41326524064172}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4867112299465219},{"$f":"Sheet1!A128","v":-9.0000000000003411E-3},{"$f":"B26*25.4","v":-139.36246524064165},{"$f":"C26*25.4","v":-0.22860000000000866},null,{"$f":"H13-D27","v":156.99740000000003},{"$f":"C13-E26","v":88.595200000000006}]
["X1",{"$f":"Sheet1!A87","v":-1.8927112299465243},{"$f":"Sheet1!B128","v":-3.609},{"$f":"B27*25.4","v":-48.074865240641714},{"$f":"C27*25.4","v":-91.668599999999998}]
["Y2",{"$f":"Sheet1!C87","v":-5.4897112299465221},"\\",{"$f":"B28*25.4","v":-139.43866524064165}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.476},{"$f":"B36*25.4","v":-139.09039999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7140000000000004},{"$f":"F36*25.4","v":43.535600000000009}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7119999999999997},{"$f":"F37*25.4","v":43.484799999999993}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7099999999999991},{"$f":"F38*25.4","v":43.433999999999976}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.706999999999999},{"$f":"F39*25.4","v":43.357799999999969}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3979999999999997},{"$f":"B42*25.4","v":-111.70919999999998}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-08-07"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4967112299465199},{"$f":"Sheet1!A169","v":3.484},{"$f":"SUM(B10*25.4)","v":-139.61646524064159},{"$f":"SUM(C10*25.4)","v":88.493600000000001}]
[2,{"$f":"Sheet1!B28","v":-5.4917112299465245},{"$f":"Sheet1!B169","v":3.4829999999999997},{"$f":"SUM(B11*25.4)","v":-139.48946524064172},{"$f":"SUM(C11*25.4)","v":88.468199999999982},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4967112299465199},{"$f":"Sheet1!C169","v":3.4779999999999998},-139.61646524064159,88.341199999999986,null,{"$f":"Sheet1!C141","v":-5.476},{"$f":"SUM(G12*25.4)","v":-139.09039999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4947112299465246},{"$f":"Sheet1!D169","v":3.4790000000000001},-139.56566524064172,88.366599999999991]
[5,{"$f":"Sheet1!A35","v":4.2882887700534766},{"$f":"Sheet1!A177","v":-3.6029999999999998},108.9225347593583,-91.516199999999984]
[6,{"$f":"Sheet1!B35","v":4.2862887700534777},{"$f":"Sheet1!B177","v":-3.6069999999999993},108.87173475935833,-91.617799999999974,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2852887700534765},{"$f":"Sheet1!C177","v":-3.6059999999999999},108.8463347593583,-91.592399999999998]
[8,{"$f":"Sheet1!D35","v":4.2882887700534766},{"$f":"Sheet1!D177","v":-3.6120000000000001},108.9225347593583,-91.744799999999998,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3979999999999997},{"$f":"SUM(G18*25.4)","v":-111.70919999999998}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.893711229946522},{"$f":"Sheet1!C118","v":-8.0000000000008953E-3},{"$f":"SUM(B23*25.4)","v":-48.100265240641654},{"$f":"SUM(C23*25.4)","v":-0.20320000000002272}]
["X1",{"$f":"Sheet1!A78","v":-1.893711229946522},{"$f":"Sheet1!D118","v":-3.6080000000000005},{"$f":"SUM(B24*25.4)","v":-48.100265240641654},{"$f":"SUM(C24*25.4)","v":-91.643200000000007},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4887112299465244},null,{"$f":"SUM(B25*25.4)","v":-139.41326524064172},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7140000000000004},{"$f":"SUM(H25*25.4)","v":43.535600000000009}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7119999999999997},{"$f":"SUM(H26*25.4)","v":43.484799999999993}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7099999999999991},{"$f":"SUM(H27*25.4)","v":43.433999999999976}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.706999999999999},{"$f":"SUM(H28*25.4)","v":43.357799999999969}]
["Y1",{"$f":"Sheet1!B87","v":-5.4867112299465219},{"$f":"Sheet1!A128","v":-9.0000000000003411E-3},{"$f":"SUM(B29*25.4)","v":-139.36246524064165},{"$f":"SUM(C29*25.4)","v":-0.22860000000000866}]
["X1",{"$f":"Sheet1!A87","v":-1.8927112299465243},{"$f":"Sheet1!B128","v":-3.609},{"$f":"SUM(B30*25.4)","v":-48.074865240641714},{"$f":"SUM(C30*25.4)","v":-91.668599999999998}]
["Y2",{"$f":"Sheet1!C87","v":-5.4897112299465221},null,{"$f":"SUM(B31*25.4)","v":-139.43866524064165}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5997112299465215},{"$f":"Sheet1!A118","v":0},{"$f":"SUM(B37*25.4)","v":-91.43266524064164},{"$f":"SUM(C37*25.4)","v":0},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6059999999999999},0,{"$f":"SUM(C38*25.4)","v":-91.592399999999998}]
["Y2",{"$f":"Sheet1!C68","v":-3.6017112299465239},null,{"$f":"SUM(B39*25.4)","v":-91.483465240641706}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.800711229946522},{"$f":"Sheet1!C128","v":0},{"$f":"SUM(B43*25.4)","v":-96.538065240641657},{"$f":"SUM(C43*25.4)","v":0}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6010000000000009},0,{"$f":"SUM(C44*25.4)","v":-91.465400000000017}]
["Y2",{"$f":"Sheet1!C96","v":-3.7947112299465218},null,{"$f":"SUM(B45*25.4)","v":-96.385665240641643}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0467112299465242},{"$f":"Sheet1!A188","v":-0.24200000000000088},{"$f":"SUM(B49*25.4)","v":-178.98646524064171},{"$f":"SUM(C49*25.4)","v":-6.146800000000022}]
["B",{"$f":"Sheet1!B45","v":-2.5157112299465219},null,{"$f":"SUM(B50*25.4)","v":-63.899065240641654}]
["C",{"$f":"Sheet1!C45","v":-0.75171122994652251},{"$f":"Sheet1!C188","v":-2.3870000000000005},{"$f":"SUM(B51*25.4)","v":-19.09346524064167},{"$f":"SUM(C51*25.4)","v":-60.62980000000001}]
["D",{"$f":"Sheet1!D45","v":-0.75171122994652251},{"$f":"Sheet1!D188","v":-5.4670000000000005},{"$f":"SUM(B52*25.4)","v":-19.09346524064167},{"$f":"SUM(C52*25.4)","v":-138.86180000000002}]