{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 13"]
["Date:","2014-10-17"]
["Crew:","MR BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",29]
["1st. Near",28.189]
["2nd. Far",27]
["2nd Near",27.64]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.882150241212958}]
["Near Should Read",27.882150241212958]
["LOS",27.882150241212958]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.943000000000001,31.934000000000001,31.937000000000001,31.939]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.942999999999998},{"$f":"SUM(B24:B25)","v":32.933999999999997},{"$f":"SUM(C24:C25)","v":32.936999999999998},{"$f":"SUM(D24:D25)","v":32.939}]
[{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958}]
[{"$f":"SUM(A27-A26)","v":-5.0608497587870396},{"$f":"SUM(B27-B26)","v":-5.0518497587870392},{"$f":"SUM(C27-C26)","v":-5.0548497587870393},{"$f":"SUM(D27-D26)","v":-5.0568497587870418}]
[]
["5)","6)","7)","8)"]
[22.163,22.164999999999999,22.164000000000001,22.163]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.163},{"$f":"SUM(B31:B32)","v":23.164999999999999},{"$f":"SUM(C31:C32)","v":23.164000000000001},{"$f":"SUM(D31:D32)","v":23.163}]
[{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958}]
[{"$f":"SUM(A34-A33)","v":4.719150241212958},{"$f":"SUM(B34-B33)","v":4.7171502412129591},{"$f":"SUM(C34-C33)","v":4.7181502412129568},{"$f":"SUM(D34-D33)","v":4.719150241212958}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.496000000000002,28.963999999999999,27.204999999999998,27.206]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.496000000000002},{"$f":"SUM(B41:B42)","v":29.963999999999999},{"$f":"SUM(C41:C42)","v":28.204999999999998},{"$f":"SUM(D41:D42)","v":28.206}]
[{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958}]
[{"$f":"SUM(A44-A43)","v":-6.613849758787044},{"$f":"SUM(B44-B43)","v":-2.0818497587870404},{"$f":"SUM(C44-C43)","v":-0.32284975878704003},{"$f":"SUM(D44-D43)","v":-0.32384975878704125}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.882150241212958},"LOS"]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":"2014-10-17"}]
["Crew:",{"$f":"B7","v":"MR BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.483000000000001,30.484999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.483000000000001},{"$f":"SUM(C64:C65)","v":31.484999999999999}]
[null,{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958}]
[0,{"$f":"SUM(B67-B66)","v":-3.6008497587870423},{"$f":"SUM(C67-C66)","v":-3.6028497587870412}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.349,31.943999999999999,31.943999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.349},{"$f":"SUM(B74:B75)","v":32.944000000000003},{"$f":"SUM(C74:C75)","v":32.944000000000003}]
[{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958}]
[{"$f":"SUM(A77-A76)","v":-1.4668497587870419},{"$f":"SUM(B77-B76)","v":-5.0618497587870444},{"$f":"SUM(C77-C76)","v":-5.0618497587870444}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.338999999999999,31.933,31.939]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.338999999999999},{"$f":"SUM(B83:B84)","v":32.933},{"$f":"SUM(C83:C84)","v":32.939}]
[{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958}]
[{"$f":"SUM(A86-A85)","v":-1.4568497587870404},{"$f":"SUM(B86-B85)","v":-5.0508497587870416},{"$f":"SUM(C86-C85)","v":-5.0568497587870418}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.484000000000002,30.483000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.484000000000002},{"$f":"SUM(C92:C93)","v":31.483000000000001}]
[null,{"$f":"B18","v":27.882150241212958},{"$f":"B18","v":27.882150241212958}]
[0,{"$f":"SUM(B95-B94)","v":-3.6018497587870435},{"$f":"SUM(C95-C94)","v":-3.6008497587870423}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.2119999999999997,9.2240000000000002]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 13"},{"$f":"SUM(C104+C105)","v":10.212},{"$f":"SUM(D104+D105)","v":10.224}]
["Date:",{"$f":"B6","v":"2014-10-17"}]
["Crew:",{"$f":"B7","v":"MR BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.218}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.2119999999999997},12.818,9.2189999999999994,12.821]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.212},{"$f":"SUM(B114:B115)","v":13.818},{"$f":"SUM(C114:C115)","v":10.218999999999999},{"$f":"SUM(D114:D115)","v":13.821}]
[{"$f":"D109","v":10.218},{"$f":"D109","v":10.218},{"$f":"D109","v":10.218},{"$f":"D109","v":10.218}]
[{"$f":"SUM(A117-A116)","v":6.0000000000002274E-3},{"$f":"SUM(B117-B116)","v":-3.5999999999999996},{"$f":"SUM(C117-C116)","v":-9.9999999999944578E-4},{"$f":"SUM(D117-D116)","v":-3.6029999999999998}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.2149999999999999,12.818,{"$f":"D104","v":9.2240000000000002},12.826000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.215},{"$f":"SUM(B124:B125)","v":13.818},{"$f":"SUM(C124:C125)","v":10.224},{"$f":"SUM(D124:D125)","v":13.826000000000001}]
[{"$f":"D109","v":10.218},{"$f":"D109","v":10.218},{"$f":"D109","v":10.218},{"$f":"D109","v":10.218}]
[{"$f":"SUM(A127-A126)","v":3.0000000000001137E-3},{"$f":"SUM(B127-B126)","v":-3.5999999999999996},{"$f":"SUM(C127-C126)","v":-6.0000000000002274E-3},{"$f":"SUM(D127-D126)","v":-3.6080000000000005}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.625999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.218},null,3.5999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4079999999999995},null,{"$f":"SUM(C137+C138)","v":-5.4280000000000008}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4670000000000005},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 13"}]
["Date:",{"$f":"B6","v":41929}]
["Crew:","MR BR"]
[]
[]
["HI =",{"$f":"D109","v":10.218}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.73,5.7279999999999998,5.7329999999999997,5.7290000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.73},{"$f":"SUM(B165:B166)","v":6.7279999999999998},{"$f":"SUM(C165:C166)","v":6.7329999999999997},{"$f":"SUM(D165:D166)","v":6.7290000000000001}]
[{"$f":"D109","v":10.218},{"$f":"D109","v":10.218},{"$f":"D109","v":10.218},{"$f":"D109","v":10.218}]
[{"$f":"SUM(A168-A167)","v":3.4879999999999995},{"$f":"SUM(B168-B167)","v":3.49},{"$f":"SUM(C168-C167)","v":3.4850000000000003},{"$f":"SUM(D168-D167)","v":3.4889999999999999}]
[]
[]
["5)","6)","7)","8)"]
[12.821,12.824,12.821999999999999,12.826000000000001]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.821},{"$f":"SUM(B173+B174)","v":13.824},{"$f":"SUM(C173+C174)","v":13.821999999999999},{"$f":"SUM(D173+D174)","v":13.826000000000001}]
[{"$f":"D109","v":10.218},{"$f":"D109","v":10.218},{"$f":"D109","v":10.218},{"$f":"D109","v":10.218}]
[{"$f":"SUM(A176-A175)","v":-3.6029999999999998},{"$f":"SUM(B176-B175)","v":-3.6059999999999999},{"$f":"SUM(C176-C175)","v":-3.6039999999999992},{"$f":"SUM(D176-D175)","v":-3.6080000000000005}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.4640000000000004,null,11.61,14.692]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.464},null,{"$f":"SUM(C184+C185)","v":12.61},{"$f":"SUM(D184+D185)","v":15.692}]
[{"$f":"D109","v":10.218},null,{"$f":"D109","v":10.218},{"$f":"D109","v":10.218}]
[{"$f":"SUM(A187-A186)","v":-0.24600000000000044},0,{"$f":"SUM(C187-C186)","v":-2.3919999999999995},{"$f":"SUM(D187-D186)","v":-5.4740000000000002}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.5030000000000001,8.5020000000000007,8.5009999999999994,8.5]
[{"$f":"D109","v":10.218},{"$f":"D109","v":10.218},{"$f":"D109","v":10.218},{"$f":"D109","v":10.218}]
[{"$f":"SUM(A196-A195)","v":1.7149999999999999},{"$f":"SUM(B196-B195)","v":1.7159999999999993},{"$f":"SUM(C196-C195)","v":1.7170000000000005},{"$f":"SUM(D196-D195)","v":1.718}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 13"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-10-17"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4879999999999995},{"$f":"B10*25.4","v":88.595199999999977},null,null,5,{"$f":"Sheet1!A35","v":4.719150241212958},{"$f":"G10*25.4","v":119.86641612680913}]
[2,{"$f":"Sheet1!B169","v":3.49},{"$f":"B11*25.4","v":88.646000000000001},null,null,6,{"$f":"Sheet1!B35","v":4.7171502412129591},{"$f":"G11*25.4","v":119.81561612680916}]
[3,{"$f":"Sheet1!C169","v":3.4850000000000003},{"$f":"B12*25.4","v":88.519000000000005},null,null,7,{"$f":"Sheet1!C35","v":4.7181502412129568},{"$f":"G12*25.4","v":119.84101612680909}]
[4,{"$f":"Sheet1!D169","v":3.4889999999999999},{"$f":"B13*25.4","v":88.620599999999996},null,null,8,{"$f":"Sheet1!D35","v":4.719150241212958},{"$f":"G13*25.4","v":119.86641612680913}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.0618497587870444},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"B20*25.4","v":-128.57098387319093},{"$f":"C20*25.4","v":-2.539999999998592E-2},null,{"$f":"H10-D21","v":157.12439999999998},{"$f":"C10-E20","v":88.620599999999968}]
["X1",{"$f":"Sheet1!A78","v":-1.4668497587870419},{"$f":"Sheet1!D118","v":-3.6029999999999998},{"$f":"B21*25.4","v":-37.257983873190867},{"$f":"C21*25.4","v":-91.516199999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.0618497587870444},null,{"$f":"B22*25.4","v":-128.57098387319093}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.0508497587870416},{"$f":"Sheet1!A128","v":3.0000000000001137E-3},{"$f":"B26*25.4","v":-128.29158387319086},{"$f":"C26*25.4","v":7.6200000000002877E-2},null,{"$f":"H13-D27","v":156.87039999999996},{"$f":"C13-E26","v":88.544399999999996}]
["X1",{"$f":"Sheet1!A87","v":-1.4568497587870404},{"$f":"Sheet1!B128","v":-3.5999999999999996},{"$f":"B27*25.4","v":-37.003983873190826},{"$f":"C27*25.4","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.0568497587870418},"\\",{"$f":"B28*25.4","v":-128.44398387319086}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4670000000000005},{"$f":"B36*25.4","v":-138.86180000000002},null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"F36*25.4","v":43.560999999999993}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7159999999999993},{"$f":"F37*25.4","v":43.586399999999983}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7170000000000005},{"$f":"F38*25.4","v":43.611800000000009}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.718},{"$f":"F39*25.4","v":43.6372}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4079999999999995},{"$f":"B42*25.4","v":-111.96319999999999}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-10-17"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.0608497587870396},{"$f":"Sheet1!A169","v":3.4879999999999995},{"$f":"SUM(B10*25.4)","v":-128.54558387319079},{"$f":"SUM(C10*25.4)","v":88.595199999999977}]
[2,{"$f":"Sheet1!B28","v":-5.0518497587870392},{"$f":"Sheet1!B169","v":3.49},{"$f":"SUM(B11*25.4)","v":-128.31698387319079},{"$f":"SUM(C11*25.4)","v":88.646000000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.0548497587870393},{"$f":"Sheet1!C169","v":3.4850000000000003},-128.39318387319079,88.519000000000005,null,{"$f":"Sheet1!C141","v":-5.4670000000000005},{"$f":"SUM(G12*25.4)","v":-138.86180000000002}]
[4,{"$f":"Sheet1!D28","v":-5.0568497587870418},{"$f":"Sheet1!D169","v":3.4889999999999999},-128.44398387319086,88.620599999999996]
[5,{"$f":"Sheet1!A35","v":4.719150241212958},{"$f":"Sheet1!A177","v":-3.6029999999999998},119.86641612680913,-91.516199999999984]
[6,{"$f":"Sheet1!B35","v":4.7171502412129591},{"$f":"Sheet1!B177","v":-3.6059999999999999},119.81561612680916,-91.592399999999998,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.7181502412129568},{"$f":"Sheet1!C177","v":-3.6039999999999992},119.84101612680909,-91.541599999999974]
[8,{"$f":"Sheet1!D35","v":4.719150241212958},{"$f":"Sheet1!D177","v":-3.6080000000000005},119.86641612680913,-91.643200000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4079999999999995},{"$f":"SUM(G18*25.4)","v":-111.96319999999999}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.4668497587870419},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"SUM(B23*25.4)","v":-37.257983873190867},{"$f":"SUM(C23*25.4)","v":-2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.4668497587870419},{"$f":"Sheet1!D118","v":-3.6029999999999998},{"$f":"SUM(B24*25.4)","v":-37.257983873190867},{"$f":"SUM(C24*25.4)","v":-91.516199999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.0618497587870444},null,{"$f":"SUM(B25*25.4)","v":-128.57098387319093},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"SUM(H25*25.4)","v":43.560999999999993}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7159999999999993},{"$f":"SUM(H26*25.4)","v":43.586399999999983}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7170000000000005},{"$f":"SUM(H27*25.4)","v":43.611800000000009}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.718},{"$f":"SUM(H28*25.4)","v":43.6372}]
["Y1",{"$f":"Sheet1!B87","v":-5.0508497587870416},{"$f":"Sheet1!A128","v":3.0000000000001137E-3},{"$f":"SUM(B29*25.4)","v":-128.29158387319086},{"$f":"SUM(C29*25.4)","v":7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.4568497587870404},{"$f":"Sheet1!B128","v":-3.5999999999999996},{"$f":"SUM(B30*25.4)","v":-37.003983873190826},{"$f":"SUM(C30*25.4)","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.0568497587870418},null,{"$f":"SUM(B31*25.4)","v":-128.44398387319086}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6008497587870423},{"$f":"Sheet1!A118","v":6.0000000000002274E-3},{"$f":"SUM(B37*25.4)","v":-91.461583873190875},{"$f":"SUM(C37*25.4)","v":0.15240000000000575},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.5999999999999996},0,{"$f":"SUM(C38*25.4)","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C68","v":-3.6028497587870412},null,{"$f":"SUM(B39*25.4)","v":-91.512383873190842}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6018497587870435},{"$f":"Sheet1!C128","v":-6.0000000000002274E-3},{"$f":"SUM(B43*25.4)","v":-91.486983873190894},{"$f":"SUM(C43*25.4)","v":-0.15240000000000575}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6080000000000005},0,{"$f":"SUM(C44*25.4)","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.6008497587870423},null,{"$f":"SUM(B45*25.4)","v":-91.461583873190875}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-6.613849758787044},{"$f":"Sheet1!A188","v":-0.24600000000000044},{"$f":"SUM(B49*25.4)","v":-167.99178387319091},{"$f":"SUM(C49*25.4)","v":-6.2484000000000108}]
["B",{"$f":"Sheet1!B45","v":-2.0818497587870404},null,{"$f":"SUM(B50*25.4)","v":-52.878983873190819}]
["C",{"$f":"Sheet1!C45","v":-0.32284975878704003},{"$f":"Sheet1!C188","v":-2.3919999999999995},{"$f":"SUM(B51*25.4)","v":-8.2003838731908161},{"$f":"SUM(C51*25.4)","v":-60.756799999999984}]
["D",{"$f":"Sheet1!D45","v":-0.32384975878704125},{"$f":"Sheet1!D188","v":-5.4740000000000002},{"$f":"SUM(B52*25.4)","v":-8.2257838731908475},{"$f":"SUM(C52*25.4)","v":-139.03960000000001}]