{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 15"]
["Date:","2012-08-31"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",29]
["1st. Near",28.864999999999998]
["2nd. Far",28.5]
["2nd Near",28.733000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.81657608695652}]
["Near Should Read",28.81657608695652]
["LOS",28.81657608695652]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.311999999999998,33.314999999999998,33.317999999999998,33.308]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.311999999999998},{"$f":"SUM(B24:B25)","v":34.314999999999998},{"$f":"SUM(C24:C25)","v":34.317999999999998},{"$f":"SUM(D24:D25)","v":34.308}]
[{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652}]
[{"$f":"SUM(A27-A26)","v":-5.4954239130434779},{"$f":"SUM(B27-B26)","v":-5.498423913043478},{"$f":"SUM(C27-C26)","v":-5.5014239130434781},{"$f":"SUM(D27-D26)","v":-5.4914239130434801}]
[]
["5)","6)","7)","8)"]
[23.523,23.527999999999999,23.524999999999999,23.527999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.523},{"$f":"SUM(B31:B32)","v":24.527999999999999},{"$f":"SUM(C31:C32)","v":24.524999999999999},{"$f":"SUM(D31:D32)","v":24.527999999999999}]
[{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652}]
[{"$f":"SUM(A34-A33)","v":4.29357608695652},{"$f":"SUM(B34-B33)","v":4.288576086956521},{"$f":"SUM(C34-C33)","v":4.2915760869565212},{"$f":"SUM(D34-D33)","v":4.288576086956521}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.854999999999997,30.323,28.56,28.56]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.854999999999997},{"$f":"SUM(B41:B42)","v":31.323},{"$f":"SUM(C41:C42)","v":29.56},{"$f":"SUM(D41:D42)","v":29.56}]
[{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652}]
[{"$f":"SUM(A44-A43)","v":-7.0384239130434771},{"$f":"SUM(B44-B43)","v":-2.5064239130434807},{"$f":"SUM(C44-C43)","v":-0.74342391304347899},{"$f":"SUM(D44-D43)","v":-0.74342391304347899}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.81657608695652},"LOS"]
["Undulator",{"$f":"B5","v":"SN 15"}]
["Date:",{"$f":"B6","v":"2012-08-31"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.417999999999999,31.420999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.417999999999999},{"$f":"SUM(C64:C65)","v":32.420999999999999}]
[null,{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652}]
[0,{"$f":"SUM(B67-B66)","v":-3.6014239130434795},{"$f":"SUM(C67-C66)","v":-3.6044239130434796}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.695,33.289000000000001,33.292000000000002]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.695},{"$f":"SUM(B74:B75)","v":34.289000000000001},{"$f":"SUM(C74:C75)","v":34.292000000000002}]
[{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652}]
[{"$f":"SUM(A77-A76)","v":-1.8784239130434806},{"$f":"SUM(B77-B76)","v":-5.4724239130434817},{"$f":"SUM(C77-C76)","v":-5.4754239130434819}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.707000000000001,33.302,33.304000000000002]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.707000000000001},{"$f":"SUM(B83:B84)","v":34.302},{"$f":"SUM(C83:C84)","v":34.304000000000002}]
[{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652}]
[{"$f":"SUM(A86-A85)","v":-1.890423913043481},{"$f":"SUM(B86-B85)","v":-5.4854239130434799},{"$f":"SUM(C86-C85)","v":-5.4874239130434823}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.419,31.414000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.418999999999997},{"$f":"SUM(C92:C93)","v":32.414000000000001}]
[null,{"$f":"B18","v":28.81657608695652},{"$f":"B18","v":28.81657608695652}]
[0,{"$f":"SUM(B95-B94)","v":-3.6024239130434772},{"$f":"SUM(C95-C94)","v":-3.5974239130434817}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,10.141999999999999,10.141999999999999]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 15"},{"$f":"SUM(C104+C105)","v":11.141999999999999},{"$f":"SUM(D104+D105)","v":11.141999999999999}]
["Date:",{"$f":"B6","v":"2012-08-31"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":11.141999999999999}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":10.141999999999999},13.747999999999999,10.148999999999999,13.749000000000001]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":11.141999999999999},{"$f":"SUM(B114:B115)","v":14.747999999999999},{"$f":"SUM(C114:C115)","v":11.148999999999999},{"$f":"SUM(D114:D115)","v":14.749000000000001}]
[{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999}]
[{"$f":"SUM(A117-A116)","v":0},{"$f":"SUM(B117-B116)","v":-3.6059999999999999},{"$f":"SUM(C117-C116)","v":-6.9999999999996732E-3},{"$f":"SUM(D117-D116)","v":-3.6070000000000011}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[10.154999999999999,13.755000000000001,{"$f":"D104","v":10.141999999999999},13.743]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":11.154999999999999},{"$f":"SUM(B124:B125)","v":14.755000000000001},{"$f":"SUM(C124:C125)","v":11.141999999999999},{"$f":"SUM(D124:D125)","v":14.743}]
[{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999}]
[{"$f":"SUM(A127-A126)","v":-1.2999999999999901E-2},{"$f":"SUM(B127-B126)","v":-3.6130000000000013},{"$f":"SUM(C127-C126)","v":0},{"$f":"SUM(D127-D126)","v":-3.6010000000000009}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[15.542,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":11.141999999999999},null,5.5E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4000000000000004},null,{"$f":"SUM(C137+C138)","v":-5.4090000000000007}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4480000000000004},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 15"}]
["Date:",{"$f":"B6","v":"2012-08-31"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":11.141999999999999}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.657,6.66,6.665,6.6689999999999996]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.657},{"$f":"SUM(B165:B166)","v":7.66},{"$f":"SUM(C165:C166)","v":7.665},{"$f":"SUM(D165:D166)","v":7.6689999999999996}]
[{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999}]
[{"$f":"SUM(A168-A167)","v":3.4849999999999994},{"$f":"SUM(B168-B167)","v":3.4819999999999993},{"$f":"SUM(C168-C167)","v":3.4769999999999994},{"$f":"SUM(D168-D167)","v":3.4729999999999999}]
[]
[]
["5)","6)","7)","8)"]
[13.744,13.746,13.75,13.757]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.744},{"$f":"SUM(B173+B174)","v":14.746},{"$f":"SUM(C173+C174)","v":14.75},{"$f":"SUM(D173+D174)","v":14.757}]
[{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999}]
[{"$f":"SUM(A176-A175)","v":-3.6020000000000003},{"$f":"SUM(B176-B175)","v":-3.604000000000001},{"$f":"SUM(C176-C175)","v":-3.6080000000000005},{"$f":"SUM(D176-D175)","v":-3.6150000000000002}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[10.382,null,12.528,15.606999999999999]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":11.382},null,{"$f":"SUM(C184+C185)","v":13.528},{"$f":"SUM(D184+D185)","v":16.606999999999999}]
[{"$f":"D109","v":11.141999999999999},null,{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999}]
[{"$f":"SUM(A187-A186)","v":-0.24000000000000021},0,{"$f":"SUM(C187-C186)","v":-2.386000000000001},{"$f":"SUM(D187-D186)","v":-5.4649999999999999}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[9.4280000000000008,9.4309999999999992,9.4329999999999998,9.4350000000000005]
[{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999},{"$f":"D109","v":11.141999999999999}]
[{"$f":"SUM(A196-A195)","v":1.7139999999999986},{"$f":"SUM(B196-B195)","v":1.7110000000000003},{"$f":"SUM(C196-C195)","v":1.7089999999999996},{"$f":"SUM(D196-D195)","v":1.706999999999999}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 15"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-08-31"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4849999999999994},{"$f":"B10*25.4","v":88.518999999999977},null,null,5,{"$f":"Sheet1!A35","v":4.29357608695652},{"$f":"G10*25.4","v":109.0568326086956}]
[2,{"$f":"Sheet1!B169","v":3.4819999999999993},{"$f":"B11*25.4","v":88.442799999999977},null,null,6,{"$f":"Sheet1!B35","v":4.288576086956521},{"$f":"G11*25.4","v":108.92983260869563}]
[3,{"$f":"Sheet1!C169","v":3.4769999999999994},{"$f":"B12*25.4","v":88.315799999999982},null,null,7,{"$f":"Sheet1!C35","v":4.2915760869565212},{"$f":"G12*25.4","v":109.00603260869563}]
[4,{"$f":"Sheet1!D169","v":3.4729999999999999},{"$f":"B13*25.4","v":88.214199999999991},null,null,8,{"$f":"Sheet1!D35","v":4.288576086956521},{"$f":"G13*25.4","v":108.92983260869563}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4754239130434819},{"$f":"Sheet1!C118","v":-6.9999999999996732E-3},{"$f":"B20*25.4","v":-139.07576739130442},{"$f":"C20*25.4","v":-0.17779999999999169},null,{"$f":"H10-D21","v":156.7688},{"$f":"C10-E20","v":88.696799999999968}]
["X1",{"$f":"Sheet1!A78","v":-1.8784239130434806},{"$f":"Sheet1!D118","v":-3.6070000000000011},{"$f":"B21*25.4","v":-47.711967391304405},{"$f":"C21*25.4","v":-91.617800000000017}]
["Y1",{"$f":"Sheet1!B78","v":-5.4724239130434817},null,{"$f":"B22*25.4","v":-138.99956739130442}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4854239130434799},{"$f":"Sheet1!A128","v":-1.2999999999999901E-2},{"$f":"B26*25.4","v":-139.32976739130439},{"$f":"C26*25.4","v":-0.33019999999999744},null,{"$f":"H13-D27","v":156.94660000000005},{"$f":"C13-E26","v":88.544399999999982}]
["X1",{"$f":"Sheet1!A87","v":-1.890423913043481},{"$f":"Sheet1!B128","v":-3.6130000000000013},{"$f":"B27*25.4","v":-48.016767391304413},{"$f":"C27*25.4","v":-91.770200000000031}]
["Y2",{"$f":"Sheet1!C87","v":-5.4874239130434823},"\\",{"$f":"B28*25.4","v":-139.38056739130445}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4480000000000004},{"$f":"B36*25.4","v":-138.3792},null,"US  +",{"$f":"Sheet1!A197","v":1.7139999999999986},{"$f":"F36*25.4","v":43.53559999999996}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"F37*25.4","v":43.459400000000002}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7089999999999996},{"$f":"F38*25.4","v":43.408599999999986}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.706999999999999},{"$f":"F39*25.4","v":43.357799999999969}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4000000000000004},{"$f":"B42*25.4","v":-111.76}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-08-31"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4954239130434779},{"$f":"Sheet1!A169","v":3.4849999999999994},{"$f":"SUM(B10*25.4)","v":-139.58376739130432},{"$f":"SUM(C10*25.4)","v":88.518999999999977}]
[2,{"$f":"Sheet1!B28","v":-5.498423913043478},{"$f":"Sheet1!B169","v":3.4819999999999993},{"$f":"SUM(B11*25.4)","v":-139.65996739130432},{"$f":"SUM(C11*25.4)","v":88.442799999999977},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.5014239130434781},{"$f":"Sheet1!C169","v":3.4769999999999994},-139.73616739130435,88.315799999999982,null,{"$f":"Sheet1!C141","v":-5.4480000000000004},{"$f":"SUM(G12*25.4)","v":-138.3792}]
[4,{"$f":"Sheet1!D28","v":-5.4914239130434801},{"$f":"Sheet1!D169","v":3.4729999999999999},-139.48216739130439,88.214199999999991]
[5,{"$f":"Sheet1!A35","v":4.29357608695652},{"$f":"Sheet1!A177","v":-3.6020000000000003},109.0568326086956,-91.490800000000007]
[6,{"$f":"Sheet1!B35","v":4.288576086956521},{"$f":"Sheet1!B177","v":-3.604000000000001},108.92983260869563,-91.541600000000017,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2915760869565212},{"$f":"Sheet1!C177","v":-3.6080000000000005},109.00603260869563,-91.643200000000007]
[8,{"$f":"Sheet1!D35","v":4.288576086956521},{"$f":"Sheet1!D177","v":-3.6150000000000002},108.92983260869563,-91.820999999999998,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4000000000000004},{"$f":"SUM(G18*25.4)","v":-111.76}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8784239130434806},{"$f":"Sheet1!C118","v":-6.9999999999996732E-3},{"$f":"SUM(B23*25.4)","v":-47.711967391304405},{"$f":"SUM(C23*25.4)","v":-0.17779999999999169}]
["X1",{"$f":"Sheet1!A78","v":-1.8784239130434806},{"$f":"Sheet1!D118","v":-3.6070000000000011},{"$f":"SUM(B24*25.4)","v":-47.711967391304405},{"$f":"SUM(C24*25.4)","v":-91.617800000000017},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4724239130434817},null,{"$f":"SUM(B25*25.4)","v":-138.99956739130442},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7139999999999986},{"$f":"SUM(H25*25.4)","v":43.53559999999996}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"SUM(H26*25.4)","v":43.459400000000002}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7089999999999996},{"$f":"SUM(H27*25.4)","v":43.408599999999986}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.706999999999999},{"$f":"SUM(H28*25.4)","v":43.357799999999969}]
["Y1",{"$f":"Sheet1!B87","v":-5.4854239130434799},{"$f":"Sheet1!A128","v":-1.2999999999999901E-2},{"$f":"SUM(B29*25.4)","v":-139.32976739130439},{"$f":"SUM(C29*25.4)","v":-0.33019999999999744}]
["X1",{"$f":"Sheet1!A87","v":-1.890423913043481},{"$f":"Sheet1!B128","v":-3.6130000000000013},{"$f":"SUM(B30*25.4)","v":-48.016767391304413},{"$f":"SUM(C30*25.4)","v":-91.770200000000031}]
["Y2",{"$f":"Sheet1!C87","v":-5.4874239130434823},null,{"$f":"SUM(B31*25.4)","v":-139.38056739130445}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6014239130434795},{"$f":"Sheet1!A118","v":0},{"$f":"SUM(B37*25.4)","v":-91.476167391304372},{"$f":"SUM(C37*25.4)","v":0},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6059999999999999},0,{"$f":"SUM(C38*25.4)","v":-91.592399999999998}]
["Y2",{"$f":"Sheet1!C68","v":-3.6044239130434796},null,{"$f":"SUM(B39*25.4)","v":-91.552367391304372}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6024239130434772},{"$f":"Sheet1!C128","v":0},{"$f":"SUM(B43*25.4)","v":-91.50156739130432},{"$f":"SUM(C43*25.4)","v":0}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6010000000000009},0,{"$f":"SUM(C44*25.4)","v":-91.465400000000017}]
["Y2",{"$f":"Sheet1!C96","v":-3.5974239130434817},null,{"$f":"SUM(B45*25.4)","v":-91.374567391304424}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0384239130434771},{"$f":"Sheet1!A188","v":-0.24000000000000021},{"$f":"SUM(B49*25.4)","v":-178.77596739130431},{"$f":"SUM(C49*25.4)","v":-6.0960000000000054}]
["B",{"$f":"Sheet1!B45","v":-2.5064239130434807},null,{"$f":"SUM(B50*25.4)","v":-63.663167391304405}]
["C",{"$f":"Sheet1!C45","v":-0.74342391304347899},{"$f":"Sheet1!C188","v":-2.386000000000001},{"$f":"SUM(B51*25.4)","v":-18.882967391304366},{"$f":"SUM(C51*25.4)","v":-60.60440000000002}]
["D",{"$f":"Sheet1!D45","v":-0.74342391304347899},{"$f":"Sheet1!D188","v":-5.4649999999999999},{"$f":"SUM(B52*25.4)","v":-18.882967391304366},{"$f":"SUM(C52*25.4)","v":-138.81099999999998}]