{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",16]
["Date:","2013-05-24"]
["Crew:","BR,MR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28.338999999999999]
["1st. Near",28.335999999999999]
["2nd. Far",28]
["2nd Near",28.25]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.334980237154149}]
["Near Should Read",28.334980237154149]
["LOS",28.334980237154149]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.83,32.826999999999998,32.829000000000001,32.831000000000003]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.83},{"$f":"SUM(B24:B25)","v":33.826999999999998},{"$f":"SUM(C24:C25)","v":33.829000000000001},{"$f":"SUM(D24:D25)","v":33.831000000000003}]
[{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149}]
[{"$f":"SUM(A27-A26)","v":-5.4950197628458497},{"$f":"SUM(B27-B26)","v":-5.4920197628458496},{"$f":"SUM(C27-C26)","v":-5.494019762845852},{"$f":"SUM(D27-D26)","v":-5.4960197628458545}]
[]
["5)","6)","7)","8)"]
[23.045999999999999,23.047000000000001,23.048999999999999,23.048999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.045999999999999},{"$f":"SUM(B31:B32)","v":24.047000000000001},{"$f":"SUM(C31:C32)","v":24.048999999999999},{"$f":"SUM(D31:D32)","v":24.048999999999999}]
[{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149}]
[{"$f":"SUM(A34-A33)","v":4.2889802371541492},{"$f":"SUM(B34-B33)","v":4.287980237154148},{"$f":"SUM(C34-C33)","v":4.2859802371541491},{"$f":"SUM(D34-D33)","v":4.2859802371541491}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.381999999999998,29.850999999999999,28.087,28.087]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.381999999999998},{"$f":"SUM(B41:B42)","v":30.850999999999999},{"$f":"SUM(C41:C42)","v":29.087},{"$f":"SUM(D41:D42)","v":29.087}]
[{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149}]
[{"$f":"SUM(A44-A43)","v":-7.0470197628458493},{"$f":"SUM(B44-B43)","v":-2.5160197628458505},{"$f":"SUM(C44-C43)","v":-0.75201976284585115},{"$f":"SUM(D44-D43)","v":-0.75201976284585115}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.334980237154149},"LOS"]
["Undulator",{"$f":"B5","v":16}]
["Date:",{"$f":"B6","v":"2013-05-24"}]
["Crew:",{"$f":"B7","v":"BR,MR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.934000000000001,30.937000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.934000000000001},{"$f":"SUM(C64:C65)","v":31.937000000000001}]
[null,{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149}]
[0,{"$f":"SUM(B67-B66)","v":-3.5990197628458525},{"$f":"SUM(C67-C66)","v":-3.6020197628458526}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.225000000000001,32.820999999999998,32.820999999999998]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.225000000000001},{"$f":"SUM(B74:B75)","v":33.820999999999998},{"$f":"SUM(C74:C75)","v":33.820999999999998}]
[{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149}]
[{"$f":"SUM(A77-A76)","v":-1.8900197628458528},{"$f":"SUM(B77-B76)","v":-5.4860197628458494},{"$f":"SUM(C77-C76)","v":-5.4860197628458494}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.23,32.831000000000003,32.829000000000001]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.23},{"$f":"SUM(B83:B84)","v":33.831000000000003},{"$f":"SUM(C83:C84)","v":33.829000000000001}]
[{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149}]
[{"$f":"SUM(A86-A85)","v":-1.8950197628458518},{"$f":"SUM(B86-B85)","v":-5.4960197628458545},{"$f":"SUM(C86-C85)","v":-5.494019762845852}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.934999999999999,30.933]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.934999999999999},{"$f":"SUM(C92:C93)","v":31.933}]
[null,{"$f":"B18","v":28.334980237154149},{"$f":"B18","v":28.334980237154149}]
[0,{"$f":"SUM(B95-B94)","v":-3.6000197628458501},{"$f":"SUM(C95-C94)","v":-3.5980197628458512}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.1539999999999999,9.1489999999999991]
[null,null,1,1]
["Undulator",{"$f":"B5","v":16},{"$f":"SUM(C104+C105)","v":10.154},{"$f":"SUM(D104+D105)","v":10.148999999999999}]
["Date:",{"$f":"B6","v":"2013-05-24"}]
["Crew:",{"$f":"B7","v":"BR,MR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.151499999999999}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.1539999999999999},12.75,9.157,12.757999999999999]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.154},{"$f":"SUM(B114:B115)","v":13.75},{"$f":"SUM(C114:C115)","v":10.157},{"$f":"SUM(D114:D115)","v":13.757999999999999}]
[{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999}]
[{"$f":"SUM(A117-A116)","v":-2.500000000001279E-3},{"$f":"SUM(B117-B116)","v":-3.5985000000000014},{"$f":"SUM(C117-C116)","v":-5.5000000000013927E-3},{"$f":"SUM(D117-D116)","v":-3.6065000000000005}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.1630000000000003,12.762,{"$f":"D104","v":9.1489999999999991},12.752000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.163},{"$f":"SUM(B124:B125)","v":13.762},{"$f":"SUM(C124:C125)","v":10.148999999999999},{"$f":"SUM(D124:D125)","v":13.752000000000001}]
[{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999}]
[{"$f":"SUM(A127-A126)","v":-1.150000000000162E-2},{"$f":"SUM(B127-B126)","v":-3.6105000000000018},{"$f":"SUM(C127-C126)","v":2.4999999999995026E-3},{"$f":"SUM(D127-D126)","v":-3.600500000000002}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.555,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.151499999999999},null,3.7999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4035000000000011},null,{"$f":"SUM(C137+C138)","v":-5.4260000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4649999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":16}]
["Date:",{"$f":"B6","v":"2013-05-24"}]
["Crew:",{"$f":"B7","v":"BR,MR"}]
[]
[]
["HI =",{"$f":"D109","v":10.151499999999999}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.6760000000000002,5.6820000000000004,5.68,5.6790000000000003]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.6760000000000002},{"$f":"SUM(B165:B166)","v":6.6820000000000004},{"$f":"SUM(C165:C166)","v":6.68},{"$f":"SUM(D165:D166)","v":6.6790000000000003}]
[{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999}]
[{"$f":"SUM(A168-A167)","v":3.4754999999999985},{"$f":"SUM(B168-B167)","v":3.4694999999999983},{"$f":"SUM(C168-C167)","v":3.4714999999999989},{"$f":"SUM(D168-D167)","v":3.4724999999999984}]
[]
[]
["5)","6)","7)","8)"]
[12.754,12.755000000000001,12.757,12.76]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.754},{"$f":"SUM(B173+B174)","v":13.755000000000001},{"$f":"SUM(C173+C174)","v":13.757},{"$f":"SUM(D173+D174)","v":13.76}]
[{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999}]
[{"$f":"SUM(A176-A175)","v":-3.6025000000000009},{"$f":"SUM(B176-B175)","v":-3.6035000000000021},{"$f":"SUM(C176-C175)","v":-3.605500000000001},{"$f":"SUM(D176-D175)","v":-3.6085000000000012}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.3940000000000001,null,11.541,14.622]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.394},null,{"$f":"SUM(C184+C185)","v":12.541},{"$f":"SUM(D184+D185)","v":15.622}]
[{"$f":"D109","v":10.151499999999999},null,{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999}]
[{"$f":"SUM(A187-A186)","v":-0.24250000000000149},0,{"$f":"SUM(C187-C186)","v":-2.3895000000000017},{"$f":"SUM(D187-D186)","v":-5.4705000000000013}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.44,8.4410000000000007,8.4440000000000008,8.4450000000000003]
[{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999},{"$f":"D109","v":10.151499999999999}]
[{"$f":"SUM(A196-A195)","v":1.7114999999999991},{"$f":"SUM(B196-B195)","v":1.7104999999999979},{"$f":"SUM(C196-C195)","v":1.7074999999999978},{"$f":"SUM(D196-D195)","v":1.7064999999999984}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":16}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-05-24"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR,MR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4754999999999985},{"$f":"B10*25.4","v":88.277699999999953},null,null,5,{"$f":"Sheet1!A35","v":4.2889802371541492},{"$f":"G10*25.4","v":108.94009802371538}]
[2,{"$f":"Sheet1!B169","v":3.4694999999999983},{"$f":"B11*25.4","v":88.125299999999953},null,null,6,{"$f":"Sheet1!B35","v":4.287980237154148},{"$f":"G11*25.4","v":108.91469802371536}]
[3,{"$f":"Sheet1!C169","v":3.4714999999999989},{"$f":"B12*25.4","v":88.176099999999963},null,null,7,{"$f":"Sheet1!C35","v":4.2859802371541491},{"$f":"G12*25.4","v":108.86389802371538}]
[4,{"$f":"Sheet1!D169","v":3.4724999999999984},{"$f":"B13*25.4","v":88.201499999999953},null,null,8,{"$f":"Sheet1!D35","v":4.2859802371541491},{"$f":"G13*25.4","v":108.86389802371538}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4860197628458494},{"$f":"Sheet1!C118","v":-5.5000000000013927E-3},{"$f":"B20*25.4","v":-139.34490197628458},{"$f":"C20*25.4","v":-0.13970000000003538},null,{"$f":"H10-D21","v":156.94660000000005},{"$f":"C10-E20","v":88.417399999999986}]
["X1",{"$f":"Sheet1!A78","v":-1.8900197628458528},{"$f":"Sheet1!D118","v":-3.6065000000000005},{"$f":"B21*25.4","v":-48.00650197628466},{"$f":"C21*25.4","v":-91.605100000000007}]
["Y1",{"$f":"Sheet1!B78","v":-5.4860197628458494},null,{"$f":"B22*25.4","v":-139.34490197628458}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4960197628458545},{"$f":"Sheet1!A128","v":-1.150000000000162E-2},{"$f":"B26*25.4","v":-139.59890197628471},{"$f":"C26*25.4","v":-0.29210000000004116},null,{"$f":"H13-D27","v":156.99740000000003},{"$f":"C13-E26","v":88.493600000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8950197628458518},{"$f":"Sheet1!B128","v":-3.6105000000000018},{"$f":"B27*25.4","v":-48.133501976284634},{"$f":"C27*25.4","v":-91.706700000000041}]
["Y2",{"$f":"Sheet1!C87","v":-5.494019762845852},"\\",{"$f":"B28*25.4","v":-139.54810197628464}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4649999999999999},{"$f":"B36*25.4","v":-138.81099999999998},null,"US  +",{"$f":"Sheet1!A197","v":1.7114999999999991},{"$f":"F36*25.4","v":43.472099999999976}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7104999999999979},{"$f":"F37*25.4","v":43.446699999999943}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7074999999999978},{"$f":"F38*25.4","v":43.370499999999943}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7064999999999984},{"$f":"F39*25.4","v":43.345099999999952}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4035000000000011},{"$f":"B42*25.4","v":-111.84890000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-05-24"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4950197628458497},{"$f":"Sheet1!A169","v":3.4754999999999985},{"$f":"SUM(B10*25.4)","v":-139.57350197628458},{"$f":"SUM(C10*25.4)","v":88.277699999999953}]
[2,{"$f":"Sheet1!B28","v":-5.4920197628458496},{"$f":"Sheet1!B169","v":3.4694999999999983},{"$f":"SUM(B11*25.4)","v":-139.49730197628458},{"$f":"SUM(C11*25.4)","v":88.125299999999953},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.494019762845852},{"$f":"Sheet1!C169","v":3.4714999999999989},-139.54810197628464,88.176099999999963,null,{"$f":"Sheet1!C141","v":-5.4649999999999999},{"$f":"SUM(G12*25.4)","v":-138.81099999999998}]
[4,{"$f":"Sheet1!D28","v":-5.4960197628458545},{"$f":"Sheet1!D169","v":3.4724999999999984},-139.59890197628471,88.201499999999953]
[5,{"$f":"Sheet1!A35","v":4.2889802371541492},{"$f":"Sheet1!A177","v":-3.6025000000000009},108.94009802371538,-91.503500000000017]
[6,{"$f":"Sheet1!B35","v":4.287980237154148},{"$f":"Sheet1!B177","v":-3.6035000000000021},108.91469802371536,-91.52890000000005,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2859802371541491},{"$f":"Sheet1!C177","v":-3.605500000000001},108.86389802371538,-91.579700000000017]
[8,{"$f":"Sheet1!D35","v":4.2859802371541491},{"$f":"Sheet1!D177","v":-3.6085000000000012},108.86389802371538,-91.655900000000031,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4035000000000011},{"$f":"SUM(G18*25.4)","v":-111.84890000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8900197628458528},{"$f":"Sheet1!C118","v":-5.5000000000013927E-3},{"$f":"SUM(B23*25.4)","v":-48.00650197628466},{"$f":"SUM(C23*25.4)","v":-0.13970000000003538}]
["X1",{"$f":"Sheet1!A78","v":-1.8900197628458528},{"$f":"Sheet1!D118","v":-3.6065000000000005},{"$f":"SUM(B24*25.4)","v":-48.00650197628466},{"$f":"SUM(C24*25.4)","v":-91.605100000000007},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4860197628458494},null,{"$f":"SUM(B25*25.4)","v":-139.34490197628458},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7114999999999991},{"$f":"SUM(H25*25.4)","v":43.472099999999976}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7104999999999979},{"$f":"SUM(H26*25.4)","v":43.446699999999943}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7074999999999978},{"$f":"SUM(H27*25.4)","v":43.370499999999943}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7064999999999984},{"$f":"SUM(H28*25.4)","v":43.345099999999952}]
["Y1",{"$f":"Sheet1!B87","v":-5.4960197628458545},{"$f":"Sheet1!A128","v":-1.150000000000162E-2},{"$f":"SUM(B29*25.4)","v":-139.59890197628471},{"$f":"SUM(C29*25.4)","v":-0.29210000000004116}]
["X1",{"$f":"Sheet1!A87","v":-1.8950197628458518},{"$f":"Sheet1!B128","v":-3.6105000000000018},{"$f":"SUM(B30*25.4)","v":-48.133501976284634},{"$f":"SUM(C30*25.4)","v":-91.706700000000041}]
["Y2",{"$f":"Sheet1!C87","v":-5.494019762845852},null,{"$f":"SUM(B31*25.4)","v":-139.54810197628464}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5990197628458525},{"$f":"Sheet1!A118","v":-2.500000000001279E-3},{"$f":"SUM(B37*25.4)","v":-91.415101976284646},{"$f":"SUM(C37*25.4)","v":-6.3500000000032489E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.5985000000000014},0,{"$f":"SUM(C38*25.4)","v":-91.401900000000026}]
["Y2",{"$f":"Sheet1!C68","v":-3.6020197628458526},null,{"$f":"SUM(B39*25.4)","v":-91.491301976284646}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6000197628458501},{"$f":"Sheet1!C128","v":2.4999999999995026E-3},{"$f":"SUM(B43*25.4)","v":-91.440501976284594},{"$f":"SUM(C43*25.4)","v":6.3499999999987358E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.600500000000002},0,{"$f":"SUM(C44*25.4)","v":-91.45270000000005}]
["Y2",{"$f":"Sheet1!C96","v":-3.5980197628458512},null,{"$f":"SUM(B45*25.4)","v":-91.389701976284613}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0470197628458493},{"$f":"Sheet1!A188","v":-0.24250000000000149},{"$f":"SUM(B49*25.4)","v":-178.99430197628456},{"$f":"SUM(C49*25.4)","v":-6.1595000000000377}]
["B",{"$f":"Sheet1!B45","v":-2.5160197628458505},null,{"$f":"SUM(B50*25.4)","v":-63.906901976284601}]
["C",{"$f":"Sheet1!C45","v":-0.75201976284585115},{"$f":"Sheet1!C188","v":-2.3895000000000017},{"$f":"SUM(B51*25.4)","v":-19.101301976284617},{"$f":"SUM(C51*25.4)","v":-60.693300000000043}]
["D",{"$f":"Sheet1!D45","v":-0.75201976284585115},{"$f":"Sheet1!D188","v":-5.4705000000000013},{"$f":"SUM(B52*25.4)","v":-19.101301976284617},{"$f":"SUM(C52*25.4)","v":-138.95070000000001}]