{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["MMF 5-7-10","AEG 5-7-10","RAW 5-7-10"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"MMF 5-7-10","index":0,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"'RAW 5-7-10'!B5","v":"SN 18"}]
["Date"," ",{"$f":"'RAW 5-7-10'!B6","v":"2010-05-07"}]
["Crew"," ",{"$f":"'RAW 5-7-10'!B7","v":"JM, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"'RAW 5-7-10'!A169","v":3.4789999999999992},{"$f":"B10*25.4","v":88.366599999999977},null,null,5,{"$f":"'RAW 5-7-10'!A35","v":4.291270270270271},{"$f":"G10*25.4","v":108.99826486486488}]
[2,{"$f":"'RAW 5-7-10'!B169","v":3.4709999999999992},{"$f":"B11*25.4","v":88.163399999999982},null,null,6,{"$f":"'RAW 5-7-10'!B35","v":4.2952702702702688},{"$f":"G11*25.4","v":109.09986486486483}]
[3,{"$f":"'RAW 5-7-10'!C169","v":3.4709999999999992},{"$f":"B12*25.4","v":88.163399999999982},null,null,7,{"$f":"'RAW 5-7-10'!C35","v":4.2952702702702688},{"$f":"G12*25.4","v":109.09986486486483}]
[4,{"$f":"'RAW 5-7-10'!D169","v":3.4749999999999996},{"$f":"B13*25.4","v":88.264999999999986},null,null,8,{"$f":"'RAW 5-7-10'!D35","v":4.29627027027027},{"$f":"G13*25.4","v":109.12526486486485}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"'RAW 5-7-10'!C78","v":-5.480729729729731},{"$f":"'RAW 5-7-10'!C118","v":-2.0000000000006679E-3},{"$f":"B20*25.4","v":-139.21053513513516},{"$f":"C20*25.4","v":-5.0800000000016964E-2},null,{"$f":"H10-D21","v":156.81960000000007},{"$f":"C10-E20","v":88.417400000000001}]
["X1",{"$f":"'RAW 5-7-10'!A78","v":-1.8827297297297321},{"$f":"'RAW 5-7-10'!D118","v":-3.6050000000000004},{"$f":"B21*25.4","v":-47.821335135135193},{"$f":"C21*25.4","v":-91.567000000000007}]
["Y1",{"$f":"'RAW 5-7-10'!B78","v":-5.4787297297297286},null,{"$f":"B22*25.4","v":-139.15973513513509}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"'RAW 5-7-10'!B87","v":-5.4797297297297334},{"$f":"'RAW 5-7-10'!A128","v":-5.0000000000007816E-3},{"$f":"B26*25.4","v":-139.18513513513523},{"$f":"C26*25.4","v":-0.12700000000001985},null,{"$f":"H13-D27","v":156.9212},{"$f":"C13-E26","v":88.39200000000001}]
["X1",{"$f":"'RAW 5-7-10'!A87","v":-1.8817297297297308},{"$f":"'RAW 5-7-10'!B128","v":-3.6050000000000004},{"$f":"B27*25.4","v":-47.79593513513516},{"$f":"C27*25.4","v":-91.567000000000007}]
["Y2",{"$f":"'RAW 5-7-10'!C87","v":-5.4787297297297286},"\\",{"$f":"B28*25.4","v":-139.15973513513509}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"'RAW 5-7-10'!C141","v":-5.4769999999999994},{"$f":"B36*25.4","v":-139.11579999999998},null,"US  +",{"$f":"'RAW 5-7-10'!A197","v":1.7140000000000004},{"$f":"F36*25.4","v":43.535600000000009}]
[null," ",null,null,"US   -",{"$f":"'RAW 5-7-10'!B197","v":1.7140000000000004},{"$f":"F37*25.4","v":43.535600000000009}]
[null,null,null,null,"DS  +",{"$f":"'RAW 5-7-10'!C197","v":1.7149999999999999},{"$f":"F38*25.4","v":43.560999999999993}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"'RAW 5-7-10'!D197","v":1.7140000000000004},{"$f":"F39*25.4","v":43.535600000000009}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"'RAW 5-7-10'!A139","v":-4.3990000000000009},{"$f":"B42*25.4","v":-111.73460000000001}]

{"sheet":"AEG 5-7-10","index":1,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"'RAW 5-7-10'!B5","v":"SN 18"}]
["Date"," ",{"$f":"'RAW 5-7-10'!B6","v":"2010-05-07"}]
["Crew"," ",{"$f":"'RAW 5-7-10'!B7","v":"JM, LG"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"'RAW 5-7-10'!A28","v":-5.4897297297297314},{"$f":"'RAW 5-7-10'!A169","v":3.4789999999999992},{"$f":"SUM(B10*25.4)","v":-139.43913513513516},{"$f":"SUM(C10*25.4)","v":88.366599999999977}]
[2,{"$f":"'RAW 5-7-10'!B28","v":-5.4877297297297289},{"$f":"'RAW 5-7-10'!B169","v":3.4709999999999992},{"$f":"SUM(B11*25.4)","v":-139.38833513513509},{"$f":"SUM(C11*25.4)","v":88.163399999999982},null,"X (in)","X (mm)"]
[3,{"$f":"'RAW 5-7-10'!C28","v":-5.4847297297297288},{"$f":"'RAW 5-7-10'!C169","v":3.4709999999999992},-139.31213513513509,88.163399999999982,null,{"$f":"'RAW 5-7-10'!C141","v":-5.4769999999999994},{"$f":"SUM(G12*25.4)","v":-139.11579999999998}]
[4,{"$f":"'RAW 5-7-10'!D28","v":-5.4857297297297336},{"$f":"'RAW 5-7-10'!D169","v":3.4749999999999996},-139.33753513513523,88.264999999999986]
[5,{"$f":"'RAW 5-7-10'!A35","v":4.291270270270271},{"$f":"'RAW 5-7-10'!A177","v":-3.5999999999999996},108.99826486486488,-91.439999999999984]
[6,{"$f":"'RAW 5-7-10'!B35","v":4.2952702702702688},{"$f":"'RAW 5-7-10'!B177","v":-3.6029999999999998},109.09986486486483,-91.516199999999984,null,"Top of Gage Block"]
[7,{"$f":"'RAW 5-7-10'!C35","v":4.2952702702702688},{"$f":"'RAW 5-7-10'!C177","v":-3.6010000000000009},109.09986486486483,-91.465400000000017]
[8,{"$f":"'RAW 5-7-10'!D35","v":4.29627027027027},{"$f":"'RAW 5-7-10'!D177","v":-3.5999999999999996},109.12526486486485,-91.439999999999984,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"'RAW 5-7-10'!A139","v":-4.3990000000000009},{"$f":"SUM(G18*25.4)","v":-111.73460000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"'RAW 5-7-10'!A78","v":-1.8827297297297321},{"$f":"'RAW 5-7-10'!C118","v":-2.0000000000006679E-3},{"$f":"SUM(B23*25.4)","v":-47.821335135135193},{"$f":"SUM(C23*25.4)","v":-5.0800000000016964E-2}]
["X1",{"$f":"'RAW 5-7-10'!A78","v":-1.8827297297297321},{"$f":"'RAW 5-7-10'!D118","v":-3.6050000000000004},{"$f":"SUM(B24*25.4)","v":-47.821335135135193},{"$f":"SUM(C24*25.4)","v":-91.567000000000007},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"'RAW 5-7-10'!B78","v":-5.4787297297297286},null,{"$f":"SUM(B25*25.4)","v":-139.15973513513509},null,null,"US  +",{"$f":"'RAW 5-7-10'!A197","v":1.7140000000000004},{"$f":"SUM(H25*25.4)","v":43.535600000000009}]
[null,null,null,null,null,null,"US   -",{"$f":"'RAW 5-7-10'!B197","v":1.7140000000000004},{"$f":"SUM(H26*25.4)","v":43.535600000000009}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"'RAW 5-7-10'!C197","v":1.7149999999999999},{"$f":"SUM(H27*25.4)","v":43.560999999999993}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"'RAW 5-7-10'!D197","v":1.7140000000000004},{"$f":"SUM(H28*25.4)","v":43.535600000000009}]
["Y1",{"$f":"'RAW 5-7-10'!B87","v":-5.4797297297297334},{"$f":"'RAW 5-7-10'!A128","v":-5.0000000000007816E-3},{"$f":"SUM(B29*25.4)","v":-139.18513513513523},{"$f":"SUM(C29*25.4)","v":-0.12700000000001985}]
["X1",{"$f":"'RAW 5-7-10'!A87","v":-1.8817297297297308},{"$f":"'RAW 5-7-10'!B128","v":-3.6050000000000004},{"$f":"SUM(B30*25.4)","v":-47.79593513513516},{"$f":"SUM(C30*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"'RAW 5-7-10'!C87","v":-5.4787297297297286},null,{"$f":"SUM(B31*25.4)","v":-139.15973513513509}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"'RAW 5-7-10'!B68","v":-3.5967297297297307},{"$f":"'RAW 5-7-10'!A118","v":1.9999999999988916E-3},{"$f":"SUM(B37*25.4)","v":-91.35693513513516},{"$f":"SUM(C37*25.4)","v":5.079999999997184E-2},null,null," "," "]
["X1",0,{"$f":"'RAW 5-7-10'!B118","v":-3.6059999999999999},0,{"$f":"SUM(C38*25.4)","v":-91.592399999999998}]
["Y2",{"$f":"'RAW 5-7-10'!C68","v":-3.6017297297297297},null,{"$f":"SUM(B39*25.4)","v":-91.483935135135127}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"'RAW 5-7-10'!B96","v":-3.5977297297297319},{"$f":"'RAW 5-7-10'!C128","v":-2.0000000000006679E-3},{"$f":"SUM(B43*25.4)","v":-91.382335135135179},{"$f":"SUM(C43*25.4)","v":-5.0800000000016964E-2}]
["X1",0,{"$f":"'RAW 5-7-10'!D128","v":-3.6050000000000004},0,{"$f":"SUM(C44*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"'RAW 5-7-10'!C96","v":-3.5927297297297294},null,{"$f":"SUM(B45*25.4)","v":-91.255335135135127}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"'RAW 5-7-10'!A45","v":-7.0337297297297283},{"$f":"'RAW 5-7-10'!A188","v":-0.23900000000000077},{"$f":"SUM(B49*25.4)","v":-178.65673513513508},{"$f":"SUM(C49*25.4)","v":-6.0706000000000193}]
["B",{"$f":"'RAW 5-7-10'!B45","v":-2.4997297297297294},null,{"$f":"SUM(B50*25.4)","v":-63.49313513513512}]
["C",{"$f":"'RAW 5-7-10'!C45","v":-0.7427297297297315},{"$f":"'RAW 5-7-10'!C188","v":-2.3840000000000003},{"$f":"SUM(B51*25.4)","v":-18.865335135135179},{"$f":"SUM(C51*25.4)","v":-60.553600000000003}]
["D",{"$f":"'RAW 5-7-10'!D45","v":-0.7427297297297315},{"$f":"'RAW 5-7-10'!D188","v":-5.4660000000000011},{"$f":"SUM(B52*25.4)","v":-18.865335135135179},{"$f":"SUM(C52*25.4)","v":-138.83640000000003}]

{"sheet":"RAW 5-7-10","index":2,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 18"]
["Date:","2010-05-07"]
["Crew:","JM, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",27.347999999999999]
["2nd. Far",29]
["2nd Near",27.867999999999999]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.470270270270269}]
["Near Should Read",27.470270270270269]
["LOS",27.470270270270269]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.96,31.957999999999998,31.954999999999998,31.956]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.96},{"$f":"SUM(B24:B25)","v":32.957999999999998},{"$f":"SUM(C24:C25)","v":32.954999999999998},{"$f":"SUM(D24:D25)","v":32.956000000000003}]
[{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269}]
[{"$f":"SUM(A27-A26)","v":-5.4897297297297314},{"$f":"SUM(B27-B26)","v":-5.4877297297297289},{"$f":"SUM(C27-C26)","v":-5.4847297297297288},{"$f":"SUM(D27-D26)","v":-5.4857297297297336}]
[]
["5)","6)","7)","8)"]
[22.178999999999998,22.175000000000001,22.175000000000001,22.173999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.178999999999998},{"$f":"SUM(B31:B32)","v":23.175000000000001},{"$f":"SUM(C31:C32)","v":23.175000000000001},{"$f":"SUM(D31:D32)","v":23.173999999999999}]
[{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269}]
[{"$f":"SUM(A34-A33)","v":4.291270270270271},{"$f":"SUM(B34-B33)","v":4.2952702702702688},{"$f":"SUM(C34-C33)","v":4.2952702702702688},{"$f":"SUM(D34-D33)","v":4.29627027027027}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.503999999999998,28.97,27.213000000000001,27.213000000000001]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.503999999999998},{"$f":"SUM(B41:B42)","v":29.97},{"$f":"SUM(C41:C42)","v":28.213000000000001},{"$f":"SUM(D41:D42)","v":28.213000000000001}]
[{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269}]
[{"$f":"SUM(A44-A43)","v":-7.0337297297297283},{"$f":"SUM(B44-B43)","v":-2.4997297297297294},{"$f":"SUM(C44-C43)","v":-0.7427297297297315},{"$f":"SUM(D44-D43)","v":-0.7427297297297315}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.470270270270269},"LOS"]
["Undulator",{"$f":"B5","v":"SN 18"}]
["Date:",{"$f":"B6","v":"2010-05-07"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.067,30.071999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.067},{"$f":"SUM(C64:C65)","v":31.071999999999999}]
[null,{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269}]
[0,{"$f":"SUM(B67-B66)","v":-3.5967297297297307},{"$f":"SUM(C67-C66)","v":-3.6017297297297297}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.353000000000002,31.949000000000002,31.951000000000001]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.353000000000002},{"$f":"SUM(B74:B75)","v":32.948999999999998},{"$f":"SUM(C74:C75)","v":32.951000000000001}]
[{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269}]
[{"$f":"SUM(A77-A76)","v":-1.8827297297297321},{"$f":"SUM(B77-B76)","v":-5.4787297297297286},{"$f":"SUM(C77-C76)","v":-5.480729729729731}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.352,31.95,31.949000000000002]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.352},{"$f":"SUM(B83:B84)","v":32.950000000000003},{"$f":"SUM(C83:C84)","v":32.948999999999998}]
[{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269}]
[{"$f":"SUM(A86-A85)","v":-1.8817297297297308},{"$f":"SUM(B86-B85)","v":-5.4797297297297334},{"$f":"SUM(C86-C85)","v":-5.4787297297297286}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.068000000000001,30.062999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.068000000000001},{"$f":"SUM(C92:C93)","v":31.062999999999999}]
[null,{"$f":"B18","v":27.470270270270269},{"$f":"B18","v":27.470270270270269}]
[0,{"$f":"SUM(B95-B94)","v":-3.5977297297297319},{"$f":"SUM(C95-C94)","v":-3.5927297297297294}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.8930000000000007,8.8970000000000002]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 18"},{"$f":"SUM(C104+C105)","v":9.8930000000000007},{"$f":"SUM(D104+D105)","v":9.8970000000000002}]
["Date:",{"$f":"B6","v":"2010-05-07"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.8949999999999996}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.8930000000000007},12.500999999999999,8.8970000000000002,12.5]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.8930000000000007},{"$f":"SUM(B114:B115)","v":13.500999999999999},{"$f":"SUM(C114:C115)","v":9.8970000000000002},{"$f":"SUM(D114:D115)","v":13.5}]
[{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996}]
[{"$f":"SUM(A117-A116)","v":1.9999999999988916E-3},{"$f":"SUM(B117-B116)","v":-3.6059999999999999},{"$f":"SUM(C117-C116)","v":-2.0000000000006679E-3},{"$f":"SUM(D117-D116)","v":-3.6050000000000004}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.9,12.5,{"$f":"D104","v":8.8970000000000002},12.5]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.9},{"$f":"SUM(B124:B125)","v":13.5},{"$f":"SUM(C124:C125)","v":9.8970000000000002},{"$f":"SUM(D124:D125)","v":13.5}]
[{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996}]
[{"$f":"SUM(A127-A126)","v":-5.0000000000007816E-3},{"$f":"SUM(B127-B126)","v":-3.6050000000000004},{"$f":"SUM(C127-C126)","v":-2.0000000000006679E-3},{"$f":"SUM(D127-D126)","v":-3.6050000000000004}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.294,null,-5.47,"LOS"]
[{"$f":"D109","v":9.8949999999999996},null,3.2000000000000001E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3990000000000009},null,{"$f":"SUM(C137+C138)","v":-5.4379999999999997}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4769999999999994},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 18"}]
["Date:",{"$f":"B6","v":"2010-05-07"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.8949999999999996}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.4160000000000004,5.4240000000000004,5.4240000000000004,5.42]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.4160000000000004},{"$f":"SUM(B165:B166)","v":6.4240000000000004},{"$f":"SUM(C165:C166)","v":6.4240000000000004},{"$f":"SUM(D165:D166)","v":6.42}]
[{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996}]
[{"$f":"SUM(A168-A167)","v":3.4789999999999992},{"$f":"SUM(B168-B167)","v":3.4709999999999992},{"$f":"SUM(C168-C167)","v":3.4709999999999992},{"$f":"SUM(D168-D167)","v":3.4749999999999996}]
[]
[]
["5)","6)","7)","8)"]
[12.494999999999999,12.497999999999999,12.496,12.494999999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.494999999999999},{"$f":"SUM(B173+B174)","v":13.497999999999999},{"$f":"SUM(C173+C174)","v":13.496},{"$f":"SUM(D173+D174)","v":13.494999999999999}]
[{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996}]
[{"$f":"SUM(A176-A175)","v":-3.5999999999999996},{"$f":"SUM(B176-B175)","v":-3.6029999999999998},{"$f":"SUM(C176-C175)","v":-3.6010000000000009},{"$f":"SUM(D176-D175)","v":-3.5999999999999996}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.1340000000000003,null,11.279,14.361000000000001]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.134},null,{"$f":"SUM(C184+C185)","v":12.279},{"$f":"SUM(D184+D185)","v":15.361000000000001}]
[{"$f":"D109","v":9.8949999999999996},null,{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996}]
[{"$f":"SUM(A187-A186)","v":-0.23900000000000077},0,{"$f":"SUM(C187-C186)","v":-2.3840000000000003},{"$f":"SUM(D187-D186)","v":-5.4660000000000011}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.1809999999999992,8.1809999999999992,8.18,8.1809999999999992]
[{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996},{"$f":"D109","v":9.8949999999999996}]
[{"$f":"SUM(A196-A195)","v":1.7140000000000004},{"$f":"SUM(B196-B195)","v":1.7140000000000004},{"$f":"SUM(C196-C195)","v":1.7149999999999999},{"$f":"SUM(D196-D195)","v":1.7140000000000004}]