{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 18"]
["Date:","2010-05-24"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",28.885000000000002]
["2nd. Far",29.6]
["2nd Near",29.584]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":29.578116780641768}]
["Near Should Read",29.578116780641768]
["LOS",29.578116780641768]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[34.064999999999998,34.064,35.064999999999998,34.067]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":35.064999999999998},{"$f":"SUM(B24:B25)","v":35.064},{"$f":"SUM(C24:C25)","v":36.064999999999998},{"$f":"SUM(D24:D25)","v":35.067}]
[{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768}]
[{"$f":"SUM(A27-A26)","v":-5.48688321935823},{"$f":"SUM(B27-B26)","v":-5.4858832193582323},{"$f":"SUM(C27-C26)","v":-6.48688321935823},{"$f":"SUM(D27-D26)","v":-5.4888832193582324}]
[]
["5)","6)","7)","8)"]
[24.283000000000001,24.282,24.282,24.283999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":25.283000000000001},{"$f":"SUM(B31:B32)","v":25.282},{"$f":"SUM(C31:C32)","v":25.282},{"$f":"SUM(D31:D32)","v":25.283999999999999}]
[{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768}]
[{"$f":"SUM(A34-A33)","v":4.2951167806417665},{"$f":"SUM(B34-B33)","v":4.2961167806417677},{"$f":"SUM(C34-C33)","v":4.2961167806417677},{"$f":"SUM(D34-D33)","v":4.2941167806417688}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[35.613999999999997,31.081,29.321999999999999,29.321999999999999]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":36.613999999999997},{"$f":"SUM(B41:B42)","v":32.081000000000003},{"$f":"SUM(C41:C42)","v":30.321999999999999},{"$f":"SUM(D41:D42)","v":30.321999999999999}]
[{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768}]
[{"$f":"SUM(A44-A43)","v":-7.0358832193582295},{"$f":"SUM(B44-B43)","v":-2.5028832193582353},{"$f":"SUM(C44-C43)","v":-0.74388321935823143},{"$f":"SUM(D44-D43)","v":-0.74388321935823143}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":29.578116780641768},"LOS"]
["Undulator",{"$f":"B5","v":"SN 18"}]
["Date:",{"$f":"B6","v":"2010-05-24"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,32.177999999999997,32.183]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":33.177999999999997},{"$f":"SUM(C64:C65)","v":33.183}]
[null,{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768}]
[0,{"$f":"SUM(B67-B66)","v":-3.5998832193582295},{"$f":"SUM(C67-C66)","v":-3.6048832193582321}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[30.457000000000001,34.052,34.055]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":31.457000000000001},{"$f":"SUM(B74:B75)","v":35.052},{"$f":"SUM(C74:C75)","v":35.055}]
[{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768}]
[{"$f":"SUM(A77-A76)","v":-1.878883219358233},{"$f":"SUM(B77-B76)","v":-5.4738832193582319},{"$f":"SUM(C77-C76)","v":-5.476883219358232}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[30.465,34.06,34.063000000000002]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":31.465},{"$f":"SUM(B83:B84)","v":35.06},{"$f":"SUM(C83:C84)","v":35.063000000000002}]
[{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768}]
[{"$f":"SUM(A86-A85)","v":-1.8868832193582321},{"$f":"SUM(B86-B85)","v":-5.4818832193582345},{"$f":"SUM(C86-C85)","v":-5.4848832193582346}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,32.180999999999997,32.174999999999997]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":33.180999999999997},{"$f":"SUM(C92:C93)","v":33.174999999999997}]
[null,{"$f":"B18","v":29.578116780641768},{"$f":"B18","v":29.578116780641768}]
[0,{"$f":"SUM(B95-B94)","v":-3.6028832193582296},{"$f":"SUM(C95-C94)","v":-3.5968832193582294}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.3469999999999995,8.3550000000000004]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 18"},{"$f":"SUM(C104+C105)","v":9.3469999999999995},{"$f":"SUM(D104+D105)","v":9.3550000000000004}]
["Date:",{"$f":"B6","v":"2010-05-24"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.3509999999999991}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.3469999999999995},11.952999999999999,8.3559999999999999,11.959]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.3469999999999995},{"$f":"SUM(B114:B115)","v":12.952999999999999},{"$f":"SUM(C114:C115)","v":9.3559999999999999},{"$f":"SUM(D114:D115)","v":12.959}]
[{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991}]
[{"$f":"SUM(A117-A116)","v":3.9999999999995595E-3},{"$f":"SUM(B117-B116)","v":-3.6020000000000003},{"$f":"SUM(C117-C116)","v":-5.0000000000007816E-3},{"$f":"SUM(D117-D116)","v":-3.6080000000000005}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.3610000000000007,11.961,{"$f":"D104","v":8.3550000000000004},11.955]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.3610000000000007},{"$f":"SUM(B124:B125)","v":12.961},{"$f":"SUM(C124:C125)","v":9.3550000000000004},{"$f":"SUM(D124:D125)","v":12.955}]
[{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991}]
[{"$f":"SUM(A127-A126)","v":-1.0000000000001563E-2},{"$f":"SUM(B127-B126)","v":-3.6100000000000012},{"$f":"SUM(C127-C126)","v":-4.0000000000013358E-3},{"$f":"SUM(D127-D126)","v":-3.604000000000001}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[13.747,null,-5.47,"LOS"]
[{"$f":"D109","v":9.3509999999999991},null,2.8000000000000001E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3960000000000008},null,{"$f":"SUM(C137+C138)","v":-5.4420000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4809999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 18"}]
["Date:",{"$f":"B6","v":"2010-05-24"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.3509999999999991}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[4.8739999999999997,4.883,4.8840000000000003,4.8789999999999996]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":5.8739999999999997},{"$f":"SUM(B165:B166)","v":5.883},{"$f":"SUM(C165:C166)","v":5.8840000000000003},{"$f":"SUM(D165:D166)","v":5.8789999999999996}]
[{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991}]
[{"$f":"SUM(A168-A167)","v":3.4769999999999994},{"$f":"SUM(B168-B167)","v":3.4679999999999991},{"$f":"SUM(C168-C167)","v":3.4669999999999987},{"$f":"SUM(D168-D167)","v":3.4719999999999995}]
[]
[]
["5)","6)","7)","8)"]
[11.954000000000001,11.956,11.956,11.955]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":12.954000000000001},{"$f":"SUM(B173+B174)","v":12.956},{"$f":"SUM(C173+C174)","v":12.956},{"$f":"SUM(D173+D174)","v":12.955}]
[{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991}]
[{"$f":"SUM(A176-A175)","v":-3.6030000000000015},{"$f":"SUM(B176-B175)","v":-3.6050000000000004},{"$f":"SUM(C176-C175)","v":-3.6050000000000004},{"$f":"SUM(D176-D175)","v":-3.604000000000001}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[8.5879999999999992,null,10.731999999999999,13.814]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":9.5879999999999992},null,{"$f":"SUM(C184+C185)","v":11.731999999999999},{"$f":"SUM(D184+D185)","v":14.814}]
[{"$f":"D109","v":9.3509999999999991},null,{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991}]
[{"$f":"SUM(A187-A186)","v":-0.2370000000000001},0,{"$f":"SUM(C187-C186)","v":-2.3810000000000002},{"$f":"SUM(D187-D186)","v":-5.463000000000001}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[7.6390000000000002,7.64,7.64,7.641]
[{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991},{"$f":"D109","v":9.3509999999999991}]
[{"$f":"SUM(A196-A195)","v":1.7119999999999989},{"$f":"SUM(B196-B195)","v":1.7109999999999994},{"$f":"SUM(C196-C195)","v":1.7109999999999994},{"$f":"SUM(D196-D195)","v":1.7099999999999991}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 18"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-05-24"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4769999999999994},{"$f":"B10*25.4","v":88.315799999999982},null,null,5,{"$f":"Sheet1!A35","v":4.2951167806417665},{"$f":"G10*25.4","v":109.09596622830087}]
[2,{"$f":"Sheet1!B169","v":3.4679999999999991},{"$f":"B11*25.4","v":88.087199999999967},null,null,6,{"$f":"Sheet1!B35","v":4.2961167806417677},{"$f":"G11*25.4","v":109.1213662283009}]
[3,{"$f":"Sheet1!C169","v":3.4669999999999987},{"$f":"B12*25.4","v":88.061799999999963},null,null,7,{"$f":"Sheet1!C35","v":4.2961167806417677},{"$f":"G12*25.4","v":109.1213662283009}]
[4,{"$f":"Sheet1!D169","v":3.4719999999999995},{"$f":"B13*25.4","v":88.188799999999986},null,null,8,{"$f":"Sheet1!D35","v":4.2941167806417688},{"$f":"G13*25.4","v":109.07056622830092}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.476883219358232},{"$f":"Sheet1!C118","v":-5.0000000000007816E-3},{"$f":"B20*25.4","v":-139.11283377169909},{"$f":"C20*25.4","v":-0.12700000000001985},null,{"$f":"H10-D21","v":156.81959999999998},{"$f":"C10-E20","v":88.442800000000005}]
["X1",{"$f":"Sheet1!A78","v":-1.878883219358233},{"$f":"Sheet1!D118","v":-3.6080000000000005},{"$f":"B21*25.4","v":-47.723633771699113},{"$f":"C21*25.4","v":-91.643200000000007}]
["Y1",{"$f":"Sheet1!B78","v":-5.4738832193582319},null,{"$f":"B22*25.4","v":-139.03663377169909}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4818832193582345},{"$f":"Sheet1!A128","v":-1.0000000000001563E-2},{"$f":"B26*25.4","v":-139.23983377169915},{"$f":"C26*25.4","v":-0.25400000000003969},null,{"$f":"H13-D27","v":156.99740000000003},{"$f":"C13-E26","v":88.44280000000002}]
["X1",{"$f":"Sheet1!A87","v":-1.8868832193582321},{"$f":"Sheet1!B128","v":-3.6100000000000012},{"$f":"B27*25.4","v":-47.926833771699094},{"$f":"C27*25.4","v":-91.694000000000031}]
["Y2",{"$f":"Sheet1!C87","v":-5.4848832193582346},"\\",{"$f":"B28*25.4","v":-139.31603377169915}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4809999999999999},{"$f":"B36*25.4","v":-139.2174},null,"US  +",{"$f":"Sheet1!A197","v":1.7119999999999989},{"$f":"F36*25.4","v":43.484799999999971}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7109999999999994},{"$f":"F37*25.4","v":43.459399999999981}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7109999999999994},{"$f":"F38*25.4","v":43.459399999999981}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7099999999999991},{"$f":"F39*25.4","v":43.433999999999976}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3960000000000008},{"$f":"B42*25.4","v":-111.65840000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 18"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-05-24"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.48688321935823},{"$f":"Sheet1!A169","v":3.4769999999999994},{"$f":"SUM(B10*25.4)","v":-139.36683377169902},{"$f":"SUM(C10*25.4)","v":88.315799999999982}]
[2,{"$f":"Sheet1!B28","v":-5.4858832193582323},{"$f":"Sheet1!B169","v":3.4679999999999991},{"$f":"SUM(B11*25.4)","v":-139.34143377169909},{"$f":"SUM(C11*25.4)","v":88.087199999999967},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-6.48688321935823},{"$f":"Sheet1!C169","v":3.4669999999999987},-164.76683377169903,88.061799999999963,null,{"$f":"Sheet1!C141","v":-5.4809999999999999},{"$f":"SUM(G12*25.4)","v":-139.2174}]
[4,{"$f":"Sheet1!D28","v":-5.4888832193582324},{"$f":"Sheet1!D169","v":3.4719999999999995},-139.41763377169909,88.188799999999986]
[5,{"$f":"Sheet1!A35","v":4.2951167806417665},{"$f":"Sheet1!A177","v":-3.6030000000000015},109.09596622830087,-91.51620000000004]
[6,{"$f":"Sheet1!B35","v":4.2961167806417677},{"$f":"Sheet1!B177","v":-3.6050000000000004},109.1213662283009,-91.567000000000007,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2961167806417677},{"$f":"Sheet1!C177","v":-3.6050000000000004},109.1213662283009,-91.567000000000007]
[8,{"$f":"Sheet1!D35","v":4.2941167806417688},{"$f":"Sheet1!D177","v":-3.604000000000001},109.07056622830092,-91.541600000000017,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3960000000000008},{"$f":"SUM(G18*25.4)","v":-111.65840000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.878883219358233},{"$f":"Sheet1!C118","v":-5.0000000000007816E-3},{"$f":"SUM(B23*25.4)","v":-47.723633771699113},{"$f":"SUM(C23*25.4)","v":-0.12700000000001985}]
["X1",{"$f":"Sheet1!A78","v":-1.878883219358233},{"$f":"Sheet1!D118","v":-3.6080000000000005},{"$f":"SUM(B24*25.4)","v":-47.723633771699113},{"$f":"SUM(C24*25.4)","v":-91.643200000000007},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4738832193582319},null,{"$f":"SUM(B25*25.4)","v":-139.03663377169909},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7119999999999989},{"$f":"SUM(H25*25.4)","v":43.484799999999971}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7109999999999994},{"$f":"SUM(H26*25.4)","v":43.459399999999981}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7109999999999994},{"$f":"SUM(H27*25.4)","v":43.459399999999981}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7099999999999991},{"$f":"SUM(H28*25.4)","v":43.433999999999976}]
["Y1",{"$f":"Sheet1!B87","v":-5.4818832193582345},{"$f":"Sheet1!A128","v":-1.0000000000001563E-2},{"$f":"SUM(B29*25.4)","v":-139.23983377169915},{"$f":"SUM(C29*25.4)","v":-0.25400000000003969}]
["X1",{"$f":"Sheet1!A87","v":-1.8868832193582321},{"$f":"Sheet1!B128","v":-3.6100000000000012},{"$f":"SUM(B30*25.4)","v":-47.926833771699094},{"$f":"SUM(C30*25.4)","v":-91.694000000000031}]
["Y2",{"$f":"Sheet1!C87","v":-5.4848832193582346},null,{"$f":"SUM(B31*25.4)","v":-139.31603377169915}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5998832193582295},{"$f":"Sheet1!A118","v":3.9999999999995595E-3},{"$f":"SUM(B37*25.4)","v":-91.437033771699021},{"$f":"SUM(C37*25.4)","v":0.10159999999998881},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6020000000000003},0,{"$f":"SUM(C38*25.4)","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C68","v":-3.6048832193582321},null,{"$f":"SUM(B39*25.4)","v":-91.564033771699087}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6028832193582296},{"$f":"Sheet1!C128","v":-4.0000000000013358E-3},{"$f":"SUM(B43*25.4)","v":-91.513233771699021},{"$f":"SUM(C43*25.4)","v":-0.10160000000003393}]
["X1",0,{"$f":"Sheet1!D128","v":-3.604000000000001},0,{"$f":"SUM(C44*25.4)","v":-91.541600000000017}]
["Y2",{"$f":"Sheet1!C96","v":-3.5968832193582294},null,{"$f":"SUM(B45*25.4)","v":-91.360833771699021}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0358832193582295},{"$f":"Sheet1!A188","v":-0.2370000000000001},{"$f":"SUM(B49*25.4)","v":-178.71143377169901},{"$f":"SUM(C49*25.4)","v":-6.0198000000000018}]
["B",{"$f":"Sheet1!B45","v":-2.5028832193582353},null,{"$f":"SUM(B50*25.4)","v":-63.573233771699172}]
["C",{"$f":"Sheet1!C45","v":-0.74388321935823143},{"$f":"Sheet1!C188","v":-2.3810000000000002},{"$f":"SUM(B51*25.4)","v":-18.894633771699077},{"$f":"SUM(C51*25.4)","v":-60.477400000000003}]
["D",{"$f":"Sheet1!D45","v":-0.74388321935823143},{"$f":"Sheet1!D188","v":-5.463000000000001},{"$f":"SUM(B52*25.4)","v":-18.894633771699077},{"$f":"SUM(C52*25.4)","v":-138.76020000000003}]