{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 18"]
["Date:","2012-02-21"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26.5]
["1st. Near",26.847000000000001]
["2nd. Far",27.5]
["2nd Near",27.106999999999999]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":26.96891891891892}]
["Near Should Read",26.96891891891892]
["LOS",26.96891891891892]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.463000000000001,31.46,31.457000000000001,31.456]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.463000000000001},{"$f":"SUM(B24:B25)","v":32.46},{"$f":"SUM(C24:C25)","v":32.457000000000001},{"$f":"SUM(D24:D25)","v":32.456000000000003}]
[{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892}]
[{"$f":"SUM(A27-A26)","v":-5.494081081081081},{"$f":"SUM(B27-B26)","v":-5.4910810810810808},{"$f":"SUM(C27-C26)","v":-5.4880810810810807},{"$f":"SUM(D27-D26)","v":-5.4870810810810831}]
[]
["5)","6)","7)","8)"]
[21.677,21.675000000000001,21.672999999999998,21.672999999999998]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":22.677},{"$f":"SUM(B31:B32)","v":22.675000000000001},{"$f":"SUM(C31:C32)","v":22.672999999999998},{"$f":"SUM(D31:D32)","v":22.672999999999998}]
[{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892}]
[{"$f":"SUM(A34-A33)","v":4.2919189189189204},{"$f":"SUM(B34-B33)","v":4.2939189189189193},{"$f":"SUM(C34-C33)","v":4.2959189189189217},{"$f":"SUM(D34-D33)","v":4.2959189189189217}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.003,28.469000000000001,26.710999999999999,26.71]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.003},{"$f":"SUM(B41:B42)","v":29.469000000000001},{"$f":"SUM(C41:C42)","v":27.710999999999999},{"$f":"SUM(D41:D42)","v":27.71}]
[{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892}]
[{"$f":"SUM(A44-A43)","v":-7.0340810810810801},{"$f":"SUM(B44-B43)","v":-2.5000810810810812},{"$f":"SUM(C44-C43)","v":-0.74208108108107851},{"$f":"SUM(D44-D43)","v":-0.74108108108108084}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":26.96891891891892},"LOS"]
["Undulator",{"$f":"B5","v":"SN 18"}]
["Date:",{"$f":"B6","v":"2012-02-21"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.568000000000001,29.571999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.568000000000001},{"$f":"SUM(C64:C65)","v":30.571999999999999}]
[null,{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892}]
[0,{"$f":"SUM(B67-B66)","v":-3.5990810810810814},{"$f":"SUM(C67-C66)","v":-3.6030810810810792}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[27.853000000000002,31.448,31.45]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":28.853000000000002},{"$f":"SUM(B74:B75)","v":32.448},{"$f":"SUM(C74:C75)","v":32.450000000000003}]
[{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892}]
[{"$f":"SUM(A77-A76)","v":-1.8840810810810815},{"$f":"SUM(B77-B76)","v":-5.4790810810810804},{"$f":"SUM(C77-C76)","v":-5.4810810810810828}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[27.85,31.446000000000002,31.446000000000002]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":28.85},{"$f":"SUM(B83:B84)","v":32.445999999999998},{"$f":"SUM(C83:C84)","v":32.445999999999998}]
[{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892}]
[{"$f":"SUM(A86-A85)","v":-1.8810810810810814},{"$f":"SUM(B86-B85)","v":-5.4770810810810779},{"$f":"SUM(C86-C85)","v":-5.4770810810810779}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.568999999999999,29.565000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.568999999999999},{"$f":"SUM(C92:C93)","v":30.565000000000001}]
[null,{"$f":"B18","v":26.96891891891892},{"$f":"B18","v":26.96891891891892}]
[0,{"$f":"SUM(B95-B94)","v":-3.600081081081079},{"$f":"SUM(C95-C94)","v":-3.5960810810810813}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.3230000000000004,8.3230000000000004]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 18"},{"$f":"SUM(C104+C105)","v":9.3230000000000004},{"$f":"SUM(D104+D105)","v":9.3230000000000004}]
["Date:",{"$f":"B6","v":"2012-02-21"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.3230000000000004}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.3230000000000004},11.930999999999999,8.3279999999999994,11.93]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.3230000000000004},{"$f":"SUM(B114:B115)","v":12.930999999999999},{"$f":"SUM(C114:C115)","v":9.3279999999999994},{"$f":"SUM(D114:D115)","v":12.93}]
[{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004}]
[{"$f":"SUM(A117-A116)","v":0},{"$f":"SUM(B117-B116)","v":-3.6079999999999988},{"$f":"SUM(C117-C116)","v":-4.9999999999990052E-3},{"$f":"SUM(D117-D116)","v":-3.6069999999999993}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.33,11.93,{"$f":"D104","v":8.3230000000000004},11.925000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.33},{"$f":"SUM(B124:B125)","v":12.93},{"$f":"SUM(C124:C125)","v":9.3230000000000004},{"$f":"SUM(D124:D125)","v":12.925000000000001}]
[{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004}]
[{"$f":"SUM(A127-A126)","v":-6.9999999999996732E-3},{"$f":"SUM(B127-B126)","v":-3.6069999999999993},{"$f":"SUM(C127-C126)","v":0},{"$f":"SUM(D127-D126)","v":-3.6020000000000003}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[13.724,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.3230000000000004},null,3.5000000000000003E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4009999999999998},null,{"$f":"SUM(C137+C138)","v":-5.4290000000000003}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.468},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 18"}]
["Date:",{"$f":"B6","v":"2012-02-21"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.3230000000000004}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[4.8460000000000001,4.8520000000000003,4.8520000000000003,4.8470000000000004]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":5.8460000000000001},{"$f":"SUM(B165:B166)","v":5.8520000000000003},{"$f":"SUM(C165:C166)","v":5.8520000000000003},{"$f":"SUM(D165:D166)","v":5.8470000000000004}]
[{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004}]
[{"$f":"SUM(A168-A167)","v":3.4770000000000003},{"$f":"SUM(B168-B167)","v":3.4710000000000001},{"$f":"SUM(C168-C167)","v":3.4710000000000001},{"$f":"SUM(D168-D167)","v":3.476}]
[]
[]
["5)","6)","7)","8)"]
[11.925000000000001,11.925000000000001,11.923999999999999,11.923]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":12.925000000000001},{"$f":"SUM(B173+B174)","v":12.925000000000001},{"$f":"SUM(C173+C174)","v":12.923999999999999},{"$f":"SUM(D173+D174)","v":12.923}]
[{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004}]
[{"$f":"SUM(A176-A175)","v":-3.6020000000000003},{"$f":"SUM(B176-B175)","v":-3.6020000000000003},{"$f":"SUM(C176-C175)","v":-3.6009999999999991},{"$f":"SUM(D176-D175)","v":-3.5999999999999996}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[8.5660000000000007,null,10.709,13.791]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":9.5660000000000007},null,{"$f":"SUM(C184+C185)","v":11.709},{"$f":"SUM(D184+D185)","v":14.791}]
[{"$f":"D109","v":9.3230000000000004},null,{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004}]
[{"$f":"SUM(A187-A186)","v":-0.24300000000000033},0,{"$f":"SUM(C187-C186)","v":-2.3859999999999992},{"$f":"SUM(D187-D186)","v":-5.468}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[7.6109999999999998,7.6120000000000001,7.61,7.6109999999999998]
[{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004},{"$f":"D109","v":9.3230000000000004}]
[{"$f":"SUM(A196-A195)","v":1.7120000000000006},{"$f":"SUM(B196-B195)","v":1.7110000000000003},{"$f":"SUM(C196-C195)","v":1.7130000000000001},{"$f":"SUM(D196-D195)","v":1.7120000000000006}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 18"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-02-21"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4770000000000003},{"$f":"B10*25.4","v":88.31580000000001},null,null,5,{"$f":"Sheet1!A35","v":4.2919189189189204},{"$f":"G10*25.4","v":109.01474054054057}]
[2,{"$f":"Sheet1!B169","v":3.4710000000000001},{"$f":"B11*25.4","v":88.163399999999996},null,null,6,{"$f":"Sheet1!B35","v":4.2939189189189193},{"$f":"G11*25.4","v":109.06554054054054}]
[3,{"$f":"Sheet1!C169","v":3.4710000000000001},{"$f":"B12*25.4","v":88.163399999999996},null,null,7,{"$f":"Sheet1!C35","v":4.2959189189189217},{"$f":"G12*25.4","v":109.11634054054061}]
[4,{"$f":"Sheet1!D169","v":3.476},{"$f":"B13*25.4","v":88.290399999999991},null,null,8,{"$f":"Sheet1!D35","v":4.2959189189189217},{"$f":"G13*25.4","v":109.11634054054061}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4810810810810828},{"$f":"Sheet1!C118","v":-4.9999999999990052E-3},{"$f":"B20*25.4","v":-139.2194594594595},{"$f":"C20*25.4","v":-0.12699999999997472},null,{"$f":"H10-D21","v":156.87040000000005},{"$f":"C10-E20","v":88.442799999999991}]
["X1",{"$f":"Sheet1!A78","v":-1.8840810810810815},{"$f":"Sheet1!D118","v":-3.6069999999999993},{"$f":"B21*25.4","v":-47.855659459459467},{"$f":"C21*25.4","v":-91.617799999999974}]
["Y1",{"$f":"Sheet1!B78","v":-5.4790810810810804},null,{"$f":"B22*25.4","v":-139.16865945945943}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4770810810810779},{"$f":"Sheet1!A128","v":-6.9999999999996732E-3},{"$f":"B26*25.4","v":-139.11785945945937},{"$f":"C26*25.4","v":-0.17779999999999169},null,{"$f":"H13-D27","v":156.89580000000007},{"$f":"C13-E26","v":88.468199999999982}]
["X1",{"$f":"Sheet1!A87","v":-1.8810810810810814},{"$f":"Sheet1!B128","v":-3.6069999999999993},{"$f":"B27*25.4","v":-47.779459459459467},{"$f":"C27*25.4","v":-91.617799999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4770810810810779},"\\",{"$f":"B28*25.4","v":-139.11785945945937}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.468},{"$f":"B36*25.4","v":-138.88719999999998},null,"US  +",{"$f":"Sheet1!A197","v":1.7120000000000006},{"$f":"F36*25.4","v":43.484800000000014}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"F37*25.4","v":43.459400000000002}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7130000000000001},{"$f":"F38*25.4","v":43.510199999999998}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7120000000000006},{"$f":"F39*25.4","v":43.484800000000014}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4009999999999998},{"$f":"B42*25.4","v":-111.7854}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-02-21"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.494081081081081},{"$f":"Sheet1!A169","v":3.4770000000000003},{"$f":"SUM(B10*25.4)","v":-139.54965945945946},{"$f":"SUM(C10*25.4)","v":88.31580000000001}]
[2,{"$f":"Sheet1!B28","v":-5.4910810810810808},{"$f":"Sheet1!B169","v":3.4710000000000001},{"$f":"SUM(B11*25.4)","v":-139.47345945945943},{"$f":"SUM(C11*25.4)","v":88.163399999999996},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4880810810810807},{"$f":"Sheet1!C169","v":3.4710000000000001},-139.39725945945943,88.163399999999996,null,{"$f":"Sheet1!C141","v":-5.468},{"$f":"SUM(G12*25.4)","v":-138.88719999999998}]
[4,{"$f":"Sheet1!D28","v":-5.4870810810810831},{"$f":"Sheet1!D169","v":3.476},-139.3718594594595,88.290399999999991]
[5,{"$f":"Sheet1!A35","v":4.2919189189189204},{"$f":"Sheet1!A177","v":-3.6020000000000003},109.01474054054057,-91.490800000000007]
[6,{"$f":"Sheet1!B35","v":4.2939189189189193},{"$f":"Sheet1!B177","v":-3.6020000000000003},109.06554054054054,-91.490800000000007,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2959189189189217},{"$f":"Sheet1!C177","v":-3.6009999999999991},109.11634054054061,-91.465399999999974]
[8,{"$f":"Sheet1!D35","v":4.2959189189189217},{"$f":"Sheet1!D177","v":-3.5999999999999996},109.11634054054061,-91.439999999999984,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4009999999999998},{"$f":"SUM(G18*25.4)","v":-111.7854}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8840810810810815},{"$f":"Sheet1!C118","v":-4.9999999999990052E-3},{"$f":"SUM(B23*25.4)","v":-47.855659459459467},{"$f":"SUM(C23*25.4)","v":-0.12699999999997472}]
["X1",{"$f":"Sheet1!A78","v":-1.8840810810810815},{"$f":"Sheet1!D118","v":-3.6069999999999993},{"$f":"SUM(B24*25.4)","v":-47.855659459459467},{"$f":"SUM(C24*25.4)","v":-91.617799999999974},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4790810810810804},null,{"$f":"SUM(B25*25.4)","v":-139.16865945945943},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7120000000000006},{"$f":"SUM(H25*25.4)","v":43.484800000000014}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"SUM(H26*25.4)","v":43.459400000000002}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7130000000000001},{"$f":"SUM(H27*25.4)","v":43.510199999999998}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7120000000000006},{"$f":"SUM(H28*25.4)","v":43.484800000000014}]
["Y1",{"$f":"Sheet1!B87","v":-5.4770810810810779},{"$f":"Sheet1!A128","v":-6.9999999999996732E-3},{"$f":"SUM(B29*25.4)","v":-139.11785945945937},{"$f":"SUM(C29*25.4)","v":-0.17779999999999169}]
["X1",{"$f":"Sheet1!A87","v":-1.8810810810810814},{"$f":"Sheet1!B128","v":-3.6069999999999993},{"$f":"SUM(B30*25.4)","v":-47.779459459459467},{"$f":"SUM(C30*25.4)","v":-91.617799999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.4770810810810779},null,{"$f":"SUM(B31*25.4)","v":-139.11785945945937}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5990810810810814},{"$f":"Sheet1!A118","v":0},{"$f":"SUM(B37*25.4)","v":-91.416659459459467},{"$f":"SUM(C37*25.4)","v":0},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6079999999999988},0,{"$f":"SUM(C38*25.4)","v":-91.643199999999965}]
["Y2",{"$f":"Sheet1!C68","v":-3.6030810810810792},null,{"$f":"SUM(B39*25.4)","v":-91.518259459459401}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.600081081081079},{"$f":"Sheet1!C128","v":0},{"$f":"SUM(B43*25.4)","v":-91.442059459459401},{"$f":"SUM(C43*25.4)","v":0}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6020000000000003},0,{"$f":"SUM(C44*25.4)","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.5960810810810813},null,{"$f":"SUM(B45*25.4)","v":-91.340459459459453}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0340810810810801},{"$f":"Sheet1!A188","v":-0.24300000000000033},{"$f":"SUM(B49*25.4)","v":-178.66565945945942},{"$f":"SUM(C49*25.4)","v":-6.1722000000000081}]
["B",{"$f":"Sheet1!B45","v":-2.5000810810810812},null,{"$f":"SUM(B50*25.4)","v":-63.50205945945946}]
["C",{"$f":"Sheet1!C45","v":-0.74208108108107851},{"$f":"Sheet1!C188","v":-2.3859999999999992},{"$f":"SUM(B51*25.4)","v":-18.848859459459394},{"$f":"SUM(C51*25.4)","v":-60.604399999999977}]
["D",{"$f":"Sheet1!D45","v":-0.74108108108108084},{"$f":"Sheet1!D188","v":-5.468},{"$f":"SUM(B52*25.4)","v":-18.823459459459453},{"$f":"SUM(C52*25.4)","v":-138.88719999999998}]