{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 18"]
["Date:","2014-07-16"]
["Crew:","FG, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28]
["1st. Near",28.22]
["2nd. Far",29]
["2nd Near",28.474]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.294906166219839}]
["Near Should Read",28.294906166219839]
["LOS",28.294906166219839]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.795000000000002,32.793999999999997,32.790999999999997,32.790999999999997]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.795000000000002},{"$f":"SUM(B24:B25)","v":33.793999999999997},{"$f":"SUM(C24:C25)","v":33.790999999999997},{"$f":"SUM(D24:D25)","v":33.790999999999997}]
[{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839}]
[{"$f":"SUM(A27-A26)","v":-5.5000938337801628},{"$f":"SUM(B27-B26)","v":-5.499093833780158},{"$f":"SUM(C27-C26)","v":-5.4960938337801579},{"$f":"SUM(D27-D26)","v":-5.4960938337801579}]
[]
["5)","6)","7)","8)"]
[23.016999999999999,23.013999999999999,23.013999999999999,23.012]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.016999999999999},{"$f":"SUM(B31:B32)","v":24.013999999999999},{"$f":"SUM(C31:C32)","v":24.013999999999999},{"$f":"SUM(D31:D32)","v":24.012}]
[{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839}]
[{"$f":"SUM(A34-A33)","v":4.2779061662198394},{"$f":"SUM(B34-B33)","v":4.2809061662198395},{"$f":"SUM(C34-C33)","v":4.2809061662198395},{"$f":"SUM(D34-D33)","v":4.2829061662198384}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.331000000000003,29.809000000000001,28.048999999999999,28.048999999999999]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.331000000000003},{"$f":"SUM(B41:B42)","v":30.809000000000001},{"$f":"SUM(C41:C42)","v":29.048999999999999},{"$f":"SUM(D41:D42)","v":29.048999999999999}]
[{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839}]
[{"$f":"SUM(A44-A43)","v":-7.0360938337801642},{"$f":"SUM(B44-B43)","v":-2.5140938337801622},{"$f":"SUM(C44-C43)","v":-0.75409383378016059},{"$f":"SUM(D44-D43)","v":-0.75409383378016059}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.294906166219839},"LOS"]
["Undulator",{"$f":"B5","v":"SN 18"}]
["Date:",{"$f":"B6","v":"2014-07-16"}]
["Crew:",{"$f":"B7","v":"FG, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.895,30.898]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.895},{"$f":"SUM(C64:C65)","v":31.898}]
[null,{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839}]
[0,{"$f":"SUM(B67-B66)","v":-3.6000938337801607},{"$f":"SUM(C67-C66)","v":-3.6030938337801608}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.195,32.792000000000002,32.79]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.195},{"$f":"SUM(B74:B75)","v":33.792000000000002},{"$f":"SUM(C74:C75)","v":33.79}]
[{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839}]
[{"$f":"SUM(A77-A76)","v":-1.9000938337801614},{"$f":"SUM(B77-B76)","v":-5.4970938337801627},{"$f":"SUM(C77-C76)","v":-5.4950938337801603}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.189,32.786999999999999,32.789000000000001]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.189},{"$f":"SUM(B83:B84)","v":33.786999999999999},{"$f":"SUM(C83:C84)","v":33.789000000000001}]
[{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839}]
[{"$f":"SUM(A86-A85)","v":-1.8940938337801612},{"$f":"SUM(B86-B85)","v":-5.4920938337801601},{"$f":"SUM(C86-C85)","v":-5.4940938337801626}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.9,30.896000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.9},{"$f":"SUM(C92:C93)","v":31.896000000000001}]
[null,{"$f":"B18","v":28.294906166219839},{"$f":"B18","v":28.294906166219839}]
[0,{"$f":"SUM(B95-B94)","v":-3.6050938337801597},{"$f":"SUM(C95-C94)","v":-3.6010938337801619}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.49,9.4879999999999995]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 18"},{"$f":"SUM(C104+C105)","v":10.49},{"$f":"SUM(D104+D105)","v":10.488}]
["Date:",{"$f":"B6","v":"2014-07-16"}]
["Crew:",{"$f":"B7","v":"FG, BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.489000000000001}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.49},13.096,9.4879999999999995,13.092000000000001]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.49},{"$f":"SUM(B114:B115)","v":14.096},{"$f":"SUM(C114:C115)","v":10.488},{"$f":"SUM(D114:D115)","v":14.092000000000001}]
[{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A117-A116)","v":-9.9999999999944578E-4},{"$f":"SUM(B117-B116)","v":-3.6069999999999993},{"$f":"SUM(C117-C116)","v":1.0000000000012221E-3},{"$f":"SUM(D117-D116)","v":-3.6029999999999998}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.4870000000000001,13.089,{"$f":"D104","v":9.4879999999999995},13.089]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.487},{"$f":"SUM(B124:B125)","v":14.089},{"$f":"SUM(C124:C125)","v":10.488},{"$f":"SUM(D124:D125)","v":14.089}]
[{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A127-A126)","v":2.0000000000006679E-3},{"$f":"SUM(B127-B126)","v":-3.5999999999999996},{"$f":"SUM(C127-C126)","v":1.0000000000012221E-3},{"$f":"SUM(D127-D126)","v":-3.5999999999999996}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.893000000000001,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.489000000000001},null,2.1999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4039999999999999},null,{"$f":"SUM(C137+C138)","v":-5.4420000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4809999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 18"}]
["Date:","2014-07-16"]
["Crew:",{"$f":"B7","v":"FG, BR"}]
[]
[]
["HI =",{"$f":"D109","v":10.489000000000001}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.0090000000000003,6.0129999999999999,6.0129999999999999,6.0090000000000003]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.0090000000000003},{"$f":"SUM(B165:B166)","v":7.0129999999999999},{"$f":"SUM(C165:C166)","v":7.0129999999999999},{"$f":"SUM(D165:D166)","v":7.0090000000000003}]
[{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A168-A167)","v":3.4800000000000004},{"$f":"SUM(B168-B167)","v":3.4760000000000009},{"$f":"SUM(C168-C167)","v":3.4760000000000009},{"$f":"SUM(D168-D167)","v":3.4800000000000004}]
[]
[]
["5)","6)","7)","8)"]
[13.097,13.096,13.093999999999999,13.093]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.097},{"$f":"SUM(B173+B174)","v":14.096},{"$f":"SUM(C173+C174)","v":14.093999999999999},{"$f":"SUM(D173+D174)","v":14.093}]
[{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A176-A175)","v":-3.6079999999999988},{"$f":"SUM(B176-B175)","v":-3.6069999999999993},{"$f":"SUM(C176-C175)","v":-3.6049999999999986},{"$f":"SUM(D176-D175)","v":-3.6039999999999992}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.7319999999999993,null,11.877000000000001,14.959]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.731999999999999},null,{"$f":"SUM(C184+C185)","v":12.877000000000001},{"$f":"SUM(D184+D185)","v":15.959}]
[{"$f":"D109","v":10.489000000000001},null,{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A187-A186)","v":-0.24299999999999855},0,{"$f":"SUM(C187-C186)","v":-2.3879999999999999},{"$f":"SUM(D187-D186)","v":-5.4699999999999989}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.7759999999999998,8.7750000000000004,8.7710000000000008,8.77]
[{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A196-A195)","v":1.713000000000001},{"$f":"SUM(B196-B195)","v":1.7140000000000004},{"$f":"SUM(C196-C195)","v":1.718},{"$f":"SUM(D196-D195)","v":1.7190000000000012}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 18"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-07-16"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"FG, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4800000000000004},{"$f":"B10*25.4","v":88.39200000000001},null,null,5,{"$f":"Sheet1!A35","v":4.2779061662198394},{"$f":"G10*25.4","v":108.65881662198392}]
[2,{"$f":"Sheet1!B169","v":3.4760000000000009},{"$f":"B11*25.4","v":88.29040000000002},null,null,6,{"$f":"Sheet1!B35","v":4.2809061662198395},{"$f":"G11*25.4","v":108.73501662198392}]
[3,{"$f":"Sheet1!C169","v":3.4760000000000009},{"$f":"B12*25.4","v":88.29040000000002},null,null,7,{"$f":"Sheet1!C35","v":4.2809061662198395},{"$f":"G12*25.4","v":108.73501662198392}]
[4,{"$f":"Sheet1!D169","v":3.4800000000000004},{"$f":"B13*25.4","v":88.39200000000001},null,null,8,{"$f":"Sheet1!D35","v":4.2829061662198384},{"$f":"G13*25.4","v":108.78581662198388}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4950938337801603},{"$f":"Sheet1!C118","v":1.0000000000012221E-3},{"$f":"B20*25.4","v":-139.57538337801606},{"$f":"C20*25.4","v":2.540000000003104E-2},null,{"$f":"H10-D21","v":156.9212},{"$f":"C10-E20","v":88.366599999999977}]
["X1",{"$f":"Sheet1!A78","v":-1.9000938337801614},{"$f":"Sheet1!D118","v":-3.6029999999999998},{"$f":"B21*25.4","v":-48.262383378016096},{"$f":"C21*25.4","v":-91.516199999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.4970938337801627},null,{"$f":"B22*25.4","v":-139.62618337801612}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4920938337801601},{"$f":"Sheet1!A128","v":2.0000000000006679E-3},{"$f":"B26*25.4","v":-139.49918337801606},{"$f":"C26*25.4","v":5.0800000000016964E-2},null,{"$f":"H13-D27","v":156.89579999999998},{"$f":"C13-E26","v":88.341199999999986}]
["X1",{"$f":"Sheet1!A87","v":-1.8940938337801612},{"$f":"Sheet1!B128","v":-3.5999999999999996},{"$f":"B27*25.4","v":-48.109983378016089},{"$f":"C27*25.4","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4940938337801626},"\\",{"$f":"B28*25.4","v":-139.54998337801612}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4809999999999999},{"$f":"B36*25.4","v":-139.2174},null,"US  +",{"$f":"Sheet1!A197","v":1.713000000000001},{"$f":"F36*25.4","v":43.510200000000019}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7140000000000004},{"$f":"F37*25.4","v":43.535600000000009}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.718},{"$f":"F38*25.4","v":43.6372}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7190000000000012},{"$f":"F39*25.4","v":43.662600000000026}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4039999999999999},{"$f":"B42*25.4","v":-111.8616}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-07-16"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.5000938337801628},{"$f":"Sheet1!A169","v":3.4800000000000004},{"$f":"SUM(B10*25.4)","v":-139.70238337801612},{"$f":"SUM(C10*25.4)","v":88.39200000000001}]
[2,{"$f":"Sheet1!B28","v":-5.499093833780158},{"$f":"Sheet1!B169","v":3.4760000000000009},{"$f":"SUM(B11*25.4)","v":-139.67698337801602},{"$f":"SUM(C11*25.4)","v":88.29040000000002},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4960938337801579},{"$f":"Sheet1!C169","v":3.4760000000000009},-139.60078337801599,88.29040000000002,null,{"$f":"Sheet1!C141","v":-5.4809999999999999},{"$f":"SUM(G12*25.4)","v":-139.2174}]
[4,{"$f":"Sheet1!D28","v":-5.4960938337801579},{"$f":"Sheet1!D169","v":3.4800000000000004},-139.60078337801599,88.39200000000001]
[5,{"$f":"Sheet1!A35","v":4.2779061662198394},{"$f":"Sheet1!A177","v":-3.6079999999999988},108.65881662198392,-91.643199999999965]
[6,{"$f":"Sheet1!B35","v":4.2809061662198395},{"$f":"Sheet1!B177","v":-3.6069999999999993},108.73501662198392,-91.617799999999974,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2809061662198395},{"$f":"Sheet1!C177","v":-3.6049999999999986},108.73501662198392,-91.566999999999965]
[8,{"$f":"Sheet1!D35","v":4.2829061662198384},{"$f":"Sheet1!D177","v":-3.6039999999999992},108.78581662198388,-91.541599999999974,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4039999999999999},{"$f":"SUM(G18*25.4)","v":-111.8616}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.9000938337801614},{"$f":"Sheet1!C118","v":1.0000000000012221E-3},{"$f":"SUM(B23*25.4)","v":-48.262383378016096},{"$f":"SUM(C23*25.4)","v":2.540000000003104E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.9000938337801614},{"$f":"Sheet1!D118","v":-3.6029999999999998},{"$f":"SUM(B24*25.4)","v":-48.262383378016096},{"$f":"SUM(C24*25.4)","v":-91.516199999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4970938337801627},null,{"$f":"SUM(B25*25.4)","v":-139.62618337801612},null,null,"US  +",{"$f":"Sheet1!A197","v":1.713000000000001},{"$f":"SUM(H25*25.4)","v":43.510200000000019}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7140000000000004},{"$f":"SUM(H26*25.4)","v":43.535600000000009}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.718},{"$f":"SUM(H27*25.4)","v":43.6372}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7190000000000012},{"$f":"SUM(H28*25.4)","v":43.662600000000026}]
["Y1",{"$f":"Sheet1!B87","v":-5.4920938337801601},{"$f":"Sheet1!A128","v":2.0000000000006679E-3},{"$f":"SUM(B29*25.4)","v":-139.49918337801606},{"$f":"SUM(C29*25.4)","v":5.0800000000016964E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8940938337801612},{"$f":"Sheet1!B128","v":-3.5999999999999996},{"$f":"SUM(B30*25.4)","v":-48.109983378016089},{"$f":"SUM(C30*25.4)","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4940938337801626},null,{"$f":"SUM(B31*25.4)","v":-139.54998337801612}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6000938337801607},{"$f":"Sheet1!A118","v":-9.9999999999944578E-4},{"$f":"SUM(B37*25.4)","v":-91.442383378016075},{"$f":"SUM(C37*25.4)","v":-2.539999999998592E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6069999999999993},0,{"$f":"SUM(C38*25.4)","v":-91.617799999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6030938337801608},null,{"$f":"SUM(B39*25.4)","v":-91.518583378016075}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6050938337801597},{"$f":"Sheet1!C128","v":1.0000000000012221E-3},{"$f":"SUM(B43*25.4)","v":-91.569383378016056},{"$f":"SUM(C43*25.4)","v":2.540000000003104E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5999999999999996},0,{"$f":"SUM(C44*25.4)","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C96","v":-3.6010938337801619},null,{"$f":"SUM(B45*25.4)","v":-91.467783378016108}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0360938337801642},{"$f":"Sheet1!A188","v":-0.24299999999999855},{"$f":"SUM(B49*25.4)","v":-178.71678337801615},{"$f":"SUM(C49*25.4)","v":-6.1721999999999628}]
["B",{"$f":"Sheet1!B45","v":-2.5140938337801622},null,{"$f":"SUM(B50*25.4)","v":-63.857983378016115}]
["C",{"$f":"Sheet1!C45","v":-0.75409383378016059},{"$f":"Sheet1!C188","v":-2.3879999999999999},{"$f":"SUM(B51*25.4)","v":-19.153983378016079},{"$f":"SUM(C51*25.4)","v":-60.655199999999994}]
["D",{"$f":"Sheet1!D45","v":-0.75409383378016059},{"$f":"Sheet1!D188","v":-5.4699999999999989},{"$f":"SUM(B52*25.4)","v":-19.153983378016079},{"$f":"SUM(C52*25.4)","v":-138.93799999999996}]