{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 20"]
["Date:","2010-02-16"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27.998999999999999]
["1st. Near",27.998000000000001]
["2nd. Far",28.003]
["2nd Near",28]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.997000000000007}]
["Near Should Read",27.997000000000007]
["LOS",27.997000000000007]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.493000000000002,32.484999999999999,32.487000000000002,32.484000000000002]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.493000000000002},{"$f":"SUM(B24:B25)","v":33.484999999999999},{"$f":"SUM(C24:C25)","v":33.487000000000002},{"$f":"SUM(D24:D25)","v":33.484000000000002}]
[{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007}]
[{"$f":"SUM(A27-A26)","v":-5.4959999999999951},{"$f":"SUM(B27-B26)","v":-5.4879999999999924},{"$f":"SUM(C27-C26)","v":-5.4899999999999949},{"$f":"SUM(D27-D26)","v":-5.4869999999999948}]
[]
["5)","6)","7)","8)"]
[22.707999999999998,22.707000000000001,22.71,22.712]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.707999999999998},{"$f":"SUM(B31:B32)","v":23.707000000000001},{"$f":"SUM(C31:C32)","v":23.71},{"$f":"SUM(D31:D32)","v":23.712}]
[{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007}]
[{"$f":"SUM(A34-A33)","v":4.2890000000000086},{"$f":"SUM(B34-B33)","v":4.2900000000000063},{"$f":"SUM(C34-C33)","v":4.2870000000000061},{"$f":"SUM(D34-D33)","v":4.2850000000000072}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[30.035,29.503,27.742999999999999,27.744]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":31.035},{"$f":"SUM(B41:B42)","v":30.503},{"$f":"SUM(C41:C42)","v":28.742999999999999},{"$f":"SUM(D41:D42)","v":28.744}]
[{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007}]
[{"$f":"SUM(A44-A43)","v":-3.0379999999999932},{"$f":"SUM(B44-B43)","v":-2.5059999999999931},{"$f":"SUM(C44-C43)","v":-0.74599999999999156},{"$f":"SUM(D44-D43)","v":-0.74699999999999278}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.997000000000007},"LOS"]
["Undulator",{"$f":"B5","v":"SN 20"}]
["Date:",{"$f":"B6","v":"2010-02-16"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.599,30.602]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.599},{"$f":"SUM(C64:C65)","v":31.602}]
[null,{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007}]
[0,{"$f":"SUM(B67-B66)","v":-3.6019999999999932},{"$f":"SUM(C67-C66)","v":-3.6049999999999933}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.882999999999999,32.475000000000001,32.479999999999997]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.882999999999999},{"$f":"SUM(B74:B75)","v":33.475000000000001},{"$f":"SUM(C74:C75)","v":33.479999999999997}]
[{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007}]
[{"$f":"SUM(A77-A76)","v":-1.8859999999999921},{"$f":"SUM(B77-B76)","v":-5.4779999999999944},{"$f":"SUM(C77-C76)","v":-5.4829999999999899}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.887,32.484000000000002,32.481999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.887},{"$f":"SUM(B83:B84)","v":33.484000000000002},{"$f":"SUM(C83:C84)","v":33.481999999999999}]
[{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007}]
[{"$f":"SUM(A86-A85)","v":-1.8899999999999935},{"$f":"SUM(B86-B85)","v":-5.4869999999999948},{"$f":"SUM(C86-C85)","v":-5.4849999999999923}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.608000000000001,30.584]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.608000000000001},{"$f":"SUM(C92:C93)","v":31.584}]
[null,{"$f":"B18","v":27.997000000000007},{"$f":"B18","v":27.997000000000007}]
[0,{"$f":"SUM(B95-B94)","v":-3.6109999999999935},{"$f":"SUM(C95-C94)","v":-3.5869999999999926}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.9920000000000009,9.9939999999999998]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 20"},{"$f":"SUM(C104+C105)","v":10.992000000000001},{"$f":"SUM(D104+D105)","v":10.994}]
["Date:",{"$f":"B6","v":"2010-02-16"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.993}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.9920000000000009},13.6,9.9960000000000004,13.596]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.992000000000001},{"$f":"SUM(B114:B115)","v":14.6},{"$f":"SUM(C114:C115)","v":10.996},{"$f":"SUM(D114:D115)","v":14.596}]
[{"$f":"D109","v":10.993},{"$f":"D109","v":10.993},{"$f":"D109","v":10.993},{"$f":"D109","v":10.993}]
[{"$f":"SUM(A117-A116)","v":9.9999999999944578E-4},{"$f":"SUM(B117-B116)","v":-3.6069999999999993},{"$f":"SUM(C117-C116)","v":-3.0000000000001137E-3},{"$f":"SUM(D117-D116)","v":-3.6029999999999998}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.9930000000000003,13.592000000000001,{"$f":"D104","v":9.9939999999999998},13.587]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.993},{"$f":"SUM(B124:B125)","v":14.592000000000001},{"$f":"SUM(C124:C125)","v":10.994},{"$f":"SUM(D124:D125)","v":14.587}]
[{"$f":"D109","v":10.993},{"$f":"D109","v":10.993},{"$f":"D109","v":10.993},{"$f":"D109","v":10.993}]
[{"$f":"SUM(A127-A126)","v":0},{"$f":"SUM(B127-B126)","v":-3.5990000000000002},{"$f":"SUM(C127-C126)","v":-9.9999999999944578E-4},{"$f":"SUM(D127-D126)","v":-3.5939999999999994}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[15.393000000000001,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.993},null,3.5000000000000003E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4000000000000004},null,{"$f":"SUM(C137+C138)","v":-5.4290000000000003}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.468},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 20"}]
["Date:",{"$f":"B6","v":"2010-02-16"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":10.993}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.5140000000000002,6.5179999999999998,6.5170000000000003,6.51]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.5140000000000002},{"$f":"SUM(B165:B166)","v":7.5179999999999998},{"$f":"SUM(C165:C166)","v":7.5170000000000003},{"$f":"SUM(D165:D166)","v":7.51}]
[{"$f":"D109","v":10.993},{"$f":"D109","v":10.993},{"$f":"D109","v":10.993},{"$f":"D109","v":10.993}]
[{"$f":"SUM(A168-A167)","v":3.4790000000000001},{"$f":"SUM(B168-B167)","v":3.4750000000000005},{"$f":"SUM(C168-C167)","v":3.476},{"$f":"SUM(D168-D167)","v":3.4830000000000005}]
[]
[]
["5)","6)","7)","8)"]
[13.59,13.595000000000001,13.59,13.59]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.59},{"$f":"SUM(B173+B174)","v":14.595000000000001},{"$f":"SUM(C173+C174)","v":14.59},{"$f":"SUM(D173+D174)","v":14.59}]
[{"$f":"D109","v":10.993},{"$f":"D109","v":10.993},{"$f":"D109","v":10.993},{"$f":"D109","v":10.993}]
[{"$f":"SUM(A176-A175)","v":-3.5969999999999995},{"$f":"SUM(B176-B175)","v":-3.6020000000000003},{"$f":"SUM(C176-C175)","v":-3.5969999999999995},{"$f":"SUM(D176-D175)","v":-3.5969999999999995}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[10.231999999999999,null,12.378,15.49]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":11.231999999999999},null,{"$f":"SUM(C184+C185)","v":13.378},{"$f":"SUM(D184+D185)","v":16.490000000000002}]
[{"$f":"D109","v":10.993},null,{"$f":"D109","v":10.993},{"$f":"D109","v":10.993}]
[{"$f":"SUM(A187-A186)","v":-0.23899999999999899},0,{"$f":"SUM(C187-C186)","v":-2.3849999999999998},{"$f":"SUM(D187-D186)","v":-5.4970000000000017}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[9.2759999999999998,9.2759999999999998,9.2750000000000004,9.2750000000000004]
[{"$f":"D109","v":10.993},{"$f":"D109","v":10.993},{"$f":"D109","v":10.993},{"$f":"D109","v":10.993}]
[{"$f":"SUM(A196-A195)","v":1.7170000000000005},{"$f":"SUM(B196-B195)","v":1.7170000000000005},{"$f":"SUM(C196-C195)","v":1.718},{"$f":"SUM(D196-D195)","v":1.718}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 20"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-02-16"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4790000000000001},{"$f":"B10*25.4","v":88.366599999999991},null,null,5,{"$f":"Sheet1!A35","v":4.2890000000000086},{"$f":"G10*25.4","v":108.94060000000022}]
[2,{"$f":"Sheet1!B169","v":3.4750000000000005},{"$f":"B11*25.4","v":88.265000000000015},null,null,6,{"$f":"Sheet1!B35","v":4.2900000000000063},{"$f":"G11*25.4","v":108.96600000000015}]
[3,{"$f":"Sheet1!C169","v":3.476},{"$f":"B12*25.4","v":88.290399999999991},null,null,7,{"$f":"Sheet1!C35","v":4.2870000000000061},{"$f":"G12*25.4","v":108.88980000000015}]
[4,{"$f":"Sheet1!D169","v":3.4830000000000005},{"$f":"B13*25.4","v":88.46820000000001},null,null,8,{"$f":"Sheet1!D35","v":4.2850000000000072},{"$f":"G13*25.4","v":108.83900000000018}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4829999999999899},{"$f":"Sheet1!C118","v":-3.0000000000001137E-3},{"$f":"B20*25.4","v":-139.26819999999972},{"$f":"C20*25.4","v":-7.6200000000002877E-2},null,{"$f":"H10-D21","v":156.84500000000003},{"$f":"C10-E20","v":88.442799999999991}]
["X1",{"$f":"Sheet1!A78","v":-1.8859999999999921},{"$f":"Sheet1!D118","v":-3.6029999999999998},{"$f":"B21*25.4","v":-47.904399999999796},{"$f":"C21*25.4","v":-91.516199999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.4779999999999944},null,{"$f":"B22*25.4","v":-139.14119999999986}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4869999999999948},{"$f":"Sheet1!A128","v":0},{"$f":"B26*25.4","v":-139.36979999999986},{"$f":"C26*25.4","v":0},null,{"$f":"H13-D27","v":156.84500000000003},{"$f":"C13-E26","v":88.46820000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8899999999999935},{"$f":"Sheet1!B128","v":-3.5990000000000002},{"$f":"B27*25.4","v":-48.00599999999983},{"$f":"C27*25.4","v":-91.414599999999993}]
["Y2",{"$f":"Sheet1!C87","v":-5.4849999999999923},"\\",{"$f":"B28*25.4","v":-139.31899999999979}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.468},{"$f":"B36*25.4","v":-138.88719999999998},null,"US  +",{"$f":"Sheet1!A197","v":1.7170000000000005},{"$f":"F36*25.4","v":43.611800000000009}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7170000000000005},{"$f":"F37*25.4","v":43.611800000000009}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.718},{"$f":"F38*25.4","v":43.6372}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.718},{"$f":"F39*25.4","v":43.6372}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4000000000000004},{"$f":"B42*25.4","v":-111.76}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 20"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-02-16"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4959999999999951},{"$f":"Sheet1!A169","v":3.4790000000000001},{"$f":"SUM(B10*25.4)","v":-139.59839999999986},{"$f":"SUM(D10*25.4)","v":-3545.7993599999963}]
[2,{"$f":"Sheet1!B28","v":-5.4879999999999924},{"$f":"Sheet1!B169","v":3.4750000000000005},{"$f":"SUM(B11*25.4)","v":-139.39519999999979},{"$f":"SUM(D11*25.4)","v":-3540.6380799999943},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4899999999999949},{"$f":"Sheet1!C169","v":3.476},-139.44599999999986,-3541.9283999999961,null,{"$f":"Sheet1!C141","v":-5.468},{"$f":"SUM(G12*25.4)","v":-138.88719999999998}]
[4,{"$f":"Sheet1!D28","v":-5.4869999999999948},{"$f":"Sheet1!D169","v":3.4830000000000005},-139.36979999999986,-3539.992919999996]
[5,{"$f":"Sheet1!A35","v":4.2890000000000086},{"$f":"Sheet1!A177","v":-3.5969999999999995},108.94060000000022,2767.0912400000052]
[6,{"$f":"Sheet1!B35","v":4.2900000000000063},{"$f":"Sheet1!B177","v":-3.6020000000000003},108.96600000000015,2767.7364000000039,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2870000000000061},{"$f":"Sheet1!C177","v":-3.5969999999999995},108.88980000000015,2765.8009200000038]
[8,{"$f":"Sheet1!D35","v":4.2850000000000072},{"$f":"Sheet1!D177","v":-3.5969999999999995},108.83900000000018,2764.5106000000046,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4000000000000004},{"$f":"SUM(G18*25.4)","v":-111.76}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8859999999999921},{"$f":"Sheet1!C118","v":-3.0000000000001137E-3},{"$f":"SUM(B23*25.4)","v":-47.904399999999796},{"$f":"SUM(C23*25.4)","v":-7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8859999999999921},{"$f":"Sheet1!D118","v":-3.6029999999999998},{"$f":"SUM(B24*25.4)","v":-47.904399999999796},{"$f":"SUM(C24*25.4)","v":-91.516199999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4779999999999944},null,{"$f":"SUM(B25*25.4)","v":-139.14119999999986},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7170000000000005},{"$f":"SUM(H25*25.4)","v":43.611800000000009}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7170000000000005},{"$f":"SUM(H26*25.4)","v":43.611800000000009}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.718},{"$f":"SUM(H27*25.4)","v":43.6372}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.718},{"$f":"SUM(H28*25.4)","v":43.6372}]
["Y1",{"$f":"Sheet1!B87","v":-5.4869999999999948},{"$f":"Sheet1!A128","v":0},{"$f":"SUM(B29*25.4)","v":-139.36979999999986},{"$f":"SUM(C29*25.4)","v":0}]
["X1",{"$f":"Sheet1!A87","v":-1.8899999999999935},{"$f":"Sheet1!B128","v":-3.5990000000000002},{"$f":"SUM(B30*25.4)","v":-48.00599999999983},{"$f":"SUM(C30*25.4)","v":-91.414599999999993}]
["Y2",{"$f":"Sheet1!C87","v":-5.4849999999999923},null,{"$f":"SUM(B31*25.4)","v":-139.31899999999979}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6019999999999932},{"$f":"Sheet1!A118","v":9.9999999999944578E-4},{"$f":"SUM(B37*25.4)","v":-91.490799999999822},{"$f":"SUM(C37*25.4)","v":2.539999999998592E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6069999999999993},0,{"$f":"SUM(C38*25.4)","v":-91.617799999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6049999999999933},null,{"$f":"SUM(B39*25.4)","v":-91.566999999999823}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6109999999999935},{"$f":"Sheet1!C128","v":-9.9999999999944578E-4},{"$f":"SUM(B43*25.4)","v":-91.719399999999837},{"$f":"SUM(C43*25.4)","v":-2.539999999998592E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5939999999999994},0,{"$f":"SUM(C44*25.4)","v":-91.287599999999983}]
["Y2",{"$f":"Sheet1!C96","v":-3.5869999999999926},null,{"$f":"SUM(B45*25.4)","v":-91.109799999999808}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-3.0379999999999932},{"$f":"Sheet1!A188","v":-0.23899999999999899},{"$f":"SUM(B49*25.4)","v":-77.165199999999828},{"$f":"SUM(C49*25.4)","v":-6.070599999999974}]
["B",{"$f":"Sheet1!B45","v":-2.5059999999999931},null,{"$f":"SUM(B50*25.4)","v":-63.652399999999822}]
["C",{"$f":"Sheet1!C45","v":-0.74599999999999156},{"$f":"Sheet1!C188","v":-2.3849999999999998},{"$f":"SUM(B51*25.4)","v":-18.948399999999786},{"$f":"SUM(C51*25.4)","v":-60.578999999999994}]
["D",{"$f":"Sheet1!D45","v":-0.74699999999999278},{"$f":"Sheet1!D188","v":-5.4970000000000017},{"$f":"SUM(B52*25.4)","v":-18.973799999999816},{"$f":"SUM(C52*25.4)","v":-139.62380000000005}]