{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 21"]
["Date:","2014-07-03"]
["Crew:","HI, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28.247]
["1st. Near",28.254000000000001]
["2nd. Far",28.5]
["2nd Near",28.318000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.256370370370373}]
["Near Should Read",28.256370370370373]
["LOS",28.256370370370373]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.738999999999997,32.738999999999997,32.738,32.737000000000002]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.738999999999997},{"$f":"SUM(B24:B25)","v":33.738999999999997},{"$f":"SUM(C24:C25)","v":33.738},{"$f":"SUM(D24:D25)","v":33.737000000000002}]
[{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373}]
[{"$f":"SUM(A27-A26)","v":-5.4826296296296242},{"$f":"SUM(B27-B26)","v":-5.4826296296296242},{"$f":"SUM(C27-C26)","v":-5.4816296296296265},{"$f":"SUM(D27-D26)","v":-5.4806296296296289}]
[]
["5)","6)","7)","8)"]
[22.969000000000001,22.969000000000001,22.969000000000001,22.969000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.969000000000001},{"$f":"SUM(B31:B32)","v":23.969000000000001},{"$f":"SUM(C31:C32)","v":23.969000000000001},{"$f":"SUM(D31:D32)","v":23.969000000000001}]
[{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373}]
[{"$f":"SUM(A34-A33)","v":4.2873703703703718},{"$f":"SUM(B34-B33)","v":4.2873703703703718},{"$f":"SUM(C34-C33)","v":4.2873703703703718},{"$f":"SUM(D34-D33)","v":4.2873703703703718}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.299999999999997,29.766999999999999,28.007000000000001,28.007000000000001]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.299999999999997},{"$f":"SUM(B41:B42)","v":30.766999999999999},{"$f":"SUM(C41:C42)","v":29.007000000000001},{"$f":"SUM(D41:D42)","v":29.007000000000001}]
[{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373}]
[{"$f":"SUM(A44-A43)","v":-7.0436296296296241},{"$f":"SUM(B44-B43)","v":-2.5106296296296264},{"$f":"SUM(C44-C43)","v":-0.75062962962962843},{"$f":"SUM(D44-D43)","v":-0.75062962962962843}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.256370370370373},"LOS"]
["Undulator",{"$f":"B5","v":"SN 21"}]
["Date:",{"$f":"B6","v":"2014-07-03"}]
["Crew:",{"$f":"B7","v":"HI, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.855,30.856999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.855},{"$f":"SUM(C64:C65)","v":31.856999999999999}]
[null,{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373}]
[0,{"$f":"SUM(B67-B66)","v":-3.5986296296296274},{"$f":"SUM(C67-C66)","v":-3.6006296296296263}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.149000000000001,32.743000000000002,32.741999999999997]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.149000000000001},{"$f":"SUM(B74:B75)","v":33.743000000000002},{"$f":"SUM(C74:C75)","v":33.741999999999997}]
[{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373}]
[{"$f":"SUM(A77-A76)","v":-1.8926296296296279},{"$f":"SUM(B77-B76)","v":-5.4866296296296291},{"$f":"SUM(C77-C76)","v":-5.4856296296296243}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.143000000000001,32.738,32.741999999999997]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.143000000000001},{"$f":"SUM(B83:B84)","v":33.738},{"$f":"SUM(C83:C84)","v":33.741999999999997}]
[{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373}]
[{"$f":"SUM(A86-A85)","v":-1.8866296296296277},{"$f":"SUM(B86-B85)","v":-5.4816296296296265},{"$f":"SUM(C86-C85)","v":-5.4856296296296243}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.855,30.856000000000002]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.855},{"$f":"SUM(C92:C93)","v":31.856000000000002}]
[null,{"$f":"B18","v":28.256370370370373},{"$f":"B18","v":28.256370370370373}]
[0,{"$f":"SUM(B95-B94)","v":-3.5986296296296274},{"$f":"SUM(C95-C94)","v":-3.5996296296296286}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.4870000000000001,9.4909999999999997]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 21"},{"$f":"SUM(C104+C105)","v":10.487},{"$f":"SUM(D104+D105)","v":10.491}]
["Date:",{"$f":"B6","v":"2014-07-03"}]
["Crew:",{"$f":"B7","v":"HI, BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.489000000000001}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1)"]
[{"$f":"C104","v":9.4870000000000001},13.097,9.49,13.093999999999999]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.487},{"$f":"SUM(B114:B115)","v":14.097},{"$f":"SUM(C114:C115)","v":10.49},{"$f":"SUM(D114:D115)","v":14.093999999999999}]
[{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A117-A116)","v":2.0000000000006679E-3},{"$f":"SUM(B117-B116)","v":-3.6079999999999988},{"$f":"SUM(C117-C116)","v":-9.9999999999944578E-4},{"$f":"SUM(D117-D116)","v":-3.6049999999999986}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.4860000000000007,13.087999999999999,{"$f":"D104","v":9.4909999999999997},13.087999999999999]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.486000000000001},{"$f":"SUM(B124:B125)","v":14.087999999999999},{"$f":"SUM(C124:C125)","v":10.491},{"$f":"SUM(D124:D125)","v":14.087999999999999}]
[{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A127-A126)","v":3.0000000000001137E-3},{"$f":"SUM(B127-B126)","v":-3.5989999999999984},{"$f":"SUM(C127-C126)","v":-1.9999999999988916E-3},{"$f":"SUM(D127-D126)","v":-3.5989999999999984}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.891999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.489000000000001},null,4.2000000000000003E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4029999999999987},null,{"$f":"SUM(C137+C138)","v":-5.4220000000000006}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4610000000000003},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 21"}]
["Date:","2014-07-03"]
["Crew:",{"$f":"B7","v":"HI, BR"}]
[]
[]
["HI =",{"$f":"D109","v":10.489000000000001}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.0119999999999996,6.0090000000000003,6.0119999999999996,6.0090000000000003]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.0119999999999996},{"$f":"SUM(B165:B166)","v":7.0090000000000003},{"$f":"SUM(C165:C166)","v":7.0119999999999996},{"$f":"SUM(D165:D166)","v":7.0090000000000003}]
[{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A168-A167)","v":3.4770000000000012},{"$f":"SUM(B168-B167)","v":3.4800000000000004},{"$f":"SUM(C168-C167)","v":3.4770000000000012},{"$f":"SUM(D168-D167)","v":3.4800000000000004}]
[]
[]
["5)","6)","7)","8)"]
[13.101000000000001,13.1,13.098000000000001,13.099]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.101000000000001},{"$f":"SUM(B173+B174)","v":14.1},{"$f":"SUM(C173+C174)","v":14.098000000000001},{"$f":"SUM(D173+D174)","v":14.099}]
[{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A176-A175)","v":-3.6120000000000001},{"$f":"SUM(B176-B175)","v":-3.6109999999999989},{"$f":"SUM(C176-C175)","v":-3.609},{"$f":"SUM(D176-D175)","v":-3.6099999999999994}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.7330000000000005,null,11.875999999999999,14.956]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.733000000000001},null,{"$f":"SUM(C184+C185)","v":12.875999999999999},{"$f":"SUM(D184+D185)","v":15.956}]
[{"$f":"D109","v":10.489000000000001},null,{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A187-A186)","v":-0.24399999999999977},0,{"$f":"SUM(C187-C186)","v":-2.3869999999999987},{"$f":"SUM(D187-D186)","v":-5.4669999999999987}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.7750000000000004,8.7739999999999991,8.7710000000000008,8.77]
[{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001},{"$f":"D109","v":10.489000000000001}]
[{"$f":"SUM(A196-A195)","v":1.7140000000000004},{"$f":"SUM(B196-B195)","v":1.7150000000000016},{"$f":"SUM(C196-C195)","v":1.718},{"$f":"SUM(D196-D195)","v":1.7190000000000012}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 21"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-07-03"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"HI, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4770000000000012},{"$f":"B10*25.4","v":88.315800000000024},null,null,5,{"$f":"Sheet1!A35","v":4.2873703703703718},{"$f":"G10*25.4","v":108.89920740740745}]
[2,{"$f":"Sheet1!B169","v":3.4800000000000004},{"$f":"B11*25.4","v":88.39200000000001},null,null,6,{"$f":"Sheet1!B35","v":4.2873703703703718},{"$f":"G11*25.4","v":108.89920740740745}]
[3,{"$f":"Sheet1!C169","v":3.4770000000000012},{"$f":"B12*25.4","v":88.315800000000024},null,null,7,{"$f":"Sheet1!C35","v":4.2873703703703718},{"$f":"G12*25.4","v":108.89920740740745}]
[4,{"$f":"Sheet1!D169","v":3.4800000000000004},{"$f":"B13*25.4","v":88.39200000000001},null,null,8,{"$f":"Sheet1!D35","v":4.2873703703703718},{"$f":"G13*25.4","v":108.89920740740745}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4856296296296243},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"B20*25.4","v":-139.33499259259244},{"$f":"C20*25.4","v":-2.539999999998592E-2},null,{"$f":"H10-D21","v":156.97199999999998},{"$f":"C10-E20","v":88.341200000000015}]
["X1",{"$f":"Sheet1!A78","v":-1.8926296296296279},{"$f":"Sheet1!D118","v":-3.6049999999999986},{"$f":"B21*25.4","v":-48.072792592592549},{"$f":"C21*25.4","v":-91.566999999999965}]
["Y1",{"$f":"Sheet1!B78","v":-5.4866296296296291},null,{"$f":"B22*25.4","v":-139.36039259259258}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4816296296296265},{"$f":"Sheet1!A128","v":3.0000000000001137E-3},{"$f":"B26*25.4","v":-139.23339259259251},{"$f":"C26*25.4","v":7.6200000000002877E-2},null,{"$f":"H13-D27","v":156.81959999999998},{"$f":"C13-E26","v":88.31580000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8866296296296277},{"$f":"Sheet1!B128","v":-3.5989999999999984},{"$f":"B27*25.4","v":-47.920392592592542},{"$f":"C27*25.4","v":-91.41459999999995}]
["Y2",{"$f":"Sheet1!C87","v":-5.4856296296296243},"\\",{"$f":"B28*25.4","v":-139.33499259259244}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4610000000000003},{"$f":"B36*25.4","v":-138.70939999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7140000000000004},{"$f":"F36*25.4","v":43.535600000000009}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7150000000000016},{"$f":"F37*25.4","v":43.561000000000043}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.718},{"$f":"F38*25.4","v":43.6372}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7190000000000012},{"$f":"F39*25.4","v":43.662600000000026}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4029999999999987},{"$f":"B42*25.4","v":-111.83619999999996}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-07-03"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4826296296296242},{"$f":"Sheet1!A169","v":3.4770000000000012},{"$f":"SUM(B10*25.4)","v":-139.25879259259244},{"$f":"SUM(C10*25.4)","v":88.315800000000024}]
[2,{"$f":"Sheet1!B28","v":-5.4826296296296242},{"$f":"Sheet1!B169","v":3.4800000000000004},{"$f":"SUM(B11*25.4)","v":-139.25879259259244},{"$f":"SUM(C11*25.4)","v":88.39200000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4816296296296265},{"$f":"Sheet1!C169","v":3.4770000000000012},-139.23339259259251,88.315800000000024,null,{"$f":"Sheet1!C141","v":-5.4610000000000003},{"$f":"SUM(G12*25.4)","v":-138.70939999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4806296296296289},{"$f":"Sheet1!D169","v":3.4800000000000004},-139.20799259259257,88.39200000000001]
[5,{"$f":"Sheet1!A35","v":4.2873703703703718},{"$f":"Sheet1!A177","v":-3.6120000000000001},108.89920740740745,-91.744799999999998]
[6,{"$f":"Sheet1!B35","v":4.2873703703703718},{"$f":"Sheet1!B177","v":-3.6109999999999989},108.89920740740745,-91.719399999999965,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2873703703703718},{"$f":"Sheet1!C177","v":-3.609},108.89920740740745,-91.668599999999998]
[8,{"$f":"Sheet1!D35","v":4.2873703703703718},{"$f":"Sheet1!D177","v":-3.6099999999999994},108.89920740740745,-91.693999999999974,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4029999999999987},{"$f":"SUM(G18*25.4)","v":-111.83619999999996}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8926296296296279},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"SUM(B23*25.4)","v":-48.072792592592549},{"$f":"SUM(C23*25.4)","v":-2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8926296296296279},{"$f":"Sheet1!D118","v":-3.6049999999999986},{"$f":"SUM(B24*25.4)","v":-48.072792592592549},{"$f":"SUM(C24*25.4)","v":-91.566999999999965},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4866296296296291},null,{"$f":"SUM(B25*25.4)","v":-139.36039259259258},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7140000000000004},{"$f":"SUM(H25*25.4)","v":43.535600000000009}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7150000000000016},{"$f":"SUM(H26*25.4)","v":43.561000000000043}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.718},{"$f":"SUM(H27*25.4)","v":43.6372}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7190000000000012},{"$f":"SUM(H28*25.4)","v":43.662600000000026}]
["Y1",{"$f":"Sheet1!B87","v":-5.4816296296296265},{"$f":"Sheet1!A128","v":3.0000000000001137E-3},{"$f":"SUM(B29*25.4)","v":-139.23339259259251},{"$f":"SUM(C29*25.4)","v":7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8866296296296277},{"$f":"Sheet1!B128","v":-3.5989999999999984},{"$f":"SUM(B30*25.4)","v":-47.920392592592542},{"$f":"SUM(C30*25.4)","v":-91.41459999999995}]
["Y2",{"$f":"Sheet1!C87","v":-5.4856296296296243},null,{"$f":"SUM(B31*25.4)","v":-139.33499259259244}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5986296296296274},{"$f":"Sheet1!A118","v":2.0000000000006679E-3},{"$f":"SUM(B37*25.4)","v":-91.405192592592527},{"$f":"SUM(C37*25.4)","v":5.0800000000016964E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6079999999999988},0,{"$f":"SUM(C38*25.4)","v":-91.643199999999965}]
["Y2",{"$f":"Sheet1!C68","v":-3.6006296296296263},null,{"$f":"SUM(B39*25.4)","v":-91.455992592592509}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5986296296296274},{"$f":"Sheet1!C128","v":-1.9999999999988916E-3},{"$f":"SUM(B43*25.4)","v":-91.405192592592527},{"$f":"SUM(C43*25.4)","v":-5.079999999997184E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5989999999999984},0,{"$f":"SUM(C44*25.4)","v":-91.41459999999995}]
["Y2",{"$f":"Sheet1!C96","v":-3.5996296296296286},null,{"$f":"SUM(B45*25.4)","v":-91.430592592592561}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0436296296296241},{"$f":"Sheet1!A188","v":-0.24399999999999977},{"$f":"SUM(B49*25.4)","v":-178.90819259259246},{"$f":"SUM(C49*25.4)","v":-6.1975999999999942}]
["B",{"$f":"Sheet1!B45","v":-2.5106296296296264},null,{"$f":"SUM(B50*25.4)","v":-63.769992592592509}]
["C",{"$f":"Sheet1!C45","v":-0.75062962962962843},{"$f":"Sheet1!C188","v":-2.3869999999999987},{"$f":"SUM(B51*25.4)","v":-19.065992592592561},{"$f":"SUM(C51*25.4)","v":-60.62979999999996}]
["D",{"$f":"Sheet1!D45","v":-0.75062962962962843},{"$f":"Sheet1!D188","v":-5.4669999999999987},{"$f":"SUM(B52*25.4)","v":-19.065992592592561},{"$f":"SUM(C52*25.4)","v":-138.86179999999996}]