{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 23"]
["Date:","2013-02-04"]
["Crew:","MJR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",27.276]
["2nd. Far",27.7]
["2nd Near",27.457000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.372254335260116}]
["Near Should Read",27.372254335260116]
["LOS",27.372254335260116]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.847999999999999,31.850999999999999,31.85,31.850999999999999]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.847999999999999},{"$f":"SUM(B24:B25)","v":32.850999999999999},{"$f":"SUM(C24:C25)","v":32.85},{"$f":"SUM(D24:D25)","v":32.850999999999999}]
[{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116}]
[{"$f":"SUM(A27-A26)","v":-5.4757456647398826},{"$f":"SUM(B27-B26)","v":-5.4787456647398827},{"$f":"SUM(C27-C26)","v":-5.477745664739885},{"$f":"SUM(D27-D26)","v":-5.4787456647398827}]
[]
["5)","6)","7)","8)"]
[22.071999999999999,22.073,22.074999999999999,22.073]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.071999999999999},{"$f":"SUM(B31:B32)","v":23.073},{"$f":"SUM(C31:C32)","v":23.074999999999999},{"$f":"SUM(D31:D32)","v":23.073}]
[{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116}]
[{"$f":"SUM(A34-A33)","v":4.3002543352601172},{"$f":"SUM(B34-B33)","v":4.299254335260116},{"$f":"SUM(C34-C33)","v":4.2972543352601171},{"$f":"SUM(D34-D33)","v":4.299254335260116}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.405999999999999,23.873000000000001,27.116,27.116]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.405999999999999},{"$f":"SUM(B41:B42)","v":24.873000000000001},{"$f":"SUM(C41:C42)","v":28.116},{"$f":"SUM(D41:D42)","v":28.116}]
[{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116}]
[{"$f":"SUM(A44-A43)","v":-7.0337456647398824},{"$f":"SUM(B44-B43)","v":2.4992543352601153},{"$f":"SUM(C44-C43)","v":-0.74374566473988324},{"$f":"SUM(D44-D43)","v":-0.74374566473988324}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.372254335260116},"LOS"]
["Undulator",{"$f":"B5","v":"SN 23"}]
["Date:",{"$f":"B6","v":"2013-02-04"}]
["Crew:",{"$f":"B7","v":"MJR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.97,29.975000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.97},{"$f":"SUM(C64:C65)","v":30.975000000000001}]
[null,{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116}]
[0,{"$f":"SUM(B67-B66)","v":-3.5977456647398824},{"$f":"SUM(C67-C66)","v":-3.602745664739885}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.248999999999999,31.841999999999999,31.847000000000001]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.248999999999999},{"$f":"SUM(B74:B75)","v":32.841999999999999},{"$f":"SUM(C74:C75)","v":32.847000000000001}]
[{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116}]
[{"$f":"SUM(A77-A76)","v":-1.8767456647398824},{"$f":"SUM(B77-B76)","v":-5.4697456647398823},{"$f":"SUM(C77-C76)","v":-5.4747456647398849}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.254000000000001,31.847999999999999,31.85]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.254000000000001},{"$f":"SUM(B83:B84)","v":32.847999999999999},{"$f":"SUM(C83:C84)","v":32.85}]
[{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116}]
[{"$f":"SUM(A86-A85)","v":-1.8817456647398849},{"$f":"SUM(B86-B85)","v":-5.4757456647398826},{"$f":"SUM(C86-C85)","v":-5.477745664739885}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.97,29.966000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.97},{"$f":"SUM(C92:C93)","v":30.966000000000001}]
[null,{"$f":"B18","v":27.372254335260116},{"$f":"B18","v":27.372254335260116}]
[0,{"$f":"SUM(B95-B94)","v":-3.5977456647398824},{"$f":"SUM(C95-C94)","v":-3.5937456647398847}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.9540000000000006,8.9440000000000008]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 23"},{"$f":"SUM(C104+C105)","v":9.9540000000000006},{"$f":"SUM(D104+D105)","v":9.9440000000000008}]
["Date:",{"$f":"B6","v":"2013-02-04"}]
["Crew:",{"$f":"B7","v":"MJR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.9490000000000016}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.9540000000000006},12.56,8.9550000000000001,12.555]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.9540000000000006},{"$f":"SUM(B114:B115)","v":13.56},{"$f":"SUM(C114:C115)","v":9.9550000000000001},{"$f":"SUM(D114:D115)","v":13.555}]
[{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016}]
[{"$f":"SUM(A117-A116)","v":-4.9999999999990052E-3},{"$f":"SUM(B117-B116)","v":-3.6109999999999989},{"$f":"SUM(C117-C116)","v":-5.999999999998451E-3},3.5999999999999997E-2]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.9499999999999993,12.55,{"$f":"D104","v":8.9440000000000008},12.545]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.9499999999999993},{"$f":"SUM(B124:B125)","v":13.55},{"$f":"SUM(C124:C125)","v":9.9440000000000008},{"$f":"SUM(D124:D125)","v":13.545}]
[{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016}]
[{"$f":"SUM(A127-A126)","v":-9.9999999999766942E-4},{"$f":"SUM(B127-B126)","v":-3.6009999999999991},{"$f":"SUM(C127-C126)","v":5.0000000000007816E-3},{"$f":"SUM(D127-D126)","v":-3.5959999999999983}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.353999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.9490000000000016},null,3.5999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4049999999999976},null,{"$f":"SUM(C137+C138)","v":-5.4280000000000008}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4670000000000005},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 23"}]
["Date:",{"$f":"B6","v":"2013-02-04"}]
["Crew:",{"$f":"B7","v":"MJR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.9490000000000016}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.4729999999999999,5.47,5.4710000000000001,5.468]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.4729999999999999},{"$f":"SUM(B165:B166)","v":6.47},{"$f":"SUM(C165:C166)","v":6.4710000000000001},{"$f":"SUM(D165:D166)","v":6.468}]
[{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016}]
[{"$f":"SUM(A168-A167)","v":3.4760000000000018},{"$f":"SUM(B168-B167)","v":3.4790000000000019},{"$f":"SUM(C168-C167)","v":3.4780000000000015},{"$f":"SUM(D168-D167)","v":3.4810000000000016}]
[]
[]
["5)","6)","7)","8)"]
[12.553000000000001,12.548,12.552,12.551]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.553000000000001},{"$f":"SUM(B173+B174)","v":13.548},{"$f":"SUM(C173+C174)","v":13.552},{"$f":"SUM(D173+D174)","v":13.551}]
[{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016}]
[{"$f":"SUM(A176-A175)","v":-3.6039999999999992},{"$f":"SUM(B176-B175)","v":-3.5989999999999984},{"$f":"SUM(C176-C175)","v":-3.602999999999998},{"$f":"SUM(D176-D175)","v":-3.6019999999999985}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.1969999999999992,null,11.339,14.420999999999999]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.196999999999999},null,{"$f":"SUM(C184+C185)","v":12.339},{"$f":"SUM(D184+D185)","v":15.420999999999999}]
[{"$f":"D109","v":9.9490000000000016},null,{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016}]
[{"$f":"SUM(A187-A186)","v":-0.24799999999999756},0,{"$f":"SUM(C187-C186)","v":-2.3899999999999988},{"$f":"SUM(D187-D186)","v":-5.4719999999999978}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.234,8.2360000000000007,8.2319999999999993,8.234]
[{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016},{"$f":"D109","v":9.9490000000000016}]
[{"$f":"SUM(A196-A195)","v":1.7150000000000016},{"$f":"SUM(B196-B195)","v":1.713000000000001},{"$f":"SUM(C196-C195)","v":1.7170000000000023},{"$f":"SUM(D196-D195)","v":1.7150000000000016}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 23"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-02-04"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MJR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4760000000000018},{"$f":"B10*25.4","v":88.290400000000034},null,null,5,{"$f":"Sheet1!A35","v":4.3002543352601172},{"$f":"G10*25.4","v":109.22646011560697}]
[2,{"$f":"Sheet1!B169","v":3.4790000000000019},{"$f":"B11*25.4","v":88.366600000000048},null,null,6,{"$f":"Sheet1!B35","v":4.299254335260116},{"$f":"G11*25.4","v":109.20106011560694}]
[3,{"$f":"Sheet1!C169","v":3.4780000000000015},{"$f":"B12*25.4","v":88.341200000000029},null,null,7,{"$f":"Sheet1!C35","v":4.2972543352601171},{"$f":"G12*25.4","v":109.15026011560697}]
[4,{"$f":"Sheet1!D169","v":3.4810000000000016},{"$f":"B13*25.4","v":88.417400000000043},null,null,8,{"$f":"Sheet1!D35","v":4.299254335260116},{"$f":"G13*25.4","v":109.20106011560694}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4747456647398849},{"$f":"Sheet1!C118","v":-5.999999999998451E-3},{"$f":"B20*25.4","v":-139.05853988439307},{"$f":"C20*25.4","v":-0.15239999999996065},null,{"$f":"H10-D21","v":156.89579999999998},{"$f":"C10-E20","v":88.442799999999991}]
["X1",{"$f":"Sheet1!A78","v":-1.8767456647398824},{"$f":"Sheet1!D118","v":3.5999999999999997E-2},{"$f":"B21*25.4","v":-47.669339884393011},{"$f":"C21*25.4","v":0.91439999999999988}]
["Y1",{"$f":"Sheet1!B78","v":-5.4697456647398823},null,{"$f":"B22*25.4","v":-138.931539884393}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4757456647398826},{"$f":"Sheet1!A128","v":-9.9999999999766942E-4},{"$f":"B26*25.4","v":-139.083939884393},{"$f":"C26*25.4","v":-2.5399999999940803E-2},null,{"$f":"H13-D27","v":156.99740000000003},{"$f":"C13-E26","v":88.442799999999977}]
["X1",{"$f":"Sheet1!A87","v":-1.8817456647398849},{"$f":"Sheet1!B128","v":-3.6009999999999991},{"$f":"B27*25.4","v":-47.796339884393078},{"$f":"C27*25.4","v":-91.465399999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.477745664739885},"\\",{"$f":"B28*25.4","v":-139.13473988439307}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4670000000000005},{"$f":"B36*25.4","v":-138.86180000000002},null,"US  +",{"$f":"Sheet1!A197","v":1.7150000000000016},{"$f":"F36*25.4","v":43.561000000000043}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.713000000000001},{"$f":"F37*25.4","v":43.510200000000019}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7170000000000023},{"$f":"F38*25.4","v":43.611800000000059}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7150000000000016},{"$f":"F39*25.4","v":43.561000000000043}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4049999999999976},{"$f":"B42*25.4","v":-111.88699999999993}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-02-04"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4757456647398826},{"$f":"Sheet1!A169","v":3.4760000000000018},{"$f":"SUM(B10*25.4)","v":-139.083939884393},{"$f":"SUM(C10*25.4)","v":88.290400000000034}]
[2,{"$f":"Sheet1!B28","v":-5.4787456647398827},{"$f":"Sheet1!B169","v":3.4790000000000019},{"$f":"SUM(B11*25.4)","v":-139.160139884393},{"$f":"SUM(C11*25.4)","v":88.366600000000048},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.477745664739885},{"$f":"Sheet1!C169","v":3.4780000000000015},-139.13473988439307,88.341200000000029,null,{"$f":"Sheet1!C141","v":-5.4670000000000005},{"$f":"SUM(G12*25.4)","v":-138.86180000000002}]
[4,{"$f":"Sheet1!D28","v":-5.4787456647398827},{"$f":"Sheet1!D169","v":3.4810000000000016},-139.160139884393,88.417400000000043]
[5,{"$f":"Sheet1!A35","v":4.3002543352601172},{"$f":"Sheet1!A177","v":-3.6039999999999992},109.22646011560697,-91.541599999999974]
[6,{"$f":"Sheet1!B35","v":4.299254335260116},{"$f":"Sheet1!B177","v":-3.5989999999999984},109.20106011560694,-91.41459999999995,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2972543352601171},{"$f":"Sheet1!C177","v":-3.602999999999998},109.15026011560697,-91.516199999999941]
[8,{"$f":"Sheet1!D35","v":4.299254335260116},{"$f":"Sheet1!D177","v":-3.6019999999999985},109.20106011560694,-91.490799999999965,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4049999999999976},{"$f":"SUM(G18*25.4)","v":-111.88699999999993}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8767456647398824},{"$f":"Sheet1!C118","v":-5.999999999998451E-3},{"$f":"SUM(B23*25.4)","v":-47.669339884393011},{"$f":"SUM(C23*25.4)","v":-0.15239999999996065}]
["X1",{"$f":"Sheet1!A78","v":-1.8767456647398824},{"$f":"Sheet1!D118","v":3.5999999999999997E-2},{"$f":"SUM(B24*25.4)","v":-47.669339884393011},{"$f":"SUM(C24*25.4)","v":0.91439999999999988},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4697456647398823},null,{"$f":"SUM(B25*25.4)","v":-138.931539884393},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7150000000000016},{"$f":"SUM(H25*25.4)","v":43.561000000000043}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.713000000000001},{"$f":"SUM(H26*25.4)","v":43.510200000000019}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7170000000000023},{"$f":"SUM(H27*25.4)","v":43.611800000000059}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7150000000000016},{"$f":"SUM(H28*25.4)","v":43.561000000000043}]
["Y1",{"$f":"Sheet1!B87","v":-5.4757456647398826},{"$f":"Sheet1!A128","v":-9.9999999999766942E-4},{"$f":"SUM(B29*25.4)","v":-139.083939884393},{"$f":"SUM(C29*25.4)","v":-2.5399999999940803E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8817456647398849},{"$f":"Sheet1!B128","v":-3.6009999999999991},{"$f":"SUM(B30*25.4)","v":-47.796339884393078},{"$f":"SUM(C30*25.4)","v":-91.465399999999974}]
["Y2",{"$f":"Sheet1!C87","v":-5.477745664739885},null,{"$f":"SUM(B31*25.4)","v":-139.13473988439307}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5977456647398824},{"$f":"Sheet1!A118","v":-4.9999999999990052E-3},{"$f":"SUM(B37*25.4)","v":-91.382739884393004},{"$f":"SUM(C37*25.4)","v":-0.12699999999997472},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6109999999999989},0,{"$f":"SUM(C38*25.4)","v":-91.719399999999965}]
["Y2",{"$f":"Sheet1!C68","v":-3.602745664739885},null,{"$f":"SUM(B39*25.4)","v":-91.50973988439307}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5977456647398824},{"$f":"Sheet1!C128","v":5.0000000000007816E-3},{"$f":"SUM(B43*25.4)","v":-91.382739884393004},{"$f":"SUM(C43*25.4)","v":0.12700000000001985}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5959999999999983},0,{"$f":"SUM(C44*25.4)","v":-91.33839999999995}]
["Y2",{"$f":"Sheet1!C96","v":-3.5937456647398847},null,{"$f":"SUM(B45*25.4)","v":-91.28113988439307}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0337456647398824},{"$f":"Sheet1!A188","v":-0.24799999999999756},{"$f":"SUM(B49*25.4)","v":-178.65713988439299},{"$f":"SUM(C49*25.4)","v":-6.2991999999999377}]
["B",{"$f":"Sheet1!B45","v":2.4992543352601153},null,{"$f":"SUM(B50*25.4)","v":63.481060115606923}]
["C",{"$f":"Sheet1!C45","v":-0.74374566473988324},{"$f":"Sheet1!C188","v":-2.3899999999999988},{"$f":"SUM(B51*25.4)","v":-18.891139884393034},{"$f":"SUM(C51*25.4)","v":-60.705999999999968}]
["D",{"$f":"Sheet1!D45","v":-0.74374566473988324},{"$f":"Sheet1!D188","v":-5.4719999999999978},{"$f":"SUM(B52*25.4)","v":-18.891139884393034},{"$f":"SUM(C52*25.4)","v":-138.98879999999994}]