{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":5,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",27]
["Date:","2012-12-06"]
["Crew:","BR HI"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28]
["1st. Near",28.718]
["2nd. Far",30]
["2nd Near",29.228000000000002]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.963758389261745}]
["Near Should Read",28.963758389261745]
["LOS",28.963758389261745]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.445,33.454999999999998,33.454999999999998,33.459000000000003]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.445},{"$f":"SUM(B24:B25)","v":34.454999999999998},{"$f":"SUM(C24:C25)","v":34.454999999999998},{"$f":"SUM(D24:D25)","v":34.459000000000003}]
[{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745}]
[{"$f":"SUM(A27-A26)","v":-5.4812416107382553},{"$f":"SUM(B27-B26)","v":-5.4912416107382533},{"$f":"SUM(C27-C26)","v":-5.4912416107382533},{"$f":"SUM(D27-D26)","v":-5.4952416107382582}]
[]
["5)","6)","7)","8)"]
[23.66,23.667000000000002,23.672000000000001,23.670999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.66},{"$f":"SUM(B31:B32)","v":24.667000000000002},{"$f":"SUM(C31:C32)","v":24.672000000000001},{"$f":"SUM(D31:D32)","v":24.670999999999999}]
[{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745}]
[{"$f":"SUM(A34-A33)","v":4.3037583892617448},{"$f":"SUM(B34-B33)","v":4.2967583892617434},{"$f":"SUM(C34-C33)","v":4.2917583892617444},{"$f":"SUM(D34-D33)","v":4.2927583892617456}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[35.000999999999998,30.468,28.707000000000001,28.707000000000001]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":36.000999999999998},{"$f":"SUM(B41:B42)","v":31.468},{"$f":"SUM(C41:C42)","v":29.707000000000001},{"$f":"SUM(D41:D42)","v":29.707000000000001}]
[{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745}]
[{"$f":"SUM(A44-A43)","v":-7.0372416107382527},{"$f":"SUM(B44-B43)","v":-2.504241610738255},{"$f":"SUM(C44-C43)","v":-0.74324161073825579},{"$f":"SUM(D44-D43)","v":-0.74324161073825579}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.963758389261745},"LOS"]
["Undulator",{"$f":"B5","v":27}]
["Date:",{"$f":"B6","v":"2012-12-06"}]
["Crew:",{"$f":"B7","v":"BR HI"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.562000000000001,31.567]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.561999999999998},{"$f":"SUM(C64:C65)","v":32.567}]
[null,{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745}]
[0,{"$f":"SUM(B67-B66)","v":-3.5982416107382527},{"$f":"SUM(C67-C66)","v":-3.6032416107382552}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.841999999999999,33.433,33.439]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.841999999999999},{"$f":"SUM(B74:B75)","v":34.433},{"$f":"SUM(C74:C75)","v":34.439}]
[{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745}]
[{"$f":"SUM(A77-A76)","v":-1.8782416107382538},{"$f":"SUM(B77-B76)","v":-5.4692416107382549},{"$f":"SUM(C77-C76)","v":-5.4752416107382551}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.847000000000001,33.442999999999998,33.442999999999998]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.847000000000001},{"$f":"SUM(B83:B84)","v":34.442999999999998},{"$f":"SUM(C83:C84)","v":34.442999999999998}]
[{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745}]
[{"$f":"SUM(A86-A85)","v":-1.8832416107382564},{"$f":"SUM(B86-B85)","v":-5.4792416107382529},{"$f":"SUM(C86-C85)","v":-5.4792416107382529}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.565999999999999,31.561]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.566000000000003},{"$f":"SUM(C92:C93)","v":32.561}]
[null,{"$f":"B18","v":28.963758389261745},{"$f":"B18","v":28.963758389261745}]
[0,{"$f":"SUM(B95-B94)","v":-3.6022416107382575},{"$f":"SUM(C95-C94)","v":-3.597241610738255}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,5.4969999999999999,5.4969999999999999]
[null,null,1,1]
["Undulator",{"$f":"B5","v":27},{"$f":"SUM(C104+C105)","v":6.4969999999999999},{"$f":"SUM(D104+D105)","v":6.4969999999999999}]
["Date:",{"$f":"B6","v":"2012-12-06"}]
["Crew:",{"$f":"B7","v":"BR HI"},null,null," "]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":6.4969999999999999}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":5.4969999999999999},9.1029999999999998,5.5049999999999999,9.1039999999999992]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":6.4969999999999999},{"$f":"SUM(B114:B115)","v":10.103},{"$f":"SUM(C114:C115)","v":6.5049999999999999},{"$f":"SUM(D114:D115)","v":10.103999999999999}]
[{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999}]
[{"$f":"SUM(A117-A116)","v":0},{"$f":"SUM(B117-B116)","v":-3.6059999999999999},{"$f":"SUM(C117-C116)","v":-8.0000000000000071E-3},{"$f":"SUM(D117-D116)","v":-3.6069999999999993}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[5.5030000000000001,9.1010000000000009,{"$f":"D104","v":5.4969999999999999},9.0980000000000008]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":6.5030000000000001},{"$f":"SUM(B124:B125)","v":10.101000000000001},{"$f":"SUM(C124:C125)","v":6.4969999999999999},{"$f":"SUM(D124:D125)","v":10.098000000000001}]
[{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999}]
[{"$f":"SUM(A127-A126)","v":-6.0000000000002274E-3},{"$f":"SUM(B127-B126)","v":-3.604000000000001},{"$f":"SUM(C127-C126)","v":0},{"$f":"SUM(D127-D126)","v":-3.6010000000000009}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[10.898,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":6.4969999999999999},null,3.2000000000000001E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4009999999999998},null,{"$f":"SUM(C137+C138)","v":-5.4320000000000004}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4710000000000001},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":27}]
["Date:",{"$f":"B6","v":"2012-12-06"}]
["Crew:",{"$f":"B7","v":"BR HI"}]
[]
[]
["HI =",{"$f":"D109","v":6.4969999999999999}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[2.02,2.0209999999999999,2.0219999999999998,2.02]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":3.02},{"$f":"SUM(B165:B166)","v":3.0209999999999999},{"$f":"SUM(C165:C166)","v":3.0219999999999998},{"$f":"SUM(D165:D166)","v":3.02}]
[{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999}]
[{"$f":"SUM(A168-A167)","v":3.4769999999999999},{"$f":"SUM(B168-B167)","v":3.476},{"$f":"SUM(C168-C167)","v":3.4750000000000001},{"$f":"SUM(D168-D167)","v":3.4769999999999999}]
[]
[]
["5)","6)","7)","8)"]
[9.1,9.0950000000000006,9.0960000000000001,9.1]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":10.1},{"$f":"SUM(B173+B174)","v":10.095000000000001},{"$f":"SUM(C173+C174)","v":10.096},{"$f":"SUM(D173+D174)","v":10.1}]
[{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999}]
[{"$f":"SUM(A176-A175)","v":-3.6029999999999998},{"$f":"SUM(B176-B175)","v":-3.5980000000000008},{"$f":"SUM(C176-C175)","v":-3.5990000000000002},{"$f":"SUM(D176-D175)","v":-3.6029999999999998}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[5.7380000000000004,null,7.8849999999999998,10.964]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":6.7380000000000004},null,{"$f":"SUM(C184+C185)","v":8.8849999999999998},{"$f":"SUM(D184+D185)","v":11.964}]
[{"$f":"D109","v":6.4969999999999999},null,{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999}]
[{"$f":"SUM(A187-A186)","v":-0.24100000000000055},0,{"$f":"SUM(C187-C186)","v":-2.3879999999999999},{"$f":"SUM(D187-D186)","v":-5.4670000000000005}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[4.782,4.7859999999999996,4.782,4.7850000000000001]
[{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999},{"$f":"D109","v":6.4969999999999999}]
[{"$f":"SUM(A196-A195)","v":1.7149999999999999},{"$f":"SUM(B196-B195)","v":1.7110000000000003},{"$f":"SUM(C196-C195)","v":1.7149999999999999},{"$f":"SUM(D196-D195)","v":1.7119999999999997}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":27}]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-12-06"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR HI"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4769999999999999},{"$f":"B10*25.4","v":88.315799999999996},null,null,5,{"$f":"Sheet1!A35","v":4.3037583892617448},{"$f":"G10*25.4","v":109.31546308724832}]
[2,{"$f":"Sheet1!B169","v":3.476},{"$f":"B11*25.4","v":88.290399999999991},null,null,6,{"$f":"Sheet1!B35","v":4.2967583892617434},{"$f":"G11*25.4","v":109.13766308724827}]
[3,{"$f":"Sheet1!C169","v":3.4750000000000001},{"$f":"B12*25.4","v":88.265000000000001},null,null,7,{"$f":"Sheet1!C35","v":4.2917583892617444},{"$f":"G12*25.4","v":109.0106630872483}]
[4,{"$f":"Sheet1!D169","v":3.4769999999999999},{"$f":"B13*25.4","v":88.315799999999996},null,null,8,{"$f":"Sheet1!D35","v":4.2927583892617456},{"$f":"G13*25.4","v":109.03606308724834}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4752416107382551},{"$f":"Sheet1!C118","v":-8.0000000000000071E-3},{"$f":"B20*25.4","v":-139.07113691275168},{"$f":"C20*25.4","v":-0.20320000000000016},null,{"$f":"H10-D21","v":157.02279999999996},{"$f":"C10-E20","v":88.518999999999991}]
["X1",{"$f":"Sheet1!A78","v":-1.8782416107382538},{"$f":"Sheet1!D118","v":-3.6069999999999993},{"$f":"B21*25.4","v":-47.707336912751643},{"$f":"C21*25.4","v":-91.617799999999974}]
["Y1",{"$f":"Sheet1!B78","v":-5.4692416107382549},null,{"$f":"B22*25.4","v":-138.91873691275165}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4792416107382529},{"$f":"Sheet1!A128","v":-6.0000000000002274E-3},{"$f":"B26*25.4","v":-139.17273691275162},{"$f":"C26*25.4","v":-0.15240000000000575},null,{"$f":"H13-D27","v":156.87040000000005},{"$f":"C13-E26","v":88.468199999999996}]
["X1",{"$f":"Sheet1!A87","v":-1.8832416107382564},{"$f":"Sheet1!B128","v":-3.604000000000001},{"$f":"B27*25.4","v":-47.834336912751709},{"$f":"C27*25.4","v":-91.541600000000017}]
["Y2",{"$f":"Sheet1!C87","v":-5.4792416107382529},"\\",{"$f":"B28*25.4","v":-139.17273691275162}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4710000000000001},{"$f":"B36*25.4","v":-138.96340000000001},null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"F36*25.4","v":43.560999999999993}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"F37*25.4","v":43.459400000000002}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7149999999999999},{"$f":"F38*25.4","v":43.560999999999993}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7119999999999997},{"$f":"F39*25.4","v":43.484799999999993}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4009999999999998},{"$f":"B42*25.4","v":-111.7854}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-12-06"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4812416107382553},{"$f":"Sheet1!A169","v":3.4769999999999999},{"$f":"SUM(B10*25.4)","v":-139.22353691275168},{"$f":"SUM(C10*25.4)","v":88.315799999999996}]
[2,{"$f":"Sheet1!B28","v":-5.4912416107382533},{"$f":"Sheet1!B169","v":3.476},{"$f":"SUM(B11*25.4)","v":-139.47753691275162},{"$f":"SUM(C11*25.4)","v":88.290399999999991},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4912416107382533},{"$f":"Sheet1!C169","v":3.4750000000000001},-139.47753691275162,88.265000000000001,null,{"$f":"Sheet1!C141","v":-5.4710000000000001},{"$f":"SUM(G12*25.4)","v":-138.96340000000001}]
[4,{"$f":"Sheet1!D28","v":-5.4952416107382582},{"$f":"Sheet1!D169","v":3.4769999999999999},-139.57913691275175,88.315799999999996]
[5,{"$f":"Sheet1!A35","v":4.3037583892617448},{"$f":"Sheet1!A177","v":-3.6029999999999998},109.31546308724832,-91.516199999999984]
[6,{"$f":"Sheet1!B35","v":4.2967583892617434},{"$f":"Sheet1!B177","v":-3.5980000000000008},109.13766308724827,-91.389200000000017,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2917583892617444},{"$f":"Sheet1!C177","v":-3.5990000000000002},109.0106630872483,-91.414599999999993]
[8,{"$f":"Sheet1!D35","v":4.2927583892617456},{"$f":"Sheet1!D177","v":-3.6029999999999998},109.03606308724834,-91.516199999999984,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4009999999999998},{"$f":"SUM(G18*25.4)","v":-111.7854}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8782416107382538},{"$f":"Sheet1!C118","v":-8.0000000000000071E-3},{"$f":"SUM(B23*25.4)","v":-47.707336912751643},{"$f":"SUM(C23*25.4)","v":-0.20320000000000016}]
["X1",{"$f":"Sheet1!A78","v":-1.8782416107382538},{"$f":"Sheet1!D118","v":-3.6069999999999993},{"$f":"SUM(B24*25.4)","v":-47.707336912751643},{"$f":"SUM(C24*25.4)","v":-91.617799999999974},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4692416107382549},null,{"$f":"SUM(B25*25.4)","v":-138.91873691275165},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"SUM(H25*25.4)","v":43.560999999999993}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"SUM(H26*25.4)","v":43.459400000000002}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7149999999999999},{"$f":"SUM(H27*25.4)","v":43.560999999999993}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7119999999999997},{"$f":"SUM(H28*25.4)","v":43.484799999999993}]
["Y1",{"$f":"Sheet1!B87","v":-5.4792416107382529},{"$f":"Sheet1!A128","v":-6.0000000000002274E-3},{"$f":"SUM(B29*25.4)","v":-139.17273691275162},{"$f":"SUM(C29*25.4)","v":-0.15240000000000575}]
["X1",{"$f":"Sheet1!A87","v":-1.8832416107382564},{"$f":"Sheet1!B128","v":-3.604000000000001},{"$f":"SUM(B30*25.4)","v":-47.834336912751709},{"$f":"SUM(C30*25.4)","v":-91.541600000000017}]
["Y2",{"$f":"Sheet1!C87","v":-5.4792416107382529},null,{"$f":"SUM(B31*25.4)","v":-139.17273691275162}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5982416107382527},{"$f":"Sheet1!A118","v":0},{"$f":"SUM(B37*25.4)","v":-91.395336912751617},{"$f":"SUM(C37*25.4)","v":0},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6059999999999999},0,{"$f":"SUM(C38*25.4)","v":-91.592399999999998}]
["Y2",{"$f":"Sheet1!C68","v":-3.6032416107382552},null,{"$f":"SUM(B39*25.4)","v":-91.522336912751683}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6022416107382575},{"$f":"Sheet1!C128","v":0},{"$f":"SUM(B43*25.4)","v":-91.496936912751735},{"$f":"SUM(C43*25.4)","v":0}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6010000000000009},0,{"$f":"SUM(C44*25.4)","v":-91.465400000000017}]
["Y2",{"$f":"Sheet1!C96","v":-3.597241610738255},null,{"$f":"SUM(B45*25.4)","v":-91.369936912751669}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0372416107382527},{"$f":"Sheet1!A188","v":-0.24100000000000055},{"$f":"SUM(B49*25.4)","v":-178.7459369127516},{"$f":"SUM(C49*25.4)","v":-6.1214000000000137}]
["B",{"$f":"Sheet1!B45","v":-2.504241610738255},null,{"$f":"SUM(B50*25.4)","v":-63.607736912751676}]
["C",{"$f":"Sheet1!C45","v":-0.74324161073825579},{"$f":"Sheet1!C188","v":-2.3879999999999999},{"$f":"SUM(B51*25.4)","v":-18.878336912751696},{"$f":"SUM(C51*25.4)","v":-60.655199999999994}]
["D",{"$f":"Sheet1!D45","v":-0.74324161073825579},{"$f":"Sheet1!D188","v":-5.4670000000000005},{"$f":"SUM(B52*25.4)","v":-18.878336912751696},{"$f":"SUM(C52*25.4)","v":-138.86180000000002}]