{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 29"]
["Date:","2013-02-12"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27.5]
["1st. Near",27.408000000000001]
["2nd. Far",27]
["2nd Near",27.276]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.375}]
["Near Should Read",27.375]
["LOS",27.375]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.863,31.856000000000002,31.853000000000002,31.853999999999999]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.863},{"$f":"SUM(B24:B25)","v":32.856000000000002},{"$f":"SUM(C24:C25)","v":32.853000000000002},{"$f":"SUM(D24:D25)","v":32.853999999999999}]
[{"$f":"B18","v":27.375},{"$f":"B18","v":27.375},{"$f":"B18","v":27.375},{"$f":"B18","v":27.375}]
[{"$f":"SUM(A27-A26)","v":-5.4879999999999995},{"$f":"SUM(B27-B26)","v":-5.4810000000000016},{"$f":"SUM(C27-C26)","v":-5.4780000000000015},{"$f":"SUM(D27-D26)","v":-5.4789999999999992}]
[]
["5)","6)","7)","8)"]
[22.077999999999999,22.077999999999999,22.076000000000001,22.08]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.077999999999999},{"$f":"SUM(B31:B32)","v":23.077999999999999},{"$f":"SUM(C31:C32)","v":23.076000000000001},{"$f":"SUM(D31:D32)","v":23.08}]
[{"$f":"B18","v":27.375},{"$f":"B18","v":27.375},{"$f":"B18","v":27.375},{"$f":"B18","v":27.375}]
[{"$f":"SUM(A34-A33)","v":4.2970000000000006},{"$f":"SUM(B34-B33)","v":4.2970000000000006},{"$f":"SUM(C34-C33)","v":4.2989999999999995},{"$f":"SUM(D34-D33)","v":4.2950000000000017}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.408000000000001,28.872,27.114999999999998,27.114999999999998]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.408000000000001},{"$f":"SUM(B41:B42)","v":29.872},{"$f":"SUM(C41:C42)","v":28.114999999999998},{"$f":"SUM(D41:D42)","v":28.114999999999998}]
[{"$f":"B18","v":27.375},{"$f":"B18","v":27.375},{"$f":"B18","v":27.375},{"$f":"B18","v":27.375}]
[{"$f":"SUM(A44-A43)","v":-7.0330000000000013},{"$f":"SUM(B44-B43)","v":-2.4969999999999999},{"$f":"SUM(C44-C43)","v":-0.73999999999999844},{"$f":"SUM(D44-D43)","v":-0.73999999999999844}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.375},"LOS"]
["Undulator",{"$f":"B5","v":"SN 29"}]
["Date:",{"$f":"B6","v":"2013-02-12"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.974,29.977]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.974},{"$f":"SUM(C64:C65)","v":30.977}]
[null,{"$f":"B18","v":27.375},{"$f":"B18","v":27.375}]
[0,{"$f":"SUM(B67-B66)","v":-3.5990000000000002},{"$f":"SUM(C67-C66)","v":-3.6020000000000003}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.257000000000001,31.85,31.853999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.257000000000001},{"$f":"SUM(B74:B75)","v":32.85},{"$f":"SUM(C74:C75)","v":32.853999999999999}]
[{"$f":"B18","v":27.375},{"$f":"B18","v":27.375},{"$f":"B18","v":27.375}]
[{"$f":"SUM(A77-A76)","v":-1.8820000000000014},{"$f":"SUM(B77-B76)","v":-5.4750000000000014},{"$f":"SUM(C77-C76)","v":-5.4789999999999992}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.259,31.856000000000002,31.856999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.259},{"$f":"SUM(B83:B84)","v":32.856000000000002},{"$f":"SUM(C83:C84)","v":32.856999999999999}]
[{"$f":"B18","v":27.375},{"$f":"B18","v":27.375},{"$f":"B18","v":27.375}]
[{"$f":"SUM(A86-A85)","v":-1.8840000000000003},{"$f":"SUM(B86-B85)","v":-5.4810000000000016},{"$f":"SUM(C86-C85)","v":-5.4819999999999993}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.972999999999999,29.968]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.972999999999999},{"$f":"SUM(C92:C93)","v":30.968}]
[null,{"$f":"B18","v":27.375},{"$f":"B18","v":27.375}]
[0,{"$f":"SUM(B95-B94)","v":-3.597999999999999},{"$f":"SUM(C95-C94)","v":-3.593}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.9649999999999999,8.9550000000000001]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 29"},{"$f":"SUM(C104+C105)","v":9.9649999999999999},{"$f":"SUM(D104+D105)","v":9.9550000000000001}]
["Date:",{"$f":"B6","v":"2013-02-12"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.9600000000000009}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.9649999999999999},12.571999999999999,8.968,12.568]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.9649999999999999},{"$f":"SUM(B114:B115)","v":13.571999999999999},{"$f":"SUM(C114:C115)","v":9.968},{"$f":"SUM(D114:D115)","v":13.568}]
[{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009}]
[{"$f":"SUM(A117-A116)","v":-4.9999999999990052E-3},{"$f":"SUM(B117-B116)","v":-3.6119999999999983},{"$f":"SUM(C117-C116)","v":-7.9999999999991189E-3},{"$f":"SUM(D117-D116)","v":-3.6079999999999988}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.9689999999999994,12.468999999999999,{"$f":"D104","v":8.9550000000000001},12.558]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.9689999999999994},{"$f":"SUM(B124:B125)","v":13.468999999999999},{"$f":"SUM(C124:C125)","v":9.9550000000000001},{"$f":"SUM(D124:D125)","v":13.558}]
[{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009}]
[{"$f":"SUM(A127-A126)","v":-8.9999999999985647E-3},{"$f":"SUM(B127-B126)","v":-3.5089999999999986},{"$f":"SUM(C127-C126)","v":5.0000000000007816E-3},{"$f":"SUM(D127-D126)","v":-3.597999999999999}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.367000000000001,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.9600000000000009},null,4.3999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.407},null,{"$f":"SUM(C137+C138)","v":-5.4200000000000008}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4590000000000005},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 29"}]
["Date:",{"$f":"B6","v":"2013-02-12"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.9600000000000009}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.4889999999999999,5.49,5.4880000000000004,5.4850000000000003]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.4889999999999999},{"$f":"SUM(B165:B166)","v":6.49},{"$f":"SUM(C165:C166)","v":6.4880000000000004},{"$f":"SUM(D165:D166)","v":6.4850000000000003}]
[{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009}]
[{"$f":"SUM(A168-A167)","v":3.471000000000001},{"$f":"SUM(B168-B167)","v":3.4700000000000006},{"$f":"SUM(C168-C167)","v":3.4720000000000004},{"$f":"SUM(D168-D167)","v":3.4750000000000005}]
[]
[]
["5)","6)","7)","8)"]
[12.561999999999999,12.564,12.563000000000001,12.563000000000001]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.561999999999999},{"$f":"SUM(B173+B174)","v":13.564},{"$f":"SUM(C173+C174)","v":13.563000000000001},{"$f":"SUM(D173+D174)","v":13.563000000000001}]
[{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009}]
[{"$f":"SUM(A176-A175)","v":-3.6019999999999985},{"$f":"SUM(B176-B175)","v":-3.6039999999999992},{"$f":"SUM(C176-C175)","v":-3.6029999999999998},{"$f":"SUM(D176-D175)","v":-3.6029999999999998}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.2070000000000007,null,11.348000000000001,14.43]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.207000000000001},null,{"$f":"SUM(C184+C185)","v":12.348000000000001},{"$f":"SUM(D184+D185)","v":15.43}]
[{"$f":"D109","v":9.9600000000000009},null,{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009}]
[{"$f":"SUM(A187-A186)","v":-0.24699999999999989},0,{"$f":"SUM(C187-C186)","v":-2.3879999999999999},{"$f":"SUM(D187-D186)","v":-5.4699999999999989}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.25,8.25,8.2490000000000006,8.25]
[{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009},{"$f":"D109","v":9.9600000000000009}]
[{"$f":"SUM(A196-A195)","v":1.7100000000000009},{"$f":"SUM(B196-B195)","v":1.7100000000000009},{"$f":"SUM(C196-C195)","v":1.7110000000000003},{"$f":"SUM(D196-D195)","v":1.7100000000000009}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 29"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-02-12"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.471000000000001},{"$f":"B10*25.4","v":88.163400000000024},null,null,5,{"$f":"Sheet1!A35","v":4.2970000000000006},{"$f":"G10*25.4","v":109.14380000000001}]
[2,{"$f":"Sheet1!B169","v":3.4700000000000006},{"$f":"B11*25.4","v":88.138000000000005},null,null,6,{"$f":"Sheet1!B35","v":4.2970000000000006},{"$f":"G11*25.4","v":109.14380000000001}]
[3,{"$f":"Sheet1!C169","v":3.4720000000000004},{"$f":"B12*25.4","v":88.188800000000001},null,null,7,{"$f":"Sheet1!C35","v":4.2989999999999995},{"$f":"G12*25.4","v":109.19459999999998}]
[4,{"$f":"Sheet1!D169","v":3.4750000000000005},{"$f":"B13*25.4","v":88.265000000000015},null,null,8,{"$f":"Sheet1!D35","v":4.2950000000000017},{"$f":"G13*25.4","v":109.09300000000003}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4789999999999992},{"$f":"Sheet1!C118","v":-7.9999999999991189E-3},{"$f":"B20*25.4","v":-139.16659999999996},{"$f":"C20*25.4","v":-0.20319999999997762},null,{"$f":"H10-D21","v":156.94660000000005},{"$f":"C10-E20","v":88.366600000000005}]
["X1",{"$f":"Sheet1!A78","v":-1.8820000000000014},{"$f":"Sheet1!D118","v":-3.6079999999999988},{"$f":"B21*25.4","v":-47.802800000000033},{"$f":"C21*25.4","v":-91.643199999999965}]
["Y1",{"$f":"Sheet1!B78","v":-5.4750000000000014},null,{"$f":"B22*25.4","v":-139.06500000000003}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4810000000000016},{"$f":"Sheet1!A128","v":-8.9999999999985647E-3},{"$f":"B26*25.4","v":-139.21740000000003},{"$f":"C26*25.4","v":-0.22859999999996353},null,{"$f":"H13-D27","v":156.94660000000005},{"$f":"C13-E26","v":88.493599999999972}]
["X1",{"$f":"Sheet1!A87","v":-1.8840000000000003},{"$f":"Sheet1!B128","v":-3.5089999999999986},{"$f":"B27*25.4","v":-47.853600000000007},{"$f":"C27*25.4","v":-89.128599999999963}]
["Y2",{"$f":"Sheet1!C87","v":-5.4819999999999993},"\\",{"$f":"B28*25.4","v":-139.24279999999999}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4590000000000005},{"$f":"B36*25.4","v":-138.65860000000001},null,"US  +",{"$f":"Sheet1!A197","v":1.7100000000000009},{"$f":"F36*25.4","v":43.434000000000019}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7100000000000009},{"$f":"F37*25.4","v":43.434000000000019}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7110000000000003},{"$f":"F38*25.4","v":43.459400000000002}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7100000000000009},{"$f":"F39*25.4","v":43.434000000000019}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.407},{"$f":"B42*25.4","v":-111.9378}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-02-12"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4879999999999995},{"$f":"Sheet1!A169","v":3.471000000000001},{"$f":"SUM(B10*25.4)","v":-139.39519999999999},{"$f":"SUM(C10*25.4)","v":88.163400000000024}]
[2,{"$f":"Sheet1!B28","v":-5.4810000000000016},{"$f":"Sheet1!B169","v":3.4700000000000006},{"$f":"SUM(B11*25.4)","v":-139.21740000000003},{"$f":"SUM(C11*25.4)","v":88.138000000000005},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4780000000000015},{"$f":"Sheet1!C169","v":3.4720000000000004},-139.14120000000003,88.188800000000001,null,{"$f":"Sheet1!C141","v":-5.4590000000000005},{"$f":"SUM(G12*25.4)","v":-138.65860000000001}]
[4,{"$f":"Sheet1!D28","v":-5.4789999999999992},{"$f":"Sheet1!D169","v":3.4750000000000005},-139.16659999999996,88.265000000000015]
[5,{"$f":"Sheet1!A35","v":4.2970000000000006},{"$f":"Sheet1!A177","v":-3.6019999999999985},109.14380000000001,-91.490799999999965]
[6,{"$f":"Sheet1!B35","v":4.2970000000000006},{"$f":"Sheet1!B177","v":-3.6039999999999992},109.14380000000001,-91.541599999999974,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2989999999999995},{"$f":"Sheet1!C177","v":-3.6029999999999998},109.19459999999998,-91.516199999999984]
[8,{"$f":"Sheet1!D35","v":4.2950000000000017},{"$f":"Sheet1!D177","v":-3.6029999999999998},109.09300000000003,-91.516199999999984,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.407},{"$f":"SUM(G18*25.4)","v":-111.9378}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8820000000000014},{"$f":"Sheet1!C118","v":-7.9999999999991189E-3},{"$f":"SUM(B23*25.4)","v":-47.802800000000033},{"$f":"SUM(C23*25.4)","v":-0.20319999999997762}]
["X1",{"$f":"Sheet1!A78","v":-1.8820000000000014},{"$f":"Sheet1!D118","v":-3.6079999999999988},{"$f":"SUM(B24*25.4)","v":-47.802800000000033},{"$f":"SUM(C24*25.4)","v":-91.643199999999965},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4750000000000014},null,{"$f":"SUM(B25*25.4)","v":-139.06500000000003},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7100000000000009},{"$f":"SUM(H25*25.4)","v":43.434000000000019}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7100000000000009},{"$f":"SUM(H26*25.4)","v":43.434000000000019}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7110000000000003},{"$f":"SUM(H27*25.4)","v":43.459400000000002}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7100000000000009},{"$f":"SUM(H28*25.4)","v":43.434000000000019}]
["Y1",{"$f":"Sheet1!B87","v":-5.4810000000000016},{"$f":"Sheet1!A128","v":-8.9999999999985647E-3},{"$f":"SUM(B29*25.4)","v":-139.21740000000003},{"$f":"SUM(C29*25.4)","v":-0.22859999999996353}]
["X1",{"$f":"Sheet1!A87","v":-1.8840000000000003},{"$f":"Sheet1!B128","v":-3.5089999999999986},{"$f":"SUM(B30*25.4)","v":-47.853600000000007},{"$f":"SUM(C30*25.4)","v":-89.128599999999963}]
["Y2",{"$f":"Sheet1!C87","v":-5.4819999999999993},null,{"$f":"SUM(B31*25.4)","v":-139.24279999999999}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5990000000000002},{"$f":"Sheet1!A118","v":-4.9999999999990052E-3},{"$f":"SUM(B37*25.4)","v":-91.414599999999993},{"$f":"SUM(C37*25.4)","v":-0.12699999999997472},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6119999999999983},0,{"$f":"SUM(C38*25.4)","v":-91.744799999999955}]
["Y2",{"$f":"Sheet1!C68","v":-3.6020000000000003},null,{"$f":"SUM(B39*25.4)","v":-91.490800000000007}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.597999999999999},{"$f":"Sheet1!C128","v":5.0000000000007816E-3},{"$f":"SUM(B43*25.4)","v":-91.389199999999974},{"$f":"SUM(C43*25.4)","v":0.12700000000001985}]
["X1",0,{"$f":"Sheet1!D128","v":-3.597999999999999},0,{"$f":"SUM(C44*25.4)","v":-91.389199999999974}]
["Y2",{"$f":"Sheet1!C96","v":-3.593},null,{"$f":"SUM(B45*25.4)","v":-91.262199999999993}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0330000000000013},{"$f":"Sheet1!A188","v":-0.24699999999999989},{"$f":"SUM(B49*25.4)","v":-178.63820000000001},{"$f":"SUM(C49*25.4)","v":-6.2737999999999969}]
["B",{"$f":"Sheet1!B45","v":-2.4969999999999999},null,{"$f":"SUM(B50*25.4)","v":-63.423799999999993}]
["C",{"$f":"Sheet1!C45","v":-0.73999999999999844},{"$f":"Sheet1!C188","v":-2.3879999999999999},{"$f":"SUM(B51*25.4)","v":-18.79599999999996},{"$f":"SUM(C51*25.4)","v":-60.655199999999994}]
["D",{"$f":"Sheet1!D45","v":-0.73999999999999844},{"$f":"Sheet1!D188","v":-5.4699999999999989},{"$f":"SUM(B52*25.4)","v":-18.79599999999996},{"$f":"SUM(C52*25.4)","v":-138.93799999999996}]