{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",30]
["Date:","2014-02-27"]
["Crew:","BR-MR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28]
["1st. Near",27.594999999999999]
["2nd. Far",26]
["2nd Near",27.087]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.457104557640751}]
["Near Should Read",27.457104557640751]
["LOS",27.457104557640751]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.952000000000002,31.943999999999999,31.943999999999999,31.943999999999999]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.951999999999998},{"$f":"SUM(B24:B25)","v":32.944000000000003},{"$f":"SUM(C24:C25)","v":32.944000000000003},{"$f":"SUM(D24:D25)","v":32.944000000000003}]
[{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751}]
[{"$f":"SUM(A27-A26)","v":-5.4948954423592475},{"$f":"SUM(B27-B26)","v":-5.486895442359252},{"$f":"SUM(C27-C26)","v":-5.486895442359252},{"$f":"SUM(D27-D26)","v":-5.486895442359252}]
[]
["5)","6)","7)","8)"]
[22.175999999999998,22.172000000000001,22.17,22.170999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.175999999999998},{"$f":"SUM(B31:B32)","v":23.172000000000001},{"$f":"SUM(C31:C32)","v":23.17},{"$f":"SUM(D31:D32)","v":23.170999999999999}]
[{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751}]
[{"$f":"SUM(A34-A33)","v":4.2811045576407523},{"$f":"SUM(B34-B33)","v":4.28510455764075},{"$f":"SUM(C34-C33)","v":4.2871045576407489},{"$f":"SUM(D34-D33)","v":4.2861045576407513}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.503,28.968,27.209,27.207999999999998]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.503},{"$f":"SUM(B41:B42)","v":29.968},{"$f":"SUM(C41:C42)","v":28.209},{"$f":"SUM(D41:D42)","v":28.207999999999998}]
[{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751}]
[{"$f":"SUM(A44-A43)","v":-7.0458954423592495},{"$f":"SUM(B44-B43)","v":-2.5108954423592493},{"$f":"SUM(C44-C43)","v":-0.75189544235924899},{"$f":"SUM(D44-D43)","v":-0.75089544235924777}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.457104557640751},"LOS"]
["Undulator",{"$f":"B5","v":30}]
["Date:",{"$f":"B6","v":"2014-02-27"}]
["Crew:",{"$f":"B7","v":"BR-MR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.056000000000001,30.059000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.056000000000001},{"$f":"SUM(C64:C65)","v":31.059000000000001}]
[null,{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751}]
[0,{"$f":"SUM(B67-B66)","v":-3.5988954423592503},{"$f":"SUM(C67-C66)","v":-3.6018954423592504}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.353000000000002,31.951000000000001,31.946000000000002]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.353000000000002},{"$f":"SUM(B74:B75)","v":32.951000000000001},{"$f":"SUM(C74:C75)","v":32.945999999999998}]
[{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751}]
[{"$f":"SUM(A77-A76)","v":-1.8958954423592509},{"$f":"SUM(B77-B76)","v":-5.4938954423592499},{"$f":"SUM(C77-C76)","v":-5.4888954423592473}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.35,31.949000000000002,31.948]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.35},{"$f":"SUM(B83:B84)","v":32.948999999999998},{"$f":"SUM(C83:C84)","v":32.948}]
[{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751}]
[{"$f":"SUM(A86-A85)","v":-1.8928954423592508},{"$f":"SUM(B86-B85)","v":-5.4918954423592474},{"$f":"SUM(C86-C85)","v":-5.4908954423592498}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.058,30.058]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.058},{"$f":"SUM(C92:C93)","v":31.058}]
[null,{"$f":"B18","v":27.457104557640751},{"$f":"B18","v":27.457104557640751}]
[0,{"$f":"SUM(B95-B94)","v":-3.6008954423592492},{"$f":"SUM(C95-C94)","v":-3.6008954423592492}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.69,8.6920000000000002]
[null,null,1,1]
["Undulator",{"$f":"B5","v":30},{"$f":"SUM(C104+C105)","v":9.69},{"$f":"SUM(D104+D105)","v":9.6920000000000002}]
["Date:",{"$f":"B6","v":"2014-02-27"}]
["Crew:",{"$f":"B7","v":"BR-MR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.6909999999999989}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.69},12.295999999999999,8.6850000000000005,12.29]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.69},{"$f":"SUM(B114:B115)","v":13.295999999999999},{"$f":"SUM(C114:C115)","v":9.6850000000000005},{"$f":"SUM(D114:D115)","v":13.29}]
[{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989}]
[{"$f":"SUM(A117-A116)","v":9.9999999999944578E-4},{"$f":"SUM(B117-B116)","v":-3.6050000000000004},{"$f":"SUM(C117-C116)","v":5.999999999998451E-3},{"$f":"SUM(D117-D116)","v":-3.5990000000000002}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.6890000000000001,12.291,{"$f":"D104","v":8.6920000000000002},12.292999999999999]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.6890000000000001},{"$f":"SUM(B124:B125)","v":13.291},{"$f":"SUM(C124:C125)","v":9.6920000000000002},{"$f":"SUM(D124:D125)","v":13.292999999999999}]
[{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989}]
[{"$f":"SUM(A127-A126)","v":1.9999999999988916E-3},{"$f":"SUM(B127-B126)","v":-3.6000000000000014},{"$f":"SUM(C127-C126)","v":-1.0000000000012221E-3},{"$f":"SUM(D127-D126)","v":-3.6020000000000003}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.089,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.6909999999999989},null,3.3000000000000002E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3980000000000015},null,{"$f":"SUM(C137+C138)","v":-5.431}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.47},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":30}]
["Date:",{"$f":" B6","v":"2014-02-27"}]
["Crew:",{"$f":"B7","v":"BR-MR"}]
[]
[]
["HI =",{"$f":"D109","v":9.6909999999999989}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.2080000000000002,5.2149999999999999,5.2140000000000004,5.2130000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.2080000000000002},{"$f":"SUM(B165:B166)","v":6.2149999999999999},{"$f":"SUM(C165:C166)","v":6.2140000000000004},{"$f":"SUM(D165:D166)","v":6.2130000000000001}]
[{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989}]
[{"$f":"SUM(A168-A167)","v":3.4829999999999988},{"$f":"SUM(B168-B167)","v":3.4759999999999991},{"$f":"SUM(C168-C167)","v":3.4769999999999985},{"$f":"SUM(D168-D167)","v":3.4779999999999989}]
[]
[]
["5)","6)","7)","8)"]
[12.29,12.292,12.292999999999999,12.294]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.29},{"$f":"SUM(B173+B174)","v":13.292},{"$f":"SUM(C173+C174)","v":13.292999999999999},{"$f":"SUM(D173+D174)","v":13.294}]
[{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989}]
[{"$f":"SUM(A176-A175)","v":-3.5990000000000002},{"$f":"SUM(B176-B175)","v":-3.6010000000000009},{"$f":"SUM(C176-C175)","v":-3.6020000000000003},{"$f":"SUM(D176-D175)","v":-3.6030000000000015}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[8.9309999999999992,null,11.074,14.156000000000001]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":9.9309999999999992},null,{"$f":"SUM(C184+C185)","v":12.074},{"$f":"SUM(D184+D185)","v":15.156000000000001}]
[{"$f":"D109","v":9.6909999999999989},null,{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989}]
[{"$f":"SUM(A187-A186)","v":-0.24000000000000021},0,{"$f":"SUM(C187-C186)","v":-2.3830000000000009},{"$f":"SUM(D187-D186)","v":-5.4650000000000016}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[7.9749999999999996,7.9729999999999999,7.9770000000000003,7.976]
[{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989},{"$f":"D109","v":9.6909999999999989}]
[{"$f":"SUM(A196-A195)","v":1.7159999999999993},{"$f":"SUM(B196-B195)","v":1.7179999999999991},{"$f":"SUM(C196-C195)","v":1.7139999999999986},{"$f":"SUM(D196-D195)","v":1.714999999999999}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":30}]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-02-27"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR-MR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4829999999999988},{"$f":"B10*25.4","v":88.468199999999968},null,null,5,{"$f":"Sheet1!A35","v":4.2811045576407523},{"$f":"G10*25.4","v":108.74005576407509}]
[2,{"$f":"Sheet1!B169","v":3.4759999999999991},{"$f":"B11*25.4","v":88.290399999999977},null,null,6,{"$f":"Sheet1!B35","v":4.28510455764075},{"$f":"G11*25.4","v":108.84165576407504}]
[3,{"$f":"Sheet1!C169","v":3.4769999999999985},{"$f":"B12*25.4","v":88.315799999999953},null,null,7,{"$f":"Sheet1!C35","v":4.2871045576407489},{"$f":"G12*25.4","v":108.89245576407502}]
[4,{"$f":"Sheet1!D169","v":3.4779999999999989},{"$f":"B13*25.4","v":88.341199999999972},null,null,8,{"$f":"Sheet1!D35","v":4.2861045576407513},{"$f":"G13*25.4","v":108.86705576407508}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4888954423592473},{"$f":"Sheet1!C118","v":5.999999999998451E-3},{"$f":"B20*25.4","v":-139.41794423592486},{"$f":"C20*25.4","v":0.15239999999996065},null,{"$f":"H10-D21","v":156.89580000000007},{"$f":"C10-E20","v":88.31580000000001}]
["X1",{"$f":"Sheet1!A78","v":-1.8958954423592509},{"$f":"Sheet1!D118","v":-3.5990000000000002},{"$f":"B21*25.4","v":-48.155744235924971},{"$f":"C21*25.4","v":-91.414599999999993}]
["Y1",{"$f":"Sheet1!B78","v":-5.4938954423592499},null,{"$f":"B22*25.4","v":-139.54494423592493}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4918954423592474},{"$f":"Sheet1!A128","v":1.9999999999988916E-3},{"$f":"B26*25.4","v":-139.49414423592486},{"$f":"C26*25.4","v":5.079999999997184E-2},null,{"$f":"H13-D27","v":156.94660000000005},{"$f":"C13-E26","v":88.290400000000005}]
["X1",{"$f":"Sheet1!A87","v":-1.8928954423592508},{"$f":"Sheet1!B128","v":-3.6000000000000014},{"$f":"B27*25.4","v":-48.079544235924971},{"$f":"C27*25.4","v":-91.440000000000026}]
["Y2",{"$f":"Sheet1!C87","v":-5.4908954423592498},"\\",{"$f":"B28*25.4","v":-139.46874423592493}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.47},{"$f":"B36*25.4","v":-138.93799999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7159999999999993},{"$f":"F36*25.4","v":43.586399999999983}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7179999999999991},{"$f":"F37*25.4","v":43.637199999999972}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7139999999999986},{"$f":"F38*25.4","v":43.53559999999996}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.714999999999999},{"$f":"F39*25.4","v":43.560999999999972}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3980000000000015},{"$f":"B42*25.4","v":-111.70920000000002}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-02-27"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4948954423592475},{"$f":"Sheet1!A169","v":3.4829999999999988},{"$f":"SUM(B10*25.4)","v":-139.57034423592489},{"$f":"SUM(C10*25.4)","v":88.468199999999968}]
[2,{"$f":"Sheet1!B28","v":-5.486895442359252},{"$f":"Sheet1!B169","v":3.4759999999999991},{"$f":"SUM(B11*25.4)","v":-139.367144235925},{"$f":"SUM(C11*25.4)","v":88.290399999999977},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.486895442359252},{"$f":"Sheet1!C169","v":3.4769999999999985},-139.367144235925,88.315799999999953,null,{"$f":"Sheet1!C141","v":-5.47},{"$f":"SUM(G12*25.4)","v":-138.93799999999999}]
[4,{"$f":"Sheet1!D28","v":-5.486895442359252},{"$f":"Sheet1!D169","v":3.4779999999999989},-139.367144235925,88.341199999999972]
[5,{"$f":"Sheet1!A35","v":4.2811045576407523},{"$f":"Sheet1!A177","v":-3.5990000000000002},108.74005576407509,-91.414599999999993]
[6,{"$f":"Sheet1!B35","v":4.28510455764075},{"$f":"Sheet1!B177","v":-3.6010000000000009},108.84165576407504,-91.465400000000017,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2871045576407489},{"$f":"Sheet1!C177","v":-3.6020000000000003},108.89245576407502,-91.490800000000007]
[8,{"$f":"Sheet1!D35","v":4.2861045576407513},{"$f":"Sheet1!D177","v":-3.6030000000000015},108.86705576407508,-91.51620000000004,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3980000000000015},{"$f":"SUM(G18*25.4)","v":-111.70920000000002}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8958954423592509},{"$f":"Sheet1!C118","v":5.999999999998451E-3},{"$f":"SUM(B23*25.4)","v":-48.155744235924971},{"$f":"SUM(C23*25.4)","v":0.15239999999996065}]
["X1",{"$f":"Sheet1!A78","v":-1.8958954423592509},{"$f":"Sheet1!D118","v":-3.5990000000000002},{"$f":"SUM(B24*25.4)","v":-48.155744235924971},{"$f":"SUM(C24*25.4)","v":-91.414599999999993},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4938954423592499},null,{"$f":"SUM(B25*25.4)","v":-139.54494423592493},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7159999999999993},{"$f":"SUM(H25*25.4)","v":43.586399999999983}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7179999999999991},{"$f":"SUM(H26*25.4)","v":43.637199999999972}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7139999999999986},{"$f":"SUM(H27*25.4)","v":43.53559999999996}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.714999999999999},{"$f":"SUM(H28*25.4)","v":43.560999999999972}]
["Y1",{"$f":"Sheet1!B87","v":-5.4918954423592474},{"$f":"Sheet1!A128","v":1.9999999999988916E-3},{"$f":"SUM(B29*25.4)","v":-139.49414423592486},{"$f":"SUM(C29*25.4)","v":5.079999999997184E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8928954423592508},{"$f":"Sheet1!B128","v":-3.6000000000000014},{"$f":"SUM(B30*25.4)","v":-48.079544235924971},{"$f":"SUM(C30*25.4)","v":-91.440000000000026}]
["Y2",{"$f":"Sheet1!C87","v":-5.4908954423592498},null,{"$f":"SUM(B31*25.4)","v":-139.46874423592493}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5988954423592503},{"$f":"Sheet1!A118","v":9.9999999999944578E-4},{"$f":"SUM(B37*25.4)","v":-91.411944235924949},{"$f":"SUM(C37*25.4)","v":2.539999999998592E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6050000000000004},0,{"$f":"SUM(C38*25.4)","v":-91.567000000000007}]
["Y2",{"$f":"Sheet1!C68","v":-3.6018954423592504},null,{"$f":"SUM(B39*25.4)","v":-91.488144235924949}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6008954423592492},{"$f":"Sheet1!C128","v":-1.0000000000012221E-3},{"$f":"SUM(B43*25.4)","v":-91.46274423592493},{"$f":"SUM(C43*25.4)","v":-2.540000000003104E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6020000000000003},0,{"$f":"SUM(C44*25.4)","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.6008954423592492},null,{"$f":"SUM(B45*25.4)","v":-91.46274423592493}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0458954423592495},{"$f":"Sheet1!A188","v":-0.24000000000000021},{"$f":"SUM(B49*25.4)","v":-178.96574423592492},{"$f":"SUM(C49*25.4)","v":-6.0960000000000054}]
["B",{"$f":"Sheet1!B45","v":-2.5108954423592493},null,{"$f":"SUM(B50*25.4)","v":-63.77674423592493}]
["C",{"$f":"Sheet1!C45","v":-0.75189544235924899},{"$f":"Sheet1!C188","v":-2.3830000000000009},{"$f":"SUM(B51*25.4)","v":-19.098144235924924},{"$f":"SUM(C51*25.4)","v":-60.52820000000002}]
["D",{"$f":"Sheet1!D45","v":-0.75089544235924777},{"$f":"Sheet1!D188","v":-5.4650000000000016},{"$f":"SUM(B52*25.4)","v":-19.07274423592489},{"$f":"SUM(C52*25.4)","v":-138.81100000000004}]