{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 32"]
["Date:","2010-06-02"]
["Crew:","BR,LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28.41]
["1st. Near",28.41]
["2nd. Far",28.41]
["2nd Near",28.41]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.41}]
["Near Should Read",28.41]
["LOS",28.41]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.892000000000003,32.896000000000001,32.893999999999998,32.893000000000001]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.892000000000003},{"$f":"SUM(B24:B25)","v":33.896000000000001},{"$f":"SUM(C24:C25)","v":33.893999999999998},{"$f":"SUM(D24:D25)","v":33.893000000000001}]
[{"$f":"B18","v":28.41},{"$f":"B18","v":28.41},{"$f":"B18","v":28.41},{"$f":"B18","v":28.41}]
[{"$f":"SUM(A27-A26)","v":-5.4820000000000029},{"$f":"SUM(B27-B26)","v":-5.4860000000000007},{"$f":"SUM(C27-C26)","v":-5.4839999999999982},{"$f":"SUM(D27-D26)","v":-5.4830000000000005}]
[]
["5)","6)","7)","8)"]
[23.114000000000001,23.114000000000001,23.117000000000001,23.12]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.114000000000001},{"$f":"SUM(B31:B32)","v":24.114000000000001},{"$f":"SUM(C31:C32)","v":24.117000000000001},{"$f":"SUM(D31:D32)","v":24.12}]
[{"$f":"B18","v":28.41},{"$f":"B18","v":28.41},{"$f":"B18","v":28.41},{"$f":"B18","v":28.41}]
[{"$f":"SUM(A34-A33)","v":4.2959999999999994},{"$f":"SUM(B34-B33)","v":4.2959999999999994},{"$f":"SUM(C34-C33)","v":4.2929999999999993},{"$f":"SUM(D34-D33)","v":4.2899999999999991}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.444000000000003,29.91,28.151,28.152000000000001]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.444000000000003},{"$f":"SUM(B41:B42)","v":30.91},{"$f":"SUM(C41:C42)","v":29.151},{"$f":"SUM(D41:D42)","v":29.152000000000001}]
[{"$f":"B18","v":28.41},{"$f":"B18","v":28.41},{"$f":"B18","v":28.41},{"$f":"B18","v":28.41}]
[{"$f":"SUM(A44-A43)","v":-7.0340000000000025},{"$f":"SUM(B44-B43)","v":-2.5},{"$f":"SUM(C44-C43)","v":-0.74099999999999966},{"$f":"SUM(D44-D43)","v":-0.74200000000000088}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.41},"LOS"]
["Undulator",{"$f":"B5","v":"SN 32"}]
["Date:",{"$f":"B6","v":"2010-06-02"}]
["Crew:",{"$f":"B7","v":"BR,LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.007999999999999,31.012]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.007999999999996},{"$f":"SUM(C64:C65)","v":32.012}]
[null,{"$f":"B18","v":28.41},{"$f":"B18","v":28.41}]
[0,{"$f":"SUM(B67-B66)","v":-3.5979999999999954},{"$f":"SUM(C67-C66)","v":-3.6020000000000003}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.29,32.886000000000003,32.883000000000003]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.29},{"$f":"SUM(B74:B75)","v":33.886000000000003},{"$f":"SUM(C74:C75)","v":33.883000000000003}]
[{"$f":"B18","v":28.41},{"$f":"B18","v":28.41},{"$f":"B18","v":28.41}]
[{"$f":"SUM(A77-A76)","v":-1.879999999999999},{"$f":"SUM(B77-B76)","v":-5.4760000000000026},{"$f":"SUM(C77-C76)","v":-5.4730000000000025}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.300999999999998,32.893999999999998,32.9]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.300999999999998},{"$f":"SUM(B83:B84)","v":33.893999999999998},{"$f":"SUM(C83:C84)","v":33.9}]
[{"$f":"B18","v":28.41},{"$f":"B18","v":28.41},{"$f":"B18","v":28.41}]
[{"$f":"SUM(A86-A85)","v":-1.8909999999999982},{"$f":"SUM(B86-B85)","v":-5.4839999999999982},{"$f":"SUM(C86-C85)","v":-5.4899999999999984}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.012,31.004999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.012},{"$f":"SUM(C92:C93)","v":32.004999999999995}]
[null,{"$f":"B18","v":28.41},{"$f":"B18","v":28.41}]
[0,{"$f":"SUM(B95-B94)","v":-3.6020000000000003},{"$f":"SUM(C95-C94)","v":-3.5949999999999953}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.1720000000000006,9.18]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 32"},{"$f":"SUM(C104+C105)","v":10.172000000000001},{"$f":"SUM(D104+D105)","v":10.18}]
["Date:",{"$f":"B6","v":"2010-06-02"}]
["Crew:",{"$f":"B7","v":"BR,LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.176}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.1720000000000006},12.78,9.18,12.785]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.172000000000001},{"$f":"SUM(B114:B115)","v":13.78},{"$f":"SUM(C114:C115)","v":10.18},{"$f":"SUM(D114:D115)","v":13.785}]
[{"$f":"D109","v":10.176},{"$f":"D109","v":10.176},{"$f":"D109","v":10.176},{"$f":"D109","v":10.176}]
[{"$f":"SUM(A117-A116)","v":3.9999999999995595E-3},{"$f":"SUM(B117-B116)","v":-3.6039999999999992},{"$f":"SUM(C117-C116)","v":-3.9999999999995595E-3},{"$f":"SUM(D117-D116)","v":-3.609}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.1880000000000006,12.79,{"$f":"D104","v":9.18},12.784000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.188000000000001},{"$f":"SUM(B124:B125)","v":13.79},{"$f":"SUM(C124:C125)","v":10.18},{"$f":"SUM(D124:D125)","v":13.784000000000001}]
[{"$f":"D109","v":10.176},{"$f":"D109","v":10.176},{"$f":"D109","v":10.176},{"$f":"D109","v":10.176}]
[{"$f":"SUM(A127-A126)","v":-1.2000000000000455E-2},{"$f":"SUM(B127-B126)","v":-3.613999999999999},{"$f":"SUM(C127-C126)","v":-3.9999999999995595E-3},{"$f":"SUM(D127-D126)","v":-3.6080000000000005}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.571999999999999,null,-5.47,"LOS"]
[{"$f":"D109","v":10.176},null,3.5999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.395999999999999},null,{"$f":"SUM(C137+C138)","v":-5.4340000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4729999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 32"}]
["Date:",{"$f":"B6","v":"2010-06-02"}]
["Crew:",{"$f":"B7","v":"BR,LG"}]
[]
[]
["HI =",{"$f":"D109","v":10.176}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.7,5.7060000000000004,5.7089999999999996,5.7050000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.7},{"$f":"SUM(B165:B166)","v":6.7060000000000004},{"$f":"SUM(C165:C166)","v":6.7089999999999996},{"$f":"SUM(D165:D166)","v":6.7050000000000001}]
[{"$f":"D109","v":10.176},{"$f":"D109","v":10.176},{"$f":"D109","v":10.176},{"$f":"D109","v":10.176}]
[{"$f":"SUM(A168-A167)","v":3.476},{"$f":"SUM(B168-B167)","v":3.4699999999999998},{"$f":"SUM(C168-C167)","v":3.4670000000000005},{"$f":"SUM(D168-D167)","v":3.4710000000000001}]
[]
[]
["5)","6)","7)","8)"]
[12.785,12.79,12.794,12.79]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.785},{"$f":"SUM(B173+B174)","v":13.79},{"$f":"SUM(C173+C174)","v":13.794},{"$f":"SUM(D173+D174)","v":13.79}]
[{"$f":"D109","v":10.176},{"$f":"D109","v":10.176},{"$f":"D109","v":10.176},{"$f":"D109","v":10.176}]
[{"$f":"SUM(A176-A175)","v":-3.609},{"$f":"SUM(B176-B175)","v":-3.613999999999999},{"$f":"SUM(C176-C175)","v":-3.6180000000000003},{"$f":"SUM(D176-D175)","v":-3.613999999999999}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.4139999999999997,null,11.6,14.64]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.414},null,{"$f":"SUM(C184+C185)","v":12.6},{"$f":"SUM(D184+D185)","v":15.64}]
[{"$f":"D109","v":10.176},null,{"$f":"D109","v":10.176},{"$f":"D109","v":10.176}]
[{"$f":"SUM(A187-A186)","v":-0.23799999999999955},0,{"$f":"SUM(C187-C186)","v":-2.4239999999999995},{"$f":"SUM(D187-D186)","v":-5.4640000000000004}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.4649999999999999,8.4629999999999992,8.4670000000000005,8.4649999999999999]
[{"$f":"D109","v":10.176},{"$f":"D109","v":10.176},{"$f":"D109","v":10.176},{"$f":"D109","v":10.176}]
[{"$f":"SUM(A196-A195)","v":1.7110000000000003},{"$f":"SUM(B196-B195)","v":1.713000000000001},{"$f":"SUM(C196-C195)","v":1.7089999999999996},{"$f":"SUM(D196-D195)","v":1.7110000000000003}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 32"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-06-02"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR,LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.476},{"$f":"B10*25.4","v":88.290399999999991},null,null,5,{"$f":"Sheet1!A35","v":4.2959999999999994},{"$f":"G10*25.4","v":109.11839999999998}]
[2,{"$f":"Sheet1!B169","v":3.4699999999999998},{"$f":"B11*25.4","v":88.137999999999991},null,null,6,{"$f":"Sheet1!B35","v":4.2959999999999994},{"$f":"G11*25.4","v":109.11839999999998}]
[3,{"$f":"Sheet1!C169","v":3.4670000000000005},{"$f":"B12*25.4","v":88.061800000000005},null,null,7,{"$f":"Sheet1!C35","v":4.2929999999999993},{"$f":"G12*25.4","v":109.04219999999998}]
[4,{"$f":"Sheet1!D169","v":3.4710000000000001},{"$f":"B13*25.4","v":88.163399999999996},null,null,8,{"$f":"Sheet1!D35","v":4.2899999999999991},{"$f":"G13*25.4","v":108.96599999999997}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4730000000000025},{"$f":"Sheet1!C118","v":-3.9999999999995595E-3},{"$f":"B20*25.4","v":-139.01420000000005},{"$f":"C20*25.4","v":-0.10159999999998881},null,{"$f":"H10-D21","v":156.87039999999996},{"$f":"C10-E20","v":88.391999999999982}]
["X1",{"$f":"Sheet1!A78","v":-1.879999999999999},{"$f":"Sheet1!D118","v":-3.609},{"$f":"B21*25.4","v":-47.751999999999974},{"$f":"C21*25.4","v":-91.668599999999998}]
["Y1",{"$f":"Sheet1!B78","v":-5.4760000000000026},null,{"$f":"B22*25.4","v":-139.09040000000007}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4839999999999982},{"$f":"Sheet1!A128","v":-1.2000000000000455E-2},{"$f":"B26*25.4","v":-139.29359999999994},{"$f":"C26*25.4","v":-0.30480000000001151},null,{"$f":"H13-D27","v":156.99739999999991},{"$f":"C13-E26","v":88.46820000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8909999999999982},{"$f":"Sheet1!B128","v":-3.613999999999999},{"$f":"B27*25.4","v":-48.031399999999955},{"$f":"C27*25.4","v":-91.795599999999965}]
["Y2",{"$f":"Sheet1!C87","v":-5.4899999999999984},"\\",{"$f":"B28*25.4","v":-139.44599999999994}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4729999999999999},{"$f":"B36*25.4","v":-139.01419999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7110000000000003},{"$f":"F36*25.4","v":43.459400000000002}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.713000000000001},{"$f":"F37*25.4","v":43.510200000000019}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7089999999999996},{"$f":"F38*25.4","v":43.408599999999986}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7110000000000003},{"$f":"F39*25.4","v":43.459400000000002}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.395999999999999},{"$f":"B42*25.4","v":-111.65839999999997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 32"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-06-02"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR,LG"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4820000000000029},{"$f":"Sheet1!A169","v":3.476},{"$f":"SUM(B10*25.4)","v":-139.24280000000007},{"$f":"SUM(C10*25.4)","v":88.290399999999991}]
[2,{"$f":"Sheet1!B28","v":-5.4860000000000007},{"$f":"Sheet1!B169","v":3.4699999999999998},{"$f":"SUM(B11*25.4)","v":-139.34440000000001},{"$f":"SUM(C11*25.4)","v":88.137999999999991},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4839999999999982},{"$f":"Sheet1!C169","v":3.4670000000000005},-139.29359999999994,88.061800000000005,null,{"$f":"Sheet1!C141","v":-5.4729999999999999},{"$f":"SUM(G12*25.4)","v":-139.01419999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4830000000000005},{"$f":"Sheet1!D169","v":3.4710000000000001},-139.26820000000001,88.163399999999996]
[5,{"$f":"Sheet1!A35","v":4.2959999999999994},{"$f":"Sheet1!A177","v":-3.609},109.11839999999998,-91.668599999999998]
[6,{"$f":"Sheet1!B35","v":4.2959999999999994},{"$f":"Sheet1!B177","v":-3.613999999999999},109.11839999999998,-91.795599999999965,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2929999999999993},{"$f":"Sheet1!C177","v":-3.6180000000000003},109.04219999999998,-91.897199999999998]
[8,{"$f":"Sheet1!D35","v":4.2899999999999991},{"$f":"Sheet1!D177","v":-3.613999999999999},108.96599999999997,-91.795599999999965,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.395999999999999},{"$f":"SUM(G18*25.4)","v":-111.65839999999997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.879999999999999},{"$f":"Sheet1!C118","v":-3.9999999999995595E-3},{"$f":"SUM(B23*25.4)","v":-47.751999999999974},{"$f":"SUM(C23*25.4)","v":-0.10159999999998881}]
["X1",{"$f":"Sheet1!A78","v":-1.879999999999999},{"$f":"Sheet1!D118","v":-3.609},{"$f":"SUM(B24*25.4)","v":-47.751999999999974},{"$f":"SUM(C24*25.4)","v":-91.668599999999998},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4760000000000026},null,{"$f":"SUM(B25*25.4)","v":-139.09040000000007},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7110000000000003},{"$f":"SUM(H25*25.4)","v":43.459400000000002}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.713000000000001},{"$f":"SUM(H26*25.4)","v":43.510200000000019}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7089999999999996},{"$f":"SUM(H27*25.4)","v":43.408599999999986}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7110000000000003},{"$f":"SUM(H28*25.4)","v":43.459400000000002}]
["Y1",{"$f":"Sheet1!B87","v":-5.4839999999999982},{"$f":"Sheet1!A128","v":-1.2000000000000455E-2},{"$f":"SUM(B29*25.4)","v":-139.29359999999994},{"$f":"SUM(C29*25.4)","v":-0.30480000000001151}]
["X1",{"$f":"Sheet1!A87","v":-1.8909999999999982},{"$f":"Sheet1!B128","v":-3.613999999999999},{"$f":"SUM(B30*25.4)","v":-48.031399999999955},{"$f":"SUM(C30*25.4)","v":-91.795599999999965}]
["Y2",{"$f":"Sheet1!C87","v":-5.4899999999999984},null,{"$f":"SUM(B31*25.4)","v":-139.44599999999994}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5979999999999954},{"$f":"Sheet1!A118","v":3.9999999999995595E-3},{"$f":"SUM(B37*25.4)","v":-91.389199999999875},{"$f":"SUM(C37*25.4)","v":0.10159999999998881},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6039999999999992},0,{"$f":"SUM(C38*25.4)","v":-91.541599999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6020000000000003},null,{"$f":"SUM(B39*25.4)","v":-91.490800000000007}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6020000000000003},{"$f":"Sheet1!C128","v":-3.9999999999995595E-3},{"$f":"SUM(B43*25.4)","v":-91.490800000000007},{"$f":"SUM(C43*25.4)","v":-0.10159999999998881}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6080000000000005},0,{"$f":"SUM(C44*25.4)","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.5949999999999953},null,{"$f":"SUM(B45*25.4)","v":-91.312999999999874}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0340000000000025},{"$f":"Sheet1!A188","v":-0.23799999999999955},{"$f":"SUM(B49*25.4)","v":-178.66360000000006},{"$f":"SUM(C49*25.4)","v":-6.0451999999999879}]
["B",{"$f":"Sheet1!B45","v":-2.5},null,{"$f":"SUM(B50*25.4)","v":-63.5}]
["C",{"$f":"Sheet1!C45","v":-0.74099999999999966},{"$f":"Sheet1!C188","v":-2.4239999999999995},{"$f":"SUM(B51*25.4)","v":-18.82139999999999},{"$f":"SUM(C51*25.4)","v":-61.569599999999987}]
["D",{"$f":"Sheet1!D45","v":-0.74200000000000088},{"$f":"Sheet1!D188","v":-5.4640000000000004},{"$f":"SUM(B52*25.4)","v":-18.846800000000023},{"$f":"SUM(C52*25.4)","v":-138.78560000000002}]