{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 33"]
["Date:","2014-01-28"]
["Crew:","LG, MR, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",29]
["1st. Near",28.481000000000002]
["2nd. Far",28]
["2nd Near",28.228999999999999]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.30614973262032}]
["Near Should Read",28.30614973262032]
["LOS",28.30614973262032]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.799999999999997,32.795000000000002,32.796999999999997,32.793999999999997]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.799999999999997},{"$f":"SUM(B24:B25)","v":33.795000000000002},{"$f":"SUM(C24:C25)","v":33.796999999999997},{"$f":"SUM(D24:D25)","v":33.793999999999997}]
[{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032}]
[{"$f":"SUM(A27-A26)","v":-5.4938502673796776},{"$f":"SUM(B27-B26)","v":-5.4888502673796822},{"$f":"SUM(C27-C26)","v":-5.4908502673796775},{"$f":"SUM(D27-D26)","v":-5.4878502673796774}]
[]
["5)","6)","7)","8)"]
[23.02,23.018999999999998,23.02,23.02]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.02},{"$f":"SUM(B31:B32)","v":24.018999999999998},{"$f":"SUM(C31:C32)","v":24.02},{"$f":"SUM(D31:D32)","v":24.02}]
[{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032}]
[{"$f":"SUM(A34-A33)","v":4.28614973262032},{"$f":"SUM(B34-B33)","v":4.2871497326203212},{"$f":"SUM(C34-C33)","v":4.28614973262032},{"$f":"SUM(D34-D33)","v":4.28614973262032}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.35,29.817,28.056000000000001,28.056000000000001]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.35},{"$f":"SUM(B41:B42)","v":30.817},{"$f":"SUM(C41:C42)","v":29.056000000000001},{"$f":"SUM(D41:D42)","v":29.056000000000001}]
[{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032}]
[{"$f":"SUM(A44-A43)","v":-7.0438502673796819},{"$f":"SUM(B44-B43)","v":-2.5108502673796806},{"$f":"SUM(C44-C43)","v":-0.74985026737968141},{"$f":"SUM(D44-D43)","v":-0.74985026737968141}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.30614973262032},"LOS"]
["Undulator",{"$f":"B5","v":"SN 33"}]
["Date:",{"$f":"B6","v":"2014-01-28"}]
["Crew:",{"$f":"B7","v":"LG, MR, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.905999999999999,30.908000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.905999999999999},{"$f":"SUM(C64:C65)","v":31.908000000000001}]
[null,{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032}]
[0,{"$f":"SUM(B67-B66)","v":-3.5998502673796793},{"$f":"SUM(C67-C66)","v":-3.6018502673796817}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.2,32.793999999999997,32.796999999999997]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.2},{"$f":"SUM(B74:B75)","v":33.793999999999997},{"$f":"SUM(C74:C75)","v":33.796999999999997}]
[{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032}]
[{"$f":"SUM(A77-A76)","v":-1.8938502673796798},{"$f":"SUM(B77-B76)","v":-5.4878502673796774},{"$f":"SUM(C77-C76)","v":-5.4908502673796775}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.2,32.795999999999999,32.795000000000002]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.2},{"$f":"SUM(B83:B84)","v":33.795999999999999},{"$f":"SUM(C83:C84)","v":33.795000000000002}]
[{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032}]
[{"$f":"SUM(A86-A85)","v":-1.8938502673796798},{"$f":"SUM(B86-B85)","v":-5.4898502673796798},{"$f":"SUM(C86-C85)","v":-5.4888502673796822}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.905999999999999,30.9]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.905999999999999},{"$f":"SUM(C92:C93)","v":31.9}]
[null,{"$f":"B18","v":28.30614973262032},{"$f":"B18","v":28.30614973262032}]
[0,{"$f":"SUM(B95-B94)","v":-3.5998502673796793},{"$f":"SUM(C95-C94)","v":-3.5938502673796791}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.6950000000000003,9.7029999999999994]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 33"},{"$f":"SUM(C104+C105)","v":10.695},{"$f":"SUM(D104+D105)","v":10.702999999999999}]
["Date:",{"$f":"B6","v":"2014-01-28"}]
["Crew:",{"$f":"B7","v":"LG, MR, BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.699}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.6950000000000003},13.303000000000001,9.6999999999999993,13.3]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.695},{"$f":"SUM(B114:B115)","v":14.303000000000001},{"$f":"SUM(C114:C115)","v":10.7},{"$f":"SUM(D114:D115)","v":14.3}]
[{"$f":"D109","v":10.699},{"$f":"D109","v":10.699},{"$f":"D109","v":10.699},{"$f":"D109","v":10.699}]
[{"$f":"SUM(A117-A116)","v":3.9999999999995595E-3},{"$f":"SUM(B117-B116)","v":-3.604000000000001},{"$f":"SUM(C117-C116)","v":-9.9999999999944578E-4},{"$f":"SUM(D117-D116)","v":-3.6010000000000009}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.702,13.302,{"$f":"D104","v":9.7029999999999994},13.305]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.702},{"$f":"SUM(B124:B125)","v":14.302},{"$f":"SUM(C124:C125)","v":10.702999999999999},{"$f":"SUM(D124:D125)","v":14.305}]
[{"$f":"D109","v":10.699},{"$f":"D109","v":10.699},{"$f":"D109","v":10.699},{"$f":"D109","v":10.699}]
[{"$f":"SUM(A127-A126)","v":-3.0000000000001137E-3},{"$f":"SUM(B127-B126)","v":-3.6029999999999998},{"$f":"SUM(C127-C126)","v":-3.9999999999995595E-3},{"$f":"SUM(D127-D126)","v":-3.6059999999999999}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[15.097,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.699},null,3.2000000000000001E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3979999999999997},null,{"$f":"SUM(C137+C138)","v":-5.4320000000000004}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4710000000000001},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 33"}]
["Date:","2014-01-28"]
["Crew:",{"$f":"B7","v":"LG, MR, BR"}]
[]
[]
["HI =",{"$f":"D109","v":10.699}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.22,6.2270000000000003,6.2270000000000003,6.226]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.22},{"$f":"SUM(B165:B166)","v":7.2270000000000003},{"$f":"SUM(C165:C166)","v":7.2270000000000003},{"$f":"SUM(D165:D166)","v":7.226}]
[{"$f":"D109","v":10.699},{"$f":"D109","v":10.699},{"$f":"D109","v":10.699},{"$f":"D109","v":10.699}]
[{"$f":"SUM(A168-A167)","v":3.4790000000000001},{"$f":"SUM(B168-B167)","v":3.4719999999999995},{"$f":"SUM(C168-C167)","v":3.4719999999999995},{"$f":"SUM(D168-D167)","v":3.4729999999999999}]
[]
[]
["5)","6)","7)","8)"]
[13.3,13.304,13.303000000000001,13.304]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.3},{"$f":"SUM(B173+B174)","v":14.304},{"$f":"SUM(C173+C174)","v":14.303000000000001},{"$f":"SUM(D173+D174)","v":14.304}]
[{"$f":"D109","v":10.699},{"$f":"D109","v":10.699},{"$f":"D109","v":10.699},{"$f":"D109","v":10.699}]
[{"$f":"SUM(A176-A175)","v":-3.6010000000000009},{"$f":"SUM(B176-B175)","v":-3.6050000000000004},{"$f":"SUM(C176-C175)","v":-3.604000000000001},{"$f":"SUM(D176-D175)","v":-3.6050000000000004}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.9380000000000006,null,12.083,15.164999999999999]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.938000000000001},null,{"$f":"SUM(C184+C185)","v":13.083},{"$f":"SUM(D184+D185)","v":16.164999999999999}]
[{"$f":"D109","v":10.699},null,{"$f":"D109","v":10.699},{"$f":"D109","v":10.699}]
[{"$f":"SUM(A187-A186)","v":-0.23900000000000077},0,{"$f":"SUM(C187-C186)","v":-2.3840000000000003},{"$f":"SUM(D187-D186)","v":-5.4659999999999993}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.984,8.9849999999999994,8.9879999999999995,8.9890000000000008]
[{"$f":"D109","v":10.699},{"$f":"D109","v":10.699},{"$f":"D109","v":10.699},{"$f":"D109","v":10.699}]
[{"$f":"SUM(A196-A195)","v":1.7149999999999999},{"$f":"SUM(B196-B195)","v":1.7140000000000004},{"$f":"SUM(C196-C195)","v":1.7110000000000003},{"$f":"SUM(D196-D195)","v":1.7099999999999991}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 33"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-01-28"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"LG, MR, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4790000000000001},{"$f":"B10*25.4","v":88.366599999999991},null,null,5,{"$f":"Sheet1!A35","v":4.28614973262032},{"$f":"G10*25.4","v":108.86820320855612}]
[2,{"$f":"Sheet1!B169","v":3.4719999999999995},{"$f":"B11*25.4","v":88.188799999999986},null,null,6,{"$f":"Sheet1!B35","v":4.2871497326203212},{"$f":"G11*25.4","v":108.89360320855616}]
[3,{"$f":"Sheet1!C169","v":3.4719999999999995},{"$f":"B12*25.4","v":88.188799999999986},null,null,7,{"$f":"Sheet1!C35","v":4.28614973262032},{"$f":"G12*25.4","v":108.86820320855612}]
[4,{"$f":"Sheet1!D169","v":3.4729999999999999},{"$f":"B13*25.4","v":88.214199999999991},null,null,8,{"$f":"Sheet1!D35","v":4.28614973262032},{"$f":"G13*25.4","v":108.86820320855612}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4908502673796775},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"B20*25.4","v":-139.46759679144381},{"$f":"C20*25.4","v":-2.539999999998592E-2},null,{"$f":"H10-D21","v":156.97199999999998},{"$f":"C10-E20","v":88.391999999999982}]
["X1",{"$f":"Sheet1!A78","v":-1.8938502673796798},{"$f":"Sheet1!D118","v":-3.6010000000000009},{"$f":"B21*25.4","v":-48.103796791443862},{"$f":"C21*25.4","v":-91.465400000000017}]
["Y1",{"$f":"Sheet1!B78","v":-5.4878502673796774},null,{"$f":"B22*25.4","v":-139.39139679144381}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4898502673796798},{"$f":"Sheet1!A128","v":-3.0000000000001137E-3},{"$f":"B26*25.4","v":-139.44219679144385},{"$f":"C26*25.4","v":-7.6200000000002877E-2},null,{"$f":"H13-D27","v":156.97199999999998},{"$f":"C13-E26","v":88.290399999999991}]
["X1",{"$f":"Sheet1!A87","v":-1.8938502673796798},{"$f":"Sheet1!B128","v":-3.6029999999999998},{"$f":"B27*25.4","v":-48.103796791443862},{"$f":"C27*25.4","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4888502673796822},"\\",{"$f":"B28*25.4","v":-139.41679679144391}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4710000000000001},{"$f":"B36*25.4","v":-138.96340000000001},null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"F36*25.4","v":43.560999999999993}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7140000000000004},{"$f":"F37*25.4","v":43.535600000000009}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7110000000000003},{"$f":"F38*25.4","v":43.459400000000002}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7099999999999991},{"$f":"F39*25.4","v":43.433999999999976}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3979999999999997},{"$f":"B42*25.4","v":-111.70919999999998}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-01-28"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4938502673796776},{"$f":"Sheet1!A169","v":3.4790000000000001},{"$f":"SUM(B10*25.4)","v":-139.54379679144381},{"$f":"SUM(C10*25.4)","v":88.366599999999991}]
[2,{"$f":"Sheet1!B28","v":-5.4888502673796822},{"$f":"Sheet1!B169","v":3.4719999999999995},{"$f":"SUM(B11*25.4)","v":-139.41679679144391},{"$f":"SUM(C11*25.4)","v":88.188799999999986},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4908502673796775},{"$f":"Sheet1!C169","v":3.4719999999999995},-139.46759679144381,88.188799999999986,null,{"$f":"Sheet1!C141","v":-5.4710000000000001},{"$f":"SUM(G12*25.4)","v":-138.96340000000001}]
[4,{"$f":"Sheet1!D28","v":-5.4878502673796774},{"$f":"Sheet1!D169","v":3.4729999999999999},-139.39139679144381,88.214199999999991]
[5,{"$f":"Sheet1!A35","v":4.28614973262032},{"$f":"Sheet1!A177","v":-3.6010000000000009},108.86820320855612,-91.465400000000017]
[6,{"$f":"Sheet1!B35","v":4.2871497326203212},{"$f":"Sheet1!B177","v":-3.6050000000000004},108.89360320855616,-91.567000000000007,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.28614973262032},{"$f":"Sheet1!C177","v":-3.604000000000001},108.86820320855612,-91.541600000000017]
[8,{"$f":"Sheet1!D35","v":4.28614973262032},{"$f":"Sheet1!D177","v":-3.6050000000000004},108.86820320855612,-91.567000000000007,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3979999999999997},{"$f":"SUM(G18*25.4)","v":-111.70919999999998}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8938502673796798},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"SUM(B23*25.4)","v":-48.103796791443862},{"$f":"SUM(C23*25.4)","v":-2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8938502673796798},{"$f":"Sheet1!D118","v":-3.6010000000000009},{"$f":"SUM(B24*25.4)","v":-48.103796791443862},{"$f":"SUM(C24*25.4)","v":-91.465400000000017},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4878502673796774},null,{"$f":"SUM(B25*25.4)","v":-139.39139679144381},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7149999999999999},{"$f":"SUM(H25*25.4)","v":43.560999999999993}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7140000000000004},{"$f":"SUM(H26*25.4)","v":43.535600000000009}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7110000000000003},{"$f":"SUM(H27*25.4)","v":43.459400000000002}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7099999999999991},{"$f":"SUM(H28*25.4)","v":43.433999999999976}]
["Y1",{"$f":"Sheet1!B87","v":-5.4898502673796798},{"$f":"Sheet1!A128","v":-3.0000000000001137E-3},{"$f":"SUM(B29*25.4)","v":-139.44219679144385},{"$f":"SUM(C29*25.4)","v":-7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8938502673796798},{"$f":"Sheet1!B128","v":-3.6029999999999998},{"$f":"SUM(B30*25.4)","v":-48.103796791443862},{"$f":"SUM(C30*25.4)","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4888502673796822},null,{"$f":"SUM(B31*25.4)","v":-139.41679679144391}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5998502673796793},{"$f":"Sheet1!A118","v":3.9999999999995595E-3},{"$f":"SUM(B37*25.4)","v":-91.436196791443848},{"$f":"SUM(C37*25.4)","v":0.10159999999998881},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.604000000000001},0,{"$f":"SUM(C38*25.4)","v":-91.541600000000017}]
["Y2",{"$f":"Sheet1!C68","v":-3.6018502673796817},null,{"$f":"SUM(B39*25.4)","v":-91.486996791443914}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5998502673796793},{"$f":"Sheet1!C128","v":-3.9999999999995595E-3},{"$f":"SUM(B43*25.4)","v":-91.436196791443848},{"$f":"SUM(C43*25.4)","v":-0.10159999999998881}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6059999999999999},0,{"$f":"SUM(C44*25.4)","v":-91.592399999999998}]
["Y2",{"$f":"Sheet1!C96","v":-3.5938502673796791},null,{"$f":"SUM(B45*25.4)","v":-91.283796791443848}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0438502673796819},{"$f":"Sheet1!A188","v":-0.23900000000000077},{"$f":"SUM(B49*25.4)","v":-178.9137967914439},{"$f":"SUM(C49*25.4)","v":-6.0706000000000193}]
["B",{"$f":"Sheet1!B45","v":-2.5108502673796806},null,{"$f":"SUM(B50*25.4)","v":-63.775596791443881}]
["C",{"$f":"Sheet1!C45","v":-0.74985026737968141},{"$f":"Sheet1!C188","v":-2.3840000000000003},{"$f":"SUM(B51*25.4)","v":-19.046196791443908},{"$f":"SUM(C51*25.4)","v":-60.553600000000003}]
["D",{"$f":"Sheet1!D45","v":-0.74985026737968141},{"$f":"Sheet1!D188","v":-5.4659999999999993},{"$f":"SUM(B52*25.4)","v":-19.046196791443908},{"$f":"SUM(C52*25.4)","v":-138.83639999999997}]