{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN35"]
["Date:","2013-09-16"]
["Crew:","BR,FG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",28.646000000000001]
["2nd. Far",29.234000000000002]
["2nd Near",29.228000000000002]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":29.225886198547215}]
["Near Should Read",29.225886198547219]
["LOS",29.225886198547215]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.726999999999997,33.722999999999999,33.72,33.725000000000001]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.726999999999997},{"$f":"SUM(B24:B25)","v":34.722999999999999},{"$f":"SUM(C24:C25)","v":34.72},{"$f":"SUM(D24:D25)","v":34.725000000000001}]
[{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215}]
[{"$f":"SUM(A27-A26)","v":-5.5011138014527816},{"$f":"SUM(B27-B26)","v":-5.4971138014527838},{"$f":"SUM(C27-C26)","v":-5.4941138014527837},{"$f":"SUM(D27-D26)","v":-5.4991138014527863}]
[]
["5)","6)","7)","8)"]
[23.946000000000002,23.942,23.943000000000001,23.940999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.946000000000002},{"$f":"SUM(B31:B32)","v":24.942},{"$f":"SUM(C31:C32)","v":24.943000000000001},{"$f":"SUM(D31:D32)","v":24.940999999999999}]
[{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215}]
[{"$f":"SUM(A34-A33)","v":4.2798861985472136},{"$f":"SUM(B34-B33)","v":4.283886198547215},{"$f":"SUM(C34-C33)","v":4.2828861985472138},{"$f":"SUM(D34-D33)","v":4.2848861985472162}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[35.271000000000001,30.736999999999998,28.978000000000002,28.978999999999999]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":36.271000000000001},{"$f":"SUM(B41:B42)","v":31.736999999999998},{"$f":"SUM(C41:C42)","v":29.978000000000002},{"$f":"SUM(D41:D42)","v":29.978999999999999}]
[{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215}]
[{"$f":"SUM(A44-A43)","v":-7.0451138014527857},{"$f":"SUM(B44-B43)","v":-2.5111138014527832},{"$f":"SUM(C44-C43)","v":-0.75211380145278639},{"$f":"SUM(D44-D43)","v":-0.75311380145278406}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":29.225886198547215},"LOS"]
["Undulator",{"$f":"B5","v":"SN35"}]
["Date:",{"$f":"B6","v":"2013-09-16"}]
["Crew:",{"$f":"B7","v":"BR,FG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.826000000000001,31.829000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.826000000000001},{"$f":"SUM(C64:C65)","v":32.829000000000001}]
[null,{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215}]
[0,{"$f":"SUM(B67-B66)","v":-3.6001138014527854},{"$f":"SUM(C67-C66)","v":-3.6031138014527855}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[30.120999999999999,33.715000000000003,33.719000000000001]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":31.120999999999999},{"$f":"SUM(B74:B75)","v":34.715000000000003},{"$f":"SUM(C74:C75)","v":34.719000000000001}]
[{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215}]
[{"$f":"SUM(A77-A76)","v":-1.8951138014527835},{"$f":"SUM(B77-B76)","v":-5.4891138014527883},{"$f":"SUM(C77-C76)","v":-5.493113801452786}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[30.125,33.72,33.720999999999997]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":31.125},{"$f":"SUM(B83:B84)","v":34.72},{"$f":"SUM(C83:C84)","v":34.720999999999997}]
[{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215}]
[{"$f":"SUM(A86-A85)","v":-1.8991138014527849},{"$f":"SUM(B86-B85)","v":-5.4941138014527837},{"$f":"SUM(C86-C85)","v":-5.4951138014527814}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.827000000000002,31.821999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.826999999999998},{"$f":"SUM(C92:C93)","v":32.822000000000003}]
[null,{"$f":"B18","v":29.225886198547215},{"$f":"B18","v":29.225886198547215}]
[0,{"$f":"SUM(B95-B94)","v":-3.601113801452783},{"$f":"SUM(C95-C94)","v":-3.5961138014527876}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,6.8070000000000004,6.81]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN35"},{"$f":"SUM(C104+C105)","v":7.8070000000000004},{"$f":"SUM(D104+D105)","v":7.81}]
["Date:",{"$f":"B6","v":"2013-09-16"}]
["Crew:",{"$f":"B7","v":"BR,FG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":7.8085000000000004}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":6.8070000000000004},10.414999999999999,6.81,10.41]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":7.8070000000000004},{"$f":"SUM(B114:B115)","v":11.414999999999999},{"$f":"SUM(C114:C115)","v":7.81},{"$f":"SUM(D114:D115)","v":11.41}]
[{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004}]
[{"$f":"SUM(A117-A116)","v":1.5000000000000568E-3},{"$f":"SUM(B117-B116)","v":-3.6064999999999987},{"$f":"SUM(C117-C116)","v":-1.4999999999991687E-3},{"$f":"SUM(D117-D116)","v":-3.6014999999999997}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[6.8120000000000003,10.413,{"$f":"D104","v":6.81},10.412000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":7.8120000000000003},{"$f":"SUM(B124:B125)","v":11.413},{"$f":"SUM(C124:C125)","v":7.81},{"$f":"SUM(D124:D125)","v":11.412000000000001}]
[{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004}]
[{"$f":"SUM(A127-A126)","v":-3.4999999999998366E-3},{"$f":"SUM(B127-B126)","v":-3.6044999999999998},{"$f":"SUM(C127-C126)","v":-1.4999999999991687E-3},{"$f":"SUM(D127-D126)","v":-3.6035000000000004}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[12.208,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":7.8085000000000004},null,3.7999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3994999999999997},null,{"$f":"SUM(C137+C138)","v":-5.4260000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4649999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN35"}]
["Date:",{"$f":"B6","v":"2013-09-16"}]
["Crew:",{"$f":"B7","v":"BR,FG"}]
[]
[]
["HI =",{"$f":"D109","v":7.8085000000000004}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[3.331,3.335,3.3340000000000001,3.3319999999999999]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":4.3309999999999995},{"$f":"SUM(B165:B166)","v":4.335},{"$f":"SUM(C165:C166)","v":4.3339999999999996},{"$f":"SUM(D165:D166)","v":4.3319999999999999}]
[{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004}]
[{"$f":"SUM(A168-A167)","v":3.4775000000000009},{"$f":"SUM(B168-B167)","v":3.4735000000000005},{"$f":"SUM(C168-C167)","v":3.4745000000000008},{"$f":"SUM(D168-D167)","v":3.4765000000000006}]
[]
[]
["5)","6)","7)","8)"]
[10.403,10.404,10.404999999999999,10.41]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":11.403},{"$f":"SUM(B173+B174)","v":11.404},{"$f":"SUM(C173+C174)","v":11.404999999999999},{"$f":"SUM(D173+D174)","v":11.41}]
[{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004}]
[{"$f":"SUM(A176-A175)","v":-3.5945},{"$f":"SUM(B176-B175)","v":-3.5954999999999995},{"$f":"SUM(C176-C175)","v":-3.5964999999999989},{"$f":"SUM(D176-D175)","v":-3.6014999999999997}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[7.05,null,9.1929999999999996,12.273]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":8.0500000000000007},null,{"$f":"SUM(C184+C185)","v":10.193},{"$f":"SUM(D184+D185)","v":13.273}]
[{"$f":"D109","v":7.8085000000000004},null,{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004}]
[{"$f":"SUM(A187-A186)","v":-0.24150000000000027},0,{"$f":"SUM(C187-C186)","v":-2.3844999999999992},{"$f":"SUM(D187-D186)","v":-5.4644999999999992}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[6.0919999999999996,6.093,6.0919999999999996,6.0919999999999996]
[{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004},{"$f":"D109","v":7.8085000000000004}]
[{"$f":"SUM(A196-A195)","v":1.7165000000000008},{"$f":"SUM(B196-B195)","v":1.7155000000000005},{"$f":"SUM(C196-C195)","v":1.7165000000000008},{"$f":"SUM(D196-D195)","v":1.7165000000000008}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN35"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-09-16"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR,FG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4775000000000009},{"$f":"B10*25.4","v":88.32850000000002},null,null,5,{"$f":"Sheet1!A35","v":4.2798861985472136},{"$f":"G10*25.4","v":108.70910944309922}]
[2,{"$f":"Sheet1!B169","v":3.4735000000000005},{"$f":"B11*25.4","v":88.226900000000001},null,null,6,{"$f":"Sheet1!B35","v":4.283886198547215},{"$f":"G11*25.4","v":108.81070944309926}]
[3,{"$f":"Sheet1!C169","v":3.4745000000000008},{"$f":"B12*25.4","v":88.25230000000002},null,null,7,{"$f":"Sheet1!C35","v":4.2828861985472138},{"$f":"G12*25.4","v":108.78530944309922}]
[4,{"$f":"Sheet1!D169","v":3.4765000000000006},{"$f":"B13*25.4","v":88.303100000000015},null,null,8,{"$f":"Sheet1!D35","v":4.2848861985472162},{"$f":"G13*25.4","v":108.83610944309929}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.493113801452786},{"$f":"Sheet1!C118","v":-1.4999999999991687E-3},{"$f":"B20*25.4","v":-139.52509055690075},{"$f":"C20*25.4","v":-3.809999999997888E-2},null,{"$f":"H10-D21","v":156.84499999999991},{"$f":"C10-E20","v":88.366600000000005}]
["X1",{"$f":"Sheet1!A78","v":-1.8951138014527835},{"$f":"Sheet1!D118","v":-3.6014999999999997},{"$f":"B21*25.4","v":-48.135890556900698},{"$f":"C21*25.4","v":-91.478099999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.4891138014527883},null,{"$f":"B22*25.4","v":-139.42349055690082}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4941138014527837},{"$f":"Sheet1!A128","v":-3.4999999999998366E-3},{"$f":"B26*25.4","v":-139.55049055690071},{"$f":"C26*25.4","v":-8.8899999999995843E-2},null,{"$f":"H13-D27","v":157.07360000000003},{"$f":"C13-E26","v":88.39200000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8991138014527849},{"$f":"Sheet1!B128","v":-3.6044999999999998},{"$f":"B27*25.4","v":-48.237490556900731},{"$f":"C27*25.4","v":-91.554299999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4951138014527814},"\\",{"$f":"B28*25.4","v":-139.57589055690065}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4649999999999999},{"$f":"B36*25.4","v":-138.81099999999998},null,"US  +",{"$f":"Sheet1!A197","v":1.7165000000000008},{"$f":"F36*25.4","v":43.599100000000021}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7155000000000005},{"$f":"F37*25.4","v":43.573700000000009}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7165000000000008},{"$f":"F38*25.4","v":43.599100000000021}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7165000000000008},{"$f":"F39*25.4","v":43.599100000000021}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3994999999999997},{"$f":"B42*25.4","v":-111.74729999999998}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-09-16"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.5011138014527816},{"$f":"Sheet1!A169","v":3.4775000000000009},{"$f":"SUM(B10*25.4)","v":-139.72829055690065},{"$f":"SUM(C10*25.4)","v":88.32850000000002}]
[2,{"$f":"Sheet1!B28","v":-5.4971138014527838},{"$f":"Sheet1!B169","v":3.4735000000000005},{"$f":"SUM(B11*25.4)","v":-139.62669055690071},{"$f":"SUM(C11*25.4)","v":88.226900000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4941138014527837},{"$f":"Sheet1!C169","v":3.4745000000000008},-139.55049055690071,88.25230000000002,null,{"$f":"Sheet1!C141","v":-5.4649999999999999},{"$f":"SUM(G12*25.4)","v":-138.81099999999998}]
[4,{"$f":"Sheet1!D28","v":-5.4991138014527863},{"$f":"Sheet1!D169","v":3.4765000000000006},-139.67749055690075,88.303100000000015]
[5,{"$f":"Sheet1!A35","v":4.2798861985472136},{"$f":"Sheet1!A177","v":-3.5945},108.70910944309922,-91.300299999999993]
[6,{"$f":"Sheet1!B35","v":4.283886198547215},{"$f":"Sheet1!B177","v":-3.5954999999999995},108.81070944309926,-91.325699999999983,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2828861985472138},{"$f":"Sheet1!C177","v":-3.5964999999999989},108.78530944309922,-91.351099999999974]
[8,{"$f":"Sheet1!D35","v":4.2848861985472162},{"$f":"Sheet1!D177","v":-3.6014999999999997},108.83610944309929,-91.478099999999984,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3994999999999997},{"$f":"SUM(G18*25.4)","v":-111.74729999999998}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8951138014527835},{"$f":"Sheet1!C118","v":-1.4999999999991687E-3},{"$f":"SUM(B23*25.4)","v":-48.135890556900698},{"$f":"SUM(C23*25.4)","v":-3.809999999997888E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8951138014527835},{"$f":"Sheet1!D118","v":-3.6014999999999997},{"$f":"SUM(B24*25.4)","v":-48.135890556900698},{"$f":"SUM(C24*25.4)","v":-91.478099999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4891138014527883},null,{"$f":"SUM(B25*25.4)","v":-139.42349055690082},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7165000000000008},{"$f":"SUM(H25*25.4)","v":43.599100000000021}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7155000000000005},{"$f":"SUM(H26*25.4)","v":43.573700000000009}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7165000000000008},{"$f":"SUM(H27*25.4)","v":43.599100000000021}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7165000000000008},{"$f":"SUM(H28*25.4)","v":43.599100000000021}]
["Y1",{"$f":"Sheet1!B87","v":-5.4941138014527837},{"$f":"Sheet1!A128","v":-3.4999999999998366E-3},{"$f":"SUM(B29*25.4)","v":-139.55049055690071},{"$f":"SUM(C29*25.4)","v":-8.8899999999995843E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8991138014527849},{"$f":"Sheet1!B128","v":-3.6044999999999998},{"$f":"SUM(B30*25.4)","v":-48.237490556900731},{"$f":"SUM(C30*25.4)","v":-91.554299999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4951138014527814},null,{"$f":"SUM(B31*25.4)","v":-139.57589055690065}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6001138014527854},{"$f":"Sheet1!A118","v":1.5000000000000568E-3},{"$f":"SUM(B37*25.4)","v":-91.44289055690075},{"$f":"SUM(C37*25.4)","v":3.8100000000001438E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6064999999999987},0,{"$f":"SUM(C38*25.4)","v":-91.605099999999965}]
["Y2",{"$f":"Sheet1!C68","v":-3.6031138014527855},null,{"$f":"SUM(B39*25.4)","v":-91.51909055690075}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.601113801452783},{"$f":"Sheet1!C128","v":-1.4999999999991687E-3},{"$f":"SUM(B43*25.4)","v":-91.468290556900683},{"$f":"SUM(C43*25.4)","v":-3.809999999997888E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6035000000000004},0,{"$f":"SUM(C44*25.4)","v":-91.528900000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.5961138014527876},null,{"$f":"SUM(B45*25.4)","v":-91.341290556900802}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0451138014527857},{"$f":"Sheet1!A188","v":-0.24150000000000027},{"$f":"SUM(B49*25.4)","v":-178.94589055690074},{"$f":"SUM(C49*25.4)","v":-6.1341000000000063}]
["B",{"$f":"Sheet1!B45","v":-2.5111138014527832},null,{"$f":"SUM(B50*25.4)","v":-63.782290556900691}]
["C",{"$f":"Sheet1!C45","v":-0.75211380145278639},{"$f":"Sheet1!C188","v":-2.3844999999999992},{"$f":"SUM(B51*25.4)","v":-19.103690556900773},{"$f":"SUM(C51*25.4)","v":-60.566299999999977}]
["D",{"$f":"Sheet1!D45","v":-0.75311380145278406},{"$f":"Sheet1!D188","v":-5.4644999999999992},{"$f":"SUM(B52*25.4)","v":-19.129090556900714},{"$f":"SUM(C52*25.4)","v":-138.79829999999998}]