{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN38"]
["Date:","2013-03-20"]
["Crew:","FG,MR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",31]
["1st. Near",33.847999999999999]
["2nd. Far",35]
["2nd Near",34.944000000000003]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":34.922865013774107}]
["Near Should Read",34.922865013774107]
["LOS",34.922865013774107]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[39.417000000000002,39.415999999999997,39.414999999999999,39.414999999999999]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":40.417000000000002},{"$f":"SUM(B24:B25)","v":40.415999999999997},{"$f":"SUM(C24:C25)","v":40.414999999999999},{"$f":"SUM(D24:D25)","v":40.414999999999999}]
[{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107}]
[{"$f":"SUM(A27-A26)","v":-5.4941349862258946},{"$f":"SUM(B27-B26)","v":-5.4931349862258898},{"$f":"SUM(C27-C26)","v":-5.4921349862258921},{"$f":"SUM(D27-D26)","v":-5.4921349862258921}]
[]
["5)","6)","7)","8)"]
[29.635000000000002,29.63,29.632000000000001,29.635000000000002]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":30.635000000000002},{"$f":"SUM(B31:B32)","v":30.63},{"$f":"SUM(C31:C32)","v":30.632000000000001},{"$f":"SUM(D31:D32)","v":30.635000000000002}]
[{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107}]
[{"$f":"SUM(A34-A33)","v":4.2878650137741054},{"$f":"SUM(B34-B33)","v":4.292865013774108},{"$f":"SUM(C34-C33)","v":4.2908650137741056},{"$f":"SUM(D34-D33)","v":4.2878650137741054}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":1},{"$f":"SUM(B41:B42)","v":1},{"$f":"SUM(C41:C42)","v":1},{"$f":"SUM(D41:D42)","v":1}]
[{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107}]
[{"$f":"SUM(A44-A43)","v":33.922865013774107},{"$f":"SUM(B44-B43)","v":33.922865013774107},{"$f":"SUM(C44-C43)","v":33.922865013774107},{"$f":"SUM(D44-D43)","v":33.922865013774107}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":34.922865013774107},"LOS"]
["Undulator",{"$f":"B5","v":"SN38"}]
["Date:",{"$f":"B6","v":"2013-03-20"}]
["Crew:",{"$f":"B7","v":"FG,MR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,37.524999999999999,37.527999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":38.524999999999999},{"$f":"SUM(C64:C65)","v":38.527999999999999}]
[null,{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107}]
[0,{"$f":"SUM(B67-B66)","v":-3.6021349862258916},{"$f":"SUM(C67-C66)","v":-3.6051349862258917}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[35.811,39.405000000000001,39.405999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":36.811},{"$f":"SUM(B74:B75)","v":40.405000000000001},{"$f":"SUM(C74:C75)","v":40.405999999999999}]
[{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107}]
[{"$f":"SUM(A77-A76)","v":-1.8881349862258929},{"$f":"SUM(B77-B76)","v":-5.4821349862258941},{"$f":"SUM(C77-C76)","v":-5.4831349862258918}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[35.817999999999998,39.411000000000001,39.42]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":36.817999999999998},{"$f":"SUM(B83:B84)","v":40.411000000000001},{"$f":"SUM(C83:C84)","v":40.42}]
[{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107}]
[{"$f":"SUM(A86-A85)","v":-1.8951349862258908},{"$f":"SUM(B86-B85)","v":-5.4881349862258944},{"$f":"SUM(C86-C85)","v":-5.4971349862258947}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,37.524999999999999,37.520000000000003]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":38.524999999999999},{"$f":"SUM(C92:C93)","v":38.520000000000003}]
[null,{"$f":"B18","v":34.922865013774107},{"$f":"B18","v":34.922865013774107}]
[0,{"$f":"SUM(B95-B94)","v":-3.6021349862258916},{"$f":"SUM(C95-C94)","v":-3.5971349862258961}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.9510000000000005,8.9429999999999996]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN38"},{"$f":"SUM(C104+C105)","v":9.9510000000000005},{"$f":"SUM(D104+D105)","v":9.9429999999999996}]
["Date:",{"$f":"B6","v":"2013-03-20"}]
["Crew:",{"$f":"B7","v":"FG,MR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.9469999999999992}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.9510000000000005},12.457000000000001,8.9499999999999993,12.552]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.9510000000000005},{"$f":"SUM(B114:B115)","v":13.457000000000001},{"$f":"SUM(C114:C115)","v":9.9499999999999993},{"$f":"SUM(D114:D115)","v":13.552}]
[{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992}]
[{"$f":"SUM(A117-A116)","v":-4.0000000000013358E-3},{"$f":"SUM(B117-B116)","v":-3.5100000000000016},{"$f":"SUM(C117-C116)","v":-3.0000000000001137E-3},{"$f":"SUM(D117-D116)","v":-3.6050000000000004}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.9540000000000006,12.555,{"$f":"D104","v":8.9429999999999996},12.545]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.9540000000000006},{"$f":"SUM(B124:B125)","v":13.555},{"$f":"SUM(C124:C125)","v":9.9429999999999996},{"$f":"SUM(D124:D125)","v":13.545}]
[{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992}]
[{"$f":"SUM(A127-A126)","v":-7.0000000000014495E-3},{"$f":"SUM(B127-B126)","v":-3.6080000000000005},{"$f":"SUM(C127-C126)","v":3.9999999999995595E-3},{"$f":"SUM(D127-D126)","v":-3.5980000000000008}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.353,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.9469999999999992},null,5.3999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4060000000000006},null,{"$f":"SUM(C137+C138)","v":-5.41}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4489999999999998},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN38"}]
["Date:",{"$f":"B6","v":"2013-03-20"}]
["Crew:",{"$f":"B7","v":"FG,MR"}]
[]
[]
["HI =",{"$f":"D109","v":9.9469999999999992}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.47,5.4749999999999996,5.4749999999999996,5.47]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.47},{"$f":"SUM(B165:B166)","v":6.4749999999999996},{"$f":"SUM(C165:C166)","v":6.4749999999999996},{"$f":"SUM(D165:D166)","v":6.47}]
[{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992}]
[{"$f":"SUM(A168-A167)","v":3.4769999999999994},{"$f":"SUM(B168-B167)","v":3.4719999999999995},{"$f":"SUM(C168-C167)","v":3.4719999999999995},{"$f":"SUM(D168-D167)","v":3.4769999999999994}]
[]
[]
["5)","6)","7)","8)"]
[12.548999999999999,12.551,12.551,12.551]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.548999999999999},{"$f":"SUM(B173+B174)","v":13.551},{"$f":"SUM(C173+C174)","v":13.551},{"$f":"SUM(D173+D174)","v":13.551}]
[{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992}]
[{"$f":"SUM(A176-A175)","v":-3.6020000000000003},{"$f":"SUM(B176-B175)","v":-3.604000000000001},{"$f":"SUM(C176-C175)","v":-3.604000000000001},{"$f":"SUM(D176-D175)","v":-3.604000000000001}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.1920000000000002,null,11.337999999999999,14.417]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.192},null,{"$f":"SUM(C184+C185)","v":12.337999999999999},{"$f":"SUM(D184+D185)","v":15.417}]
[{"$f":"D109","v":9.9469999999999992},null,{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992}]
[{"$f":"SUM(A187-A186)","v":-0.24500000000000099},0,{"$f":"SUM(C187-C186)","v":-2.391},{"$f":"SUM(D187-D186)","v":-5.4700000000000006}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.2330000000000005,8.234,8.234,8.2349999999999994]
[{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992},{"$f":"D109","v":9.9469999999999992}]
[{"$f":"SUM(A196-A195)","v":1.7139999999999986},{"$f":"SUM(B196-B195)","v":1.7129999999999992},{"$f":"SUM(C196-C195)","v":1.7129999999999992},{"$f":"SUM(D196-D195)","v":1.7119999999999997}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN38"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-03-20"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"FG,MR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4769999999999994},{"$f":"B10*25.4","v":88.315799999999982},null,null,5,{"$f":"Sheet1!A35","v":4.2878650137741054},{"$f":"G10*25.4","v":108.91177134986228}]
[2,{"$f":"Sheet1!B169","v":3.4719999999999995},{"$f":"B11*25.4","v":88.188799999999986},null,null,6,{"$f":"Sheet1!B35","v":4.292865013774108},{"$f":"G11*25.4","v":109.03877134986234}]
[3,{"$f":"Sheet1!C169","v":3.4719999999999995},{"$f":"B12*25.4","v":88.188799999999986},null,null,7,{"$f":"Sheet1!C35","v":4.2908650137741056},{"$f":"G12*25.4","v":108.98797134986228}]
[4,{"$f":"Sheet1!D169","v":3.4769999999999994},{"$f":"B13*25.4","v":88.315799999999982},null,null,8,{"$f":"Sheet1!D35","v":4.2878650137741054},{"$f":"G13*25.4","v":108.91177134986228}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4831349862258918},{"$f":"Sheet1!C118","v":-3.0000000000001137E-3},{"$f":"B20*25.4","v":-139.27162865013764},{"$f":"C20*25.4","v":-7.6200000000002877E-2},null,{"$f":"H10-D21","v":156.87039999999996},{"$f":"C10-E20","v":88.391999999999982}]
["X1",{"$f":"Sheet1!A78","v":-1.8881349862258929},{"$f":"Sheet1!D118","v":-3.6050000000000004},{"$f":"B21*25.4","v":-47.958628650137676},{"$f":"C21*25.4","v":-91.567000000000007}]
["Y1",{"$f":"Sheet1!B78","v":-5.4821349862258941},null,{"$f":"B22*25.4","v":-139.24622865013771}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4881349862258944},{"$f":"Sheet1!A128","v":-7.0000000000014495E-3},{"$f":"B26*25.4","v":-139.39862865013771},{"$f":"C26*25.4","v":-0.17780000000003682},null,{"$f":"H13-D27","v":157.04819999999989},{"$f":"C13-E26","v":88.493600000000015}]
["X1",{"$f":"Sheet1!A87","v":-1.8951349862258908},{"$f":"Sheet1!B128","v":-3.6080000000000005},{"$f":"B27*25.4","v":-48.136428650137624},{"$f":"C27*25.4","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4971349862258947},"\\",{"$f":"B28*25.4","v":-139.62722865013771}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4489999999999998},{"$f":"B36*25.4","v":-138.40459999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7139999999999986},{"$f":"F36*25.4","v":43.53559999999996}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7129999999999992},{"$f":"F37*25.4","v":43.510199999999976}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7129999999999992},{"$f":"F38*25.4","v":43.510199999999976}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7119999999999997},{"$f":"F39*25.4","v":43.484799999999993}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4060000000000006},{"$f":"B42*25.4","v":-111.91240000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-03-20"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4941349862258946},{"$f":"Sheet1!A169","v":3.4769999999999994},{"$f":"SUM(B10*25.4)","v":-139.55102865013771},{"$f":"SUM(C10*25.4)","v":88.315799999999982}]
[2,{"$f":"Sheet1!B28","v":-5.4931349862258898},{"$f":"Sheet1!B169","v":3.4719999999999995},{"$f":"SUM(B11*25.4)","v":-139.52562865013761},{"$f":"SUM(C11*25.4)","v":88.188799999999986},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4921349862258921},{"$f":"Sheet1!C169","v":3.4719999999999995},-139.50022865013764,88.188799999999986,null,{"$f":"Sheet1!C141","v":-5.4489999999999998},{"$f":"SUM(G12*25.4)","v":-138.40459999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4921349862258921},{"$f":"Sheet1!D169","v":3.4769999999999994},-139.50022865013764,88.315799999999982]
[5,{"$f":"Sheet1!A35","v":4.2878650137741054},{"$f":"Sheet1!A177","v":-3.6020000000000003},108.91177134986228,-91.490800000000007]
[6,{"$f":"Sheet1!B35","v":4.292865013774108},{"$f":"Sheet1!B177","v":-3.604000000000001},109.03877134986234,-91.541600000000017,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2908650137741056},{"$f":"Sheet1!C177","v":-3.604000000000001},108.98797134986228,-91.541600000000017]
[8,{"$f":"Sheet1!D35","v":4.2878650137741054},{"$f":"Sheet1!D177","v":-3.604000000000001},108.91177134986228,-91.541600000000017,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4060000000000006},{"$f":"SUM(G18*25.4)","v":-111.91240000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8881349862258929},{"$f":"Sheet1!C118","v":-3.0000000000001137E-3},{"$f":"SUM(B23*25.4)","v":-47.958628650137676},{"$f":"SUM(C23*25.4)","v":-7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8881349862258929},{"$f":"Sheet1!D118","v":-3.6050000000000004},{"$f":"SUM(B24*25.4)","v":-47.958628650137676},{"$f":"SUM(C24*25.4)","v":-91.567000000000007},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4821349862258941},null,{"$f":"SUM(B25*25.4)","v":-139.24622865013771},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7139999999999986},{"$f":"SUM(H25*25.4)","v":43.53559999999996}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7129999999999992},{"$f":"SUM(H26*25.4)","v":43.510199999999976}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7129999999999992},{"$f":"SUM(H27*25.4)","v":43.510199999999976}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7119999999999997},{"$f":"SUM(H28*25.4)","v":43.484799999999993}]
["Y1",{"$f":"Sheet1!B87","v":-5.4881349862258944},{"$f":"Sheet1!A128","v":-7.0000000000014495E-3},{"$f":"SUM(B29*25.4)","v":-139.39862865013771},{"$f":"SUM(C29*25.4)","v":-0.17780000000003682}]
["X1",{"$f":"Sheet1!A87","v":-1.8951349862258908},{"$f":"Sheet1!B128","v":-3.6080000000000005},{"$f":"SUM(B30*25.4)","v":-48.136428650137624},{"$f":"SUM(C30*25.4)","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4971349862258947},null,{"$f":"SUM(B31*25.4)","v":-139.62722865013771}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6021349862258916},{"$f":"Sheet1!A118","v":-4.0000000000013358E-3},{"$f":"SUM(B37*25.4)","v":-91.494228650137643},{"$f":"SUM(C37*25.4)","v":-0.10160000000003393},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.5100000000000016},0,{"$f":"SUM(C38*25.4)","v":-89.154000000000039}]
["Y2",{"$f":"Sheet1!C68","v":-3.6051349862258917},null,{"$f":"SUM(B39*25.4)","v":-91.570428650137643}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6021349862258916},{"$f":"Sheet1!C128","v":3.9999999999995595E-3},{"$f":"SUM(B43*25.4)","v":-91.494228650137643},{"$f":"SUM(C43*25.4)","v":0.10159999999998881}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5980000000000008},0,{"$f":"SUM(C44*25.4)","v":-91.389200000000017}]
["Y2",{"$f":"Sheet1!C96","v":-3.5971349862258961},null,{"$f":"SUM(B45*25.4)","v":-91.367228650137761}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":33.922865013774107},{"$f":"Sheet1!A188","v":-0.24500000000000099},{"$f":"SUM(B49*25.4)","v":861.64077134986223},{"$f":"SUM(C49*25.4)","v":-6.2230000000000247}]
["B",{"$f":"Sheet1!B45","v":33.922865013774107},null,{"$f":"SUM(B50*25.4)","v":861.64077134986223}]
["C",{"$f":"Sheet1!C45","v":33.922865013774107},{"$f":"Sheet1!C188","v":-2.391},{"$f":"SUM(B51*25.4)","v":861.64077134986223},{"$f":"SUM(C51*25.4)","v":-60.731399999999994}]
["D",{"$f":"Sheet1!D45","v":33.922865013774107},{"$f":"Sheet1!D188","v":-5.4700000000000006},{"$f":"SUM(B52*25.4)","v":861.64077134986223},{"$f":"SUM(C52*25.4)","v":-138.93800000000002}]