## x+00000_y+000_bscanz
|  |  | Hall Probe measurements | [10 empty] | Coil Measurements
Run 18 | CP+ |  | Corrected |  | Run 19 | HP | Corrected |  | Run 20 | CP- | Corrected |  |  | Run 25 | CP+ | Run 28 | Corrected |  | Run 27,29 | HP | Corrected |  | Run 26 | CP- | Corrected
x-position(mm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) |  | Raw | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm)
-24 | 80 | 75.3 | 28 | 185.3 | -260 | -19.6 | -312 | 90.4 | -34.6 | 44.2 | -86.6 | 154.2 | 24 | 0.000542 | 542 | -0.000289 | 437 | -69 | 0.000171 | -0.000111 | 66 | 109 | -0.0002 | -0.000269 | -305 | -49
-22 | 122.5 | 136.6 | 70.5 | 246.6 | -276.4 | -0.9 | -328.4 | 109.1 | -72.1 | 102.9 | -124.1 | 212.9 | 22 | 0.000535 | 535 | -0.000333 | 430 | -113 | 0.00015 | -0.000129 | 45 | 91 | -0.000221 | -0.000309 | -326 | -89
-20 | 101.7 | 164.9 | 49.7 | 274.9 | -284.2 | 19.5 | -336.2 | 129.5 | -112.1 | 136.6 | -164.1 | 246.6 | 20 | 0.00054 | 540 | -0.000356 | 435 | -136 | 0.000131 | -0.000129 | 26 | 91 | -0.000242 | -0.000331 | -347 | -111
-18 | 70.3 | 205.8 | 18.3 | 315.8 | -301.3 | 28.2 | -353.3 | 138.2 | -120.5 | 179.4 | -172.5 | 289.4 | 18 | 0.000544 | 544 | -0.00039 | 439 | -170 | 0.000122 | -0.000137 | 17 | 83 | -0.000258 | -0.000368 | -363 | -148
-16 | 64.6 | 267.3 | 12.6 | 377.3 | -346.9 | 39.9 | -398.9 | 149.9 | -152.5 | 224.1 | -204.5 | 334.1 | 16 | 0.000543 | 543 | -0.000422 | 438 | -202 | 0.00011 | -0.000126 | 5 | 94 | -0.000281 | -0.000394 | -386 | -174
-14 | 93.5 | 362.6 | 41.5 | 472.6 | -319.4 | 73.6 | -371.4 | 183.6 | -184.3 | 322.6 | -236.3 | 432.6 | 14 | 0.000548 | 548 | -0.000489 | 443 | -269 | 9.63e-05 | -0.000132 | -8.7 | 88 | -0.000299 | -0.000446 | -404 | -226
-12 | 114 | 477.1 | 62 | 587.1 | -362.3 | 131.4 | -414.3 | 241.4 | -170.8 | 448.2 | -222.8 | 558.2 | 12 | 0.000543 | 543 | -0.00059 | 438 | -370 | 8.12e-05 | -0.000151 | -23.8 | 69 | -0.000318 | -0.000543 | -423 | -323
-10 | 124.6 | 606.8 | 72.6 | 716.8 | -314.8 | 175.4 | -366.8 | 285.4 | -177.2 | 586.3 | -229.2 | 696.3 | 10 | 0.000543 | 543 | -0.00071 | 438 | -490 | 6.64e-05 | -0.000181 | -38.6 | 39 | -0.000331 | -0.000662 | -436 | -442
-8 | 132.6 | 751.2 | 80.6 | 861.2 | -341.3 | 213.9 | -393.3 | 323.9 | -163.5 | 753.3 | -215.5 | 863.3 | 8 | 0.000531 | 531 | -0.000837 | 426 | -617 | 6.53e-05 | -0.000197 | -39.7 | 23 | -0.000311 | -0.000767 | -416 | -547
-6 | 159.2 | 861.4 | 107.2 | 971.4 | -342.9 | 226 | -394.9 | 336 | -127.8 | 878.1 | -179.8 | 988.1 | 6 | 0.000495 | 495 | -0.00085 | 390 | -630 | 8.31e-05 | -0.000136 | -21.9 | 84 | -0.000266 | -0.000761 | -371 | -541
-4 | 179.4 | 817.1 | 127.4 | 927.1 | -272.8 | 134 | -324.8 | 244 | -23.9 | 861.6 | -75.9 | 971.6 | 4 | 0.000431 | 431 | -0.000667 | 326 | -447 | 0.000113 | -3.37e-05 | 8 | 186.3 | -0.000158 | -0.000556 | -263 | -336
-2 | 205.8 | 533.1 | 153.8 | 643.1 | -292.3 | 34.1 | -344.3 | 144.1 | 34 | 590.7 | -18 | 700.7 | 2 | 0.000301 | 301 | -0.000297 | 196 | -77 | 0.000134 | 1.12e-06 | 29 | 221.12 | -6.98e-06 | -0.000173 | -111.98 | 47
0 | 175 | 94.2 | 123 | 204.2 | -274 | 42.5 | -326 | 152.5 | 161.5 | 147.3 | 109.5 | 257.3 | 0 | 0.000115 | 115 | 0.000165 | 10 | 385 | 0.000129 | -2.09e-05 | 24 | 199.1 | 0.00016 | 0.000263 | 55 | 483
2 | 175.9 | -361.4 | 123.9 | -251.4 | -263.3 | 67.7 | -315.3 | 177.7 | 139.6 | -314.4 | 87.6 | -204.4 | -2 | -6.59e-05 | -65.9 | 0.000559 | -170.9 | 779 | 0.000117 | -5.96e-06 | 12 | 214.04 | 0.000313 | 0.000615 | 208 | 835
4 | 181.7 | -705.2 | 129.7 | -595.2 | -301.1 | -32.1 | -353.1 | 77.9 | 110 | -661.9 | 58 | -551.9 | -4 | -0.000196 | -196 | 0.000784 | -301 | 1004 | 0.000106 | 8.18e-05 | 1 | 301.8 | 0.00041 | 0.000782 | 305 | 1002
6 | 81.3 | -792.2 | 29.3 | -682.2 | -343.2 | -132.3 | -395.2 | -22.3 | 78.7 | -780.7 | 26.7 | -670.7 | -6 | -0.000274 | -274 | 0.000791 | -379 | 1011 | 0.000103 | 0.000128 | -2 | 348 | 0.00045 | 0.000747 | 345 | 967
8 | 16.4 | -712.1 | -35.6 | -602.1 | -334.2 | -150.1 | -386.2 | -40.1 | 55.9 | -697.7 | 3.9 | -587.7 | -8 | -0.000319 | -319 | 0.000686 | -424 | 906 | 0.000101 | 9.89e-05 | -4 | 318.9 | 0.000464 | 0.000592 | 359 | 812
10 | 3.2 | -561.4 | -48.8 | -451.4 | -358.5 | -107.8 | -410.5 | 2.2 | 44.4 | -563.6 | -7.6 | -453.6 | -10 | -0.000314 | -314 | 0.000536 | -419 | 756 | 0.000104 | 6.88e-05 | -1 | 288.8 | 0.000473 | 0.000429 | 368 | 649
12 | -26.4 | -421.2 | -78.4 | -311.2 | -319.4 | -71 | -371.4 | 39 | 18.5 | -426.4 | -33.5 | -316.4 | -12 | -0.000307 | -307 | 0.000387 | -412 | 607 | 0.000104 | 1.2e-05 | -1 | 232 | 0.000474 | 0.000273 | 369 | 493
14 | -61.2 | -336 | -113.2 | -226 | -324.3 | -49.5 | -376.3 | 60.5 | 23.7 | -342.6 | -28.3 | -232.6 | -14 | -0.000307 | -307 | 0.000273 | -412 | 493 | 0.000111 | -2.94e-05 | 6 | 190.6 | 0.000478 | 0.000165 | 373 | 385
16 | -90.1 | -282.9 | -142.1 | -172.9 | -306.2 | -34.8 | -358.2 | 75.2 | 44.8 | -298.2 | -7.2 | -188.2 | -16 | -0.00029 | -290 | 0.000198 | -395 | 418 | 0.000118 | -5.05e-05 | 13 | 169.5 | 0.00049 | 9.03e-05 | 385 | 310.3
18 | -57.8 | -241.1 | -109.8 | -131.1 | -290.9 | -30 | -342.9 | 80 | 77.1 | -260.8 | 25.1 | -150.8 | -18 | -0.000277 | -277 | 0.000144 | -382 | 364 | 0.000125 | -5.91e-05 | 20 | 160.9 | 0.000501 | 4.26e-05 | 396 | 262.6
20 | -64.2 | -216.4 | -116.2 | -106.4 | -318.9 | -21.6 | -370.9 | 88.4 | 71.1 | -223.4 | 19.1 | -113.4 | -20 | -0.000253 | -253 | 0.000102 | -358 | 322 | 0.00014 | -5.47e-05 | 35 | 165.3 | 0.000516 | 1.43e-05 | 411 | 234.3
22 | -60.8 | -164.9 | -112.8 | -54.9 | -263.4 | -4.5 | -315.4 | 105.5 | 96.6 | -178.3 | 44.6 | -68.3 | -22 | -0.000238 | -238 | 4.42e-05 | -343 | 264.2 | 0.000147 | -7.94e-05 | 42 | 140.6 | 0.000525 | -3.13e-05 | 420 | 188.7
24 | -63.4 | -126.8 | -115.4 | -16.8 | -290.1 | 35.4 | -342.1 | 145.4 | 89.2 | -148.1 | 37.2 | -38.1 | -24 | -0.000235 | -235 | 1.99e-06 | -340 | 221.99 | 0.000145 | -9.79e-05 | 40 | 122.1 | 0.000525 | -7.26e-05 | 420 | 147.4