## Slide 1: Compton Solenoid 101 2nd Measurements 7/2010

## Slide 2: Axial Field Setup

## Slide 3: Temperature
Water out – Water In DT = 10 deg C at 300 Amps for 3 hours
Inside Bore – Water In DT = 6.8 deg C.

## Slide 4: Axial Field vs z

## Slide 5: Axial Field over Current vs z

## Slide 6: Short Coil Setup

## Slide 7: Dipole Field vs z

## Slide 8: Compton 101 1st Set vs 101 2nd Set