MFD Leak Check Non-Compliance Report

File #_________ID_____	Project Name/Dwg #________________________Serial #_____

Record information every time leak check is performed.

Date_______________	Tech_________________	Leak Detector #/Name_________________

Leak Rate____________________________________________________________________

He Background Pressure_____________________	Base Pressure______________________

Describe Leak Check or leak location if detected (Attach drawing or photo as required)

____________________________________________________________________________

Action Taken: 	 Pass Fail Rework	 Scrap	 Use as is

Comments (Describe rework in detail) ______________________________________________

____________________________________________________________________________

____________________________________________________________________________

Date_______________	Tech_________________	Leak Detector #/Name_________________

Leak Rate____________________________________________________________________

He Background Pressure_____________________	Base Pressure______________________

Describe Leak Check or leak location if detected (Attach drawing or photo as required)

____________________________________________________________________________

Action Taken: 	 Pass Fail Rework	 Scrap	 Use as is

Comments (Describe rework in detail) ______________________________________________

____________________________________________________________________________

____________________________________________________________________________

Date_______________	Tech_________________	Leak Detector #/Name_________________

Leak Rate____________________________________________________________________

He Background Pressure_____________________	Base Pressure______________________

Describe Leak Check or leak location if detected (Attach drawing or photo as required)

____________________________________________________________________________

Action Taken: 	 Pass Fail Rework	 Scrap	 Use as is

Comments (Describe rework in detail) ______________________________________________

____________________________________________________________________________

____________________________________________________________________________

5/10/2006	SLAC-I-007-09003-002-R1	1/1