Intermatic ET279C Programming Instructions for ESB main lights
Reset and set day, time:

· Switch to PROGRAM
· Switch to CLK
· Press RESET (a ball-point pen is required)

· Press HOUR until the hour is correct.  Note the AM and PM on the display.

· Press MIN until the time is correct.

· Press DAY until the day is correct.  Monday is day 2.

· Press ENTER
· Switch to AUTO
Set on time:  note:  Instructions turn on lights at 7am Monday-Friday

· Switch to PROGRAM
· Switch to OUTPUT 1
· Press HOUR until 7:00 AM is displayed

· Press DAY
· Press ENTER
· The display should read 7:002 AM ON without anything flashing.

· Press DAY and then ENTER four more times for days 3 through 6.

· Switch to CLK
· Switch to AUTO
Set off times:  note: Instructions turn off lights at 6:30pm and again at 9:30pm seven days a week

· Switch to PROGRAM
· Switch to OUTPUT 2
· Press HOUR and MIN until 6:30 PM is displayed

· Press ENTER
· The display should read 6:301 PM ON without anything flashing. 

· The small 1 following the time on the display is for day 1.  
· Press DAY and then ENTER six more times for days 2 through 7.

· Press DAY one more time to get back to Day 1.
· Press HOUR a few more times until 9:30 PM is displayed

· Press ENTER
· The display should read 9:301 PM ON without anything flashing.

· Press DAY and then ENTER six more times for days 2 through 7.
· Switch to CLK
· Switch to AUTO


To review programming:

· The display should indicate the current date and time.  9:204 AM indicates day 4 (Wednesday) morning.

· Switch to PROGRAM
· Switch to CLK
· Current date and time should be displayed

· Select OUTPUT 1
· The display should read 7:001 AM ON
· Press ENTER 6 times.  All seven day’s events should read 7:00 AM
· Switch to OUTPUT 2
· The display should read 6:301 PM ON
· Press ENTER
· The display should read 9:301 PM ON
· Press ENTER 12 more times.  All seven day’s events should read 6:30 PM and 9:30 PM

· Switch to CLK
· Switch to AUTO
Normal Operation:

· Switch to CLK
· Switch to AUTO
Manual-Only Operation:

· Switch to CLK
· Switch to MANUAL
Note:  Both output 1 and output 2 are in “momentary” mode – thus there is no “off” command for either channel.

Keith Jobe.  11/13/2008 

This document is:

http://www-group/tf/nlcta/...
Operations Documents/...
Intermatic ET279C Programming ...
Instructions for ESB main lights.doc

