��
NLCTA-Note #55   





     


February 22, 1996








Subject:   Thermionic Gun Dimensions





Authors: M. Palrang, Jeff Rifkin�
�



The question continuously arises as to the location of the anode on the low current thermionic  gun.  The anode location as built, is shown in the sketch below.  The upstream edge of the anode is located 2” from the downstream face of the 8” flange.  Note that the upstream edge of the anode is the location of the gun coordinates specified in the Device List, NLCTA Note 19.  Four tooling ball sockets are located at 45° from the X and Y axis on the downstream face of the ceramic mounting flange.




















� EMBED Excel.Sheet.5  ���























Page �





Page �











