NLCTA Emergency Shutdown Procedure

1. Proceed to panel B128-05 in Bldg 128.

2. Locate Stopper Enable Key.

3. Turn Stopper Enable key to Disable.

4. Blue lights indicating the HVPS is not off should switch to green for off on the panel.

5. If they do not switch off proceed to the backup emergency shutdown procedure.

6. Immediately contact the Building Manager, the NLCTA Engineering Operator and Operations Manager. (listed on board in bldg 128)

Backup Emergency Shutdown procedure

7. Proceed to the entranceway at the east end of ESB (B062).

8. Open the wooden door and just inside on the left press the Emergency Substation trip (red) button.

9. Immediately contact the Building Manager, the NLCTA Engineering Operator and Operations Manager. (listed on board in bldg 128)

